## Sheet1
Cross Reference Details for Indian Standard : IS 7306:1974
Indian Standards Refered In IS IS 7306 : 1974 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 1248 : Part 1 : 2003 | Direct acting indicating analogue electrical measuring instruments and their accessories: Part 1 definitions and general requirements (Fourth Revision) | ETD 12
International Standards Refered In IS 7306 : 1974 | SNo | International Standard Number
| 1 | IEC 60034 : 4 : 1967
IS 7306 : 1974 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 13364 : Part 1 : 1992 | Ac generators driven by reciprocating internal combustion engines - Specification: Part 1 alternators rated up to 20 kVa | ETD 15
| 2 | IS 13364 : Part 2 : 1992 | Ac generators driven by reciprocating internal combustion engines - Specification: Part 2 alternators rated above 20 kVa and up to 1250 kVa | ETD 15
| 3 | IS 15666 : Part 8 : 2006 | Gas turbines - Procurement: Part 8 inspection, testing, installation and commissioning | MED 22
| 4 | IS 5422 : 1996 | Turbine type generators - Specification (First Revision) | ETD 15
| 5 | IS 6362 : 1995 | Designation of methods of cooling of rotating electrical machines (First Revision) | ETD 15