## Sheet1
Cross Reference Details for Indian Standard : IS/IEC 60079 : PART 11:2023
Indian Standards Refered In IS IS/IEC 60079 : PART 11 : 2011 : | SNo | IS Number | Title | Technical Committee
| 1 | IS/IEC 60079 : PART 0 : 2017 | Explosive Atmospheres Part 0 Equipment — General Requirements ( Third Revision ) | ETD 22
| 2 | IS/IEC 60079 : PART 7 : 2017 | Explosive atmospheres - Part 7: Equipment protection by increased safety "e" (Second Revision) | ETD 22
| 3 | IS/IEC 60079 : PART 25 : 2020 | Explosive atmospheres - Part 25: Intrinsically safe electrical systems (Second Revision) | ETD 22
| 4 | IS 1271 : 2012 | Electrical insulation - Thermal evaluation and designation (Second Revision) | ETD 2
| 5 | IS 2824 : 2007 | Method for the determination of the proof and the comparative tracking indices of solid insulating materials (Second Revision) | ETD 2
| 6 | IS/IEC 60127 : PART 1 : 2006 | Miniature fuses: Part 1 definitions for miniature fuses and general requirements for miniature fuse - Links (First Revision) | ETD 39
| 7 | IS/IEC 60127 : PART 2 : 2003 | Miniature Fuses Part 2 Cartridge Fuse - Links (First Revision) | ETD 39
| 8 | IS/IEC 60127 : Part 4 : 2005 | Miniature fuses Part 4 universal modular fuse - Links (Umf) - Through - Hole and surface mount types | ETD 39
| 9 | IS 13730 : Part 0 : Sec 1 : 2018 | Specifications for particular types of winding wires: Part 0 general requirements: Sec 1 enamelled round copper wire (Second Revision) | ETD 33
| 10 | IS/IEC 60529 : 2001 | Degrees of protection provided by enclosures (IP Code) | ETD 1
| 11 | IS 15382 : Part 1 : 2022 | Insulation Coordination for Equipment Within Low-Voltage Systems Part 1 Principles Requirements and Tests | ETD 19
| 12 | IS 15382 : Part 3 : 2019 | Insulation Coordination for Equipment within Low-Voltage Systems Part 3 Use of Coating, Potting or Moulding for Protection against Pollution (First Revision) | ETD 19
| 13 | IS/IEC 60691 : 2018 | Thermal Links - Requirements and Application Guide (First Revision) | ETD 39
| 14 | IS 13778 : Part 5 : 2012 | Winding wires - Test methods: Part 5 electrical properties (First Revision) | ETD 33
| 15 | IS 17724 : Part 1 : 2023 | Safety Requirements for Electrical Equipment for Measurement, Control, and Laboratory Use Part 1 General Requirements (IEC 61010-1: 2010 + AMD1:2016 + COR1:2019, MOD) | MHD 19
| 16 | IS 17064 : Part 1 : 2018 | Electromechanical elementary relays: Part 1 general and safety requirements | ETD 35
| 17 | IS 16046 : Part 2 : 2018 | Secondary Cells and Batteries Containing Alkaline or Other Non-Acid Electrolytes - Safety Requirements for Portable Sealed Secondary Cells and for Batteries Made from Them for Use in Portable Applications Part 2 Lithium Systems ( Second Revision ) | ETD 11
| 18 | IS/IEC 60269 : Part 1 : 2014 | Low-Voltage Fuses Part 1 General Requirements | ETD 39
International Standards Refered In IS/IEC 60079 : PART 11 : 2011 | SNo | International Standard Number
| 1 | IEC 60747 : 5 : 5
| 2 | IEC 61158 : 2 : 0 0
| 3 | DIN 884 : 11 : 0 0
IS/IEC 60079 : PART 11 : 2011 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS/IEC 60079 : Part 1 : 2014 | Explosive Atmospheres - Part 1 : Equipment Protection by Flameproof Enclosures "d" | ETD 22
| 2 | IS/IEC 60079 : PART 20 : SEC 1 : 2010 | Explosive atmospheres: Part 20 material characteristics for gas and vapour classification: Sec 1 test methods and data | ETD 22
| 3 | IS 16988 : 2018 | Compressed natural gas cylinder valve integrated with solenoid operation (Remotely Controlled) for automotive use - Specification | MED 16
| 4 | IS/IEC 60079 : PART 17 : 2013 | Explosive atmospheres: Part 17 electrical installations inspection and maintenance (First Revision) | ETD 22
| 5 | IS 15657 : 2006 | Centrifugal pumps for petroleum, petrochemical and natural gas industries | MED 20
| 6 | IS 10245 : Part 2 : 1994 | Respiratory protective devices - Specification: Part 2 open circuit breathing apparatus (First Revision) | CHD 8
| 7 | IS 17637 : 2021 | Performance Requirements of Surface Finishes for Furniture Applications | CED 35
| 8 | IS/IEC 60079 : PART 25 : 2010 | Explosive atmospheres: Part 25 intrinsically safe electrical systems (First Revision) | ETD 22
| 9 | IS/IEC 60079 : PART 7 : 2015 | Explosive atmospheres: Part 7 equipment protection by increased safety "E" (First Revision) | ETD 22
| 10 | IS/IEC 60079 : PART 19 : 2010 | Explosive atmospheres: Part 19 equipment repair, overhaul and reclamation (First Revision) | ETD 22
| 11 | IS/IEC 60079 Part 26 : 2014 | Explosive Atmospheres Part 26 Equipment with Equipment Protection Level (EPL) GA ( First Revision ) | ETD 22
| 12 | IS 1365 : 2022 | Slotted countersunk flat head screws Product grade A Fifth Revision of IS 1365 | PGD 37
| 13 | IS 3400 : Part 2 : Sec 9 : 2022 | METHODS OF TEST FOR RUBBER, VULCANIZED OR THERMOPLASTIC PART 2 DETERMINATION OF HARDNESS SECTION 9 CALIBRATION AND VERIFICATION OF HARDNESS TESTERS | PCD 29