## Sheet1
Cross Reference Details for Indian Standard : IS 13450 : Part 1 : SEC 2:2024
Indian Standards Refered In IS IS 13450 : Part 1 : SEC 2 : 2018 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 14700 : Part 4 : Sec 2 : 2018 | Electromagnetic compatibility (EMC): Part 4 testing and measurement techniques: Sec 2 electrostatic discharge immunity test (Second Revision) | LITD 9
| 2 | IS 14700 : Part 4 : Sec 6 : 2016 | Electromagnetic compatibility (EMC): Part 4 testing and measurement techniques: Sec 6 immunity to conducted disturbances, induced by radio - Frequency fields | LITD 9
| 3 | IS 14700 : Part 4 : Sec 8 : 2018 | Electromagnetic compatibility (EMC): Part 4 testing and measurement techniques: Sec 8 power frequency magnetic field immunity test (Second Revision) | LITD 9
| 4 | IS 14700 : Part 4 : Sec 11 : 2021 | Electromagnetic compatibility EMC: Part 4 testing and measurement techniques: Sec 11 voltage dips short interruptions and voltage variations immunity tests for equipment with input current up to 16 A per phase | LITD 9
| 5 | IS 6873 : PART 2 : SEC 1 : 2019 | Limits and methods of measurements of radio disturbance characteristics Part 2 Electro Magnetic Compatibility (EMC) â€“ Requirements for Household Appliances, Electric tools and similar apparatus, Section 1 Emission | LITD 9
| 6 | IS/CISPR 32 : 2015 | Electromagnetic Compatibility of Multimedia Equipment Emission Requirements | LITD 9
| 7 | IS/ISO 14971 : 2019 | Medical devices - Application of risk management to medical devices First Revision | MHD 14
| 8 | IS 16483 : 2017 | Geosynthetics - Method for microscopic evaluation of the dispersion of carbon black in polyolefin geosynthetics | TXD 30
| 9 | IS/ISO 10993 : Part 15 : 2000 | Biological evaluation of medical devices: Part 15 identification and quantification of degradation products from metals and alloys | MHD 19
| 10 | IS/ISO 18431 : Part 1 : 2005 | Mechanical vibration and shock - Signal processing: Part 1 general introduction | MED 28
| 11 | IS/IEC 60884 : Part 2 : Sec 5 : 1995 | Plugs and Socket-Outlets for Household and Similar Purposes Part 2 Particular Requirements DSection 5 Adaptors | ETD 14
| 12 | IS 16205 : Part 21 : 2017 | Conduit Systems for Cable Management Part 21 Particular Requirements Rigid Conduit Systems | ETD 14
| 13 | IS 16205 : Part 22 : 2017 | Conduit Systems for Cable Management Part 22 Particular Requirements - Pilable Conduit Systems | ETD 14
International Standards Refered In IS 13450 : Part 1 : SEC 2 : 2018 | SNo | International Standard Number
| 1 | IEC 61000 : 3 : 2 2020
| 2 | IEC 61000 : 3 : 3 2021
| 3 | IEC 61000 : 4 : 3 2020
| 4 | IEC 61000 : 4 : 4 2012
| 5 | IEC 61000 : 4 : 5 2017
| 6 | IEC 61000 : 4 : 39 2017
| 7 | ISO 7637 : 2 : 2011
IS 13450 : Part 1 : SEC 2 : 2018 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 14700 : Part 4 : Sec 1 : 2019 | Electromagnetic compatibility (EMC): Part 4 testing and measurement techniques: Sec 1 overview of the IEC 61000 - 4 series (Second Revision) | LITD 9
| 2 | IS/ISO 22523 : 2006 | External limb prostheses and external orthoses - Requirements and test methods | MHD 9
| 3 | IS 13450 : Part 2 : Sec 34 : 2019 | Medical Electrical Equipment Part 2 Particular Requirements for the Basic Safety and Essential Performance Section 34 Invasive blood pressure monitoring equipment | MHD 15
| 4 | IS 15040 : 2020 | Radio Disturbance Characteristics for Protection of Receivers used on Board Vehicles, Boats and Internal Combustion Engines — Limits and Methods of Measurement ( Second Revision ) | LITD 9
| 5 | IS 13450 : Part 2 : Sec 46 : 2020 | Medical Electrical Equipment Part 2 Particular Requirements for the Basic Safety and Essential Performance Section 46 Operating tables | MHD 15
| 6 | IS/IEC 80601 : Part 2 : Sec 35 : 2009 | Medical Electrical Equipment Part 2 Particular Requirements for the Basic Safety and Essential Performance Section 35 Heating devices using blankets, pads or mattresses and intended for heating in medical use | MHD 15
| 7 | IS 17426 : 2020 | ICU Ventilators for use in COVID-19 - Specification | MHD 11
| 8 | IS 6873 : Part 4 : 1999 | Limits and Methods of Measurement of Radio Disturbance Characteristics - Part 4 : Industrial, Scientific and Medical (ISM) Radio-frequency Equipment | LITD 9
| 9 | IS/ISO 27427 : 2013 | Anaesthetic and Respiratory Equipment - Nebulizing Systems and Components | MHD 11
| 10 | IS 1180 : Part 3 : 2021 | Outdoor/Indoor Type Liquid Immersed Distribution Transformers Up to and Including 2 500 kVA, 33 kV — Specification Part 3 Natural/Synthetic Organic Ester Liquid Immersed | ETD 16
| 11 | IS/ISO 8596 : 2017 | Ophthalmic optics - Visual acuity testing - Standard and clinical optotypes and their presentation (First Revision) | MHD 5
| 12 | IS/IEC 60479 : Part 1 : 2018 | Effects of current on human beings and livestock - Part 1: General Aspects | ETD 20
| 13 | IS 398 : Part 6 : 2021 | Aluminium Conductors for Overhead Transmission Purposes Part 6 High Conductivity Aluminium Alloy Stranded Conductors — Specification | ETD 37
| 14 | IS 13450 : Part 2 : Sec 26 : 2018 | Medical Electrical Equipment Part 2 Particular Requirements for the Basic Safety and Essential Performance Section 26 Electroencephalographs | MHD 15
| 15 | IS 5815 : Part 2 : 2021 | Textiles - Fishing gear materials - Methods of test Part 2: Determination of linear density mass per unit length (first revision) | TXD 18
| 16 | IS 13450 : Part 2 : Sec 19 : 2018 | Medical electrical equipment: Part 2 particular requirements for the basic safety and essential performance: Sec 19 baby incubator | MHD 15
| 17 | IS 13450 : Part 2 : Sec 20 : 2018 | Medical electrical equipment: Part 2 particular requirements for the basic safety and essential performance: Sec 20 infant transport incubators | MHD 15
| 18 | IS 13450 : Part 2 : Sec 21 : 2018 | Medical electrical equipment: Part 2 particular requirements for the basic safety and essential performance: Sec 21 infant radiant warmer | MHD 15
| 19 | IS 17614 : Part 20 : 2021 | Water Quality Sampling Part 20 Guidance on the Use of Sampling Data for Decision Making Compliance with Thresholds and Classification Systems | CHD 36
| 20 | IS 17791 : Part 4 : 2022 | Protective equipment for martial arts: Part 4: Additional requirements and test methods for head protectors | PGD 41
| 21 | IS 582 : Part 9 : 2022 | METHODS OF CHEMICAL TESTING OF LEATHER Part 9 Determination of pH and difference figure | CHD 17
| 22 | IS 11852 : 2013 | Automotive Vehicles - Uniform Provisions Concerning the Approval of Vehicles of Categories M, N and T with Regard to Braking | TED 4
| 23 | IS 101 : Part 2 : Sec 4 : 2022 | Methods of sampling and test for paints varnishes and related products: Part 2 test on liquid paints chemical examination : Sec 4 determination of volatile organic compound voc and or semi volatile organic compounds svoc content gas-chromatographic (First Revision) | CHD 20
| 24 | IS 17881 : Part 1 : 2022 | Protective clothing against heat and flame - Part 1 Test method for complete garments - Measurement of transferred energy using an instrumented manikin | TXD 32
| 25 | IS 3161 : 2022 | Gram Chuni as Livestock Feed Ingredient ï¿½ Specification | FAD 5
| 26 | IS 13450 : Part 1 : SEC 2 : 2018 | Medical electrical equipment: Part 1 general requirements for the basic safety and essential performance: Sec 2 collateral standard: electromagnetic disturbances - Requirements and tests (First Revision) | MHD 15
| 27 | IS 13450 : Part 1 : SEC 2 : 2018 | Medical electrical equipment: Part 1 general requirements for the basic safety and essential performance: Sec 2 collateral standard: electromagnetic disturbances - Requirements and tests (First Revision) | MHD 15
| 28 | IS 13450 : Part 1 : SEC 2 : 2018 | Medical electrical equipment: Part 1 general requirements for the basic safety and essential performance: Sec 2 collateral standard: electromagnetic disturbances - Requirements and tests (First Revision) | MHD 15
| 29 | IS 13450 : Part 1 : SEC 2 : 2018 | Medical electrical equipment: Part 1 general requirements for the basic safety and essential performance: Sec 2 collateral standard: electromagnetic disturbances - Requirements and tests (First Revision) | MHD 15
| 30 | IS 13450 : Part 1 : SEC 2 : 2018 | Medical electrical equipment: Part 1 general requirements for the basic safety and essential performance: Sec 2 collateral standard: electromagnetic disturbances - Requirements and tests (First Revision) | MHD 15
| 31 | IS 13450 : Part 1 : SEC 2 : 2018 | Medical electrical equipment: Part 1 general requirements for the basic safety and essential performance: Sec 2 collateral standard: electromagnetic disturbances - Requirements and tests (First Revision) | MHD 15