## Sheet1
Cross Reference Details for Indian Standard : IS/ISO 80601 : Part 2 : Sec 61:2017
Indian Standards Refered In IS IS/ISO 80601 : Part 2 : Sec 61 : 2011 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 9000 : Part 7 : Sec 1 : 2018 | Basic environmental testing procedures for electronic and electrical items: Part 7 impact test: Sec 1 shock (Test Ea) (Second Revision) | LITD 1
| 2 | IS 13200 : 2015 | Anaesthetic and respiratory equipment - Vocabulary (First Revision) | MHD 11
| 3 | IS 13450 : Part 1 : 2018 | Medical electrical equipment: Part 1 general requirements for basic safety and essential performance (Second Revision) | MHD 15
| 4 | IS/ISO 14155 : 2011 | Clinical investigation of medical devices for human subjects - Good clinical practice | MHD 19
| 5 | IS 14624 : Part 2 : 2012 | Safety of laser products: Part 2 safety of optical fibre communication systems (OFCS) (First Revision) | LITD 11
| 6 | IS/ISO 15223 : Part 1 : 2016 | Medical Devices — Symbols to be Used with Medical Device Labels, Labelling and Information to be Supplied Part 1 General Requirements ( Second Revision ) | MHD 14
| 7 | IS 16450 : 2017 | Graphical symbols for use on equipment - Registered symbols | PGD 1
| 8 | IS 16451 : 2018 | Graphical Symbols- Safety Colours and Safety Signs- Registered Safety Signs | PGD 1
| 9 | IS/IEC 62366 : Part 1 : 2015 | Medical Devices Part 1 Application of Usability Engineering to Medical Devices | MHD 14
International Standards Refered In IS/ISO 80601 : Part 2 : Sec 61 : 2011 | SNo | International Standard Number
| 1 | ISO 3744 : 2010
| 2 | ISO 14117 : 2019
| 3 | ISO 14937 : 2009
| 4 | IEC 60068 : 2 : 31 2008
| 5 | IEC 60068 : 2 : 64 2008
| 6 | IEC 60601 : 1 : 11 2015
| 7 | IEC 60601 : 1 : 12 2014
IS/ISO 80601 : Part 2 : Sec 61 : 2011 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 14700 : Part 4 : Sec 1 : 2019 | Electromagnetic compatibility (EMC): Part 4 testing and measurement techniques: Sec 1 overview of the IEC 61000 - 4 series (Second Revision) | LITD 9