## Sheet1
Cross Reference Details for Indian Standard : IS/ISO 7396 : Part 1:2007
Indian Standards Refered In IS IS/ISO 7396 : Part 1 : 2007 : | SNo | IS Number | Title | Technical Committee
| 1 | IS/ISO 8573 : PART 1 : 2010 | Compressed Air: Part 1 Contaminants and Purity Classes (First Revision) | CHD 6
| 2 | IS 17812 : Part 1 : 2022 | Terminal Units for Medical Gas Pipeline Systems : Part 1 Terminal Units for use with Compressed Medical Gases and Vacuum (First Revision) | MHD 11
| 3 | IS/ISO 10524 Part 2 : 2005 | Pressure Regulators for use with Medical Gases Part 2 Manifold and Line Pressure Regulators | MHD 11
| 4 | IS/ISO 11197 : 2019 | Medical Supply Units First Revision | MHD 11
| 5 | IS/ISO 14971 : 2019 | Medical devices - Application of risk management to medical devices First Revision | MHD 14
| 6 | IS/ISO 15001 : 2010 | Anaesthetic and respiratory equipment - Compatibility with oxygen (First Revision) | MHD 11
| 7 | IS 13450 : Part 1 : Sec 8 : 2019 | Medical Electrical Equipment Part 1 General Requirements for Basic Safety and Essential Performance Section 8 Collateral Standard: General requirements, tests and guidance for alarm systems in medical electrical equipment and medical electrical systems | MHD 15
| 8 | IS 17625 : Part 2 : Sec 69 : 2021 | Medical Electrical Equipment Part 2 Particular Requirements for Basic Safety and Essential Performance Section 69 Oxygen Concentrator Equipment | MHD 11
International Standards Refered In IS/ISO 7396 : Part 1 : 2007 | SNo | International Standard Number
| 1 | ISO 3746 : 2010
| 2 | ISO 5359 : 2014
| 3 | ISO 14644 : 1 : 1999
| 4 | ISO 17672 : 2010
| 5 | ISO 21969 : 2009
| 6 | ISO 29463 : 1 : 2011
| 7 | EN 286 : 1 : 1998
| 8 | EN 1041 : 2008
| 9 | EN 1254 : 1 : 1998
| 10 | EN 1254 : 4 : 1998
| 11 | EN 13348 : 2008
IS/ISO 7396 : Part 1 : 2007 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 10645 : Part 8 : 2023 | Statistical methods in process management Capability and performance Part 8: Machine performance of a multi-state production process | MSD 3