## Sheet1
Cross Reference Details for Indian Standard : IS/IEC 60079 Part 6:2020
Indian Standards Refered In IS IS/IEC 60079 Part 6 : 2015 : | SNo | IS Number | Title | Technical Committee
| 1 | IS/IEC 60079 : PART 0 : 2017 | Explosive Atmospheres Part 0 Equipment — General Requirements ( Third Revision ) | ETD 22
| 2 | IS 6792 : 2017 | Insulating liquids - Determination of the breakdown voltage at power frequency - Test method (Second Revision) | ETD 3
| 3 | IS 16840 : 2018 | Insulating liquids - Measurement of relative permittivity, dielectric dissipation factor (Tan) and D.C. resistivity | ETD 3
| 4 | IS/IEC 60529 : 2001 | Degrees of protection provided by enclosures (IP Code) | ETD 1
| 5 | IS 13567 : 2018 | Insulating liquids - Oil - Impregnated paper and pressboard - Determination of water by automatic coulometric karl fischer titration (First Revision) | ETD 3
| 6 | IS 16838 : 2018 | Specifications for unused silicone insulating liquids for electrotechnical purposes | ETD 3
| 7 | IS 16081 : 2013 | Insulating liquids - Specifications for unused synthetic organic esters for electrical purposes | ETD 3
| 8 | IS 12422 : 2017 | Unused hydrocarbon based insulating liquids - Test methods for - Evaluating the oxidation stability (First Revision) | ETD 3
| 9 | IS 16863 : Part 1 : 2018 | Insulating Liquids â€” Determination of Acidity Part 1 Automatic Potentiometric Titration | ETD 3
| 10 | IS 16310 : 2017 | Insulating liquids - Test method for detection of potentially corrosive sulphur in used and unused insulating oil | ETD 3
| 11 | IS 1448 : Part 69 : 2019 | Methods of Test for Petroleum and its Products [ P : 69 ] Determination of Flash and Fire Points - Cleveland Open Cup Method ( Second Revision ) | PCD 1
| 12 | IS 1448 : Part 169 : 2018 | Methods of test for petroleum and its products [p : 169] determination of chlorine and bromine content - Wavelength - Dispersive x - Ray fluorescence spectrometry | PCD 1
| 13 | IS 1448 : Part 21 : 2019 | Methods of test for petroleum and its products [P : 21] determination of flash point - Pensky - Martens closed cup method (Fourth Revision) | PCD 1
| 14 | IS 1448 : Part 25 : Sec 1 : 2018 | Methods of test for petroleum and its products [P : 25] transparent and opaque liquids section 1 determination of kinematic viscosity and calculation of dynamic viscosity (Second Revision) | PCD 1
| 15 | IS 1448 : Part 10 : Sec 2 : 2021 | Methods of test for petroleum and its products Part 10 Petroleum and related products from natural or synthetic sources Section 2 Determination of pour point | PCD 1
International Standards Refered In IS/IEC 60079 Part 6 : 2015 | SNo | International Standard Number
| 1 | IEC 60296 : 0 : 0 0
IS/IEC 60079 Part 6 : 2015 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 15657 : 2006 | Centrifugal pumps for petroleum, petrochemical and natural gas industries | MED 20
| 2 | IS/IEC 60079 : PART 19 : 2010 | Explosive atmospheres: Part 19 equipment repair, overhaul and reclamation (First Revision) | ETD 22
| 3 | IS 3400 : Part 2 : Sec 9 : 2022 | METHODS OF TEST FOR RUBBER, VULCANIZED OR THERMOPLASTIC PART 2 DETERMINATION OF HARDNESS SECTION 9 CALIBRATION AND VERIFICATION OF HARDNESS TESTERS | PCD 29