## Sheet1
Cross Reference Details for Indian Standard : IS/ISO 7240 : Part 3:2020
Indian Standards Refered In IS IS/ISO 7240 : Part 3 : 2010 : | SNo | IS Number | Title | Technical Committee
| 1 | IS/IEC 60068 : Part 1 : 2013 | Environmental Testing Part 1 General and Guidance | LITD 1
| 2 | IS/IEC 60068 : Part 2 : Sec 1 : 2007 | Environmental Testing Part 2 Tests Section 1 Test A: Cold | LITD 1
| 3 | IS/IEC 60068 : Part 2 : Sec 2 : 2007 | Environmental Testing Part 2: Tests - Test B Section 2: Dry Heat | LITD 1
| 4 | IS/IEC 60068 : Part 2 : Sec 6 : 2007 | Environmental Testing Part 2 Tests Section 6 Test Fc: Vibration sinusoidal | LITD 1
| 5 | IS 9000 : Part 7 : Sec 1 : 2018 | Basic environmental testing procedures for electronic and electrical items: Part 7 impact test: Sec 1 shock (Test Ea) (Second Revision) | LITD 1
| 6 | IS/IEC 60068 : Part 2 : Sec 30 : 2005 | Environmental testing Part 2 Tests Section 30 Test Db: Damp heat cyclic 12 h 12 h cycle | LITD 1
| 7 | IS/IEC 60068 : Part 2 : Sec 42 : 2003 | Environmental testing - Part 2 Tests Section 42 Test Kc: Sulphur dioxide test for contacts and connections | LITD 3
| 8 | IS 9000 : Part 7 : Sec 7 : 2020 | Environmental Testing Part 7 Tests Section 7 Test Eh: Hammer tests ( First Revision ) | LITD 1
| 9 | IS 9000 : Part 4 : 2020 | Environmental Testing Part 4 Tests - Test Cab: Damp Heat, Steady State ( Second Revision ) | LITD 1
| 10 | IS/IEC 60529 : 2001 | Degrees of protection provided by enclosures (IP Code) | ETD 1
| 11 | IS/IEC 60695 : Part 11 : Sec 10 : 2013 | Fire hazard testing: Part 11 test flames :: Sec 10 50 w horizontal and vertical flame test methods | LITD 1
| 12 | IS 15575 : Part 1 : 2016 | Electroacoustics - Sound Level Meters Part 1: Specifications (First Revision) | LITD 7
International Standards Refered In IS/ISO 7240 : Part 3 : 2010 | SNo | International Standard Number
| 1 | ISO 7240 : 1 : 2014
| 2 | IEC 60695 : 11 : 20 2015
| 3 | IEC 62599 : 2 : 2010
IS/ISO 7240 : Part 3 : 2010 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.