## Sheet1
Cross Reference Details for Indian Standard : IS/ISO 14971 :2019
Indian Standards Refered In IS IS/ISO 14971 : 2007 : | SNo | IS Number | Title | Technical Committee
Standard contains no Cross Referenced Indian Standard.
Standard contains no Cross Referenced Indian Standard.
International Standards Refered In IS/ISO 14971 : 2007 | SNo | International Standard Number
| 1 | 0 0 : 0 : 0 0
IS/ISO 14971 : 2007 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS/ISO 25539 : Part 1 : 2017 | Cardiovascular implants - Endovascular devices: Part 1 endovascular prostheses (First Revision) | MHD 6
| 2 | IS/ISO 12417 : Part 1 : 2015 | Cardiovascular Implants and Extracorporeal Systems Vascular Device-Drug Combination Products Part 1 General Requirements | MHD 6
| 3 | IS/ISO/TS 22367 : 2008 | Medical Laboratories - Reduction of Error through Risk Management and Continual Improvement | MHD 14
| 4 | IS/IEC 62366 : Part 1 : 2015 | Medical Devices Part 1 Application of Usability Engineering to Medical Devices | MHD 14
| 5 | IS/IEC/TR 62366 : Part 2 : 2016 | Medical devices Part 2 Guidance on the Application of Usability Engineering to Medical Devices | MHD 14
| 6 | IS/ISO 15198 : 2004 | Clinical Laboratory Medicine - In vitro Diagnostic Medical Devices - Validation of User Quality Control Procedures by the Manufacturer | MHD 19
| 7 | IS/ISO 5840 : Part 2 : 2015 | Cardiovascular Implants Cardiac Valve Prostheses Part 2 Surgically Implanted Heart Valve Substitutes | MHD 6
| 8 | IS/ISO 5840 : Part 3 : 2013 | Cardiovascular Implants Cardiac Valve Prostheses Part 3 Heart Valve Substitutes Implanted by Trans-Catheter Techniques | MHD 6
| 9 | IS 13450 : Part 4 : Sec 1 : 2020 | Medical electrical equipment: Part 4 Guidance and interpretation: Section 1 Medical electrical equipment and medical electrical systems employing a degree of autonomy | PGD 18
| 10 | IS/ISO 14971 : 2007 | Medical devices - Application of risk management to medical devices | MHD 14
| 11 | IS/ISO 80601 : Part 2 : Sec 12 : 2011 | MEDICAL ELECTRICAL EQUIPMENT PART 2-12 PARTICULAR REQUIREMENTS FOR BASIC SAFETY AND ESSENTIAL PERFORMANCE OF CRITICAL CARE VENTILATORS | MHD 15
| 12 | IS 12725 : 2021 | Pneumatic Fluid Power - General Rules and Safety Requirements for Systems and their Components ( Second Revision ) | PGD 36
| 13 | IS/IEC 80601 : Part 2 : Sec 35 : 2009 | Medical Electrical Equipment Part 2 Particular Requirements for the Basic Safety and Essential Performance Section 35 Heating devices using blankets, pads or mattresses and intended for heating in medical use | MHD 15
| 14 | IS/ISO 10524 : Part 3 : 2005 | Pressure regulators for use with medical gases: Part 3 pressure regulators integrated with cylinder valves | MHD 11
| 15 | IS/ISO 27427 : 2013 | Anaesthetic and Respiratory Equipment - Nebulizing Systems and Components | MHD 11
| 16 | IS 16693 : 2021 | Reference sources - Calibration of surface contamination monitors - Alpha beta and photon emitters (First Revision) | CHD 30
| 17 | IS 10258 : Part 3 : 2010 | Sterile hypodermic syringes for single use: Part 3 auto - Disable syringes for fixed - Dose immunization | MHD 12
| 18 | IS 17545 : 2021 | White cement based polymeric putty | CHD 20
| 19 | IS/ISO 6722 : Part 1 : 2011 | Road vehicles -- 60 V and 600 V single-core cables -- Part 1: Dimensions test methods and requirements for copper conductor cables | TED 11
| 20 | IS 14147 : Part 1 : 2021 | Identification Cards Recording Technique Part 1 Embossing | LITD 16
| 21 | IS/ISO 11197 : 2016 | Medical supply units | MHD 11
| 22 | IS 1060 : Part 5 : Sec 12 : 2021 | Method of Sampling and Test for Paper and Allied Products Part 5 Method of Test for Paper and Board Section 12 Measurement of specular gloss 75 degree gloss with a converging beam TAPPI method | CHD 15
| 23 | IS 229 : 2021 | Ethyl acetate - Specification (Fourth Revision) | PCD 9
| 24 | IS 15748 : 2022 | Protective clothing - Clothing to protect against heat and flame - Minimum performance requirements (first revision) | TXD 32
| 25 | IS 11563 : 2022 | TECHNICAL SUPPLY CONDITIONS FOR DYNAMIC COMPRESSORS | MED 22