## Sheet1
Cross Reference Details for Indian Standard : IS/IEC 61439 : Part 1:2020
Indian Standards Refered In IS IS/IEC 61439 : Part 1 : 2011 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 1271 : 2012 | Electrical insulation - Thermal evaluation and designation (Second Revision) | ETD 2
| 2 | IS/IEC 60529 : 2001 | Degrees of protection provided by enclosures (IP Code) | ETD 1
| 3 | IS 11000 : Part 2 : Sec 1 : 2018 | Fire hazard testing: Part 2 test methods: Sec 1 glow - Wire apparatus and common test procedure (Second Revision) | LITD 1
| 4 | IS/IEC 60695 : Part 2 : Sec 11 : 2014 | Fire Hazard Testing Part 2-11 Glowing / Hot-Wire Based Test Methods Glow-Wire Flammability Test Method for End-Products ( GWEPT ) | LITD 1
| 5 | IS/IEC 60695 : Part 2 : Sec 12 : 2014 | Fire Hazard Testing Part 2 Glowing / Hot-Wire Based Test Methods Section 12 Glow-wire flammability index ( GWFI ) test method for materials | LITD 1
| 6 | IS 13235 : Part 1 : 2019 | Short-Circuit Currents â€” Calculation of Effects Part 1 Definitions and Calculation Methods ( First Revision) | ETD 20
| 7 | IS/IEC 60947 : Part 4 : Sec 1 : 2012 | Low - Voltage switchgear and controlgear: Part 4 contactors and motor - Starters: Sec 1 electromechanical contactors and motor - Starters (First Revision) | ETD 7
| 8 | IS 14700 : Part 4 : Sec 2 : 2018 | Electromagnetic compatibility (EMC): Part 4 testing and measurement techniques: Sec 2 electrostatic discharge immunity test (Second Revision) | LITD 9
| 9 | IS 14700 : Part 4 : Sec 3 : 2018 | Electromagnetic Compatibility (EMC) Part 4 Testing and Measurement Techniques Section 24 Test methods for protective devices for HEMP conducted disturbance ( First Revision ) | LITD 9
| 10 | IS 14700 : Part 4 : Sec 4 : 2018 | Electromagnetic compatibility (EMC): Part 4 testing and measurement techniques: Sec 4 electrical fast transient / burst immunity test (Second Revision) | LITD 9
| 11 | IS 14700 : Part 4 : Sec 5 : 2019 | Electromagnetic compatibility (EMC): Part 4 testing and measurement techniques: Sec 5 surge immunity test (First Revision) | LITD 9
| 12 | IS 14700 : Part 4 : Sec 6 : 2016 | Electromagnetic compatibility (EMC): Part 4 testing and measurement techniques: Sec 6 immunity to conducted disturbances, induced by radio - Frequency fields | LITD 9
| 13 | IS 14700 : Part 4 : Sec 8 : 2018 | Electromagnetic compatibility (EMC): Part 4 testing and measurement techniques: Sec 8 power frequency magnetic field immunity test (Second Revision) | LITD 9
| 14 | IS 14700 : Part 4 : Sec 3 : 2018 | Electromagnetic Compatibility (EMC) Part 4 Testing and Measurement Techniques Section 24 Test methods for protective devices for HEMP conducted disturbance ( First Revision ) | LITD 9
| 15 | IS 16826 : 2018 | High - Voltage Test Techniques For Low-Voltage Equipment - Definitions, Test and Procedure Requirements, Test Equipment | ETD 19
| 16 | IS/IEC 61439 : Part 0 : 2014 | Low-Voltage Switchgear and Controlgear Assemblies Part 0 Guidance to Specifying Assemblies | ETD 7
| 17 | IS 14700 : Part 4 : Sec 11 : 2021 | Electromagnetic compatibility EMC: Part 4 testing and measurement techniques: Sec 11 voltage dips short interruptions and voltage variations immunity tests for equipment with input current up to 16 A per phase | LITD 9
| 18 | IS 6873 : Part 4 : 2019 | Limits and Methods of Measurement of Radio Disturbance Characteristics Part 4 Industrial Scientific and Medical Radio-Frequency Equipment Second Revision | LITD 9
| 19 | IS 16451 : 2018 | Graphical Symbols- Safety Colours and Safety Signs- Registered Safety Signs | PGD 1
| 20 | IS/CISPR 32 : 2015 | Electromagnetic Compatibility of Multimedia Equipment Emission Requirements | LITD 9
| 21 | IS/IEC 60073 : 2002 | Basic and safety principles for man-machine interface marking and identification - Coding principles for indicators and actuators | ETD 1
International Standards Refered In IS/IEC 61439 : Part 1 : 2011 | SNo | International Standard Number
| 1 | IEC 60068 : 2 : 2 2007
| 2 | IEC 60068 : 2 : 11 1981
| 3 | IEC 60068 : 2 : 30 2005
| 4 | IEC 60073 : 2002
| 5 | IEC 60364 : 4 : 41 2005
| 6 | IEC 60364 : 5 : 51 2005
| 7 | IEC 60364 : 5 : 52 2009
| 8 | IEC 60439 : 1 : 0 0
| 9 | IEC 60890 : 2014
| 10 | IEC 61000 : 6 : 4 2018
| 11 | IEC 61082 : 1 : 2014
| 12 | IEC 61921 : 2017
| 13 | IEC 62208 : 2011
| 14 | IEC 81346 : 1 : 2009
| 15 | IEC 81346 : 2 : 2019
| 16 | ISO 178 : 2010
| 17 | ISO 179 : 1 : 2010
| 18 | ISO 179 : 2 : 1997
| 19 | ISO 2409 : 2013
| 20 | ISO 4628 : 3 : 2016
| 21 | ISO 4892 : 2 : 2013
| 22 | IEC 60445 : 2017
| 23 | IEC 60447 : 2004
IS/IEC 61439 : Part 1 : 2011 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 17017 : Part 1 : 2018 | Electric Vehicle Conductive Charging System Part 1 General Requirements | ETD 51
| 2 | IS 16960 : Part 3 : 2020 | Photovoltaic (PV) Systems - Requirements for Testing, Documentation and Maintenance Part 3 Photovoltaic Modules and Plants Outdoor Infrared Thermography | ETD 28
| 3 | IS/IEC TS 62738 : 2018 | Ground-Mounted Photovoltaic Power Plants - Design Guidelines and Recommendations | ETD 28
| 4 | IS 5339 : 2021 | Skin Powder for Infants
| 5 | IS 15770 : 2021 | Heating Oil(LDO) - Specification | PCD 3
| 6 | IS 9303 : 2021 | Guide for cold storage of Table Grapes (First Revision) | FAD 10
| 7 | IS/IEC 60947 : Part 4 : Sec 1 : 2012 | Low - Voltage switchgear and controlgear: Part 4 contactors and motor - Starters: Sec 1 electromechanical contactors and motor - Starters (First Revision) | ETD 7
| 8 | IS/IEC/TS 61439 : Part 7 : 2014 | Low-Voltage Switchgear and Controlgear Assemblies Part 7 Assemblies for Specific Applications such as Marinas, Camping Sites, Market Squares, Electric Vehicles Charging Stations | ETD 7
| 9 | IS 4287 : 2022 | STARCH - GLOSSARY( THIRD REVISION OF IS 4287) | FAD 16
| 10 | IS 4385 : 2022 | SPECIFICATION FOR THROWING HAMMERS Second Revision | PGD 41
| 11 | IS/ISO 5116 : Part 2 : 2021 | Improving transparency in financial and business reporting Harmonization topics - Part 2: Guidelines for data point modelling | SSD 3