## Sheet1
Cross Reference Details for Indian Standard : IS 17348 :2020
Indian Standards Refered In IS IS 17348 : 2020 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 11137 : PART 2 : 2012 | Analysis techniques for system reliABility: Part 2 procedure for failure mode and effects analysis (Fmea) (First Revision) | LITD 2
| 2 | IS 14944 : 2020 | Surgical Dressings - Methods of Test ( first revision ) | TXD 36
| 3 | IS 4905 : 2015 | Random sampling and randomization procedures (First Revision) | MSD 3
| 4 | IS 16546 : 2016 | Clothing for protection against contact with blood and body fluids - Determination of the resistance of protective clothing materials to penetration by blood and body fluids - Test method using synthetic blood | TXD 36
| 5 | IS/ISO 10993 : Part 5 : 2009 | Biological evaluation of medical devices Part 5 Tests for in vitro cytotoxicity | MHD 19
| 6 | IS/ISO 10993 : Part 10 : 2010 | Biological evaluation of medical devices Part 10 Tests for irritation and skin sensitization | MHD 19
| 7 | IS/ISO 11607 : Part 2 : 2006 | Packaging for terminally sterilized medical devices: Part 2 validation requirements for forming, sealing and assembly processes | MHD 12
| 8 | IS/ISO 11607 : Part 1 : 2006 | Packaging for terminally sterilized medical devices: Part 1 requirements for materials, sterile barrier systems and packaging systems | MHD 12
| 9 | IS/ISO 10993 : Part 7 : 2018 | Biological evaluation of medical devices Part 7 Ethylene oxide sterilization residuals | MHD 19
| 10 | IS/ISO 11137 : Part 1 : 2006 | Sterilization of health care products - Radiation: Part 1 requirements for development, validation and routine control of a sterilization process for medical devices | MHD 12
| 11 | IS/ISO 11135 : 2014 | Sterilization of health - Care products - Ethylene oxide - Requirements for the development, validation and routine control of a sterilization process for medical devices | MHD 12
International Standards Refered In IS 17348 : 2020 | SNo | International Standard Number
| 1 | ISO 811 : 2018
| 2 | ISO 11092 : 2014
IS 17348 : 2020 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.