## Sheet1
Cross Reference Details for Indian Standard : IS 16619 : Part 3:2021
Indian Standards Refered In IS IS 5894 : 2005 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 15059 : 2018 | Electroacoustics - Sound calibrators (First Revision) | LITD 7
| 2 | IS 15382 : Part 1 : 2014 | Insulation coordination for equipment within low - Voltage systems: Part 1 principles, requirements and tests (First Revision) | ETD 19
| 3 | IS 15382 : Part 3 : 2019 | Insulation coordination for equipment within low-voltage systems : Part 3 use of coating potting or moulding for protection against pollution | ETD 19
| 4 | IS 15575 : Part 1 : 2016 | Electroacoustics - Sound level meters: Part 1 specifications (First Revision) | LITD 7
| 5 | IS 2824 : 2007 | Method for the determination of the proof and the comparative tracking indices of solid insulating materials (Second Revision) | ETD 2
| 6 | IS 6964 : 2018 | Electroacoustics - Octave - Band and fractional octave band filters - Specificaitons (Second Revision) | LITD 7
| 7 | IS 8225 : 2018 | Acoustics - Measurement of sound absorption in a reverberation room (Second Revision) | LITD 7
| 8 | IS 8437 : Part 1 : 1992 | Guide on effects of current passing through human body: Part 1 General aspects | ETD 20
| 9 | IS 9000 : Part 7 : Sec 7 : 2020 | Environmental Testing Part 7 Tests Section 7 Test Eh: Hammer tests ( First Revision ) | LITD 1
| 10 | IS 9000 : Part 8 : 1981 | Basic environmental testing procedures for electronic and electrical items: Part 8 vibration (Sinusoidal) test | LITD 1
| 11 | IS 919 : Part 1 : 2014 | Geometrical Product Specifications (GPS) - ISO Code System for Tolerances on Linear Sizes Part 1 Basis of Tolerance, Deviation and Fits (Third Revision) | PGD 20
| 12 | IS 9409 : 1980 | Classification of electrical and electronic equipment with regard to protection against electric shock | ETD 1
| 13 | IS/IEC 60529 : 2001 | Degrees of protection provided by enclosures (IP Code) | ETD 1
| 14 | IS 16155 : 2014 | Live working - Conformity assessment applicable to tools, devices and equipment (First Revision) | ETD 36
International Standards Refered In IS 5894 : 2005 | SNo | International Standard Number
| 1 | IEC 60112 : 0 : 0 0
| 2 | IEC 60479 : 1 : 2005
| 3 | IEC 60529 : 1989
| 4 | IEC 60664 : 1 : 2007
| 5 | IEC 60664 : 3 : 0 0
| 6 | IEC 61318 : 0 : 0 0
| 7 | IEC 60068 : 2 : 75 1997
| 8 | IEC 60942 : 0 : 0 0
| 9 | IEC 61260 : 0 : 0 0
| 10 | IEC 61672 : 1 : 0 0
| 11 | ISO 354 : 0 : 0 0
| 12 | ISO 286 : 1 : 0 0
| 13 | IEC 61140 : 2001
| 14 | IEC 60068 : 2 : 6 1995
| 15 | IEC 60068 : 2 : 31
| 16 | IEC 60304 : 0 : 0 0
| 17 | IEC 60417 : 0 : 0 0
| 18 | IEC 60695 : 10 : 2 2003
| 19 | IEC 61010 : 31 : 2002
| 20 | IEC 61010 : 1 : 2001
| 21 | IEC 61180 : 1 : 0 0
| 22 | IEC 61180 : 2 : 0 0
| 23 | IEC 61326 : 1 : 2005
| 24 | IEC 61477 : 0 : 0 0
| 25 | IEC 61557 : 7 : 2007
| 26 | ISO 286 : 2 : 0 0
| 27 | ISO 3744 : 1994
| 28 | ISO 3745 : 0 : 0 0
| 29 | ISO 7000 : 0 : 0 0
IS 5894 : 2005 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.