## Sheet1
Cross Reference Details for Indian Standard : IS 17625 : Part 2 : Sec 69:2021
Indian Standards Refered In IS : : | SNo | IS Number | Title | Technical Committee
| 1 | IS/ISO 9000 : 2015 | Quality management systems - Fundamentals and vocabulary (Fourth Revision) | MSD 2
| 2 | IS 13450 : Part 1 : 2018 | Medical electrical equipment: Part 1 general requirements for basic safety and essential performance (Second Revision) | MHD 15
| 3 | IS 13450 : Part 1 : SEC 2 : 2018 | Medical electrical equipment: Part 1 general requirements for the basic safety and essential performance: Sec 2 collateral standard: electromagnetic disturbances - Requirements and tests (First Revision) | MHD 15
| 4 | IS 13450 : Part 1 : Sec 6 : 2020 | Medical Electrical Equipment Part 1 General Requirements for Basic Safety and Essential Performance Section 6 Collateral standard: Usability | MHD 15
| 5 | IS 13450 : Part 1 : Sec 8 : 2019 | Medical Electrical Equipment Part 1 General Requirements for Basic Safety and Essential Performance Section 8 Collateral Standard: General requirements, tests and guidance for alarm systems in medical electrical equipment and medical electrical systems | MHD 15
| 6 | IS 13450 : Part 1 : Sec 10 : 2019 | Medical Electrical Equipment Part 1 General Requirements for Basic Safety and Essential Performance Section 10 Collateral standard: Requirements for the development of physiologic closed-loop controllers | MHD 15
| 7 | IS 13450 : Part 1 : Sec 11 : 2020 | Medical Electrical Equipment Part 1 General Requirements for Basic Safety and Essential Performance Section 11 Collateral Standard: Requirements for medical electrical equipment and medical electrical systems used in the home healthcare environment | MHD 15
| 8 | IS/ISO 15223 : Part 1 : 2016 | Medical Devices — Symbols to be Used with Medical Device Labels, Labelling and Information to be Supplied Part 1 General Requirements ( Second Revision ) | MHD 14
| 9 | IS 15575 : Part 1 : 2016 | Electroacoustics - Sound Level Meters Part 1: Specifications (First Revision) | LITD 7
| 10 | IS/ISO 16142 : Part 1 : 2016 | Medical Devices - Recognized Essential Principles of Safety and Performance of Medical Devices Part 1 General Essential Principles and Additional Specific Essential Principles for all Non-IVD Medical Devices and Guidance on the Selection of Standards | MHD 14
| 11 | IS/IEC 62366 : Part 1 : 2015 | Medical Devices Part 1 Application of Usability Engineering to Medical Devices | MHD 14
| 12 | IS 3746 : 2018 | Graphical symbols for coal preparation plant (Second Revision) | PCD 7
| 13 | IS 5910 : 1977 | Fineness grades of wool (first revision) | TXD 4
| 14 | IS 9000 : Part 7 : Sec 1 : 2018 | Basic environmental testing procedures for electronic and electrical items: Part 7 impact test: Sec 1 shock (Test Ea) (Second Revision) | LITD 1
International Standards Refered In : | SNo | International Standard Number
| 1 | ISO 3744 : 2010
| 2 | ISO 18562 : 1 : 2017
| 3 | ISO 19223 : 2019
| 4 | ISO 80601 : 2 : 67 2020
| 5 | EN 13544 : 2 : 2002
: is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee