## Sheet1
Cross Reference Details for Indian Standard : IS/ISO 81060 : Part 2:2018
Indian Standards Refered In IS IS 16693 : 2021 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 13450 : Part 1 : 2018 | Medical electrical equipment: Part 1 general requirements for basic safety and essential performance (Second Revision) | MHD 15
| 2 | IS/IEC 80601 : Part 2 : Sec 30 : 2018 | Medical electrical equipment: Part 2 - 30 particular requirements for basic safety and essential performance of automated non - Invasive sphygmomanometers | MHD 11
| 3 | IS/ISO 81060 : Part 1 : 2007 | Non - Invasive sphygmomanometers: Part 1 requirements and test methods for non - Automated measurement type | MHD 11
| 4 | IS/ISO 16142 : Part 1 : 2016 | Medical Devices - Recognized Essential Principles of Safety and Performance of Medical Devices Part 1 General Essential Principles and Additional Specific Essential Principles for all Non-IVD Medical Devices and Guidance on the Selection of Standards | MHD 14
| 5 | IS/ISO 14971 : 2007 | Medical devices - Application of risk management to medical devices | MHD 14
| 6 | IS/ISO 14155 : 2011 | Clinical investigation of medical devices for human subjects - Good clinical practice | MHD 19
| 7 | IS 13450 : Part 2 : Sec 34 : 2019 | Medical Electrical Equipment Part 2 Particular Requirements for the Basic Safety and Essential Performance Section 34 Invasive blood pressure monitoring equipment | MHD 15
International Standards Refered In IS 16693 : 2021 | SNo | International Standard Number
| 1 | IEC 60601 : 1 : 11 2015
IS 16693 : 2021 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.