## Sheet1
Cross Reference Details for Indian Standard : IS 17698 :2021
Indian Standards Refered In IS IS 3025 : Part 71 : 2021 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 7348 : Part 1 : 2003 | Dental vocabulary: Part 1 general and clinical terms | MHD 8
| 2 | IS 7348 : Part 2 : 2003 | Dental vocabulary: Part 2 dental materials (First Revision) | MHD 8
| 3 | IS 7348 : Part 3 : 2003 | Dental vocabulary: Part 3 dental instruments (Second Revision) | MHD 8
| 4 | IS 7348 : Part 4 : 1994 | Dental vocabulary: Part 4 dental equipment (Second Revision) | MHD 8
| 5 | IS 7348 : Part 5 : 1994 | Dental vocabulary: Part 5 terms associated with testing | MHD 8
| 6 | IS/ISO 10993 : Part 1 : 2009 | Biological evaluation of medical devices Part 1 Evaluation and Testing within a risk management process | MHD 19
| 7 | IS/ISO 10993 : Part 7 : 2018 | Biological evaluation of medical devices Part 7 Ethylene oxide sterilization residuals | MHD 19
| 8 | IS/ISO 11135 : 2014 | Sterilization of health - Care products - Ethylene oxide - Requirements for the development, validation and routine control of a sterilization process for medical devices | MHD 12
| 9 | IS/ISO 11137 : Part 1 : 2006 | Sterilization of health care products - Radiation: Part 1 requirements for development, validation and routine control of a sterilization process for medical devices | MHD 12
| 10 | IS/ISO 11607 : Part 2 : 2019 | Packing for Terminally Sterilized Medical Devices Part 2 Validation Requirements for Forming Sealing and Assembly Processes (First Revision) | MHD 12
| 11 | IS/ISO 14155 : 2011 | Clinical investigation of medical devices for human subjects - Good clinical practice | MHD 19
| 12 | IS/ISO 14971 : 2019 | Medical devices - Application of risk management to medical devices First Revision | MHD 14
| 13 | IS/ISO 15223 : Part 1 : 2016 | Medical Devices — Symbols to be Used with Medical Device Labels, Labelling and Information to be Supplied Part 1 General Requirements ( Second Revision ) | MHD 14
| 14 | IS/ISO 15223 : Part 2 : 2010 | Medical devices - Symbols to be used with medical device labels, labelling, and information to be supplied: Part 2 symbol development, selection and validation | MHD 14
International Standards Refered In IS 3025 : Part 71 : 2021 | SNo | International Standard Number
| 1 | ISO 11134 : 1994
| 2 | ISO 14937 : 2009
| 3 | EN 1041 : 2008
IS 3025 : Part 71 : 2021 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 6359 : 2023 | Method for conditioning of textiles (first revision) | TXD 1