## Sheet1
Cross Reference Details for Indian Standard : IS 17745 :2021
Indian Standards Refered In IS IS 16143 : Part 6 : 2021 : | SNo | IS Number | Title | Technical Committee
| 1 | IS/ISO 10993 : Part 1 : 2009 | Biological evaluation of medical devices Part 1 Evaluation and Testing within a risk management process | MHD 19
| 2 | IS/ISO 11135 : 2014 | Sterilization of health - Care products - Ethylene oxide - Requirements for the development, validation and routine control of a sterilization process for medical devices | MHD 12
| 3 | IS/ISO 11137 : Part 1 : 2006 | Sterilization of health care products - Radiation: Part 1 requirements for development, validation and routine control of a sterilization process for medical devices | MHD 12
| 4 | IS/ISO 11137 : Part 2 : 2013 | Sterilization of health care products - Radiation: Part 2 establishing the sterilization dose | MHD 12
| 5 | IS/ISO 11137 : Part 3 : 2017 | Sterilization of Health Care Products â€• Radiation Part 3 Guidance on Dosimetric Aspects of Development, Validation and Routine Control | MHD 12
| 6 | IS/ISO 11607 : Part 1 : 2006 | Packaging for terminally sterilized medical devices: Part 1 requirements for materials, sterile barrier systems and packaging systems | MHD 12
| 7 | IS/ISO 13485 : 2016 | Medical Devices — Quality Management Systems — Requirements for Regulatory Purposes ( First Revision ) | MHD 14
| 8 | IS/ISO 14155 : 2011 | Clinical investigation of medical devices for human subjects - Good clinical practice | MHD 19
| 9 | IS/ISO 14971 : 2019 | Medical devices - Application of risk management to medical devices First Revision | MHD 14
| 10 | IS/ISO 15223 : Part 1 : 2016 | Medical Devices — Symbols to be Used with Medical Device Labels, Labelling and Information to be Supplied Part 1 General Requirements ( Second Revision ) | MHD 14
| 11 | IS/ISO 15223 : Part 2 : 2010 | Medical devices - Symbols to be used with medical device labels, labelling, and information to be supplied: Part 2 symbol development, selection and validation | MHD 14
| 12 | IS/ISO/IEC 17025 : 2017 | General requirements for the competence of testing and calibration laboratories (Second Revision) | MSD 14
| 13 | IS/ISO 22442 : Part 1 : 2015 | Medical Devices Utilizing Animal Tissues and their Derivatives Part 1 Application of Risk Management | MHD 19
| 14 | IS/ISO 22442 : Part 2 : 2015 | Medical Devices Utilizing Animal Tissues and their Derivatives Part 2 Controls on Sourcing, Collection and Handling | MHD 19
| 15 | IS/ISO/TR 22442 : Part 4 : 2010 | Medical Devices Utilizing Animal Tissues and their Derivatives Part 4 Principles for Elimination and/or Inactivation of Transmissble Spongifrom Encephalopathy (TSE) Agents and Validation Assays for those Processes | MHD 19
| 16 | IS/IEC 62366 : Part 1 : 2015 | Medical Devices Part 1 Application of Usability Engineering to Medical Devices | MHD 14
International Standards Refered In IS 16143 : Part 6 : 2021 | SNo | International Standard Number
| 1 | ISO 14160 : 2020
| 2 | ISO 14630 : 2012
| 3 | ISO 14937 : 2009
| 4 | ISO 17664 : 2017
| 5 | ISO 17665 : 1 : 2006
| 6 | ISO/TS 17665 : 2 : 2009
| 7 | ISO/TS 17665 : 3 : 2013
IS 16143 : Part 6 : 2021 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 4023 : 1991 | Methods for the determination of reactivity of coke (First Revision) | PCD 7
| 2 | IS 7190 : Part 1 : 2004 | Coke - Methods of test: Part 1 determination of bulk density in a small container (First Revision) | PCD 7
| 3 | IS 1354 : 1992 | Methods of test for Coke - Special tests (Second Revision) | PCD 7
| 4 | IS 4286 : 1976 | Specification for domestic coke (First Revision) | PCD 7