## Sheet1
Cross Reference Details for Indian Standard : IS/IEC 62817 :2017
Indian Standards Refered In IS IS 3470 : 2002 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 12762 : Part 3 : 2020 | Photovoltaic Devices Part 3 Measurement Principles for Terrestrial Photovoltaic PV Solar Devices with Reference Spectral Irradiance Data ( Third Revision ) | ETD 28
| 2 | IS 9000 : Part 7 : Sec 1 : 2018 | Basic environmental testing procedures for electronic and electrical items: Part 7 impact test: Sec 1 shock (Test Ea) (Second Revision) | LITD 1
| 3 | IS 9000 : Part 7 : Sec 7 : 2020 | Environmental Testing Part 7 Tests Section 7 Test Eh: Hammer tests ( First Revision ) | LITD 1
| 4 | IS 9000 : Part 8 : 1981 | Basic environmental testing procedures for electronic and electrical items: Part 8 vibration (Sinusoidal) test | LITD 1
| 5 | IS/ISO/IEC 17025 : 2017 | General requirements for the competence of testing and calibration laboratories (Second Revision) | MSD 14
| 6 | IS 9000 : Part 19 : Sec 1 to 5 : 1986 | Basic environmental testing procedures for electronic and electrical items: Part 19 test u: robustness of terminations and integral mounting devices (First Revision) | LITD 5
| 7 | IS/IEC 60529 : 2001 | Degrees of protection provided by enclosures (IP Code) | ETD 1
| 8 | IS 14700 : Part 4 : Sec 5 : 2019 | Electromagnetic compatibility (EMC): Part 4 testing and measurement techniques: Sec 5 surge immunity test (First Revision) | LITD 9
| 9 | IS 17050 : 2018 | Degrees of protection provided by enclosures for electrical equipment against external mechanical impacts (IK Code) | ETD 1
International Standards Refered In IS 3470 : 2002 | SNo | International Standard Number
| 1 | ISO 12103 : 1 : 0 0
IS 3470 : 2002 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.