## Sheet1
Cross Reference Details for Indian Standard : IS 13450 : Part 2 : Sec 35:2023
Indian Standards Refered In IS IS 17614 : Part 20 : 2021 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 13450 : Part 1 : 2018 | Medical electrical equipment: Part 1 general requirements for basic safety and essential performance (Second Revision) | MHD 15
| 2 | IS 13450 : Part 1 : SEC 2 : 2018 | Medical electrical equipment: Part 1 general requirements for the basic safety and essential performance: Sec 2 collateral standard: electromagnetic disturbances - Requirements and tests (First Revision) | MHD 15
| 3 | IS 13450 : Part 1 : Sec 8 : 2019 | Medical Electrical Equipment Part 1 General Requirements for Basic Safety and Essential Performance Section 8 Collateral Standard: General requirements, tests and guidance for alarm systems in medical electrical equipment and medical electrical systems | MHD 15
| 4 | IS 13450 : Part 1 : Sec 10 : 2019 | Medical Electrical Equipment Part 1 General Requirements for Basic Safety and Essential Performance Section 10 Collateral standard: Requirements for the development of physiologic closed-loop controllers | MHD 15
International Standards Refered In IS 17614 : Part 20 : 2021 | Standard contains no Cross Referenced International Standard.
IS 17614 : Part 20 : 2021 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.