## Sheet1
Cross Reference Details for Indian Standard : IS 16614 : Part 2:2022
Indian Standards Refered In IS IS 13450 : Part 2 : Sec 22 : 2021 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 1885 : Part 16 : Sec 1 : 1968 | Electotechnical vocabulary: Part 16 lighting: Sec 1 general aspects | ETD 1
| 2 | IS 2418 : Part 2 : 2018 | Tubular fluorescent lamps for general lighting service: Part 2 performance requirements (Second Revision) | ETD 23
| 3 | IS 6873 : Part 5 : 2019 | Limits and Methods of Measurement of Radio Disturbance Characteristics Part 5 Electrical Lighting and Similar Equipment ( Third Revision ) | LITD 9
| 4 | IS 9000 : Part 14 : Sec 1 to 3 : 1988 | Basic environmental testing procedures for electronic and electrical items:Part 14 test n:change of temperature (First Revision) | LITD 1
| 5 | IS 10322 : Part 1 : 2014 | Luminaires: Part 1 general requirements and tests (First Revision) | ETD 49
| 6 | IS 14700 : Part 3 : Sec 2 : 2020 | Electromagnetic Compatibility (EMC) Part 3 Limits Section 2 Limits for harmonic current emissions ( equipment input current ? 16 A per phase ) ( Third Revision ) | LITD 9
| 7 | IS 15885 : Part 2 : Sec 13 : 2012 | Safety of lamp controlgear: Part 2 particular requirements: Sec 13 d.c. or a.c. supplied electronic controlgear for led modules | ETD 23
| 8 | IS 16101 : 2012 | General lighting - Leds and led modules - Terms and definitions | ETD 23
| 9 | IS 16102 : Part 2 : 2017 | Self - Ballasted led lamps for general lighting services: Part 2 performance requirements (First Revision) | ETD 23
| 10 | IS 16103 : Part 2 : 2012 | Led modules for general lighting: Part 2 performance requirements | ETD 23
| 11 | IS 16106 : 2012 | Method of electrical and photometric measurements of solid state lighting (Led) products | ETD 23
| 12 | IS 16614 : Part 1 : 2018 | Double- Capped LED Linear Lamps Part1 Safety Specification | ETD 23
| 13 | IS/IEC/TR 61341 : 2010 | Method of Measurement of Centre Beam Intensity and Beam Angle(S) of Reflector Lamps | ETD 23
International Standards Refered In IS 13450 : Part 2 : Sec 22 : 2021 | Standard contains no Cross Referenced International Standard.
IS 13450 : Part 2 : Sec 22 : 2021 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 2032 : Part 19 : 1977 | Graphical symbols used in electrotechnology: Part 19 electrical equipment used in medical practice | ETD 1