## Sheet1
Cross Reference Details for Indian Standard : IS/ISO 21856 :2022
Indian Standards Refered In IS IS 101 : Part 2 : Sec 4 : 2022 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 13276 : Part 1 : 2000 | Mechanical vibration and shock - Evaluation of human exposure to whole body vibration: Part 1 general requirements (First Revision) | MED 28
| 2 | IS/ISO 5349 : Part 1 : 2001 | Mechanical vibration - Measurement and evaluation of human exposure to handtransmitted vibration: Part 1 general requirements (First Revision) | MED 28
| 3 | IS/ISO 5349 : PART 2 : 2001 | Mechanical vibration - Measurement and evaluation of human exposure to handtransmitted vibration: Part 2 practical guidance for measurement at the workplace (First Revision) | MED 28
| 4 | IS/ISO 10993 : Part 1 : 2009 | Biological evaluation of medical devices Part 1 Evaluation and Testing within a risk management process | MHD 19
| 5 | IS/ISO 11135 : 2014 | Sterilization of health - Care products - Ethylene oxide - Requirements for the development, validation and routine control of a sterilization process for medical devices | MHD 12
| 6 | IS/ISO 11137 : Part 1 : 2006 | Sterilization of health care products - Radiation: Part 1 requirements for development, validation and routine control of a sterilization process for medical devices | MHD 12
| 7 | IS/ISO 11137 : Part 2 : 2013 | Sterilization of health care products - Radiation: Part 2 establishing the sterilization dose | MHD 12
| 8 | IS/ISO 11607 : Part 1 : 2019 | Packaging for terminally sterilized medical devices â€” Part 1: Requirements for materials sterile barrier systems and packaging systems First Revision | MHD 12
| 9 | IS 16450 : 2017 | Graphical symbols for use on equipment - Registered symbols | PGD 1
| 10 | IS 16819 : 2018 | Safety of machinery - General principles for design - Risk assessment and risk reduction | MED 40
| 11 | IS 15727 : Part 1 : 2020 | Textiles – Assessment of the ignitability of bedding items Part 1 Ignition source: Smouldering cigarette (first revision) | TXD 32
| 12 | IS 15727 : Part 2 : 2020 | Textiles – Assessment of the ignitability of bedding items Part 2 Ignition source: Match-flame equivalent (first revision) | TXD 32
| 13 | IS/ISO 13485 : 2016 | Medical Devices — Quality Management Systems — Requirements for Regulatory Purposes ( First Revision ) | MHD 14
| 14 | IS 16810 : Part 1 : 2018 | Safety of machinery - Safety related parts of control systems: Part 1 general principles for design | MED 40
| 15 | IS 16810 : Part 2 : 2018 | Safety of machinery - Safety related parts of control systems: Part 2 validation | MED 40
| 16 | IS 16818 : 2018 | Safety of machinery - Emergency stop function - Principles for design | MED 40
| 17 | IS/ISO 14155 : 2011 | Clinical investigation of medical devices for human subjects - Good clinical practice | MHD 19
| 18 | IS/ISO 14971 : 2019 | Medical devices - Application of risk management to medical devices First Revision | MHD 14
| 19 | IS/ISO 15223 : Part 1 : 2016 | Medical Devices — Symbols to be Used with Medical Device Labels, Labelling and Information to be Supplied Part 1 General Requirements ( Second Revision ) | MHD 14
| 20 | IS/ISO 22442 : Part 1 : 2015 | Medical Devices Utilizing Animal Tissues and their Derivatives Part 1 Application of Risk Management | MHD 19
| 21 | IS 16504 : Part 1 : 2019 | Safety of Machinery — Electrical Equipment of Machines Part 1 General Requirements ( First Revision ) | ETD 44
| 22 | IS/IEC 60529 : 2001 | Degrees of protection provided by enclosures (IP Code) | ETD 1
| 23 | IS 13450 : Part 1 : 2018 | Medical electrical equipment: Part 1 general requirements for basic safety and essential performance (Second Revision) | MHD 15
| 24 | IS 13450 : Part 1 : SEC 2 : 2018 | Medical electrical equipment: Part 1 general requirements for the basic safety and essential performance: Sec 2 collateral standard: electromagnetic disturbances - Requirements and tests (First Revision) | MHD 15
| 25 | IS 13450 : Part 1 : Sec 11 : 2020 | Medical Electrical Equipment Part 1 General Requirements for Basic Safety and Essential Performance Section 11 Collateral Standard: Requirements for medical electrical equipment and medical electrical systems used in the home healthcare environment | MHD 15
| 26 | IS 13450 : Part 2 : Sec 52 : 2020 | Medical Electrical Equipment Part 2 Particular Requirements for the Basic Safety and Essential Performance Section 52 Medical beds | MHD 15
| 27 | IS/IEC 60695 : Part 11 : Sec 10 : 2013 | Fire hazard testing: Part 11 test flames :: Sec 10 50 w horizontal and vertical flame test methods | LITD 1
| 28 | IS/ISO 62304 : 2015 | Medical device software - Software life cycle processes | MHD 14
| 29 | IS/IEC 62311 : 2019 | Assessment of electronic and electrical equipment related to human exposure restrictions for electromagnetic fields 0 Hz - 300 GHz | LITD 9
| 30 | IS/IEC 80601 : Part 2 : Sec 35 : 2009 | Medical Electrical Equipment Part 2 Particular Requirements for the Basic Safety and Essential Performance Section 35 Heating devices using blankets, pads or mattresses and intended for heating in medical use | MHD 15
| 31 | IS/IEC 82304 : Part 1 : 2016 | Health software: Part 1 general requirements for product safety | MHD 17
| 32 | IS 101 : Part 6 : Sec 1 : 1988 | Methods of sampling and test for paints, varnishes and related products: Part 6 durability tests: Sec 1 resistance to humidity under conditions of condensation (Third Revision) | CHD 20
International Standards Refered In IS 101 : Part 2 : Sec 4 : 2022 | Standard contains no Cross Referenced International Standard.
IS 101 : Part 2 : Sec 4 : 2022 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 15489 : 2013 | Paint, plastic emulsion - Specification (First Revision) | CHD 20