## Sheet1
Cross Reference Details for Indian Standard : IS 17719 :2023
Indian Standards Refered In IS IS 1885 : Part 84 : 2022 : | SNo | IS Number | Title | Technical Committee
| 1 | IS/ISO 13485 : 2016 | Medical Devices — Quality Management Systems — Requirements for Regulatory Purposes ( First Revision ) | MHD 14
| 2 | IS/ISO 14971 : 2019 | Medical devices - Application of risk management to medical devices First Revision | MHD 14
| 3 | IS/ISO 15223 : Part 1 : 2016 | Medical Devices — Symbols to be Used with Medical Device Labels, Labelling and Information to be Supplied Part 1 General Requirements ( Second Revision ) | MHD 14
| 4 | IS/IEC 61010 : Part 1 : 2010 | Safety requirements for electrical equipment for measurement, control, and laboratory use Part 1 General requirements | MHD 19
| 5 | IS/ISO 62304 : 2015 | Medical device software - Software life cycle processes | MHD 14
| 6 | IS/IEC 62366 : Part 1 : 2015 | Medical Devices Part 1 Application of Usability Engineering to Medical Devices | MHD 14
International Standards Refered In IS 1885 : Part 84 : 2022 | Standard contains no Cross Referenced International Standard.
IS 1885 : Part 84 : 2022 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS/IEC 60862 : Part 1 : 2003 | Surface acoustic wave (SAW) filters of assessed quality: Part 1 generic specification | LITD 24
| 2 | IS/IEC 60695 : Part 2 : Sec 11 : 2014 | Fire Hazard Testing Part 2-11 Glowing / Hot-Wire Based Test Methods Glow-Wire Flammability Test Method for End-Products ( GWEPT ) | LITD 1
| 3 | IS/IEC 60695 : Part 2 : Sec 12 : 2014 | Fire Hazard Testing Part 2 Glowing / Hot-Wire Based Test Methods Section 12 Glow-wire flammability index ( GWFI ) test method for materials | LITD 1