## Sheet1
Cross Reference Details for Indian Standard : IS 18255 :2023
Indian Standards Refered In IS IS 2741 : 2022 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 878 : 2008 | Laboratory glassware - Graduated measuring cylinders (Second Revision) | CHD 10
| 2 | IS 1608 : Part 1 : 2022 | Metallic materials - Tensile testing - Part 1 : Method of test at room temperature ( Fifth Revision) | MTD 3
| 3 | IS 1828 : Part 1 : 2022 | METALLIC MATERIALS - CALIBRATION AND VERIFICATION OF STATIC UNIAXIAL TESTING MACHINES - PART 1: TENSION/COMPRESSION TESTING MACHINES - CALIBRATION AND VERIFICATION OF THE FORCE-MEASURING SYSTEM | MTD 3
| 4 | IS 2967 : 1983 | Specification for external micrometer (First Revision) | PGD 25
| 5 | IS 16491 : Part 1 : 2016 | Geometrical product specifications (GPS) - Dimensional measuring equipment: Part 1 calipers; design and metrological characteristics | PGD 25
International Standards Refered In IS 2741 : 2022 | Standard contains no Cross Referenced International Standard.
IS 2741 : 2022 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.