## Sheet1
Cross Reference Details for Indian Standard : IS 17017 : Part 31:2024
Indian Standards Refered In IS IS/ISO 5116 : Part 2 : 2021 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 732 : 2019 | Code of practice for electrical wiring installations (Fourth Revision) | ETD 20
| 2 | IS 9000 : Part 3 : Sec 1 to 5 : 1977 | Basic environmental testing procedures for electronic and electrical items: Part 3 dry heat test | LITD 1
| 3 | IS 9000 : Part 4 : 2020 | Environmental Testing Part 4 Tests - Test Cab: Damp Heat, Steady State ( Second Revision ) | LITD 1
| 4 | IS 13703 : Part 4 : 1993 | Specification for low - Voltage fuses for voltages not exceeding 1000 v ac or 1500 v dc: Part 4 supplementary requirements for fuse links for the protection of semiconductor devices | ETD 39
| 5 | IS 13703 : Part 2 : Sec 1 : 1993 | Specification for low - Voltage fuses for voltages not exceeding 1000 v ac or1500vdc: Part 2 fuses for use by authorized persons Sec 1 supplementary requirements | ETD 39
| 6 | IS 13703 : Part 2 : Sec 2 : 1993 | Low voltage fuses for voltage not exceeding 1000 v ac or 1500 v dc - Specification: Part 2 fuses for use by authorized persons Sec 2 examples of standardized fuses | ETD 39
| 7 | IS 15382 : Part 1 : 2014 | Insulation coordination for equipment within low - Voltage systems: Part 1 principles, requirements and tests (First Revision) | ETD 19
| 8 | IS/IEC 60309 : Part 1 : 2002 | Plugs, socket - Outlets and couplers for industrial purposes: Part 1 general requirements (First Revision) | ETD 14
| 9 | IS/IEC 60309 : PART 2 : 2002 | Plugs, socket - Outlets and couplers or industrial purposes: Part 2 dimensional interchangeability requirements for pin and contact - Tube accessories (First Revision) | ETD 14
| 10 | IS 12640 : Part 1 : 2016 | Residual current operated circuitBreakers without integral overcurrent protection for household and similar uses (Rccbs): Part 1 general rules (Second Revision) | ETD 7
| 11 | IS 12640 : Part 2 : 2016 | Residual current operated circuit - Breakers with integral overcurrent protection for household and similar uses (Rcbos): Part 2 general rules | ETD 7
| 12 | IS/IEC 61439 : Part 1 : 2011 | Low-Voltage Switchgear and Controlgear Assemblies Part 1 General Rules | ETD 7
| 13 | IS/IEC 61508 : PART 6 : 2010 | Functional safety of electrical/electronic/programmable electronic safety-related systems : Part 6 Guidelines on the applications | ETD 18
| 14 | IS/IEC 61508 : PART 0 : 2005 | Functional safety of electrical electronic/programmable electronic safety - Related systems: Part 0 functional safety and IEC 61508 | ETD 18
| 15 | IS/IEC 61508 : PART 5 : 2010 | Functional safety of electrical/electronic/programmable electronic safety - related systems : Part 5 Examples of methods for the determination of safety integrity levels | ETD 18
| 16 | IS/IEC 61508 : PART 4 : 2010 | Functional safety of electrical/electronic/programmable electronic safety-related systems : Part 4 Definitions and abbreviations | ETD 18
| 17 | IS/IEC 61508 : PART 1 : 2010 | Functional Safety of Electrical / Electronic / Programmable Electronic Safety-Related Systems Part 1 General Requirements ( First Revision ) | ETD 18
| 18 | IS/IEC 61508 : PART 3 : 2010 | Functional safety of electrical/electronic/programmable electronic safety-related systems : Part 3 Software requirements | ETD 18
| 19 | IS/IEC 61508 : PART 7 : 2010 | Functional safety of electgrical/electronic/programmable electgronic safety-related systems : Part 7 Overview of techniques and measures | ETD 18
| 20 | IS/IEC 61508 : PART 2 : 2010 | Functional safety of electrical/ electronic/programmable electronic safety - Related systems: Part 2 requirements for electrical/electronic/ programmable electronic safety related systems (First Revision) | ETD 18
| 21 | IS 17017 : Part 24 : 2021 | Electric Vehicle Conductive Charging System Part 24 : Digital Communication between a DC Electric Vehicle Supply Equipment and an Electric Vehicle for control of DC Charging | ETD 51
| 22 | IS 17120 : 2019 | In - Cable control and protection device for mode 2 charging of electric road vehicles (Ic - Cpd) | ETD 7
| 23 | IS 12360 : 1988 | Voltage bands for electrical installations including preferred voltages and frequency | ETD 1
| 24 | IS 17017 : Part 23 : 2021 | Electric Vehicle Conductive Charging Systems Part 23 dc Electric Vehicle Supply Equipment | ETD 51
| 25 | IS 13252 : Part 1 : 2010 | Information Technology Equipment - Safety Part 1: General Requirements (Second Revision) | LITD 7
| 26 | IS/IEC 60529 : 2001 | Degrees of protection provided by enclosures (IP Code) | ETD 1
| 27 | IS/IEC 60898 : PART 1 : 2015 | Electrical accessories - Circuit - Breakers for overcurrent protection for household and similar installations: Part 1 circuit - Breakers for a.c. operation (First Revision) | ETD 7
| 28 | IS/IEC 60898 : PART 2 : 2003 | Electrical accessories - Circuit - Breakers for overcurrent protection for household and similar installations: Part 2 circuit - Breakers for ac and dc operation | ETD 7
| 29 | IS/IEC 60947 : Part 2 : 2016 | Low - Voltage switchgear and controlgear: Part 2 circuit - Breakers (First Revision) | ETD 7
| 30 | IS/IEC 60947 : PART 3 : 2012 | Low - Voltage switchgear and controlgear: Part 3 switches, disconnectors, switch disconnectors and fuse - Combination units (First Revision) | ETD 7
| 31 | IS/IEC 60947 : Part 4 : Sec 1 : 2012 | Low - Voltage switchgear and controlgear: Part 4 contactors and motor - Starters: Sec 1 electromechanical contactors and motor - Starters (First Revision) | ETD 7
| 32 | IS/IEC 61558 : PART 1 : 1997 | Safety of power transformers, power supply units and similar: Part 1 general requirements and tests | ETD 16
| 33 | IS/IEC 60947 : Part 6 : Sec 2 : 2007 | Low-voltage switchgear and controlgear: Part 6 Multiple function equipment Section 2 Control and protective switching devices or equipment CPS | ETD 7
| 34 | IS/IEC 60990 : 2016 | Methods of Measurement of Touch Current and Protective Conductor Current (First Revision) | LITD 7
| 35 | IS 9409 : 1980 | Classification of electrical and electronic equipment with regard to protection against electric shock | ETD 1
| 36 | IS 10101 : 2019 | Information and Documentation — International Standard Serial Number ( ISSN ) ( Third Revision ) | MSD 5
| 37 | IS 16826 : 2018 | High - Voltage Test Techniques For Low-Voltage Equipment - Definitions, Test and Procedure Requirements, Test Equipment | ETD 19
| 38 | IS/IEC/TS 61439 : Part 7 : 2014 | Low-Voltage Switchgear and Controlgear Assemblies Part 7 Assemblies for Specific Applications such as Marinas, Camping Sites, Market Squares, Electric Vehicles Charging Stations | ETD 7
| 39 | IS/IEC 60068 : Part 2 : Sec 1 : 2007 | Environmental Testing Part 2 Tests Section 1 Test A: Cold | LITD 1
| 40 | IS 17064 : Part 1 : 2018 | Electromechanical elementary relays: Part 1 general and safety requirements | ETD 35
International Standards Refered In IS/ISO 5116 : Part 2 : 2021 | Standard contains no Cross Referenced International Standard.
IS/ISO 5116 : Part 2 : 2021 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.