## Sheet1
Cross Reference Details for Indian Standard : IS 18658 : Part 5:2024
Indian Standards Refered In IS IS 13360 : Part 11 : Sec 15 : 2022 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 17932 : Part 1 : 2023 | Biological evaluation of medical devices Part 1: Evaluation and testing within a risk management process (ISO 10993-1 : 2018, MOD) | MHD 19
| 2 | IS/ISO 10993 : Part 3 : 2014 | Biological evaluation of medical devices Part 3 Tests for Genotoxicity, Carcinogenicity and Reproductive toxicity (First Revision) | MHD 19
| 3 | IS/ISO 10993 : Part 5 : 2009 | Biological evaluation of medical devices Part 5 Tests for in vitro cytotoxicity | MHD 19
| 4 | IS/ISO 10993 : Part 6 : 2016 | Biological evaluation of medical devices Part 6 Tests for local effects after implantation | MHD 19
| 5 | IS/ISO 10993 : Part 10 : 2010 | Biological evaluation of medical devices Part 10 Tests for irritation and skin sensitization | MHD 19
| 6 | IS/ISO 10993 : Part 12 : 2021 | Biological Evaluation of Medical Devices Part 12 Sample Preparation and Reference Materials | MHD 19
| 7 | IS/ISO 10993 : Part 17 : 2002 | Biological Evaluation of Medical Devices Part 17 Establishment of Allowable Limits for Leachable Substances | MHD 19
| 8 | IS/ISO 11979 : Part 1 : 2018 | Ophthalmic implants Intraocular lenses Part 1:Vocabulary First Revision | MHD 5
| 9 | IS/ISO 11979 : Part 2 : 1999 | Ophthalmic implants - Intraocular lenses: Part 2 optical properties and test methods | MHD 5
| 10 | IS/ISO 11979 : Part 3 : 2006 | Ophthalmic implants - Intraocular lenses: Part 3 mechanical properties and test methods | MHD 5
| 11 | IS/ISO 14971 : 2019 | Medical devices - Application of risk management to medical devices First Revision | MHD 14
| 12 | IS/ISO 18369 :Part 4 : 2017 | Ophthalmic optics Contact lenses Part 4: Physicochemical properties of contact lens materials First Revision | MHD 5
| 13 | IS/ISO 10993 : Part 2 : 2006 | Biological Evaluation of Medical Devices Part 2 Animal Welfare Requirements (First Revision) | MHD 19
International Standards Refered In IS 13360 : Part 11 : Sec 15 : 2022 | Standard contains no Cross Referenced International Standard.
IS 13360 : Part 11 : Sec 15 : 2022 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.