## Sheet1
Cross Reference Details for Indian Standard : IS 19179 :2025
Indian Standards Refered In IS IS 1920 : 2023 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 667 : 1981 | Method for Identification of Textile Fibres (first revision) | TXD 5
| 2 | IS 1390 : 2022 | Textiles Determination of pH of aqueous extract third revision of IS 1390 | TXD 5
| 3 | IS 14944 : 2020 | Surgical Dressings - Methods of Test ( first revision ) | TXD 36
| 4 | IS 3416 : 2024 | Textiles — Quantitative Chemical Analysis — Mixtures of Certain Cellulose Fibres with Certain Other Fibres (Method Using Sulphuric Acid) (Third Revision) | TXD 5
| 5 | IS 15891 : Part 1 : 2024 | Nonwovens â€” Methods of Test Part 1 Determination of Mass Per Unit Area (First Revision) | TXD 33
| 6 | IS 15891 : Part 3 : 2024 | Nonwovens â€” Methods of Test Part 3 Determination of Tensile Strength and Elongation at Break Using the Strip Method (First Revision) | TXD 33
| 7 | IS 15891 : Part 6 : 2012 | Textiles - Test Methods for Nonwovens Part 6 Absorption | TXD 33
| 8 | IS 15891 : Part 10 : 2017 | Textiles - Test Methods for Nonwovens Part 10 Lint and Other Particle Generation in the Dry State | TXD 33
| 9 | IS 4905 : 2015 | Random sampling and randomization procedures (First Revision) | MSD 3
| 10 | IS/ISO 10993 : Part 5 : 2009 | Biological evaluation of medical devices Part 5 Tests for in vitro cytotoxicity | MHD 19
| 11 | IS/ISO 10993 : Part 12 : 2021 | Biological Evaluation of Medical Devices Part 12 Sample Preparation and Reference Materials | MHD 19
| 12 | IS/ISO 11737 : Part 1 : 2018 | Sterilization of health care products Microbiological methods Part 1: Determination of a population of microorganisms on products | MHD 12
| 13 | IS 17932 : Part 6 : 2023 | Biological Evaluation of Medical Devices Part 6 Tests for skin sensitization (ISO 10993-10 : 2021, MOD) | MHD 19
| 14 | IS 17932 : Part 7 : 2024 | Biological Evaluation of Medical Devices Part 7 Tests for irritation ISO 10993-23:2021 MOD | MHD 19
International Standards Refered In IS 1920 : 2023 | Standard contains no Cross Referenced International Standard.
IS 1920 : 2023 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.