## Sheet1
Cross Reference Details for Indian Standard : IS/IEC 61557 : Part 14:2023
Indian Standards Refered In IS IS/IEC 60068 : Part 2 : Sec 43 : 2003 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 16504 : Part 1 : 2019 | Safety of Machinery — Electrical Equipment of Machines Part 1 General Requirements ( First Revision ) | ETD 44
| 2 | IS/IEC 60529 : 2001 | Degrees of protection provided by enclosures (IP Code) | ETD 1
| 3 | IS/IEC 61557 : Part 1 : 2019 | Electrical Safety in Low Voltage Distribution Systems Up to 1 000 V a.c. and 1 500 V d.c. - Equipment for Testing, Measuring or Monitoring of Protective Measures Part 1 General Requirements ( First Revision ) | ETD 12
| 4 | IS/IEC 61557 : Part 2 : 2019 | Electrical Safety in Low Voltage Distribution Systems Up to 1 000 V a.c. and 1 500 V d.c. - Equipment for Testing, Measuring or Monitoring of Protective Measures Part 2 Insulation Resistance ( First Revision ) | ETD 12
International Standards Refered In IS/IEC 60068 : Part 2 : Sec 43 : 2003 | Standard contains no Cross Referenced International Standard.
IS/IEC 60068 : Part 2 : Sec 43 : 2003 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.