## Sheet1
Cross Reference Details for Indian Standard : IS 18639 :2024
Indian Standards Refered In IS IS 4707 : Part 4 : 2022 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 17932 : Part 1 : 2023 | Biological evaluation of medical devices Part 1: Evaluation and testing within a risk management process (ISO 10993-1 : 2018, MOD) | MHD 19
| 2 | IS/ISO 10993 : Part 6 : 2016 | Biological evaluation of medical devices Part 6 Tests for local effects after implantation | MHD 19
| 3 | IS/ISO 10993 : Part 7 : 2018 | Biological evaluation of medical devices Part 7 Ethylene oxide sterilization residuals | MHD 19
| 4 | IS/ISO 10993 : Part 9 : 2009 | Biological evaluation of medical devices Part 9 Framework for identification and quantification of potential degradation products | MHD 19
| 5 | IS/ISO 10993 : Part 16 : 2017 | Biological Evaluation of Medical Devices Part 16 Toxicokinetic Study Design for Degradation Products and Leachables | MHD 19
| 6 | IS/ISO 11135 : 2014 | Sterilization of health - Care products - Ethylene oxide - Requirements for the development, validation and routine control of a sterilization process for medical devices | MHD 12
| 7 | IS/ISO 11137 : Part 1 : 2006 | Sterilization of health care products - Radiation: Part 1 requirements for development, validation and routine control of a sterilization process for medical devices | MHD 12
| 8 | IS/ISO 11137 : Part 2 : 2013 | Sterilization of health care products - Radiation: Part 2 establishing the sterilization dose | MHD 12
| 9 | IS/ISO 11137 : Part 3 : 2017 | Sterilization of Health Care Products â€• Radiation Part 3 Guidance on Dosimetric Aspects of Development, Validation and Routine Control | MHD 12
| 10 | IS/ISO 11607 : Part 1 : 2019 | Packaging for terminally sterilized medical devices â€” Part 1: Requirements for materials sterile barrier systems and packaging systems First Revision | MHD 12
| 11 | IS/ISO 14155 : 2011 | Clinical investigation of medical devices for human subjects - Good clinical practice | MHD 19
| 12 | IS/ISO 14971 : 2019 | Medical devices - Application of risk management to medical devices First Revision | MHD 14
| 13 | IS/ISO 22442 : Part 1 : 2015 | Medical Devices Utilizing Animal Tissues and their Derivatives Part 1 Application of Risk Management | MHD 19
| 14 | IS/ISO 22442 : Part 2 : 2015 | Medical Devices Utilizing Animal Tissues and their Derivatives Part 2 Controls on Sourcing, Collection and Handling | MHD 19
| 15 | IS/ISO 13408 : Part 1 : 2008 | Aseptic processing of health care products Part 1 General requirements | MHD 12
| 16 | IS/ISO 8980 : Part 3 : 2013 | Ophthalmic optics - Uncut finished spectacle lenses: Part 3 transmittance specifications and test methods | MHD 5
International Standards Refered In IS 4707 : Part 4 : 2022 | Standard contains no Cross Referenced International Standard.
IS 4707 : Part 4 : 2022 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 4707 : Part 4 : 2022 | Classification Of Cosmetic Raw Materials And Adjuncts -List of UV Filters Allowed In Cosmetics With Restriction-IS 4707 Part 4 | PCD 19