## Sheet1
Cross Reference Details for Indian Standard : IS 17721 :2024
Indian Standards Refered In IS IS/IEC 62680 : Part 1 : Sec 8 : 2019 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 13450 : Part 1 : 2018 | Medical electrical equipment: Part 1 general requirements for basic safety and essential performance (Second Revision) | MHD 15
| 2 | IS/ISO 14971 : 2019 | Medical devices - Application of risk management to medical devices First Revision | MHD 14
| 3 | IS/ISO 13485 : 2016 | Medical Devices — Quality Management Systems — Requirements for Regulatory Purposes ( First Revision ) | MHD 14
| 4 | IS/IEC 61010 : Part 1 : 2010 | Safety requirements for electrical equipment for measurement, control, and laboratory use Part 1 General requirements | MHD 19
International Standards Refered In IS/IEC 62680 : Part 1 : Sec 8 : 2019 | Standard contains no Cross Referenced International Standard.
IS/IEC 62680 : Part 1 : Sec 8 : 2019 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.