## Sheet1
Cross Reference Details for Indian Standard : IS 18665 :2024
Indian Standards Refered In IS IS 9859 : Part 1 : 2023 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 13970 : Part 1 : 2023 | Prosthetics and orthotics Vocabulary Part 1: General terms for external limb prostheses and external orthoses First Revision | MHD 9
| 2 | IS/ISO 16142 : Part 1 : 2016 | Medical Devices - Recognized Essential Principles of Safety and Performance of Medical Devices Part 1 General Essential Principles and Additional Specific Essential Principles for all Non-IVD Medical Devices and Guidance on the Selection of Standards | MHD 14
| 3 | IS/ISO 16142 : Part 2 : 2017 | Medical devices - Recognized essential principles of safety and performance of medical devices: Part 2 General essential principles and additional specific essential principles for all IVD medical devices and guidance on the selection of standards | MHD 14
| 4 | IS/ISO 22523 : 2006 | External limb prostheses and external orthoses - Requirements and test methods | MHD 9
| 5 | IS/ISO 22675 : 2016 | Prosthetics - Testing of ankle - Foot devices and foot units - Requirements and test methods | MHD 9
International Standards Refered In IS 9859 : Part 1 : 2023 | Standard contains no Cross Referenced International Standard.
IS 9859 : Part 1 : 2023 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.