## Sheet1
Cross Reference Details for Indian Standard : IS/IEC 60143 : Part 2:2012
Indian Standards Refered In IS IS 4929 : 2023 : | SNo | IS Number | Title | Technical Committee
| 1 | IS/IEC 60044 : Part 8 : 2002 | Instrument transformers: Part 8 electronic current transformers | ETD 34
| 2 | IS 2071 : Part 1 : 2016 | High - Voltage test techniques: Part 1 general definitions and test requirements (Third Revision) | ETD 19
| 3 | IS/IEC 60060 : PART 2 : 2010 | High - Voltage test techniques: Part 2 measuring systems | ETD 19
| 4 | IS/IEC 60060 : PART 3 : 2006 | High - Voltage test techniques: Part 3 definitions and requirements for on - Site testing | ETD 19
| 5 | IS 2026 : Part 1 : 2011 | Power transformers: Part 1 general (Second Revision) | ETD 16
| 6 | IS 2026 : Part 6 : 2017 | Power transformers: Part 6 reactors | ETD 16
| 7 | IS 15086 : Part 4 : 2017 | Surge arresters: Part 4 metal - Oxide surge arresters without gaps for A.C. systems | ETD 30
| 8 | IS/IEC 60143 : Part 1 : 2015 | SERIES CAPACITORS FOR POWER SYSTEMS PART 1 : GENERAL (Second Revision) | ETD 29
| 9 | IS/IEC 60255 : Part 21 : Sec 1 : 1988 | Electrical relays: Part 21 vibration, shock, bump and seismic tests on measuring relays and protection equipment: Sec 1 vibration tests (Sinusoidal) | ETD 35
| 10 | IS/IEC 60270 : 2000 | High - Voltage test techniques - Partial discharge measurements | ETD 19
| 11 | IS/IEC 60358 : Part 1 : 2012 | COUPLING CAPACITORS AND CAPACITOR DIVIDERS PART 1 GENERAL RULES (Second Revision) | ETD 29
| 12 | IS/IEC 60358 : Part 2 : 2013 | COUPLING CAPACITORS AND CAPACITOR DIVIDERS PART 2 a.c. or d.c. SINGLE-PHASE COUPLING CAPACITOR CONNECTED BETWEEN LINE AND GROUND FOR POWER LINE CARRIER-FREQUENCY (PLC) APPLICATION | ETD 29
| 13 | IS/IEC 60794 : PART 1 : SEC :1 : 2015 | Optical Fibre Cables Part 1 Generic Specification Section 1 General ( First Revision ) | LITD 11
| 14 | IS/IEC 60794 : Part 2 : 2017 | Optical fibre cables Part 2 Indoor cables Sectional specification First Revision | LITD 11
| 15 | IS 16784 : 2018 | Insulators for Overhead Lines - Composite Suspension and Tension Insulators for a.c. Systems with a Nominal Voltage Greater Than 1 000 V - Definitions, Test Methods and Acceptance Criteria | ETD 6
| 16 | IS 16227 : Part 3 : 2015 | Instrument transformers: Part 3 additional requirements for inductive voltage transformers | ETD 34
| 17 | IS 16227 : Part 5 : 2015 | Instrument transformers: Part 5 additional requirements for capacitors voltage transformers | ETD 34
| 18 | IS/IEC 62271 : PART 1 : 2017 | HIGH-VOLTAGE SWITCHGEAR AND CONTROLGEAR PART 1 COMMON SPECIFICATIONS FOR ALTERNATING CURRENT SWITCHGEAR AND CONTROLGEAR | ETD 8
| 19 | IS/IEC 62271 : Part 102 : 2018 | High-Voltage Switchgear and Controlgear Part 102 Alternating Current Disconnectors And Earthing Switches | ETD 8
| 20 | IS/IEC 62271 : PART 109 : 2019 | High-Voltage switchgear and Controlgear: Part 109 Alternating-current series capacitor by-pass switches | ETD 08
| 21 | IS/IEC 60044 : Part 8 : 2002 | Instrument transformers: Part 8 electronic current transformers | ETD 34
| 22 | IS 18323 : 2023 | Thyristor valves for thyristor-controlled series capacitors TCSC Electrical testing | ETD 40
International Standards Refered In IS 4929 : 2023 | Standard contains no Cross Referenced International Standard.
IS 4929 : 2023 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.