## Sheet1
Cross Reference Details for Indian Standard : IS 18927 :2024
Indian Standards Refered In IS IS 16412 : 2023 : | SNo | IS Number | Title | Technical Committee
| 1 | IS/ISO 10555 : PART 1 : 2013 | Intravascular catheters - Sterile and single - Use catheters: Part 1 general requirements (First Revision) | MHD 12
| 2 | IS 17932 : Part 1 : 2023 | Biological evaluation of medical devices Part 1: Evaluation and testing within a risk management process (ISO 10993-1 : 2018, MOD) | MHD 19
| 3 | IS/ISO 10993 : Part 2 : 2006 | Biological Evaluation of Medical Devices Part 2 Animal Welfare Requirements (First Revision) | MHD 19
| 4 | IS/ISO 11135 : 2014 | Sterilization of health - Care products - Ethylene oxide - Requirements for the development, validation and routine control of a sterilization process for medical devices | MHD 12
| 5 | IS/ISO 11137 : Part 1 : 2006 | Sterilization of health care products - Radiation: Part 1 requirements for development, validation and routine control of a sterilization process for medical devices | MHD 12
| 6 | IS/ISO 11137 : Part 2 : 2013 | Sterilization of health care products - Radiation: Part 2 establishing the sterilization dose | MHD 12
| 7 | IS/ISO 11137 : Part 3 : 2017 | Sterilization of Health Care Products â€• Radiation Part 3 Guidance on Dosimetric Aspects of Development, Validation and Routine Control | MHD 12
| 8 | IS/ISO 11607 : Part 1 : 2019 | Packaging for terminally sterilized medical devices â€” Part 1: Requirements for materials sterile barrier systems and packaging systems First Revision | MHD 12
| 9 | IS/ISO 11607 : Part 2 : 2019 | Packing for Terminally Sterilized Medical Devices Part 2 Validation Requirements for Forming Sealing and Assembly Processes (First Revision) | MHD 12
| 10 | IS/ISO 14155 : 2020 | Clinical investigation of medical devices for human subjects - Good clinical practice | MHD 19
| 11 | IS 18076 : 2023 | Non-active surgical implants - General requirements
| 12 | IS/ISO 14937 : 2009 | Sterilization of health care products General requirements for characterization of a sterilizing agent and the development validation and routine control of a sterilization process for medical devices | MHD 12
| 13 | IS/ISO 14971 : 2019 | Medical devices - Application of risk management to medical devices First Revision | MHD 14
| 14 | IS/ISO 15223 : Part 1 : 2016 | Medical Devices — Symbols to be Used with Medical Device Labels, Labelling and Information to be Supplied Part 1 General Requirements ( Second Revision ) | MHD 14
| 15 | IS/ISO 15223 : Part 2 : 2010 | Medical devices - Symbols to be used with medical device labels, labelling, and information to be supplied: Part 2 symbol development, selection and validation | MHD 14
| 16 | IS 18319 : Part 1 : 2023 | Sterilization of health care products Moist heat Part 1: Requirements for the development validation and routine control of a sterilization process for medical devices | MHD 12
| 17 | IS/ISO 22442 : Part 1 : 2015 | Medical Devices Utilizing Animal Tissues and their Derivatives Part 1 Application of Risk Management | MHD 19
| 18 | IS 17922 : Part 1 : 2023 | Medical Devices Part 1: Application of Usability Engineering | MHD 14
| 19 | IS 18529 : 2024 | Sterile single-use intravascular introducers, dilators and guidewire | MHD 12
| 20 | IS 18742 : Part 1 : 2024 | Processing of health care products ï¿½ Information to be provided by the medical device manufacturer for the processing of medical devices Part 1 Critical and semi-critical medical devices | MHD 12
| 21 | IS/ISO 20417 : 2021 | Medical devices Information to be supplied by the manufacturer | MHD 14
| 22 | IS/ISO 13485 : 2016 | Medical Devices — Quality Management Systems — Requirements for Regulatory Purposes ( First Revision ) | MHD 14
International Standards Refered In IS 16412 : 2023 | Standard contains no Cross Referenced International Standard.
IS 16412 : 2023 is Refered in following Indian Standards : | Standard contains no Cross Referenced Indian Standard.