## Sheet1
Cross Reference Details for Indian Standard : IS 1248 : Part 7:2021
Indian Standards Refered In IS IS 1248 : Part 7 : 2003 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 1248 : Part 1 : 2003 | Direct acting indicating analogue electrical measuring instruments and their accessories: Part 1 definitions and general requirements (Fourth Revision) | ETD 12
International Standards Refered In IS 1248 : Part 7 : 2003 | Standard contains no Cross Referenced International Standard.
IS 1248 : Part 7 : 2003 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 13314 : 1992 | Solid state inverters run from storage batteries - Specification | ETD 31
| 2 | IS 12640 : Part 2 : 2016 | Residual current operated circuit - Breakers with integral overcurrent protection for household and similar uses (Rcbos): Part 2 general rules | ETD 7
| 3 | IS 15767 : 2008 | Secondary cells and batieries containing alkaline or other non - Acid electrolytes - Nickel - Cadmium prismatic secondary single cells with partial gas recombination | ETD 11
| 4 | IS 16046 : 2015 | Secondary Cells and Batteries Containing Alkaline or Other Non-acid Electrolytes - Safety Requirements for Portable Sealed Secondary Cells, and for Batteries Made from them, for Use in Portable Applications ( First Revision ) | ETD 11
| 5 | IS 16048 : Part 1 : 2013 | Secondary cells and batteries containing alkaline or other non - Acid electrolytes - Portable sealed rechargeable single cells: Part 1 nickel - Cadmium | ETD 11
| 6 | IS 16049 : 2013 | Secondary cells and batteries containing alkaline or other non - Acid electrolytes - Sealed nickel - Cadmium prismatic rechargeable single cells | ETD 11
| 7 | IS 1651 : 2013 | Stationary cells and batteries, lead - Acid type (With Tubular Positive Plates) - Specification (Fourth Revision) | ETD 11
| 8 | IS 5154 : Part 1 : 2013 | Lead - Acid traction batteries: Part 1 general requirements and methods of test (Second Revision) | ETD 11
| 9 | IS 8320 : 2000 | General requirements and methods of tests for lead - Acid storage batteries (Second Revision) | ETD 11
| 10 | IS 4029 : 2010 | Guide for testing three phase induction motors (First Revision) | ETD 15
| 11 | IS 15105 : 2021 | Design and Installation of Fixed Automatic Sprinkler Fire Extinguishing Systems - Code of Practice (first revision) | CED 22