## Sheet1
Cross Reference Details for Indian Standard : IS 12615:2011
Indian Standards Refered In IS IS 12615 : 2018 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 15999 : PART 2 : SEC 1 : 2011 | Rotating electrical machines: Part 2 method of tests: Sec 1 standard methods for determining losses and efficiency from tests (Excluding Machines For Traction Vehicles) | ETD 15
| 2 | IS 1231 : 2019 | Dimensions and Output Series of Foot Mounted Induction Motors — Frame Numbers 56 to 315 L ( Fourth Revision ) | ETD 15
| 3 | IS 1885 : Part 35 : 1993 | Electrotechnical vocabulary: Part 35 rotating machines (First Revision) | ETD 1
| 4 | IS 2223 : 1983 | Dimensions of flange mounted AC induction motors | ETD 15
| 5 | IS 2254 : 1985 | Dimensions of vertical shaft motors for pumps (Second Revision) | ETD 15
| 6 | IS 3043 : 2018 | Code of practice for earthing (Second Revision) | ETD 20
| 7 | IS 6362 : 1995 | Designation of methods of cooling of rotating electrical machines (First Revision) | ETD 15
| 8 | IS 7816 : 1975 | Guide for testing insulation resistance of rotating machines | ETD 15
| 9 | IS 12065 : 1987 | Permissible limits of noise levels for rotating electrical machines | ETD 15
| 10 | IS 12075 : 2008 | Mechanical vibration of rotating electrical machines with shaft heights 56 mm and higher - Measurement, evaluation and limits of vibration severity (First Revision) | ETD 15
| 11 | IS 13508 : 1992 | Test procedure for measurement of loss tangent angle of coils and bars for machine winding - Guide | ETD 2
| 12 | IS 14222 : 1995 | Impulse voltage withstand levels of rotating a.c. machines with form - Wound stator coils | ETD 15
| 13 | IS/IEC 60034 : PART 1 : 2004 | Rotating electrical machines : Part 1 Rating and performance | ETD 15
| 14 | IS/IEC 60034 : PART 5 : 2000 | Rotating electrical machines: Part 5 degrees of protection provided by the integral design of rotating electrical machines (IP Code) - Classification | ETD 15
| 15 | IS/IEC 60034 : PART 8 : 2014 | Rotating Electrical Machines Part 8 Terminal Markings and Direction of Rotation ( Third Revision ) | ETD 15
International Standards Refered In IS 12615 : 2018 | SNo | International Standard Number
| 1 | IEC 60034 : 30 : 2008
| 2 | IEC 60034 : 2 : 1 2007
| 3 | IEC 34 : 6 : 1991
| 4 | IEC 34 : 15 : 1992
IS 12615 : 2018 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 8148 : 2018 | Ducted and package air - Conditioners - Specification (Second Revision) | MED 3
| 2 | IS 17239 : 2019 | Safety Requirements for Drives Used for Ropeway Installation for Passenger Transportation | MED 6
| 3 | IS 900 : 2019 | Code of Practice for Storage, Installation and Maintenance of Induction Motors ( Third Revision ) | ETD 15
| 4 | IS 1231 : 2019 | Dimensions and Output Series of Foot Mounted Induction Motors — Frame Numbers 56 to 315 L ( Fourth Revision ) | ETD 15
| 5 | IS 3177 : 2020 | Electric Overhead Travelling Crane and Gantry Crane for all Applications — Code of Practice ( Third Revision ) | MED 14
| 6 | IS 16996 : 2018 | Low-Voltage Electrical Installations â€” Energy Efficiency | ETD 20
| 7 | IS 4573 : 2020 | Power Driven Mobile Cranes — Specification ( Second Revision ) | MED 14
| 8 | IS 1710 : 2021 | Vertical Turbine Pumps - Specification ( Third Revision ) | MED 20
| 9 | IS 15999 : Part 1 : 2016 | Rotating Electrical Machines Part 1 Rating and Performance (First Revision) | ETD 15
| 10 | IS 11891 : 1986 | Specification for lubrication and oil seal system for dynamic compressors | MED 22
| 11 | IS 11328 : 1985 | Specification for self - Contained automatic ice makers | MED 3
| 12 | IS 6206 : 1985 | Guide for selection, installation and maintenance of air compressor plants with operating pressures up to 10 bars (First Revision) | MED 22
| 13 | IS 5552 : 2022 | Warfarin, technical - Specification First Revision | FAD 1
| 14 | IS 5889 : 1994 | Vibratory plate compactor - Specification (First Revision) | MED 18
| 15 | IS 2746 : 2023 | SPRING BOARDS SPECIFICATION | PGD 41
| 16 | IS 9283 : 2013 | Motors for submersible pumpsets - Specification (Second Revision) | ETD 15
| 17 | IS 7206 : Part 1 : 1986 | General requirements for direct circulation rotary drilling rigs: Part 1 with rotary table (First Revision) | MED 21