## Sheet1
Cross Reference Details for Indian Standard : IS 13009:2021
Indian Standards Refered In IS IS 13009 : 2000 : | SNo | IS Number | Title | Technical Committee
| 1 | IS/ISO 10993 : Part 3 : 2014 | Biological evaluation of medical devices Part 3 Tests for Genotoxicity, Carcinogenicity and Reproductive toxicity (First Revision) | MHD 19
| 2 | IS/ISO 10993 : Part 5 : 2009 | Biological evaluation of medical devices Part 5 Tests for in vitro cytotoxicity | MHD 19
| 3 | IS/ISO 10993 : Part 6 : 2016 | Biological evaluation of medical devices Part 6 Tests for local effects after implantation | MHD 19
| 4 | IS/ISO 10993 : Part 10 : 2010 | Biological evaluation of medical devices Part 10 Tests for irritation and skin sensitization | MHD 19
| 5 | IS/ISO 10993 : Part 11 : 2017 | Biological evaluation of medical devices Part 11 Tests for systemic toxicity | MHD 19
| 6 | IS 11135 : 1984 | Metoxuron, Technical | FAD 1
| 7 | IS/ISO 11137 : Part 1 : 2006 | Sterilization of health care products - Radiation: Part 1 requirements for development, validation and routine control of a sterilization process for medical devices | MHD 12
| 8 | IS/ISO 11137 : Part 2 : 2013 | Sterilization of health care products - Radiation: Part 2 establishing the sterilization dose | MHD 12
| 9 | IS/ISO 15223 : Part 1 : 2016 | Medical Devices — Symbols to be Used with Medical Device Labels, Labelling and Information to be Supplied Part 1 General Requirements ( Second Revision ) | MHD 14
| 10 | IS/ISO 15223 : Part 2 : 2010 | Medical devices - Symbols to be used with medical device labels, labelling, and information to be supplied: Part 2 symbol development, selection and validation | MHD 14
| 11 | IS 9298 : Part 2 : 1980 | Specification for television pattern generators: Part 2 methods of measurements | LITD 8
International Standards Refered In IS 13009 : 2000 | SNo | International Standard Number
| 1 | ASTM 0 : 2020
| 2 | ASTM 0 : 2020
IS 13009 : 2000 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 13009 : 2000 | Contraceptive devices - Tubal ring - Specification (First Revision) | MHD 3