## Sheet1
Cross Reference Details for Indian Standard : IS/IEC 62271 : PART 1:2017
Indian Standards Refered In IS IS/IEC 62271 : PART 1 : 2007 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 12360 : 1988 | Voltage bands for electrical installations including preferred voltages and frequency | ETD 1
| 2 | IS 1885 : Part 57 : 2008 | Electrotechnical vocabulary: Part 57 circuit theory (Second Revision) | ETD 1
| 3 | IS 1885 : Part 74 : 2012 | Electrotechnical vocabulary: Part 74 electrical and magnetic devices (First Revision) | ETD 1
| 4 | IS 1885 : Part 75 : 2021 | Electrotechnical Vocabulary Part 75 : Control Technology (Second Revision) | ETD 1
| 5 | IS 1885 : Part 17 : 1979 | Electrotechnical vocabulary: Part 17 switchgear and control gear (First Revision) | ETD 1
| 6 | IS 1885 : Part 27 : 2008 | Electrotechnical vocabulary: Part 27 power electronics (Third Revision) | ETD 1
| 7 | IS 2071 : Part 1 : 2016 | High - Voltage test techniques: Part 1 general definitions and test requirements (Third Revision) | ETD 19
| 8 | IS/IEC 60068 : Part 2 : Sec 1 : 2007 | Environmental Testing Part 2 Tests Section 1 Test A: Cold | LITD 1
| 9 | IS/IEC 60071 : Part 1 : 2019 | Insulation Coordination Part 1 Definition Principles And Rules (First Revision) | ETD 19
| 10 | IS/IEC 60071 : PART 2 : 2018 | Insulation Coordination Part 2: Application Guide (First Revision) | ETD 19
| 11 | IS 1271 : 2012 | Electrical insulation - Thermal evaluation and designation (Second Revision) | ETD 2
| 12 | IS/IEC 60255 : Part 21 : Sec 1 : 1988 | Electrical relays: Part 21 vibration, shock, bump and seismic tests on measuring relays and protection equipment: Sec 1 vibration tests (Sinusoidal) | ETD 35
| 13 | IS/IEC 60270 : 2000 | High - Voltage test techniques - Partial discharge measurements | ETD 19
| 14 | IS 13072 : 2021 | Specification of Technical Grade Sulphur Hexafluoride SF6 for Use in Electrical Equipment purposes | ETD 3
| 15 | IS 17053 : 2019 | Guidelines for the checking and treatment of sulfur hexafluoride (SF6) taken from electrical equipment and specification for its re - Use | ETD 3
| 16 | IS 8704 : 2018 | Artificial pollution test on highVoltage ceramic and glass insulators to be used on a.c. systems (Second Revision) | ETD 6
| 17 | IS 12448 : Part 2 : Sec 1 : 1988 | Basic testing procedures and measuring methods for electrotechnical components for electronic equipment: Part 2 general examination, electrical continuity and contact resistance tests, insulation tests and voltage stress tests: Sec 1 general examination | LITD 3
| 18 | IS/IEC 60529 : 2001 | Degrees of protection provided by enclosures (IP Code) | ETD 1
| 19 | IS 16683 : Part 1 : 2018 | Selection and Dimensioning of High-Voltage Insulators Intended for Use in Polluted Conditions Part 1 Definitions, Information and General Principles | ETD 6
| 20 | IS 16683 : Part 2 : 2018 | Selection and Dimensioning of High-Voltage Insulators Intended for Use in Polluted Conditions Part 2 Ceramic and Glass Insulators for a.c. Systems | ETD 6
| 21 | IS 16835 : Part 3 : 2018 | Safety of machinery - Pressure - Sensitive protective devices: Part 3 general principles for design and testing of pressure - Sensitive bumpers, plates, wires and similar devices | MED 40
| 22 | IS 14700 : Part 4 : Sec 4 : 2018 | Electromagnetic compatibility (EMC): Part 4 testing and measurement techniques: Sec 4 electrical fast transient / burst immunity test (Second Revision) | LITD 9
| 23 | IS 14700 : Part 4 : Sec 11 : 2021 | Electromagnetic compatibility EMC: Part 4 testing and measurement techniques: Sec 11 voltage dips short interruptions and voltage variations immunity tests for equipment with input current up to 16 A per phase | LITD 9
| 24 | IS 14700 : Part 4 : Sec 17 : 2018 | Electromagnetic Compatiblity (EMC) Part 4 Testing & Measurement Techniques Section 17 Ripple on d.c input Power Port Immunity Test | LITD 9
| 25 | IS 14700 : Part 6 : Sec 2 : 2019 | Electromagnetic Compatibility ( EMC ) Part 6 Generic Standards Section 2 Immunity standard for industrial environments ( First Revision ) | LITD 9
| 26 | IS 16826 : 2018 | High - Voltage Test Techniques For Low-Voltage Equipment - Definitions, Test and Procedure Requirements, Test Equipment | ETD 19
| 27 | IS 17050 : 2018 | Degrees of protection provided by enclosures for electrical equipment against external mechanical impacts (IK Code) | ETD 1
| 28 | IS 6873 : Part 4 : 2019 | Limits and Methods of Measurement of Radio Disturbance Characteristics Part 4 Industrial Scientific and Medical Radio-Frequency Equipment Second Revision | LITD 9
International Standards Refered In IS/IEC 62271 : PART 1 : 2007 | SNo | International Standard Number
| 1 | IEC 61810 : 7 : 2006
| 2 | IEC 60050 : 192 : 2015
| 3 | IEC 60050 : 581 : 2008
| 4 | IEC 60050 : 601 : 0 0
| 5 | IEC 60050 : 605 : 0 0
| 6 | IEC 60050 : 614 : 2016
| 7 | IEC 60050 : 811 : 0 0
| 8 | IEC 60050 : 826 : 2004
| 9 | IEC 60068 : 2 : 2 2007
| 10 | IEC 60068 : 2 : 30 2005
| 11 | IEC 60296 : 0 : 0 0
| 12 | IEC 61000 : 4 : 18
| 13 | IEC 61000 : 4 : 26
| 14 | IEC 61000 : 6 : 5
| 15 | IEC 62271 : 4 : 0 0
| 16 | IEC 18 : 2 : 0 0
IS/IEC 62271 : PART 1 : 2007 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 2026 : Part 15 : 2018 | Power transformers: Part 15 gas - Filled power transformers | ETD 16
| 2 | IS/IEC TS 62738 : 2018 | Ground-Mounted Photovoltaic Power Plants - Design Guidelines and Recommendations | ETD 28
| 3 | IS 16814 : 2021 | SAFETY OF MACHINERY SAFETY DISTANCES TO PREVENT HAZARD ZONES BEING REACHED BY UPPER AND LOWER LIMBS | MED 40
| 4 | IS 7651 : 2021 | WIRE REINFORCED RUBBER COVERED HYDRAULIC HOSE SPECIFICATION Third Revision of IS 7651 | PCD 13
| 5 | IS 11330 : 2021 | Refrigeration Oil Separator General Specification Construction Requirements and Testing | MED 3
| 6 | IS/IEC 61076 : Part 4 : Sec 100 : 2001 | Connectors for electronic equipment Part 4-100: Printed board connectors with assessed quality Detail specification for two-part connector modules having a grid of 2.5 mm for printed boards and backplanes | LITD 3
| 7 | IS 4582 : 2021 | Textiles Womens Cardigan Knitted Specification Second Revision | TXD 10
| 8 | IS 17118 : Part 3 : 2022 | INDOOR AIR PART: 3: DETERMINATION OF FORMALDEHYDE AND OTHER CARBONYL COMPOUNDS IN INDOOR AIR AND TEST CHAMBER AIR ACTIVE SAMPLING METHOD | CHD 35