## Sheet1
Cross Reference Details for Indian Standard : IS 14570:2024
Indian Standards Refered In IS IS 14570 : 2012 : | SNo | IS Number | Title | Technical Committee
| 1 | IS/IEC 60068 : Part 2 : Sec 6 : 2007 | Environmental Testing Part 2 Tests Section 6 Test Fc: Vibration sinusoidal | LITD 1
| 2 | IS 9000 : Part 7 : Sec 1 : 2018 | Basic environmental testing procedures for electronic and electrical items: Part 7 impact test: Sec 1 shock (Test Ea) (Second Revision) | LITD 1
| 3 | IS/IEC 60255 : Part 151 : 2009 | Measuring relays and protection equipment: Part 151 functional requirements for over/under current protection | ETD 35
| 4 | IS 17724 : Part 1 : 2023 | Safety Requirements for Electrical Equipment for Measurement, Control, and Laboratory Use Part 1 General Requirements (IEC 61010-1: 2010 + AMD1:2016 + COR1:2019, MOD) | MHD 19
| 5 | IS/IEC 61010 : Part 2 : Sec 020 : 2016 | Safety requirements for electrical equipment for measurement, control, and laboratory use: Part 2 - 020 particular requirements for laboratory centrifuges | ETD 12
| 6 | IS/IEC 61010 : Part 2-081 : 2009 | Safety Requirements for Electrical Equipment for Measurement, Control and Laboratory Use Part 2-081 Particular Requirements for Automatic and Semi-automatic Laboratory Equipment for Analysis and Other Purposes | MHD 19
| 7 | IS/IEC 61558 : PART 1 : 1997 | Safety of power transformers, power supply units and similar: Part 1 general requirements and tests | ETD 16
International Standards Refered In IS 14570 : 2012 | SNo | International Standard Number
| 1 | IEC 61010 : 2 : 30 2017
| 2 | IEC 61326 : 1 : 2020
| 3 | IEC 61557 : 12 : 2018
IS 14570 : 2012 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS/IEC 61400 : Part 12 : Sec 1 : 2017 | Wind Energy Generation Systems Part 12 Electricity Producing Wind Turbines Section 1 Power performance measurements | ETD 42