## Sheet1
Cross Reference Details for Indian Standard : IS 15493:2021
Indian Standards Refered In IS IS 15493 : 2004 : | SNo | IS Number | Title | Technical Committee
| 1 | IS 1239 : Part 1 : 2004 | Steel tubes, tubulars and other wrought steel fittings - Specification: Part 1 steel tubes (Sixth Revision) | MTD 19
| 2 | IS 1239 : Part 2 : 2011 | Steel tubes, tubulars and other steel fittings - Specification: Part 2 steel pipe fittings (Fifth Revision) | MTD 19
| 3 | IS 1536 : 2001 | Centrifugally cast (Spun) iron pressure pipes for water, gas and sewage - Specification (Fourth Revision) | MTD 6
| 4 | IS 1537 : 1976 | Specification for vertically cast iron pressure pipes for water, gas and sewage (First Revision) | MTD 6
| 5 | IS 1538 : 1993 | Cast iron fittings for pressure pipes for water, gas and sewage - Specification (Third Revision) | MTD 6
| 6 | IS 15496 : 2004 | Inspection and maintenance of gaseous fire extinguishing systems - Code of practice | CED 22
| 7 | IS 15497 : 2004 | Gaseous fire extinguishing systems - IG 01 extinguishing systems | CED 22
| 8 | IS 15501 : 2004 | Gaseous fire extinguishing systems - IG 541 extinguishing systems | CED 22
| 9 | IS 15505 : 2004 | Gaseous fire extinguishing systems - HCFC blend a extinguishing systems | CED 22
| 10 | IS 15517 : 2004 | Gaseous fire extinguishing systems - HFC 227ea (Hepta Fluoro Propane) extinguishing systems | CED 22
| 11 | IS 15525 : 2004 | Gaseous fire extinguishing systems - IG 100 extinguishing systems | CED 22
| 12 | IS 15528 : 2004 | Gaseous fire extinguishing systems - Carbon dioxide total flooding and local application (Sub - Floor And In - Cabinet), high and low pressure (Refrigerated) systems | CED 22
| 13 | IS 15821 : 2008 | Gaseous fire extinguishing systems - Physical properties and system design - CF3I extinguishant | CED 22
| 14 | IS 1879 : 2010 | Malleable cast iron pipe fittings - Specification (Third Revision) | MTD 6
| 15 | IS 2189 : 2008 | Selection, installation and maintenance of automatic fire detection and alarm system code of practice (Fourth Revision) | CED 22
| 16 | IS 3589 : 2001 | Steel pipes for water and sewage (168.3 To 2540 Mm Outside Diameter) - Specification (Third Revision) | MTD 19
| 17 | IS 3624 : 1987 | Specification for pressure and vacuum gauges (Second Revision) | ETD 18
| 18 | IS 6631 : 1972 | Steel Pipes for Hydraulic Purposes | MTD 19
| 19 | IS 7181 : 1986 | Specification for horizontally cast iron double flanged pipes for water, gas and sewage (First Revision) | MTD 6
| 20 | IS 732 : 2019 | Code of practice for electrical wiring installations (Fourth Revision) | ETD 20
| 21 | IS 7673 : 2004 | Fire Fighting Equipment - Glossary of Terms (First Revision) | CED 22
| 22 | IS/IEC 60079 : Part 1 : 2014 | Explosive Atmospheres - Part 1 : Equipment Protection by Flameproof Enclosures "d" | ETD 22
| 23 | IS 15835 : 2009 | Gaseous Fire Extinguishing Systems - HCFC-125 Extinguishing Systems | CED 22
| 24 | IS 15908 : 2011 | Selection, installation and maintenance of control and indicating equipments for fire detection and alarm system - Code of practice | CED 22
International Standards Refered In IS 15493 : 2004 | Standard contains no Cross Referenced International Standard.
IS 15493 : 2004 is Refered in following Indian Standards : | SNo | IS Number | Title | Technical Committee
| 1 | IS 15821 : 2008 | Gaseous fire extinguishing systems - Physical properties and system design - CF3I extinguishant | CED 22
| 2 | IS 15497 : 2004 | Gaseous fire extinguishing systems - IG 01 extinguishing systems | CED 22
| 3 | IS 15835 : 2009 | Gaseous Fire Extinguishing Systems - HCFC-125 Extinguishing Systems | CED 22
| 4 | IS 15501 : 2004 | Gaseous fire extinguishing systems - IG 541 extinguishing systems | CED 22
| 5 | IS 15505 : 2004 | Gaseous fire extinguishing systems - HCFC blend a extinguishing systems | CED 22
| 6 | IS 15506 : 2004 | Gaseous fire extinguishing systems - IG 55 extinguishing systems | CED 22
| 7 | IS 15517 : 2004 | Gaseous fire extinguishing systems - HFC 227ea (Hepta Fluoro Propane) extinguishing systems | CED 22
| 8 | IS 15525 : 2004 | Gaseous fire extinguishing systems - IG 100 extinguishing systems | CED 22
| 9 | IS 15528 : 2004 | Gaseous fire extinguishing systems - Carbon dioxide total flooding and local application (Sub - Floor And In - Cabinet), high and low pressure (Refrigerated) systems | CED 22
| 10 | IS 16018 : 2012 | Wheeled fire extinguishers - Performance and construction - Specification | CED 22
| 11 | IS 12456 : 2004 | Fire protection of electronic data processing installation - Code of practice (First Revision) | CED 36
| 12 | IS 15683 : 2018 | Portable Fire Extinguishers — Performance and Construction — Specification ( First Revision ) | CED 22