## Sheet1
List of Licenses under Indian Standard (IS) Number: IS 6595 : Part 2:1993
S.No. | Licence No. | Firm Name & Address | Contact Person | District | State | Contact Number | Email | Validity Date | Status | Variety | Brand Name | Status
1 | 8805587 | Complete Dewatering Systems Pvt Ltd |  | NEW DELHI | DELHI |  |  | 2026-04-30 | Operative | Sizes 200 x 200 mm and 250 x 250 1. Horizontal Centrifugals Pumps for clear, cold water Part 2 Genral Purposes ( Other than agricultural and rural water supply), Size - 250X250, Rated speed - 1450rpm, Guranteed Head - 15m, Discharge at guranteed head - 160lps, Overall Efficiency - 45%, Head range for over loading - 12 - 18 m, Maximum power for over loading - 40Kw, Recommended Prime mover rating- 45Kw, Direction of rotation- Clockwise 2. Horizontal Centrifugals Pumps for clear, cold water Part 2 Genral Purposes ( Other than agricultural and rural water supply), Size - 200X200, Rated speed - 1450rpm, Guranteed Head - 25m, Discharge at guranteed head - 100lps, Overall Efficiency - 45%, Head range for over loading - 22 - 28 m, Maximum power for over loading - 42Kw, Recommended Prime mover rating- 45Kw, Direction of rotation- Clockwise | -- | Small
15-F,COMMUNITY CENTRE, BASANT LOK, VASANT VIHAR,NEW DELHI