## Sheet1
List of Licenses under Indian Standard (IS) Number: IS/IEC 60947 : Part 2:2016
S.No. | Licence No. | Firm Name & Address | Contact Person | District | State | Contact Number | Email | Validity Date | Status | Variety | Brand Name | Status
1 | 8530094116 | HPL ELECTRIC AND POWER LIMITED |  | SONIPAT | HARYANA |  |  | 2025-07-21 | Operative | Name of the product: Low-Voltage Switchgear and Controlgear Part 2 Circuit-Breakers Group I Model. No.(s): Lead: TABBASIX2250CX3P Rated Voltages: Rated operational voltage (Ue): 440 V a.c. for single pole, two poles, three poles devices. Rated insulation voltage (Ui) : 1000 V. Rated impulse withstand voltage (Uimp): 8 kV. Rated Currents: Conventional free-air thermal current (Ith) : NA. Conventional enclosed thermal current (Ithe): NA. Rated current (In): 32 A, 40 A, 50 A, 60 A, 63 A, 75 A, 80 A, 90 A, 100 A, 110 A, 125 A, 160 A, 200 A, 210 A, 250 A Current rating for circuit-breakers (Ics, Icu): Icu: 25 kA, Ics: 25 kA. Rated Frequency: 50 Hz. Rated duty: uninterrupted duty. Selectivity: Category type A. Interrupting Medium: Air-break. Method of installation: Fixed. Method of controlling the operating mechanism (Operation): Independent manual. Design / Construction Type: Moulded case. Suitability for isolation: Suitable for isolation. Provision for maintenance: Non-maintainable. Type of Releases: 1) shunt release, and 2) over-current release: inverse time delay independent of previous load. 3) Undervoltage Release Type of Supply (ac / dc): 1) Three Phase AC. Number of Pole: One Pole, Two Pole, Three Pole. Pollution Degree: Pollution Degree 3. Control Circuits: NA. Auxiliary circuits: 1) Auxiliary Contacts; 2) Trip Alarm Contacts Integral fuses: Without integrally fused circuit-breakers. Degree of Protection: IP 20.(Variety)Name of the product: Low-Voltage Switchgear and Controlgear Part 2 Circuit-Breakers TAB0 Series Model No(s): TAB125xxxxxACxP (Adjustable Thermal & Adjustable Magnetic Release), TAB0xxxxx1P (Adjustable Thermal & Adjustable Magnetic Release, Single Pole), TABBASIX0xxxxxxP (Fixed Thermal & Fixed Magnetic Release); Rated Voltages: Rated operational voltage (Ue): 230V up to and including 440 V a.c; Rated insulation voltage (Ui): 690 V; Rated impulse withstand voltage (Uimp): 8 kV; Rated Currents: Conventional free-air thermal current (Ith): NA; Conventional enclosed thermal current (Ithe): NA; Rated current (In): 10A, 16A, 20A, 25A, 30A, 32A, 40A, 50A, 60A, 63A, 75A, 80A, 90A, 100A, 110A, 120A, 125A; Short circuit Current rating for circuit-breakers (Ics, Icu): (10kA, 5kA), (10kA, 10kA), (20kA, 10kA), (20kA, 20kA); Rated Frequency: 50 Hz; Rated duty: Uninterrupted duty; Selectivity: Category type A; Interrupting Medium: Air-break; Method of installation: Fixed; Method of controlling the operating mechanism (Operation): Independent manual; Design/Construction Type: Moulded case; Suitability for isolation: Suitable for isolation; Provision for maintenance: Non-maintainable; Type of Releases: 1) Shunt release 2) Over-current release: instantaneous, definite time delay, inverse time delay dependent of previous load and 3) Undervoltage Release; Type of Supply: Single Phase/Three Phase AC; Number of Pole: One Pole, Two Pole, Three Pole; Pollution Degree: Pollution Degree 3; Control Circuits: NA; Auxiliary circuits: 1) Auxiliary Contacts; 2) Trip Alarm Contacts and 3) Trip Alarm Auxiliary Contacts; Integral fuses: Without integral fuse; Degree of Protection: IP-20 | HPL | Large
PLOT 76-B, HSIIDC, PHASE-IV,SEC 57, KUNDLI INDUSTRIAL AREA,INDUSTRIAL AREA SONIPAT
2 | 8700182614 | HAVELLS INDIA LTD. |  | GHAZIABAD | UTTAR PRADESH |  |  | 2027-11-25 | Operative |  |  | Large
3 | 8800165722 | C&S Electric Ltd., |  | GAUTAM BUDDH NAGAR | UTTAR PRADESH |  |  | 2027-12-03 | Operative |  |  | Large
4 | 8300174114 | C&S Electric ltd |  | HARIDWAR | UTTARAKHAND |  |  | 2025-11-11 | Operative |  |  | Large
5 | 8300175310 | BCH ELECTRIC LTD. |  | UDHAM SINGH NAGAR | UTTARAKHAND |  |  | 2025-12-06 | Operative |  |  | Large
6 | 9512521014 | BCH ELECTRIC LIMITED |  | FARIDABAD | HARYANA |  |  | 2027-04-04 | Operative |  |  | Large
7 | 9600103912 | HAVELLS INDIA LIMITED UNIT-II |  | SOLAN | HIMACHAL PRADESH |  |  | 2025-12-17 | Operative |  |  | Large
8 | 9600103710 | HAVELLS INDIA LIMITED UNIT-1 |  | SOLAN | HIMACHAL PRADESH |  |  | 2025-12-17 | Operative |  |  | Large
9 | 9600104510 | Bentec Bhartia Engineers pvt. ltd |  | SOLAN | HIMACHAL PRADESH |  |  | 2025-12-21 | Operative |  |  | Small
10 | 6200209088 | ABB INDIA LIMITED |  | BANGALORE RURAL | KARNATAKA |  |  | 2030-06-08 | Operative |  |  | Large
11 | 6700118613 | Schneider Electric India PVT LTD |  | TIRUVALLUR | TAMIL NADU |  |  | 2027-08-31 | Operative |  |  | Large
12 | 6300114690 | Schneider Electric India Pvt. Ltd. |  | RANGA REDDY | TELANGANA |  |  | 2027-08-27 | Operative |  |  | Large
13 | 7800130509 | SIEMENS LIMITED |  | THANE | MAHARASHTRA |  |  | 2031-01-13 | Operative |  |  | Large
14 | 7400060906 | Novateur Electrical & Digital Systems Private Limited |  | JALGAON | MAHARASHTRA |  |  | 2027-07-25 | Operative |  |  | Large
15 | 7500291714 | Schneider Electric India Private Limited |  | AHMEDNAGAR | MAHARASHTRA |  |  | 2025-11-18 | Operative |  |  | Large
16 | 7500266715 | SIEMENS LIMITED (Low Voltage Factory) |  | AURANGABAD | MAHARASHTRA |  |  | 2030-02-28 | Operative |  |  | Large
17 | 7100075296 | Schneider Electric India Private Limited |  | VADODARA | GUJARAT |  |  | 2027-10-07 | Operative |  |  | Large