## Sheet1
List of Licenses under Indian Standard (IS) Number: IS/IEC 60898 : PART 1:2015
S.No. | Licence No. | Firm Name & Address | Contact Person | District | State | Contact Number | Email | Validity Date | Status | Variety | Brand Name | Status
1 | 8640379 | HIMGIRI ENTERPRISES PVT. LTD. |  | NORTH WEST DELHI | DELHI |  |  | 2026-02-28 | Operative | AC Air Break circuit breaker for over current protection for household and similar installation, 50 Hz, unenclosed, surface type with types and other details as follows: No. of Poles-SP,SPN,DP,TP,FP AND TPN, Voltages 240/415 V, Type B & C, rated short circuit breaking capacity 10kA, Rated operational curent 6-40 A(Variety)Inclusion may be considered for Electrical Accessories- Circuit Breakers for Over Current Protection for Household and Similar Installations-Circuit Breakers for ac operation for The following rating/varieties: 1. According to the protection against external influences: Unenclosed Type 2. According to the method of Mounting: Panel Board/Distribution Board(Din Rail Mounted) 3. According to the fixation system: Electrical Connections Which are not associated with the mechanical mounting 4. Type of terminals: Screw type terminals for external copper conductors 5. According to the I2t characteristic(Joule Integral): Max. 125000 6. Rated insulation Voltage(Ui): 660V 7. Rated impulse withstand Voltage(Uimp): 4kV 8. Type of instantaneous tripping current: B and C 9. Numbers of poles: Four pole 10. Rated Current: 63A 11. Rated Voltage: 415 V 12. Rated Frequency: 50 Hz 13. Rated Short-Circuit Capacity: 10000A |  | Small
B-22, MANGOLPURI INDL AREA, PHASE-II,
2 | 8530037718 | SANSUN ELECTRO GUARD PRIVATE LIMITED |  | NORTH WEST DELHI | DELHI |  |  | 2025-03-03 | Operative | Electrical Accessories- Circuit-Breakers for Overcurrent Protection for Household and Similar Installations- Circuit Breakers for a.c. Operation SP, C-type, SCC-10000A, unenclosed,panel board/distribution board type,screw type terminals for external copper conductor 240V, 50Hz, AC, 6A-63A(6,10,16,20,25,32,40,63) | BRITINDIA | Micro
BC-41, FIRST FLOOR, MANGOLPURI,MANGOLPURI INDUSTRIAL AREA PHASE 2,MANGOLPURI
3 | 8530048218 | SNEHA SWITCHGEAR |  | NORTH WEST DELHI | DELHI |  |  | 2025-03-18 | Operative | 1. According to the protection against external influences: Unenclosed Type 2. According to the method of Mounting: Panel Board/Distribution Board(Din Rail Mounted) 3. According to the fixation system: Electrical Connections Which are not associated with the mechanical mounting 4. Type of terminals: Screw type terminals for external copper conductors 5. According to the I2t characteristic(Joule Integral): Max. 120000 6. Type of instantaneous tripping current: B and C 7. Numbers of poles: Single Pole 8. Rated Current: 6A, 10A, 16A, 20A, 25A, 32A and 40A 9. Rated Voltage: 240 V for Single pole 10. Rated Frequency: 50 Hz 11. Rated Short-Circuit Capacity: 10000A 12. Material group:IIIa 13. Degree of Protection IP20(Variety)1. According to the protection against external influences: Unenclosed Type 2. According to the method of Mounting: Panel Board/Distribution Board mounting 3. According to the fixation system: Electrical Connections Which are not associated with the mechanical mounting 4. Type of terminals: Screw type terminals for external copper conductors 5. According to the I2t characteristic(Joule Integral): Max. 60000 (for 6-32A), 120000 (for 40-63A) 6. Type of instantaneous tripping current: B and C type 7. Numbers of poles: Double Pole 8. Rated Current: 6A, 10A, 16A, 20A, 25A, 32A, 40A, 50A, and 63A 9. Rated Voltage: 415 V 10. Rated insulation voltage: 650V 11. Rated impulse withstand voltage: 4kV 12. Rated Frequency: 50 Hz 13. Rated Short-Circuit Capacity: 10000A 14. Material group:IIIa 15. Degree of Protection: IP20(Variety)1. According to the protection against external influences: Unenclosed Type 2. According to the method of Mounting: Panel Board/Distribution Board mounting 3. According to the fixation system: Electrical Connections Which are not associated with the mechanical mounting 4. Type of terminals: Screw type terminals for external copper conductors 5. According to the I2t characteristic(Joule Integral): Max. 60000 (for 6-32A), 120000 (for 40-63A) 6. Type of instantaneous tripping current: B and C type 7. Numbers of poles: Single Pole 8. Rated Current: 6A, 10A, 16A, 20A, 25A, 32A, 40A, 50A, and 63A 9. Rated Voltage: 240/415 V for Single pole 10. Rated insulation voltage: 650V 11. Rated impulse withstand voltage: 4kV 12. Rated Frequency: 50 Hz 13. Rated Short-Circuit Capacity: 10000A 14. Material group: IIIa 15. Degree of Protection: IP20 | Krans | Micro
C-72, GROUND , FIRST, SECOND FLOOR,MANGOLPURI INDUSTRIAL AREA, PHASE - 1,MANGOLPURI
4 | 8530038813 | WALSUN ELECTRIC INDIA |  | NORTH WEST DELHI | DELHI |  |  | 2025-04-19 | Operative | Electrical Accessories- Circuit-Breakers for Overcurrent Protection for Household and Similar Installations- Circuit Breakers for a.c. Operation(Variety)B & C type, 240V, 50Hz, SCC-3KA, SP& DP, 6A-32A(6, 10, 16, 20, 25, 32A), unenclosed flush type screw type terminals for external copper conductor(Variety)B & C type, 240/415V, 50Hz, SCC-10KA, SP, SPN, DP, TP, TPN & FP. 0.5A-63A(0.5, 1, 2, 3, 4, 5, 6, 10, 16, 20, 25, 32, 40, 50, 63A), unenclosed panel board/distribution board type screw type terminals for external copper conductor | WALSUN ELECTRIC | Small
PROP. NO. B-323,BASEMENT; FIRST FLOOR ,SECOND FLOOR, THIRD FLOOR,MANGOL PURI INDUSTARIAL AREA PHASE 1;,NEW DELHI
5 | 8037972 | Basant Parkash Electric Co. |  | NORTH WEST DELHI | DELHI |  |  | 2025-12-31 | Operative | Circuit Breakers for Over Current Protection for Household and Similar Installations |  | Micro
E-179, SECTOR-1, BAWANA INDUSTRIAL AREA,
6 | 8331669 | FLORA CIRCUIT CONTROLS |  | NORTH WEST DELHI | DELHI |  |  | 2025-12-31 | Operative | AC Air Break circuit for over current protection for household & similar installation of following description:- No. of Poles Type Rated shrt crct brkng capacity rated opetn. crnt 1)SP,240/415,50Hz B 6000A 6A to 40A 2)SP,SPN,DP,TP,TPN, B&C 10000A 6A to 40A 240/415V,50Hz | FLORA(Brand)SUPERMAX | Small
A-107, MANGOL PURI INDL. AREA, PH II,
7 | 8500012607 | Bisht International |  | NORTH WEST DELHI | DELHI |  |  | 2025-06-20 | Operative | Electrical Accessories- Circuit Breakers for Over Current Protection for Household and Similar Installations-Circuit Breakers for ac operation for The following rating/varieties: 1. According to the protection against external influences: Unenclosed Type 2. According to the method of Mounting: Panel Board/Distribution Board(Din Rail Mounted) 3. According to the fixation system: Electrical Connections Which are not associated with the mechanical mounting 4. Type of terminals: Screw type terminals for external copper conductors 5. According to the I2t characteristic(Joule Integral): Max. 125000 6. Type of instantaneous tripping current: B and C 7. Numbers of poles: Single Pole with neutral, Double Pole, Three Pole, Three Pole with neutral and Four pole 8. Rated Current: 6A, 10A, 16A,25A, 32A and 40A 9. Rated Voltage: 240 V for Single pole with neutral, 415 V for Double Pole, Three Pole, Three Pole with neutral and Four pole 10. Rated Frequency: 50 Hz 11. Rated Short-Circuit Capacity: 10000A 12. Material group:IIIa(Variety)Electrical accessories Circuit breaker for over current protection for household & similar installation for the following varieties -? single pole, C-type ,10 KA, 240v, 50Hz, rated impulse voltage of 4Kv, current rating of 6A, 10A, 16A, 20A, 25A, 32A & 40A,as per IS/IEC-60898-1:2002. | BECARE | Micro
102, GROUND FLOOR, C- BLOCK MANGOL PURI INDUSTRIAL AREA, PHASE - II,
8 | 2544151 | Smart PG Electrical Private Limited |  | NORTH WEST DELHI | DELHI |  |  | 2025-12-31 | Operative | Circuit breaker for over current protection for household & similar installation for AC operation of type-B & C, 240/415 V, 50Hz, AC, short circuit capacity 10 KA, impulse voltage 4 KV, TP, TPN, FP, MCB for current ratings 6A to 40A, unenclosed, surface type, screw type terminals(Variety)Unenclosed, surface type(with provision for rail mounting), Connections not associated with mechanical mounting with screw type terminals for external copper conductors, rated short circuit breaking capacity ? 10KA, rated insulation voltage 660V, rated impuls4e withstand voltage4kV, Nos.of poles Voltage rating Type Rated operational currents(A) i) SPN 240V, 50Hz B&C 6, 10,16,20,25, 32 & 40A only ii) DP 240/415V, 50Hz, B&C 6, 10,16,20,25, 32 & 40A only iii) SP 240V, 50Hz B&C 6, 10,16,20,25, 32 & 40A only | Amtex(Brand)KRANT(Brand)SMART(Brand)MKI(Brand)smart,MKI | Micro
A-109, MANGOL PURI INDUSTRIAL AREA, PHASE-II,DELHI
9 | 3033636 | BIOCON ELECTRIC PVT. LTD. |  | NORTH EAST DELHI | DELHI |  |  | 2025-06-30 | Operative | AC air-break circuit-breakers for overcurrent protection for household and similar installations as per IS/IEC 60898_1: 2002 for the following ratings/ varieties: Type B & C, Rated Short circuit current rating-10000 A, Surface type & unenclosed, Rated current from 2 A to 63 A* (* 2, 4, 6, 10, 16, 20, 25, 32, 40, 50 & 63 A)for the varieties: i) Single Pole and Double Pole, 240 V, 50 Hz and ii)Tripple Pole and Four Pole, 415V,50Hz AC air break circuit breakers for over current protection for house hold and similar installations Type B & C rated short circuit current rating 10000A, 63A(2,4,6.10,16,20,25,32,40,50 and 63A) for the varieties: I) single pole and double pole, 240V, 50Hz and ii) Triple pole and four pole, 415 V, 50Hz |  | Medium
PLOT NO. 15B, KHASRA NO. 4/24/1A, J.R. COMPLEX, GATE NO. 4 MAINROAD SEWA DHAM MANDOLI INDUSTRIAL AREA ,
10 | 8100170403 | Vardhman Enterprises |  | NORTH WEST DELHI | DELHI |  |  | 2025-06-26 | Operative | circuit Breakers for Over Current Protection for Household and Similar Installations-Circuit Breakers for ac operation for the following rating/varieties 1. According to the protection against external influences: Unenclosed Type 2. According to the method of Mounting: Panel Board/Distribution Board(Din Rail Mounted) 3. According to the fixation system: Electrical Connections Which are not associated with the mechanical mounting 4. Type of terminals: Screw type terminals for external copper conductors 5. According to the I2t characteristic(Joule Integral): Max. 145000 6. Type of instantaneous tripping current: C Type 7. Numbers of poles: Single Pole 8. Rated Current: 6A, 10A, 16A, 20A, 25A, 32A, 40A and 63A 9. Rated Voltage: 240/415 V 10. Rated Frequency: 50 Hz 11. Rated Short-Circuit Capacity: 10000A 12. Material group:IIIa 13. Degree of Protection IP20(Variety)6A,10A,16A,20A,25A,32A,40A,63A, 240/415V, 50Hz, AC, C-Curve, Single Pole, SCC- 10000A, Insulation voltage- 690V, Impulse voltage- 4kV, Unenclosed, Screw type terminals, Surface type, Material group III a. | Priyam | Micro
A27, FIRST FLOOR, ENGINEERING COMPLEX, DSIDC, PHASE 1, MANGOLPURI INDUSTRIAL AREA, NORTH WEST DELHI,MANGOLPURI A BLOCK
11 | 8500018813 | Frvat India Private Limited |  | NORTH WEST DELHI | DELHI |  |  | 2025-03-08 | Operative | Circuit Breakers for over current protection for household and similar installations Part 1 for Following varieties: SP, SPN, DP, TP, TPN,FP, 240/415V, 6A to 63A,50Hz, 10kA for B and C type(Variety)Circuit breakers for over current protection for household & similar installation part 1 for following varieties SP,SPN, DP, TP, TPN, FP, 240/415V, 6A to 63A,50Hz, 10KA for B&C type as per IS/IEC 60898-I:2002.(Variety)Miniature circuit breaker , 6-32 Amp(6,10,16,20,25&32A) Single pole, C&B- type, 240V, 50Hz, 3000A, Unenclosed, Flush type, Screw type terminal.(Variety)Miniature circuit breaker , 6-32 Amp Single pole, C&B- type, 240V, 50Hz, 3000A, Unenclosed, Flush type, Screw type terminal. | LEE COPPER(Brand)BENTEX-LINGER | Micro
A-63, PHASE-2,MANGOLPURI INDUSTRIAL AREA,DELHI
12 | 8530016718 | Kainos Electrical Star Pvt. Ltd. |  | NORTH WEST DELHI | DELHI |  |  | 2025-10-15 | Operative | Single pole, B & C type, 240V, 50Hz, AC short circuit capacity-10KA, for current ratings of 6A, 10A, 16A, 20A, 25A, 32A, 40A, 63A" as per IS/IEC 60898-1:2002(Variety)single pole, MCB, B&C type(Variety)240V, 50Hz, AC, SCC-10KA(Variety)6A-63A(6,10,16,20,25,32,40&63A) | Kainos | Micro
OJ-291, SECTOR-3, DSIIDC, BAWANA INDUSTRIAL AEA,NORTH WEST DELHI,NORTH WEST DELHI
13 | 8500015411 | SHREE BALAJI POWER PLAST |  | NORTH WEST DELHI | DELHI |  |  | 2025-12-04 | Operative | Inclusion of following varieties may be permitted: Electrical Accessories- Circuit-Breakers for Overcurrent Protection for Household and Similar Installations- Circuit Breakers for a.c. Operation-B and C type, 240V, 50Hz, SCC-3KA, SP,6A-32A(6, 10, 16, 20, 25, 32A), unenclosed flush type screw type terminals for external copper conductor(Variety)Circuit breakers for over current protection for household & similar installation part 1 for following varieties SP,SPN, DP, TP, TPN, FP, 230/415V, 6 to 63A, 10KA for B&C type as per IS/IEC 60898-I:2002. |  | Small
L-15, SECTOR 5,BAWANA INDUSTRIAL AREA, DSIIDC,DELHI
14 | 8415069 | RAAJAS TECHNOLOGIES PVT. LTD. |  | NORTH WEST DELHI | DELHI |  |  | 2026-04-30 | Operative | ac air break circuit breaker for over current protection for house hold & similar installation ,unenclosed ,rated short circuit breaking capacity -3000A,50Hz,flush type ,screw type terminal ,for the rating and varieties : No of poles voltage rating type rated operational current (A) SP 240 v 50Hz ,6,10,16,20,25,32A,C&B type DP 240 V 50Hz 6,10,16,20,25,32 A(Variety)ac air break circuit breakers for over current protection for house hold & similar installations, unenclosed, rated short circuit breaking capacity - 10,000A, 50 Hz, surface type, for the ratings and varieties: No of Poles Voltage rating Type Rated operational currents (A) SP 230 V B&C 6,10,16,20,25,32&40 A DP,TP,TPN 400 V B&C 6,10,16,20,25,32,40&63 A | other (Brand)CONA(Brand)LAWSON(Brand)SHIELD(Brand)RICHA(Brand)DIAMOND(Brand)EFAB(Brand)SATYAM-MATRIX(Brand)ARISTO(Brand)GEM SAFE(Brand)moti(Brand)MARU(Brand)roopa(Brand)hep(Brand)jj champion | Medium
1ST FLOOR, K-74, UDYOG NAGAR,ROHTAK ROAD,DELHI
15 | 8453683 | NEWTECH SWITCHGEAR |  | NORTH WEST DELHI | DELHI |  |  | 2025-10-31 | Operative | (Variety)Single Pole, Single Pole with Neutral, Double Pole comma unenclosed-type (for use with an appropriate enclosure), Flush Type, Fixation System - the electrical connections of which are not associated with the mechanical mounting, screw-type terminals for external copper conductors, C and B type, Joule Integral - 60000 (Max), Rated operational Voltage - 240V, Rated Insulation Voltage - 660V, Rated Impulse withstand voltage - 4 kV comma Rated Current - 6 A, 8 A, 10 A, 13 A, 16 A, 20 A, 25 A, 32 A, Rated frequency - 50 Hz comma Rated short circuit capacity - 3000A, Material Group - IIIa comma Degree of protection - IP20 | newtech(Brand)newtech | Small
H-51, 2ND FLOOR,UDYOG NAGAR,ROHTAK ROAD,DELHI
16 | 8636590 | M/s Philcon Switchgear Pvt. Ltd., |  | SOUTH DELHI | DELHI |  |  | 2026-01-31 | Operative | Circuit Breakers for Over Current Protection for Household and Similar Installations | SECURE/ PHILCON | Micro
C-85, SECOND FLOOR,OKHLA INDL. AREA,PHASE I,DELHI
17 | 8530037617 | PK POLYKING INDUSTRIES PRIVATE LIMITED |  | NORTH WEST DELHI | DELHI |  |  | 2025-03-01 | Operative | Electrical Accessories- Circuit-Breakers for Overcurrent Protection for Household and Similar Installations- Circuit Breakers for a.c. Operation SP, C-type, SCC-10000A, unenclosed,panel board/distribution board type,screw type terminals for external copper conductor 240V, 50Hz, AC, 6A-63A(6,10,16,20,25,32,40,63)(Variety) Single Pole, unenclosed-type, panel board type/ distribution board type, screw-type terminals for external copper conductors, B-type, Joule integral â€“ 150000(Max) comma Rated Operational Voltage â€“ 240 V, Rated Insulation Voltage â€“ 660V, Rated Impulse withstand Voltage â€“ 4kV, Rated Current - 6 A, 10 A, 16 A, 20 A, 25 A, 32 A comma 40 A, 63 A, Rated frequency â€“ 50Hz, Rated short-circuit capacity â€“ 10 kA, Material Group â€“ IIIa comma IP20(Variety) Single Pole with Neutral, Double Pole, panel board type/ distribution board type, Fixation System - the electrical connections of which are not associated with the mechanical mounting comma screw-type terminals for external copper conductors comma C&B Type, Joule integral â€“ 150000(Max), Rated operational Voltage â€“ 240/415 V, Rated Insulation Voltage â€“ 660V, Rated impulse withstand voltage â€“ 4kV, Rated Current - 6 A, 8 A, 10 A, 13 A, 16 A, 20 A comma 25 A, 32 A, 40 A, 50 A, 63 A, Rated frequency â€“ 50Hz, Rated short-circuit capacity â€“ 10 kA comma Material Group â€“ IIIa, IP20(Variety)Three Pole, Three Pole with Neutral, Four Pole comma unenclosed-type, panel board type/ distribution board type comma Fixation System - the electrical connections of which are not associated with the mechanical mounting, screw-type terminals for external copper conductors, CB Type, Joule integral 150000(Max) comma Rated Operational Voltage 415 V, Rated Insulation Voltage 660V, Rated impulse withstand voltage 4kV, Rated Current - 6 A, 8 A, 10 A, 13 A, 16 A, 20 A, 25 A, 32 A, 40 A, 50 A, 63 A, Rated frequency 50Hz, Rated short-circuit capacity 10 kA, Material Group IIIa, IP20 | PK POLYKING | Micro
PLOT NO 284,PKT-G SEC 3,LANDMARK, DSIDC BAWANA, DSIDC SEC 3,NEW DELHI
18 | 8528688 | MEGA SWITCHGEAR |  | NORTH WEST DELHI | DELHI |  |  | 2025-02-28 | Operative | AC Air Break Circuit Breakers for overcurrent protection for household & similar installations, Unenclosed, Rated short circuit current capacity- 10,000 A, 50Hz, Surface type, for the following types/ ratings: No. of Poles: SP; Voltage ratings: 240V; Type: B&C; Rated Operational currents: 6,10,16,20,25,32&40A | TECGRA, SAVIC(Brand)GLOSTAR,LIFEGUARD,S/P,ELLGEE,,ASMON, | Micro
H-50, UDYOG NAGAR,ROHTAK ROAD,NANGLOI,DELHI
19 | 8323064 | PM CONA INDUSTRIES PRIVATE LIMITED |  | NORTH WEST DELHI | DELHI |  |  | 2025-12-31 | Operative |  | EXCEL(Brand)CAPITAL(Brand)7-STAR(Brand)CONA(Brand)ROOPA(Brand)RIGGA | Medium
A 19, 1ST FLOOR, MANGOLPURI INDUSTRIAL AREA, PHASE - II,DELHI
20 | 8100186612 | VIVEK CONTROL & SWITCHGEAR |  | NORTH WEST DELHI | DELHI |  |  | 2026-01-19 | Operative | Single pole, C & B Type, 6A ,10A,16A,20A,25A,32A,40A,63A, 240/415V, AC, 50Hz, SCC= 10000A, Insulation voltage= 660V, Impulse voltage= 4kV, Unenclosed, Panel Board/Distribution board Type, Fixation System-The electrical connections are not associated with mechanical mounting, Type of terminals - Screw type terminals for external copper conductors, Value of I 2 t (Joule Integral) Max 150000 A^2s, Material group= IIIa, IP20.(Variety)Two-pole circuit-breakers with one protected pole, C & B Type, 6A ,10A,16A,20A,25A,32A,40A,63A, 240/415V, AC, 50Hz, SCC= 10000A, Insulation voltage= 660V, Impulse voltage= 4kV, Unenclosed, Panel Board/Distribution board Type, Fixation System-The electrical connections are not associated with mechanical mounting, Type of terminals - Screw type terminals for external copper conductors, Value of I 2 t (Joule Integral) Max 150000 A^2s, Material group= IIIa, IP20.(Variety)Two-pole circuit-breakers with two protected poles, C & B Type, 6A ,10A, 16A, 20A, 25A, 32A, 40A, 63A, 240/415V, AC, 50Hz, SCC= 10000A, Insulation voltage= 660V, Impulse voltage= 4kV, Unenclosed, Panel Board/Distribution board Type, Fixation System-The electrical connections are not associated with mechanical mounting, Type of terminals - Screw type terminals for external copper conductors, Value of I 2 t (Joule Integral) Max 150000 A^2s, Material group= IIIa, IP20.(Variety)Three-pole circuit-breakers with three protected poles, C & B Type, 6A , 10A, 16A, 20A, 25A, 32A, 40A, 63A, 240/415V, AC, 50Hz, SCC= 10000A, Insulation voltage= 660V, Impulse voltage= 4kV, Unenclosed, Panel Board/Distribution board Type, Fixation System-The electrical connections are not associated with mechanical mounting, Type of terminals - Screw type terminals for external copper conductors, Value of I 2 t (Joule Integral) Max 150000 A^2s, Material group= IIIa, IP20.(Variety)Four-pole circuit-breakers with four protected poles, C & B Type,6A ,10A, 16A, 20A, 25A, 32A, 40A, 63A, 240/415V, AC, 50Hz, SCC= 10000A, Insulation voltage= 660V, Impulse voltage= 4kV, Unenclosed, Panel Board/Distribution board Type, Fixation System-The electrical connections are not associated with mechanical mounting, Type of terminals - Screw type terminals for external copper conductors, Value of I 2 t (Joule Integral) Max 150000 A^2s, Material group= IIIa, IP20.(Variety)Four-pole circuit-breakers with three protected poles, C & B Type,6A ,10A, 16A, 20A, 25A, 32A, 40A, 63A, 240/415V, AC, 50Hz, SCC= 10000A, Insulation voltage= 660V, Impulse voltage= 4kV, Unenclosed, Panel Board/Distribution board Type, Fixation System-The electrical connections are not associated with mechanical mounting, Type of terminals - Screw type terminals for external copper conductors, Value of I 2 t (Joule Integral) Max 150000 A^2s, Material group= IIIa, IP20. | VIVCON(Brand)HELLIOS | Micro
2/11 , F BLOCK , MANGOLPURI INDUSTRIAL,AREA , DELHI - 110083,MANGOLPURI N BLOCK
21 | 2207840 | MCB ELECTRO CONTROLS |  | WEST DELHI | DELHI |  |  | 2026-02-28 | Operative | SP,SPN,DP,TP,TPN, FP 240V/415V, 50Hz, 10KA, 0.5-63A(0.5,1,2,3,4,5,6,10,16,20,25,32,4063A)(Variety)SP DP, 240V, 50Hz, 3KA, 6-32A(6,10,16,20,2532A) | SIGMA(Brand)BENTEX-LINGER | Small
K-52; UDYOG NAGAR;,ROHTAK ROAD; NANGLOI,DELHI
22 | 8530015211 | VEE KEY ELECTRICALS |  | SHAHDARA | DELHI |  |  | 2025-07-25 | Operative | Single pole, C-type, 240V, 50Hz, AC, short circuit capacity-10000A, unenclosed, surface type, screw in type, for current ratings 2A to 40A (2A,4,6,10,16,20,25,32 & 40A) | ALAN | Micro
W-206, CHANDER SHEKHAR AZAD, STREET NO. 5, BABARPUR, SHAHDARA,EAST DELHI,EAST DELHI
23 | 8530057413 | Real Enterprises |  | WEST DELHI | DELHI |  |  | 2026-02-15 | Operative | Single Pole and Double Pole, Unenclosed, Flush Type, Circuit Breakers?for overcurrent protection for Household and Similar Installations, the?electrical connections of which are not associated with mechanical?mounting, screw type terminals for external copper conductors, Isqaure*t?characteristics - for B type (Above 3 In up to and including 5 In), for?C type (Above 5 In up to and including 10 In), B & C type, Rated?Currents - 6A, 10A, 16A, 20A, 25A, 32A, Rated Operational Voltage -?240V AC, Rated insulation voltage - 240V, Rated impulse withstand?voltage - 2.5 kV, Rated Frequency - 50 Hz, Rated Short circuit capacity?- 3kA, Material Group IIIa, Degree of protection IP20(Variety)Single Pole, Unenclosed, Panel Board/Distribution Board Type comma Electrical Connections Are Not Associated with The Mechanical Mounting, Screw Type Terminal for External Copper Conductor comma B C-type, I^2*t characteristics (Joule Integral) 150000(Max) comma Rated Operational Voltage 240V, Rated Insulation Voltage 660V, Rated impulse Voltage 4kV, Rated Current - 6A comma 10A,16A,20A,25A to 32A, Rated Frequency - 50Hz comma Rated short circuit Capacity-10000A. | REALTECHNO | Micro
C-5 OLD NO 32 KH NO 61/16/1 NARESH PARK EXTN PARK,WEST DELHI NANGLOI,DELHI
24 | 8187587 | Microtech Switch Gears |  | WEST DELHI | DELHI |  |  | 2025-03-31 | Operative |  |  | Micro
25 | 8300142909 | VRIX ELECTRIC INDIA PRIVATE LIMITED |  | WEST DELHI | DELHI |  |  | 2025-05-02 | Operative | Circuit Breakers Single Pole, Two pole with one protected pole, with 240V AC, 50 Hz and Two Pole with two protected poles, Three Pole with three protected poles and Four Pole with four protected poles with 415 V AC, 50 Hz for C and B Type instantaneous tripping, Unenclosed type, Panel Board/Distribution board Type, circuit-breakers, the electrical connections of which are not associated with the mechanical mounting, circuit-breakers with screw-type terminals for external copper conductors, Rated I(sc) 10000A, Isqt 150000 max, Material group IIIa with rated current 0.5A, 1A, 2A, 3A, 4A, 5A, 6A, 10A, 16A, 20A, 25A, 32A, 40A, 50A and 63A.(Variety)a. Single Pole with rated voltage 240V, B and C type, Short circuit rated capacity- 3000A, Unenclosed Flush type, circuit-breakers with screw-type terminals for external copper conductors, Isqt 60000 Max, Material Group Ia for rated currents 6A, 10A, 16A, 20A, 25A and 32A b. Two-pole circuit-breakers with two protected poles with rated voltage 240V, B and C type, Short circuit rated capacity- 3000A, Unenclosed Flush type, circuit-breakers with screw-type terminals for external copper conductors, Isqt 60000 Max, Material Group Ia for rated currents 6A and 32A | VRIX | Micro
K-3 UDYOG NAGAR,PEERA GARI,DELHI
26 | 8500015007 | SHREE KRISHNA METALS |  | NORTH DELHI | DELHI |  |  | 2025-11-17 | Operative | Circuit breaker for over current protection for household & similar installation for AC operation of type-B&C, 240 V, 50Hz, AC, short circuit capacity 10 KA, impulse voltage 4 KV, single pole MCB for current ratings 6A, 10A, 16A, 20A, 25A, 32A, 40A, & 63A, as per IS/IEC 60898-I:2002. | AARDI | Micro
A-7, PRAGATI ENCLAVE, LANE NO. 22 MUKUNDPUR PART-2,
27 | 8530114718 | K C ELECTRICALS |  | SOUTH WEST DELHI | DELHI |  |  | 2026-01-19 | Operative | 6A,10A,16A,20A,25A,32A,40A,63A, 240/415V, 50Hz, AC, C-Curve, Single Pole, SCC= 10000A, Insulation voltage= 690V, Impulse voltage= 4kV, Unenclosed, Screw type terminals, Surface type, Material group IIIa | KCEI(Brand) Starlife | Micro
KHASRA NO KHASRA NO-25/3/1674, NAJAFGARH, NANGLI SAKRAWATI, NEW DELHI, SOUTH WEST DELHI, DELHI, 110043,NAJAFGARH
28 | 8500000810 | EMSON SWITCHGEARS |  | WEST DELHI | DELHI |  |  | 2025-12-31 | Operative | Electrical accessories- circuit breakers for over currentprotection for household and similar installations unenclosedpanel/distribution board type (with provision for rail mounting)connection not associated with mechanical mounting with screw typeterminals for external copper conductors rated impulse withstand voltageof 6KV type-BC for the following varieties 1 SP SPN DP 240V50Hz 10KA6-40A(61016202532 40A) 2 SP DP 240V 50Hz 3KA6-32A(61016202532A)(Variety)SP DP 240V 50Hz BC type3KA 6A-32A |  | Micro
5/38A, IIND FLOOR,KIRTI NAGAR INDUSTRIAL AREA,DELHI
29 | 8500012110 | M/s Rakesh Electrical Industries |  | CENTRAL DELHI | DELHI |  |  | 2025-06-02 | Operative | SPN, DP, TP, FP, C-type, 240/415V, 50Hz, 10KA for rated current 6A-63A, unenclosed, surface type, screw type terminals(Variety)Electrical accessories Circuit breaker for over current protection for household & similar installation for the following varieties -? single pole, C-type ,10 KA, 240v, 50Hz, 6A, 10A, 16A, , 25A, 32A & 40A unenclosed, surface type, screw type terminals. as per IS/IEC-60898-1:2002. | PSG(Brand)PSG | Medium
AA-7, GALI NO. 4D ANAND PARBAT INDUSTRIAL AREA,
30 | 8530039520 | SHIVTECH SWITCHGEARS |  | WEST DELHI | DELHI |  |  | 2025-06-04 | Operative |  |  | Micro
31 | 8530070549 | INSIGHT TECHNO INDUSTRIES |  | WEST DELHI | DELHI |  |  | 2025-10-21 | Operative | Electrical Accessories- Circuit-Breakers for Overcurrent Protection for Household and Similar Installations- Circuit Breakers for a.c. Operation. Single Pole, Unenclosed, Surface type, the electrical connections are not associated with mechanical mounting. Screw type terminals, C-Type, I^2t value 140000 mxax., Material group III a, Rated Current - 6A,10A,16A,20A,25A,32A,40A,63A, Rated frequency - 50Hz, Rated Short Circuit breaking Capacity - 10kA. Insulation voltage 690V, Impulse voltage 4kV. | VITALIZE | Micro
H. NO.43, NEAR FAUZI CHAI WALA, KH. NO.487 FIRST FLOOR, PEERA GARHI, DELHI,PEERAGARHI
32 | 8530094015 | Nufab Industries |  | SOUTH WEST DELHI | DELHI |  |  | 2025-07-20 | Operative | Electrical Accessories- Circuit-Breakers for Overcurrent Protection for Household and Similar Installations- Circuit Breakers for a.c. Operation, According to the protection against external influences: Unenclosed Type, According to the method of Mounting: Panel Board or Distribution Board mounting, According to the methods of connection : According to the fixation system : circuit-breakers, the electrical connections of which are not associated with the mechanical mounting, According to the methods of connection : according to Type of terminals: Screw type terminals for external copper conductors, According to the I2t characteristic(Joule Integral): 145000 (Max), Type of instantaneous tripping current: B and C type, Numbers of poles: Single Pole, Rated Current: 6A, 10A, 16A, 20A, 25A, 32A, 40A, 63A, Rated Voltage: 240/415 V, Rated insulation voltage: 690 V, Rated impulse withstand voltage: 4 kV, Rated Frequency: 50 Hz, Rated Short-Circuit Capacity: 10000 A, Material group: IIIa, Degree of Protection: IP20(Variety)Electrical Accessories - Circuit-Breakers for Overcurrent Protection for Household and Similar Installations- Circuit Breakers for a.c. Operation, According to the protection against external influences: Unenclosed Type, According to the method of Mounting: Panel or Distribution Board, According to the methods of connection : According to the fixation system: the electrical connections of which are not associated with the mechanical mounting, According to type of terminals: Screw type terminals for external copper conductors, Type of instantaneous tripping current: B-type/C-type, According to the I2t characteristic(Joule Integral): 145000 A2s (Max), Rated Current: 6A, 10A, 16A, 20A, 25A, 32A, 40A, 63A, Rated Voltage: 240/415V, Rated Frequency: 50Hz, Rated Short-Circuit Capacity: 10000A, Rated insulation voltage: 690V, Material group: IIIa, Degree of Protection: IP20 for the following varieties: (i)Two-pole-circuit-breakers with one protected poles, (ii)Two-pole-circuit-breakers with two protected poles, (iii)Three-pole-circuit-breakers with three protected poles, (iv)Four-pole-circuit-breakers with three protected poles, (v)Four-pole-circuit-breakers with four protected poles. | Sliro | Micro
B-11, GROUND FLOOR, HARI NAGAR, MAYAPURI INDUSTRIAL AREA, PHASE-II, SOUTH WEST DELHI, DELHI, 110064,MAYA PURI
33 | 3253145 | ALLIED EECTRICALS |  | SOUTH WEST DELHI | DELHI |  |  | 2025-11-30 | Operative |  | ARISTO | Micro
374A/KH. NO. 200, NANGLI SAKRAWATI INDUSTRIAL AREA, NAJAFGARH, DELHI-110043 SOUTH WEST DELHI - 110043,DELHI
34 | 8530068317 | VANSHIKA ENTERPRISES |  | SOUTH WEST DELHI | DELHI |  |  | 2026-01-01 | Operative |  |  | Micro
35 | 3298874 | Unitech Industries |  | NORTH WEST DELHI | DELHI |  |  | 2025-05-31 | Operative |  | Orion | Micro
KHASRA NO. 87/2 AND 9, PLOT 3, GALI NO. 12,VILLAGE GHEVRA,DELHI
36 | 8530019817 | HALTECH SWITCHGEAR INDIA PVT. LTD. |  | WEST DELHI | DELHI |  |  | 2025-02-26 | Operative | Electrical accessories-circuit breakers for over current protection for household and similar installations, circuit breakers for ac operation, unenclosed, screw type terminals, B and C type, 50Hz AC for the following varieties- a) 240/415V, SP, SPN, DP, TP, TPN and FP 0.5A to 63A (0.5,1,2,3,4,5,6,10,16,20,25,32,40,50,63). b) 240V, SP and DP 6A to 32A (6,10,16,20,25,32) | HALLERS | Medium
B-66,1ST FLOOR ,MAYAPURI INDUSTRIAL AREA ,PHASE-1 ,NEW DELHI,NEW DELHI
37 | 8616786 | HABTECH ELECTRO CONTROL |  | WEST DELHI | DELHI |  |  | 2025-08-31 | Operative | Electrical Accessories - AC Air Break Circuit Breakers for Over Current Protection for Household and Similar Installations, 50Hz, Unenclosed, Surface Type with types and other details as follows: No. of Poles - SP Voltage - 240/415V Type - B & C Rated short circuit breaking capacity - 10KA Rated Operation Current - 6 to 40A | HABTECH | Micro
GROUND AND FIRST FLOOR RZH 160 KH NO 77/12,NIHAL VIHAR NANGLOI DELHI,DELHI
38 | 8530064713 | B.R. ENGINEERING WORKS |  | WEST DELHI | DELHI |  |  | 2025-08-08 | Operative | Single Pole, Unenclosed type, Panel board/ Distribution Board Type,?Electrical connections of which are not associated with Mechanical?Mounting, Screw type terminals for external copper conductors, C type,?I^2*t (Joule Integral) - Max 150000, Rated Voltage - 240V, Rated?Insulation Voltage - 660V, Rated Impulse withstand voltage - 4kV, Rated?Current - 6A,10A,16A,20A,25A,32A,40A,63A, Rated frequency - 50Hz, Rated?Short Circuit Capacity - 10kA. | BREW | Micro
B-60, FIRST FLOOR, NARESH PARK EXTENSION,NANGLOI,NANGLOI
39 | 2195455 | Adhunik Switchgears Pvt. Ltd., |  | SONIPAT | HARYANA |  |  | 2025-02-28 | Operative | No of poles- SP,SPN,DP,TP,TPN; Voltage- 240/415V; Type- B and C; In- 2,3,4,5,6,8,10,13,16,20,25,32,40,50 and 63A | Action | Medium
PLOT NO. 1700, HSIDC INDUSTRIAL ESATATE ,RAI
40 | 3186560 | Accurate Electricals India |  | SHAHDARA | DELHI |  |  | 2026-02-28 | Operative | Electrical Accessories - Circuit Breakers for Over Current Protection for Household and Similar Installations | ACCURATE | Micro
D-26/104 AMAR COLONY, EASTM GOKAL PUR, LONI ROAD,DELHI
41 | 8568603 | JMD Control & Switchgears |  | WEST DELHI | DELHI |  |  | 2025-10-31 | Operative |  |  | Micro
42 | 8530034316 | FIZA PLASTIC |  | WEST DELHI | DELHI |  |  | 2025-11-11 | Operative | SP, 240V, 50Hz, AC, C-type, screw type terminals, unenclosed, panel board/distribution board type, short circuit capacity-10KA, current ratings- 6 to 63A (6,10,16,20,25,32,40,63A )(Variety)Electrical accessories- circuit breakers for overcurrent protection for household and similar installations-part 1. circuit breakers for AC operation for the following varieties-(Variety)Single Pole with Neutral, Double Pole, Three Pole comma Three Pole with Neutral, Four Pole, Unenclosed type comma Panel board type / Distribution board type, Fixation system - the electrical connections of which are not associated with the mechanical mounting, with screw-type terminals for external copper conductors comma B type, C type, Isquaret Characteristic: 150000 (max) comma Rated Voltage - 240/415 V, Rated insulation voltage - 660V comma Rated impulse withstand voltage - 4kV, Rated Current - 6A comma 10A, 16A, 20A, 25A, 32A, 40A comma 63A, Rated frequency - 50Hz, Rated Short Circuit Capacity - 10kA. (Variety) Single Pole, Unenclosed type, Panel board type / Distribution board type, Fixation system - the electrical connections of which are not associated with the mechanical mounting comma with screw-type terminals for external copper conductors, B type, Isquaret Characteristic: 150000 (max), Rated Voltage - 240 V, Rated insulation voltage - 660V, Rated impulse withstand voltage - 4kV, Rated Current - 6A, 10A, 16A comma 20A, 25A, 32A, 40A, 63A, Rated frequency - 50Hz, Rated Short Circuit Capacity - 10kA. | FIZU TECH | Micro
C-4, KH NO. 60/17,NARESH PARK EXTENSION,NANGLOI
43 | 2590966 | ELIXIR ENGG & ELECTRICALS INDUSTRIES |  | WEST DELHI | DELHI |  |  | 2025-05-31 | Operative | Miniature circuit breaker , 6-32 Amp(6,10,16,20,25&32A) Single pole, C&B- type, 240V, 50Hz, 3000A, Unenclosed,Screw type terminal.(Variety)B&C / 6,10,16,20,25,32 /SP&DP/ Tiny MCB(Variety)(Variety)Single Pole, Single Pole with neutral, Unenclosed Type comma Panel Board / Distribution Board type, The electrical connections are not associated with mechanical mounting, Screw type terminals for external copper conductors, Rated Operational Voltage - 240V comma Rated Current - 6A, 10A, 16A, 20A, 25A comma 32A, 40A, 63A, Rated frequency - 50Hz, B and C type, Rated Short Circuit Capacity - 10kA, I^2*t characteristics (Joule Integral) - 150000 (Max), Rated Insulation Voltage - 660V, Rated Impulse withstand Voltage - 4kV.(Variety)Double Pole, Three Pole, Three Pole with Neutral, Four Pole, Unenclosed Type, Panel Board / Distribution Board type comma The electrical connections are not associated with mechanical mounting, Screw type terminals for external copper conductors comma Rated Operational Voltage - 415V, Rated Current - 6A comma 10A, 16A, 20A, 25A, 32A, 40A, 63A comma Rated frequency - 50Hz, B and C type, Rated Short Circuit Capacity - 10kA, I^2*t characteristics (Joule Integral) - 150000 (Max), Rated Insulation Voltage - 660V, Rated Impulse withstand Voltage - 4kV.(Variety)Electrical Accessories- Circuit-Breakers for Overcurrent Protection for Household and Similar Installations- Circuit Breakers for a.c Operation, Single pole, Single pole with Neutral, Two Pole, B and C Type, 6 A, 10 A, 16 A, 20 A, 25 A & 32 A, 240 V, 50 Hz, Rated Short Circuit Capacity 1500 A, Unenclosed, Flush Type, Screw Type Terminal, I^2*t (Joule Integral) 20000 (Max), Insulation Voltage - 660V, Rated Impulse withstand voltage - 4kV | V-SAFE(Brand)SN Cab | Medium
KH NO.93/18, GROUND FLOOR & 1ST FLOOR,GALI NO. 1-A, MUNDKA, UDYOG NAGAR, SOUTH SIDE INDUSTRIAL AREA,NEW DELHI
44 | 3065144 | ARORA SWITCHGEARS PVT LTD, |  | GHAZIABAD | UTTAR PRADESH |  |  | 2025-11-30 | Operative |  |  | Medium
45 | 8500012405 | OMCO Switch Gears |  | GHAZIABAD | UTTAR PRADESH |  |  | 2025-06-05 | Operative |  |  | Micro
46 | 3015634 | BILLTECH ELECTRICALS PVT. LTD. |  | GHAZIABAD | UTTAR PRADESH |  |  | 2025-04-30 | Operative |  |  | Micro
47 | 8700003309 | Unimaxe Switchgear |  | GHAZIABAD | UTTAR PRADESH |  |  | 2026-01-31 | Operative |  |  | Micro
48 | 8571992 | Fair Lighting Products Pvt.Ltd. |  | GHAZIABAD | UTTAR PRADESH |  |  | 2025-10-31 | Operative |  |  | Medium
49 | 8521270 | Kinjal Electricals Pvt.Ltd. |  | GHAZIABAD | UTTAR PRADESH |  |  | 2025-03-31 | Operative |  |  | Micro
50 | 8534279 | Elmeck Switch Gears |  | GHAZIABAD | UTTAR PRADESH |  |  | 2025-03-31 | Operative |  |  | Small
51 | 8700147519 | FAIR LIGHTING PRODUCTS PVT. LTD. |  | GHAZIABAD | UTTAR PRADESH |  |  | 2026-02-27 | Operative |  |  | Micro
52 | 2657770 | SAMKO SWITCHGEARS PVT LTD |  | GHAZIABAD | UTTAR PRADESH |  |  | 2026-01-31 | Operative |  |  | Micro
53 | 8563488 | MILLION SWITCHGEARS (PVT) LTD |  | GAUTAM BUDDH NAGAR | UTTAR PRADESH |  |  | 2025-09-30 | Operative |  |  | Micro
54 | 8633584 | Velox Switchgear, |  | GAUTAM BUDDH NAGAR | UTTAR PRADESH |  |  | 2025-12-31 | Operative |  |  | Micro
55 | 2737667 | ORIENT ELECTRIC |  | GAUTAM BUDDH NAGAR | UTTAR PRADESH |  |  | 2025-11-30 | Operative |  |  | Large
56 | 2699786 | Home Electric (India) Pvt Ltd |  | GAUTAM BUDDH NAGAR | UTTAR PRADESH |  |  | 2025-06-30 | Operative |  |  | Small
57 | 8614782 | SELVO ELECTRICALS INDIA PVT LTD |  | GAUTAM BUDDH NAGAR | UTTAR PRADESH |  |  | 2025-07-31 | Operative |  |  | Micro
58 | 1508647 | Novateur Electrical & Digital Systems Private Limited |  | HARIDWAR | UTTARAKHAND |  |  | 2025-04-30 | Operative |  |  | Large
59 | 8653085 | Panasonic Life Solutions India Private Ltd. |  | HARIDWAR | UTTARAKHAND |  |  | 2025-05-31 | Operative |  |  | Large
60 | 4840771 | Great White Global Pvt. Ltd. |  | HARIDWAR | UTTARAKHAND |  |  | 2026-01-31 | Operative |  |  | Large
61 | 5400047603 | C&S Electric ltd |  | HARIDWAR | UTTARAKHAND |  |  | 2025-04-22 | Operative |  |  | Large
62 | 8885716 | C & S Electric Ltd. |  | HARIDWAR | UTTARAKHAND |  |  | 2025-12-31 | Operative |  |  | Large
63 | 4834978 | Honeywell Electricals Devices & systems (India) Ltd. |  | DEHRADUN | UTTARAKHAND |  |  | 2025-05-31 | Operative |  |  | Small
64 | 4835778 | Elleys Industries (India) Pvt. Ltd. |  | HARIDWAR | UTTARAKHAND |  |  | 2025-04-30 | Operative |  |  | Large
65 | 3169762 | BCH Electric Ltd. |  | UDHAM SINGH NAGAR | UTTARAKHAND |  |  | 2025-12-31 | Operative |  |  | Large
66 | 8300020495 | FINOLEX CABLES LIMITED |  | HARIDWAR | UTTARAKHAND |  |  | 2025-06-05 | Operative |  |  | Large
67 | 8300001188 | NEELGIRI ELECTRICALS PRIVATE LIMITED |  | HARIDWAR | UTTARAKHAND |  |  | 2025-03-31 | Operative |  |  | Medium
68 | 9600049714 | Shalabh (India) Limited |  | HARIDWAR | UTTARAKHAND |  |  | 2025-10-16 | Operative |  |  | Micro
69 | 8300110294 | Panasonic Life Solutions India Private Ltd. |  | HARIDWAR | UTTARAKHAND |  |  | 2026-01-12 | Operative |  |  | Large
70 | 9328685 | Electromech Industries |  | HARIDWAR | UTTARAKHAND |  |  | 2026-04-15 | Operative |  |  | Small
71 | 4874485 | GUTS ELECTROMECH LTD. |  | HARIDWAR | UTTARAKHAND |  |  | 2025-07-31 | Operative |  |  | Small
72 | 9328584 | S.G. Control & Switchgear Private Limited |  | GURGAON | HARYANA |  |  | 2025-04-30 | Operative |  |  | Medium
73 | 9308073 | Sard Metals (P) Ltd. |  | FARIDABAD | HARYANA |  |  | 2025-10-31 | Operative |  |  | Small
74 | 9512521822 | SYSKA MITERR PRIVATE LIMITED |  | GURGAON | HARYANA |  |  | 2025-04-11 | Operative |  |  | Medium
75 | 9800017117 | ASCO SWITCHGEARS PVT. LTD. |  | KAPURTHALA | PUNJAB |  |  | 2026-03-31 | Operative |  |  | Small
76 | 9286897 | FINE SWITCHGEARS |  | KAPURTHALA | PUNJAB |  |  | 2025-07-31 | Operative |  |  | Small
77 | 2124331 | GECO ELECTRICAL CORPORATION. |  | JALANDHAR | PUNJAB |  |  | 2025-06-30 | Operative |  |  | Micro
78 | 9314977 | Mex Switchgears Pvt,Ltd. |  | JALANDHAR | PUNJAB |  |  | 2026-01-31 | Operative |  |  | Small
79 | 9770397 | Havells India Limited - Unit-II |  | SOLAN | HIMACHAL PRADESH |  |  | 2026-01-31 | Operative |  |  | Large
80 | 9600053216 | Microtek New Technologies Private Limited |  | SOLAN | HIMACHAL PRADESH |  |  | 2026-01-04 | Operative |  |  | Medium
81 | 5159870 | Bentec Bhartia Engineers Pvt. Limited |  | SOLAN | HIMACHAL PRADESH |  |  | 2026-01-31 | Operative |  |  | Small
82 | 8515376 | HPL Electric & Power Ltd. |  | SOLAN | HIMACHAL PRADESH |  |  | 2025-11-30 | Operative |  |  | Large
83 | 1503637 | Havells India Limited |  | SOLAN | HIMACHAL PRADESH |  |  | 2026-01-31 | Operative |  |  | Large
84 | 9455389 | AXIOM CONTROLS PRIVATE LIMITED |  | SOLAN | HIMACHAL PRADESH |  |  | 2026-01-31 | Operative |  |  | Small
85 | 9742695 | KOLORS INDIA PRIVATE LIMITED |  | SOLAN | HIMACHAL PRADESH |  |  | 2025-10-31 | Operative |  |  | Medium
86 | 4459776 | ABB INDIA LIMITED |  | BANGALORE RURAL | KARNATAKA |  |  | 2025-05-31 | Operative |  |  | Large
87 | 9592504 | EATON POWER QUALITY PRIVATE LIMITED |  | PONDICHERRY | PONDICHERY |  |  | 2025-04-30 | Operative |  |  | Large
88 | 2618558 | SAIMEC SWITCHGEARS |  | CHENNAI | TAMIL NADU |  |  | 2025-09-30 | Operative |  |  | Micro
89 | 2182951 | SCHNEIDER ELECTRIC INDIA PVT. LTD. |  | CHENNAI | TAMIL NADU |  |  | 2026-01-31 | Operative |  |  | Large
90 | 6500091714 | SALZER ELECTRONICS LTDs |  | COIMBATORE | TAMIL NADU |  |  | 2025-11-04 | Operative |  |  | Large
91 | 6521260 | Guts Electromech Limited |  | RANGA REDDY | TELANGANA |  |  | 2025-11-30 | Operative |  |  | Small
92 | 6300004885 | Guts Circuit Breakers Pvt Ltd |  | RANGA REDDY | TELANGANA |  |  | 2025-05-31 | Operative |  |  | Small
93 | 7300107095 | Shelter MCB Manufacturing |  | GANDHINAGAR | GUJARAT |  |  | 2025-09-14 | Operative |  |  | Medium
94 | 2903052 | AJANTA MANUFACTURING PRIVATE LIMITED |  | MORBI | GUJARAT |  |  | 2025-08-06 | Operative |  |  | Large
95 | 2900147 | POLYCAB INDIA LIMITED |  | NASHIK | MAHARASHTRA |  |  | 2025-07-24 | Operative |  |  | Large
96 | 7800020207 | G-NINE MODULAR PRIVATE LIMITED |  | PALGHAR | MAHARASHTRA |  |  | 2026-01-12 | Operative |  |  | Medium
97 | 7522974 | KUSUM ENGINEERING WORKS |  | MUMBAI SUBURBAN | MAHARASHTRA |  |  | 2025-11-24 | Operative |  |  | Small
98 | 7700166919 | PARAS INDUSTRIES |  | MUMBAI SUBURBAN | MAHARASHTRA |  |  | 2025-03-24 | Operative |  |  | Micro
99 | 7800039018 | Starfab Electra Private Limited |  | JALGAON | MAHARASHTRA |  |  | 2025-11-04 | Operative |  |  | Micro
100 | 7222457 | Novateur Electrical & Digital Systems Private Limited |  | JALGAON | MAHARASHTRA |  |  | 2025-08-31 | Operative |  |  | Large
101 | 2255548 | SIEMENS LTD |  | AURANGABAD | MAHARASHTRA |  |  | 2025-06-30 | Operative |  |  | Large
102 | 7789008 | HAGER ELECTRO PVT LTD |  | PUNE | MAHARASHTRA |  |  | 2025-05-31 | Operative |  |  | Large
103 | 7128970 | Schneider Electric India Private Limited |  | AHMEDNAGAR | MAHARASHTRA |  |  | 2025-06-30 | Operative |  |  | Large
104 | 7100080289 | Ellecab Electricals Pvt Ltd |  | VALSAD | GUJARAT |  |  | 2025-11-11 | Operative |  |  | Large
105 | 7100000770 | Kent Industries |  | VALSAD | GUJARAT |  |  | 2026-03-18 | Operative |  |  | Medium