## Sheet1
List of Licenses under Indian Standard (IS) Number: IS 17018 : Part 1:2022
S.No. | Licence No. | Firm Name & Address | Contact Person | District | State | Contact Number | Email | Validity Date | Status | Variety | Brand Name | Status
1 | 8200102490 | Shakti Pump (I) Ltd |  | DHAR | MADHYA PRADESH |  |  | 2025-10-17 | Operative | 1) For Pumpset:: Size(Delivery)-50mm,Motor Rating(kW/HP)-3.7/5,Operating Head Range(m) 37.5-55,Total Head at the guarantee duty point(m)-50,Capacity at guaranteed head (lpd)-93600,Capacity range(lpd) 70200-102960, Voltage range(V) 240-285,Maximum current(A) 9.3,Type (ac or dc)-DC Submersible, 2) For PV Array:: Rating in Watts peak(Wp)-4800, 3) For Solar PV Converter/Controller: Voltage Range(V): I/P:0-720Vdc, O/P:0-400Vac, Power Range(kW): I/P:0-4.8kW, O/P:0-4.7kW, Current Rating(A): I/P:10A, O/P:12A, Efficiency(%): >95% at rated frequency and load | SHAKTI | Large
UNIT-3 PLOT NO 401,402,413,400,412A ,SECTOR III DIST DHAR,PITHAMPUR
2 | 7600148615 | Versil Pumps LLP |  | RAJKOT | GUJARAT |  |  | 2025-05-20 | Operative |  |  | Medium