## Sheet1
List of Licenses under Indian Standard (IS) Number: IS 12640 : Part 1:2016
S.No. | Licence No. | Firm Name & Address | Contact Person | District | State | Contact Number | Email | Validity Date | Status | Variety | Brand Name | Status
1 | 3255856 | BIOCON ELECTRIC PVT. LTD. |  | NORTH EAST DELHI | DELHI |  |  | 2025-11-30 | Operative | 240V, 50Hz, Two pole, for fixed installations & fixed wiring, functionally independent of line voltage, with single value of residual operating current, general type & use, Type-AC, unenclosed-type, surface type, screw-in type, with screw type terminals for the ratings In= 25A to 63A, I?n= 30mA, 100mA and 300mA, Inc= 10kA, I?c= 10kA, Uimp= 4kV |  | Medium
PLOT NO. 15B, KHASRA NO. 4/24/1A,J.R. COMPLEX, GATE NO. 4MAINROAD SEWA DHAMMANDOLI INDUSTRIAL AREA,DELHI
2 | 8546690 | MCB ELECTRO CONTROLS |  | WEST DELHI | DELHI |  |  | 2025-05-31 | Operative | Residual current operated circuit-Breakers for house hold and similar uses without integral over current protection (RCCBs), Rated insulation Voltage 660V, 50Hz, Type AC, for General use, Functionally independent of line voltage, unenclosed, of following varieties: 1. DP, 240/415V, ac , Rated current from 16A to 63A, Rated residual operating current 30 mA, 100mA, and 300 mA Rated conditional short circuit current & Rated conditional Residual short circuit current 6KA, Rated making & Breaking Capacity & Rated residual making & Breaking capacity 630A fir Rated current 63 A and 500 A for other values of rated currents. 2. Four pole, 415, ac, Rated current from 16A to 63A , rated residual operating current 30 mA, 100 mA, 300mA Rated conditional short circuit current & Rated conditional residual short circuit current 6KA, Rated making & Breaking capacity & Rated Residual making & breaking capacity 630A for Rated current 63A and 500A for other values for Rated currents. | SIGMA(Brand)BENTEX-LINGER | Small
K-52, UDYOG NAGAR,ROHTAK ROAD, NANGLOI,DELHI
3 | 8530048420 | VRIX ELECTRIC INDIA PRIVATE LIMITED |  | WEST DELHI | DELHI |  |  | 2025-03-29 | Operative | Residual Current Operated Circuit Breakers Without Integral Overcurrent Protection for Household and similar uses, for fixed installation and fixed wiring, Four Pole(3P+N), Rated current (In) 16A, 25A, 32A, 40A, 63A, Rated residual operating current(Idn) 30mA, 100mA, 300mA, Rated residual non-operating current(Idno) 15mA, 50mA, 150mA, Rated Voltage(Un) 415V, Rated frequency 50Hz, Rated making and breaking capacity(Im)-500A (for In 16A, 25A, 32A, 40A), 630A(for In 63A), Rated Residual making & Breaking Capacity (Idm) - 630 A for 63A, 500A for 16A, 25A, 32A, 40A without time delay, operating characteristics in case of residual currents with d.c. components -Type AC, degree of protection-IP20, rated conditional short-circuit current (Inc) 10kA, rated conditional residual short-circuit current (Idc) 10kA, method of mounting-flush type, Method of operation-functionally independent of line voltage, RCCB with a single value of rated residual operating current, RCCBS with normal resistance to unwanted tripping (generaI type), RCCBS the connections of which are not associated with the mechanical mounting, protection against external influences-unenclosed-type.(Variety)Residual Current Operated Circuit Breakers Without Integral Overcurrent Protection for Household and similar uses, for fixed installation and fixed wiring, Double Pole(1P+N), Rated current (In) 16A, 25A, 32A, 40A, 63A, Rated residual operating current(Idn) 30mA, 100mA, 300mA, Rated residual non-operating current(Idno) 15mA, 50mA, 150mA, Rated Voltage(Un) 240V, Rated frequency 50Hz, Rated making and breaking capacity(Im)-500A (for In 16A, 25A, 32A, 40A), 630A(for In 63A), Rated Residual making & Breaking Capacity (Idm) - 630 A for 63A, 500A for 16A, 25A, 32A, 40A, without time delay, operating characteristics in case of residual currents with d.c. components -Type AC, degree of protection-IP20, rated conditional short-circuit current (Inc) 10kA, rated conditional residual short-circuit current (Idc) 10kA, method of mounting-flush type, Method of operation-functionally independent of line voltage, RCCB with a single value of rated residual operating current, RCCBS with normal resistance to unwanted tripping (generaI type), RCCBS the connections of which are not associated with the mechanical mounting, protection against external influences-unenclosed-type. | VRIX(Brand)PM(Brand)CONA | Micro
K-3, UDYOG NAGAR, PEERA GARI, WEST DELHI,DELHI 110063,PEERA GARI
4 | 8700102008 | UNIMAXE SWITCHGEAR |  | GHAZIABAD | UTTAR PRADESH |  |  | 2026-02-03 | Operative |  |  | Micro
5 | 8530017114 | SAMKO SWITCHGEARS PVT. LTD. |  | GHAZIABAD | UTTAR PRADESH |  |  | 2025-10-29 | Operative |  |  | Micro
6 | 8700032013 | Fair Lighting Products Pvt.Ltd. |  | GHAZIABAD | UTTAR PRADESH |  |  | 2025-05-01 | Operative |  |  | Medium
7 | 8700116112 | HOME ELECTRIC (INDIA) PVT. LTD. |  | GAUTAM BUDDH NAGAR | UTTAR PRADESH |  |  | 2025-11-06 | Operative |  |  | Small
8 | 2737768 | ORIENT ELECTRIC |  | GAUTAM BUDDH NAGAR | UTTAR PRADESH |  |  | 2025-11-30 | Operative |  |  | Large
9 | 8300151211 | Panasonic Life Solutions India Private Limited. |  | HARIDWAR | UTTARAKHAND |  |  | 2025-08-04 | Operative |  |  | Large
10 | 8565189 | Novateur Electrical & Digital Systems Private Limited |  | HARIDWAR | UTTARAKHAND |  |  | 2025-04-30 | Operative |  |  | Large
11 | 8997424 | Panasonic Life Solutions India Private Ltd. |  | HARIDWAR | UTTARAKHAND |  |  | 2025-05-31 | Operative |  |  | Large
12 | 8300179714 | ELECTROMECH INDUSTRIES |  | HARIDWAR | UTTARAKHAND |  |  | 2026-02-06 | Operative |  |  | Small
13 | 3148552 | C & S Electric Ltd. |  | HARIDWAR | UTTARAKHAND |  |  | 2025-12-31 | Operative |  |  | Large
14 | 9512517722 | KSHINE CONTROL & SWITCHGEARS |  | FARIDABAD | HARYANA |  |  | 2026-03-12 | Operative |  |  | Micro
15 | 5241855 | Bentec Bhartia Engineers Pvt. Limited |  | SOLAN | HIMACHAL PRADESH |  |  | 2025-08-31 | Operative |  |  | Small
16 | 9900990 | Havells India Limited - Unit-II |  | SOLAN | HIMACHAL PRADESH |  |  | 2025-12-31 | Operative |  |  | Large
17 | 8089284 | Havells India Limited |  | SOLAN | HIMACHAL PRADESH |  |  | 2026-02-28 | Operative |  |  | Large
18 | 9822895 | HPL Electric & Power Ltd. |  | SOLAN | HIMACHAL PRADESH |  |  | 2025-10-31 | Operative |  |  | Large
19 | 4752774 | ABB INDIA LIMITED |  | BANGALORE RURAL | KARNATAKA |  |  | 2025-07-06 | Operative |  |  | Large
20 | 8530016415 | SAIMEC SWITCHGEARS |  | CHENNAI | TAMIL NADU |  |  | 2025-10-02 | Operative |  |  | Micro
21 | 6641977 | SCHNEIDER ELECTRIC INDIA PVT. LTD. |  | CHENNAI | TAMIL NADU |  |  | 2026-01-31 | Operative |  |  | Large
22 | 4828680 | Honeywell Electricals Devices & systems (India) Ltd. |  | CHENNAI | TAMIL NADU |  |  | 2025-05-31 | Operative |  |  | Small
23 | 9656201 | EATON POWER QUALITY PRIVATE LIMITED |  | PONDICHERRY | PONDICHERY |  |  | 2025-04-30 | Operative |  |  | Large
24 | 6300090605 | Guts Electro mech Limited |  | RANGA REDDY | TELANGANA |  |  | 2026-02-25 | Operative |  |  | Small
25 | 6300005382 | Guts Circuit Breaker Pvt Ltd |  | RANGA REDDY | TELANGANA |  |  | 2025-05-31 | Operative |  |  | Small
26 | 7800021512 | POLYCAB INDIA LIMITED |  | NASHIK | MAHARASHTRA |  |  | 2027-01-31 | Operative |  |  | Large
27 | 7017860 | Novateur Electrical & Digital Systems Private Limited |  | JALGAON | MAHARASHTRA |  |  | 2025-06-15 | Operative |  |  | Large
28 | 7676092 | SIEMENS LTD |  | AURANGABAD | MAHARASHTRA |  |  | 2025-10-31 | Operative |  |  | Large
29 | 3823968 | HAGER ELECTRO PVT LTD |  | PUNE | MAHARASHTRA |  |  | 2025-05-31 | Operative |  |  | Large
30 | 7007958 | Schneider Electric India Private Limited |  | AHMEDNAGAR | MAHARASHTRA |  |  | 2025-06-30 | Operative |  |  | Large