## Sheet1
List of Licenses under Indian Standard (IS) Number: IS 15558:2005
S.No. | Licence No. | Firm Name & Address | Contact Person | District | State | Contact Number | Email | Validity Date | Status | Variety | Brand Name | Status
1 | 8100153298 | Shiva International |  | NORTH WEST DELHI | DELHI |  |  | 2026-03-01 | Operative | Instantaneous Domestic Water Heater for use with Liquefied Petroleum?Gas, a) Total Gas consumption-790 g/h, b) Hot water output-5 litre/min,?c) Heat input-Upto 10 kW | NA(Brand)FORTUNER | Small
N-23, SECTOR-1, DSIIDC INDL. AREA,BAWANA,BAWANA INDUSTRIAL AREA
2 | 8100087206 | ASONS |  | NORTH WEST DELHI | DELHI |  |  | 2025-09-08 | Operative | Auto ignition,gas consumption-710g/h or 7739kcal/h,heat input < 10Kw,Hot water output-3.5L/min,gas inlet connection-1/2BSP,Jet-M5,minimum water head-2m | ASONS | Micro
A-136, SECTOR-5,DSIDC, BAWANA,INDUSTRIAL AREA,NORTH DELHI, DELHI, 110039,DELHI
3 | 8530106113 | DIGNITY INTERNATIONAL |  | CENTRAL DELHI | DELHI |  |  | 2025-10-19 | Operative | Name of the Product - Instantaneous Domestic Water Heater for use with Liquefied Petroleum Gas Total gas consumption 785 g/h, Hot water output 5.0 ltr/min, Heat Input not more than 10 kW | STARSUNFLOW | Small
KNH-1/2, RAI JI KEDAR NATH MARG,ANAND PARBAT.,NEW DELHI ,INDIA,ANAND PARBAT INDL. AREA
4 | 8100033591 | HITLITE APPLIANCES INDIA PVT LTD |  | SONIPAT | HARYANA |  |  | 2025-10-31 | Operative |  |  | Small
5 | 9100141808 | Marc Enterprises Pvt. Ltd. Kundli |  | SONIPAT | HARYANA |  |  | 2025-08-03 | Operative | Total Gas Consumption: 900 g/h, Hot Water Output: 5.5 L/min. and Heat Input: Exceeding 10 kW(Variety)Instantaneous Domestic water Heater for use with LPG for following varities: a. Total Gas Consumption-900 g/hr, Hot water output (Flow rate): 6.0 litre/min, Normal heat input more than 10 Kw(Variety)Total Gas Consumption: 786 g/h, Hot Water Output: 5 L/min. and Heat Input: Not exceeding 10 kW. | Marc(Brand)crompton | Medium
PLOT NO. 100, PHASE -V, SECTOR-53,HSIDC,IDUSTRIAL AREA, KUNDLI,KUNDLI
6 | 8530094722 | R.G. Industries |  | SONIPAT | HARYANA |  |  | 2025-07-30 | Operative | Instantaneous Domestic Water Heater for use with Liquefied Petroleum Gas, with Auto ignition device, Heat input more than 10 KW, Threads 1/2 BSP for water inlet & outlet. Gas consumption- 810 g/h. Hot water output- 4.6 litre/minute(Variety)Instantaneous Domestic Water Heater for use with Liquefied Petroleum Gas., with Auto ignition device, Heat input more than 10 KW, Threads 1/2 BSP for water inlet & outlet. Gas consumption- 815 g/h. Hot water output- 5.0 litre/minute(Variety)Instantaneous Domestic Water Heater for use with Liquefied Petroleum Gas, with Auto ignition device, Heat input more than 10 KW, Threads 1/2 BSP for water inlet & outlet. Gas consumption- 890 g/h. Hot water output- 6.0litre/minute | INDO(Brand)Crompton | Large
PLOT NO. 340, PHASE-IV,SECTOR-57, KUNDLI, SONIAPT,KUNDLI
7 | 9100144208 | M/s Novacare Appliances Private Limited |  | SONIPAT | HARYANA |  |  | 2025-08-19 | Operative | Instantaneous Domestic Water Heater for use with LPG for Total Gas Consumption: 790 g/h, Hot Water Output: 5 L/min., and Heat Input: Not exceeding 10 kW.(Variety)Total Gas Consumption: 867 g/h, Hot Water Output: 6.0 L/min. and Heat Input: Exceeding 10 kW | STAR HOME LEADER | Small
PLOT NO-6,PHASE III,HSIIDC INDUSTRIAL ESTATE-BARHI, DISTT.:- SONIPAT(HR.),SONIPAT
8 | 9200103298 | DECOTECH ELECTRICALS PRIVATE LIMITED |  | SONIPAT | HARYANA |  |  | 2025-04-21 | Operative | Domestic Water Heater for Use with LPG as per IS 15558: 2005 considering up to 4 Amendments for the variety: Total Gas Consumption: 920 g/h, Hot Water Output: 5.5 L/min. and Heat Input: Exceeding 10 kW(Variety)Instantaneous Domestic Water Heater for Use with LPG as per IS 15558: 2005 considering up to 4 Amendments for the variety: Total Gas Consumption: 940 g/h, Hot Water Output: 6.0 L/min. and Heat Input: Exceeding 10 kW(Variety)Instantaneous Domestic Water Heater for Use With LPG, Total gas consumption 880 g/h, Heat input More than 10 kW, Hot water output 4.2 litre per minute | NA(Brand)R R CABEL(Brand)HINDWARE(Brand)DECO, ORIENT(Brand)DECO(Brand)ORIENT(Brand)HAVELLS(Brand)RR | Micro
PLOT NO 484 EPIP-HSIIDC SEC-53 PH 3 KUNDLI SONIPAT,HARYANA,SONIPAT
9 | 8864910 | Rama Domestic Appliances |  | WEST DELHI | DELHI |  |  | 2025-09-30 | Operative | Mini Domestic Water Heater for use with LPG, Total Gas Consumption 710 g/h, Hot Water Output 61/min, water head required for operation 3 mt, Thermal Efficiency 82% for water heater with nominal heat input not more than 10 KW, Autoignition. Mini Domestic LP Gas Water Heater with gas consumption 800 g/h, hot water output 5.9 l/min, water head required for operation 2 mt, thermal efficiency 84% Mini Domestic Water Heater for use with LPG variety: Water Heater with Auto Ignition Device, Threads: 1/2" BSP for Water inlet and outlet, Gas Consumption: 790 g/h, Type-10Kw, Cutoff Temp.: 95 (+0;-10)degree centigrade, Hot water output flow rate 3.8 liter/min. Min. water head required : 2 meter, Thermal Efficiency : 84% Min. | Victoria, Precision, Mayur(Brand)HPC(Brand)HPC | Micro
KHASRA NO. 44/9, 44/10 FIRST FLOOR,NEAR KALI MATA MANDIR PRAHALADPUR INDUSTRIAL AREA,DELHI
10 | 9100142305 | ODITI APPLIANCES LLP |  | SONIPAT | HARYANA |  |  | 2025-08-09 | Operative | Total Gas Consumption: 786 g/h, Hot Water Output: 3.8 L/min. and Heat Input: Not exceeding 10 kW(Variety) Total Gas Consumption: 890 g/h, Hot Water Output: 6 L/min. and Heat Input: Exceeding 10 kW(Variety)Total Gas Consumption: 786 g/h, Hot Water Output: 5 L/min. and Heat Input: Not exceeding 10 kW(Variety)Total Gas Consumption: 786 g/h, Hot Water Output: 5 .5 L/min. Heat Input: Not exceeding 10kW. (Variety) Total Gas Consumption: 867 g/h, Hot Water Output: 6 L/min. Heat Input: exceeding 10kW.(Variety)Name of the Product- Instantaneous Domestic Water Heater for use with LPG Total Gas consumption- 790g/h, Hot water output-5 L/min Heat Input -not exceeding 10kW - 2 meter ,Water inlet and outlet and gas inlet connection 1/2 BSP, Hear input - not exceeding 10 kw, | Bajaj(Brand)OMEN(Brand)Venus(Brand)orient(Brand)Benchmark | Medium
KHEWAT NO-15MIN,KHATA.NO-18,RECT & KILLA -32,VILL-,SANPERA TEHSIL-GANAUR,SONIPAT ,SONIPAT
11 | 9600036713 | V GUARD INDUSTRIES LTD |  | SIRMAUR | HIMACHAL PRADESH |  |  | 2025-09-05 | Operative |  |  | Medium
12 | 6800107110 | BLOSSOM HOME APPLIANCES |  | DAVANAGERE | KARNATAKA |  |  | 2025-10-15 | Operative |  |  | Micro
13 | 7200161906 | ABHISHEK ENTERPRISE |  | AHMEDABAD | GUJARAT |  |  | 2025-11-05 | Operative |  |  | Micro
14 | 7200021381 | POWER WORLD ELECTRONICS |  | AHMEDABAD | GUJARAT |  |  | 2025-08-18 | Operative |  |  | Micro
15 | 7900115613 | AJANTA LLP |  | MORBI | GUJARAT |  |  | 2025-10-09 | Operative |  |  | Large
16 | 7934391 | RUSHABH INDUSTRIES |  | PUNE | MAHARASHTRA |  |  | 2025-04-30 | Operative |  |  | Micro
17 | 7500208709 | ACCU-TECH ENGINEERING PVT. LTD. |  | PUNE | MAHARASHTRA |  |  | 2025-09-20 | Operative |  |  | Medium