## Sheet1
BUREAU OF INDIAN STANDARDS
Program of Work
CED22 : Fire Fighting
Scope : Standardization in the Field of: i) Fire Fighting Equipment Including Water Fittings ii) Fire Fighting Units iii) Fire Detection and Fire Alarm Systems, and iv) Helmets
Liaison : ISO TC-21 (O): Equipment for fire protection and fire fighting ISO TC-21 SC-11 (O): Smoke and heat control systems and components ISO TC-21 SC-2 (O): Manually transportable fire extinguishers ISO TC-21 SC-3 (O): Fire detection and alarm systems ISO TC-21 SC-5 (O): Fixed firefighting systems using water ISO TC-21 SC-6 (O): Foam and powder media and firefighting systems using foam and powder ISO TC-21 SC-8 (O): Gaseous media and firefighting systems using gas
Published Standards
SI. No. | IS No. | TITLE | Reaffirm M-Y | No. of Amds | Eqv.
1 | IS 10460 : 1983 | FUNCTIONAL REQUIREMENTS FOR SMALL FOAM TENDER FOR FIRE BRIGADE USE | December, 2020 | 1 | Indigenous
Reviewed In : 2020
2 | IS 10993 : 1984 | Functional requirements for 2000 kg dry powder tender for fire brigade use | December, 2020 | 1
Reviewed In : 2020
3 | IS 11101 : 1984 | Specification for extended branch pipe for fire brigade use | September, 2022 | - | Indigenous
Reviewed In : 2022
4 | IS 11108 : 1984 | Specification for portable fire extinguishers - Halon 1211 type | December, 2020 | 4 | Not Equivalent
Reviewed In : 2020 ISO 7201-1:1989
5 | IS 11360 : 1985 | Specification for smoke detectors for use in automatic electrical fire alarm system | December, 2020 | -
Reviewed In : 2020
6 | IS 11833 : 1986 | Specification For Dry Powder Fire Extinguisher For Metal Fires | September, 2022 | 4
Reviewed In : 2022
Decision taken to Reaffirm and Archive
7 | IS 12717 : 1989 | Fire fighting equipment - High capacity portable pump set (1100 - 1600 L/min) - Functional requirements | December, 2020 | 1 | Indigenous
Reviewed In : 2020
8 | IS 12796 : 1989 | Fire rake - Specification | December, 2020 | - | Indigenous
Reviewed In : 2020
9 | IS 12805 : 1989 | Tool mcleod for fighting forest fires - Specification | December, 2020 | - | Indigenous
Reviewed In : 2020
10 | IS 12835 (Part 1) : 2021 | Design And Installation Of Fixed Foam Fire Extinguishing System - Code Of Practice Part 1 Low Expansion Foam (First Revision) |  | - | Indigenous
11 | IS 12853 : 1989 | Specification pulaski tool for forest fire | December, 2020 | -
Reviewed In : 2020
12 | IS 12859 : 1989 | Fire fighting - Brush hook for forest fires - Specification | December, 2020 | - | Indigenous
Reviewed In : 2020
13 | IS 12861 : 1989 | Fire fighting - Double bit axe for forest fires - Specification | December, 2020 | - | Indigenous
Reviewed In : 2020
14 | IS 12862 : 1989 | Fire fighting - Shovel for forest fires - Specification | December, 2020 | - | Indigenous
Reviewed In : 2020
15 | IS 13039 : 2014 | External hydrant systems - provision and maintenance - Code of practice (First Revision) | June, 2024 | -
Reviewed In : 2024
16 | IS 14851 : 2000 | Maintenance of fire hose - Code of practice | December, 2020 | - | Indigenous
Reviewed In : 2020
17 | IS 14933 : 2001 | High Pressure Fire Fighting Hose -Specification | December, 2020 | -
Reviewed In : 2020
18 | IS 14951 : 2001 | Fire extinguisher - 135 litres capacity mechanical foam type - Specification | December, 2020 | 2 | Indigenous
Reviewed In : 2020
19 | IS 15051 : 2001 | High pressure fire hose delivery couplings - Specification | September, 2022 | - | Indigenous
Reviewed In : 2022
Decision taken to Reaffirm and Archive
20 | IS 15105 : 2021 | Design and Installation of Fixed Automatic Sprinkler Fire Extinguishing Systems - Code of Practice (first revision) |  | - | Indigenous
21 | IS 15220 : 2002 | Halogenated hydrocarbons - Halon 1211 and halon 1401 - Fire extinguishing media - Specification | September, 2022 | - | Not Equivalent
Reviewed In : 2022
Decision taken to Reaffirm and Archive ISO 7201-1:1989
22 | IS 15221 : 2002 | Safe handling and transfer procedures of halon1211 and halon 1301 (Halogenated Hydrocarbons) - Fire extinguishing media - Code of practice | September, 2022 | - | Not Equivalent
Reviewed In : 2022
Decision taken to Reaffirm and Archive ISO 7201-2:1991
23 | IS 15222 : 2002 | Carbon dioxide as fire extinguishing media for fire protection - Specification | September, 2022 | - | Not Equivalent
Reviewed In : 2022
Decision taken to Reaffirm and Archive ISO 5924:2012
24 | IS 15301 : 2003 | Installation and Maintenance of Fire Fighting Pumps - Code of Practice | August, 2023 | -
Reviewed In : 2023
Decision taken to Reaffirm and Archive
25 | IS 15325 : 2020 | Design and Installation of Fixed Automatic High and Medium Velocity Water Spray System — Code of Practice ( First Revision ) | - | - | Indigenous
26 | IS 15493 : 2021 | Gaseous Fire Extinguishing Systems - General Requirements First Revision |  | - | Not Equivalent
ISO 14520
27 | IS 15496 : 2004 | Inspection and maintenance of gaseous fire extinguishing systems - Code of practice | January, 2020 | - | Indigenous
Reviewed In : 2020
28 | IS 15497 : 2004 | Gaseous fire extinguishing systems - IG 01 extinguishing systems | January, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 14520-12:2015
29 | IS 15501 : 2004 | Gaseous fire extinguishing systems - IG 541 extinguishing systems | January, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 14520-15:2015
30 | IS 15505 : 2004 | Gaseous fire extinguishing systems - HCFC blend a extinguishing systems | January, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 14520-6:2016
31 | IS 15506 : 2004 | Gaseous fire extinguishing systems - IG 55 extinguishing systems | January, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 14520-14:2015
32 | IS 15517 : 2004 | Gaseous fire extinguishing systems - HFC 227ea (Hepta Fluoro Propane) extinguishing systems | January, 2020 | 2 | Not Equivalent
Reviewed In : 2020 ISO 14520-9:2019
33 | IS 15519 : 2020 | Water Mist Fire Protection Systems - System Design, Installation and Commissioning - Code of Practice ( First Revision ) | - | - | Indigenous
34 | IS 15525 : 2004 | Gaseous fire extinguishing systems - IG 100 extinguishing systems | January, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 14520-14:2015
35 | IS 15528 : 2004 | Gaseous fire extinguishing systems - Carbon dioxide total flooding and local application (Sub - Floor And In - Cabinet), high and low pressure (Refrigerated) systems | January, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 6184:2009
36 | IS 15682 : 2006 | Fire fighting vehicles and equipment - Symbols for operator controls and other display | February, 2022 | - | Not Equivalent
Reviewed In : 2022 ISO 6790:1986
37 | IS 15683 : 2018 | Portable Fire Extinguishers — Performance and Construction — Specification ( First Revision ) | December, 2023 | 1 | Modified/Technically Equivalent
Reviewed In : 2023 ISO 7165 : 2009
38 | IS 15811 : 2008 | Long - Range water - Cum - Foam monitor with self - Inducting, aspirating and non - Aspirating jetand spray/fog nozzle for fire fighting - Specification | August, 2023 | - | Indigenous
Reviewed In : 2023
39 | IS 15821 : 2008 | Gaseous fire extinguishing systems - Physical properties and system design - CF3I extinguishant | August, 2018 | - | Indigenous
Reviewed In : 2018
40 | IS 15835 : 2009 | Gaseous Fire Extinguishing Systems - HCFC-125 Extinguishing Systems | January, 2020 | 1
Reviewed In : 2020
41 | IS 15908 : 2021 | Selection installation and maintenance of control and indicating equipments for fire detection and alarm system - Code of Practice First Revision |  | - | Indigenous
42 | IS 16018 : 2012 | Wheeled fire extinguishers - Performance and construction - Specification | April, 2022 | 3 | Not Equivalent
Reviewed In : 2022 ISO 11601:2017
43 | IS 16088 : 2012 | Chlorinated polyvinyl chloride (CPVC) pipes for automatic sprinkler fire extinguishing system - Specification | November, 2022 | 1 | Indigenous
Reviewed In : 2022
44 | IS 16095 : 2013 | Hazmat vehicle - Specification | October, 2023 | - | Indigenous
Reviewed In : 2023
45 | IS 16109 : 2013 | Turntable ladder - Specification | September, 2023 | - | Indigenous
Reviewed In : 2023
46 | IS 16534 : 2017 | Chlorinated Polyvinyl Chloride (CPCV) Pipe Fittings for Automatic Sprinkler Fire Extinguishing System - Specification | October, 2022 | 1 | Indigenous
Reviewed In : 2022
47 | IS 1941 (Part 1) : 1976 | Functional requirements for electric motor sirens: Part 1 ac, 4 - Phase, 50 hz, 415 volts type (Second Revision) | September, 2022 | - | Indigenous
Reviewed In : 2022
Decision taken to Reaffirm and Archive
48 | IS 2097 : 2024 | Low Expansion Foam Making Branch Pipe and Portable Foam Inductor - Specification (Third Revision) |  | - | Indigenous
49 | IS 2097 : 2012 | Foam making branch pipe and foam inductor - Specification (Second Revision) | June, 2022 | - | Indigenous
Reviewed In : 2022
50 | IS 2175 : 1988 | Specificationfor heat sensitivefiredetectorsfor usein automaticfirealarm system (Second Revision) | December, 2020 | - | Indigenous
Reviewed In : 2020
51 | IS 2189 : 2008 | Selection, installation and maintenance of automatic fire detection and alarm system code of practice (Fourth Revision) | August, 2023 | - | Not Equivalent
Reviewed In : 2023 ISO TR 7240-14:2004
52 | IS 2190 : 2010 | Selection, installation and maintenance of first-aid fire extinguishers - Code of practice (Fourth Revision) | December, 2020 | 2 | Indigenous
Reviewed In : 2020
53 | IS 2190 : 2024 | Selection, Installation and Maintenance of First-aid Fire Extinguishers - Portable and Mobile - Code of Practice (fifth revision) |  | - | Indigenous
54 | IS 2546 : 1974 | Specification for galvanized mild steel fire bucket (First Revision) | December, 2020 | 2 | Indigenous
Reviewed In : 2020
55 | IS 2696 : 1974 | Functional requirements for 1 125-1/min light fire engine (First Revision) | September, 2022 | 2 | Indigenous
Reviewed In : 2022
Reaffirmed but not taken up for revision
56 | IS 2745 : 1983 | Specification for non - Metal helmet for firemen and civil defence personnel (Second Revision) | December, 2020 | 3 | Indigenous
Reviewed In : 2020
57 | IS 2871 : 2012 | Branch pipe, universal for fire fighting purpose - Specification (Second Revision) | June, 2022 | - | Indigenous
Reviewed In : 2022
58 | IS 2925 : 1984 | Specification for industrial safety helmets (Second Revision) | December, 2020 | 4 | Not Equivalent
Reviewed In : 2020 ISO 4874:1977
59 | IS 2925 : 1984 | Specification for Industrial Safety Helmets(Bi-Lingual) | December, 2015 | 4
Reviewed In : 2015
60 | IS 2930 : 1980 | Functional requirements for hose laying tender for fire brigade use (First Revision) | September, 2022 | 1
Reviewed In : 2022
Decision taken to Reaffirm and Archive
61 | IS 3582 : 1984 | Basket Strainers For Fire Fighting Purposes (cylindrical Type) (First Revision) | December, 2020 | -
Reviewed In : 2020
62 | IS 3744 : 1985 | Specification hose binding machine | December, 2020 | -
Reviewed In : 2020
63 | IS 3844 : 1989 | Code of practice for installation and maintenance of internal fire hydrants and hose reels on premises (First Revision) | December, 2020 | - | Indigenous
Reviewed In : 2020
64 | IS 4151 : 2015 | Protective helmets for motorcycle riders - Specification (Fourth Revision) | December, 2020 | 2 | Indigenous
Reviewed In : 2020
65 | IS 4308 : 2019 | Dry Chemical Powders for Fire Fighting - BC, ABC and D Types - Specification ( Third Revision ) | January, 2024 | 1 | Modified/Technically Equivalent
Reviewed In : 2024 ISO 7202 : 2012
66 | IS 4571 : 1977 | Specification for aluminium extension ladders for fire brigade use (First Revision) | December, 2020 | 5 | Indigenous
Reviewed In : 2020
67 | IS 4643 : 1984 | Specification for suction wrenches for fire brigade use (First Revision) | December, 2020 | -
Reviewed In : 2020
68 | IS 4862 (Part 1) : 1986 | Specification for portable fire extinguisher for aircraft: Part 1 halon 1211 type (First Revision) | December, 2020 | 3 | Not Equivalent
Reviewed In : 2020 ISO 7201-1:1989
69 | IS 4927 : 1992 | Unlined flax canvas hose for fire fighting - Specification (First Revision) | September, 2022 | 2 | Indigenous
Reviewed In : 2022
70 | IS 4928 : 1986 | Specification for delivery valve for centrifugal fire pump outlets (First Revision) | December, 2020 | - | Indigenous
Reviewed In : 2020
71 | IS 4947 : 2006 | GAS CARTRIDGES FOR USE IN FIRE EXTINGUISHERS - SPECIFICATION (Third Revision) | February, 2022 | - | Indigenous
Reviewed In : 2022
72 | IS 4989 : 2018 | Foam concentrate for producing mechanical foam for fire fighting - Specification (Fourth Revision) | December, 2023 | - | Indigenous
Reviewed In : 2023
73 | IS 4989 (Part 4) : 2003 | Multipurpose aqueous film forming foam liquid concentrate for extinguishing hydrocarbon and polar solvent fires - Specification | August, 2018 | 2 | Indigenous
Reviewed In : 2018
74 | IS 5131 : 2002 | Dividing Breeching with Control for Fire Brigade Use -Specification (Second Revision) | September, 2022 | -
Reviewed In : 2022
75 | IS 5290 : 1993 | Landing valves - Specification (Third Revision) | August, 2023 | 6 | Indigenous
Reviewed In : 2023
76 | IS 5486 : 1985 | Specification for quick release knife (First Revision) | December, 2020 | - | Indigenous
Reviewed In : 2020
77 | IS 5505 : 1985 | Specification for multi - Edged rescue axe (Non - Wedging) (First Revision) | December, 2020 | - | Indigenous
Reviewed In : 2020
78 | IS 5612 (Part 1) : 1977 | Specification for hose - Clamps and hose - Bandages for fire brigade use: Part 1 hose - Clamps (First Revision) | September, 2022 | 1 | Indigenous
Reviewed In : 2022
Decision taken to Reaffirm and Archive
79 | IS 5612 (Part 2) : 1977 | Specification for hose - Clamps and hose - Bandages for fire brigade use: Part 2 hose - Bandages (First Revision) | September, 2022 | - | Indigenous
Reviewed In : 2022
Decision taken to Reaffirm and Archive
80 | IS 5714 : 1981 | Specification for hydrant stand - Pipe for fire fighting (First Revision) | September, 2022 | 1 | Indigenous
Reviewed In : 2022
81 | IS 5888 : 1970 | Code of practice for design and construction of fire service drill - Tower | December, 2020 | - | Indigenous
Reviewed In : 2020
82 | IS 5896 (Part 1) : 1970 | Code of practice for selection, operation and maintenance of special fire fighting appliances: Part 1 combined foam and cop crash tender | December, 2020 | - | Indigenous
Reviewed In : 2020
83 | IS 5896 (Part 3) : 1975 | Code of practice for selection, operation and maintenance of fire fighting appliances: Part 3 Turntable ladders | September, 2022 | -
Reviewed In : 2022
Decision taken to Reaffirm and Archive
84 | IS 6026 : 1985 | Specification for hand - Operated sirens (First Revision) | December, 2020 | - | Indigenous
Reviewed In : 2020
85 | IS 6067 : 1983 | Functional Requirements for Water Tender Type `X' for Fire Brigade Use (First Revision) | December, 2020 | - | Indigenous
Reviewed In : 2020
86 | IS 6070 : 1983 | Code of practice for selection, operation and maintenance of trailer fire pumps, portable pumps, water tenders and motor fire engines (First Revision) | December, 2020 | - | Indigenous
Reviewed In : 2020
87 | IS/ISO 6182-7 : 2004 | Fire protection - Automatic sprinkler systems: Part 7 requirements and test methods for early suppression fast response (Esfr) sprinklers | September, 2023 | - | Identical under single numbering
ISO 6182-7 : 2004
Reviewed In : 2023 ISO 6182-7:2014
88 | IS/ISO 7240-2 : 2017 | Fire Detection and Alarm Systems Part 2: Fire Detection Control and Indicating Equipment first revision |  | - | Identical under single numbering
ISO 7240-2: 2017
ISO 7240-2: 2017
89 | IS/ISO 7240-2 : 2003 | Fire detection and alarm systems: Part 2 control and indicating equipment | May, 2023 | - | Identical under single numbering
ISO 7240-2 : 2003
Reviewed In : 2023 ISO 7240-2: 2017
90 | IS/ISO 7240-3 : 2020 | Fire Detection and Alarm Systems - Part 3: Audible Alarm Devices first revision |  | - | Identical under single numbering
ISO 7240-3: 2020
ISO 7240-3: 2020
91 | IS/ISO 7240-3 : 2010 | Fire detection and alarm systems: Part 3 audible alarm devices | May, 2023 | - | Identical under single numbering
ISO 7240-3 : 2010
Reviewed In : 2023 ISO 7240-3: 2020
92 | IS/ISO 7240-4 : 2017 | Fire Detection and Alarm Systems - Part 4 Power Supply Equipment first revision |  | - | Identical under single numbering
ISO 7240-4: 2017
ISO 7240-4: 2017
93 | IS/ISO 7240-4 : 2003 | Fire detection and alarm systems: Part 4 power supply equipment | May, 2023 | - | Identical under single numbering
ISO 7240-4 : 2003
Reviewed In : 2023 ISO 7240-4: 2017
94 | IS/ISO 7240-5 : 2012 | Fire Detection and Alarm Systems Part 5 Point-Type Heat Detectors | May, 2023 | - | Identical under single numbering
ISO 7240-5 : 2012
Reviewed In : 2023 ISO 7240-5:L 2018
95 | IS/ISO 7240-5 : 2018 | Fire Detection and Alarm Systems - Part 5 Point Type Heat Detectors second revision |  | - | Identical under single numbering
ISO 7240-5:L 2018
ISO 7240-5:L 2018
96 | IS/ISO 7240-6 : 2011 | Fire detection and alarm systems: Part 6 carbon monoxide fire detectors using electro - Chemical cells |  | - | Identical under dual numbering
ISO 7240-6 : 2011
ISO 7240 : Part 6 :
97 | IS/ISO 7240-7 : 2011 | Fire detection and alarm systems: Part 7 point - Type smoke detectors using scattered light, transmitted light or ionization | September, 2023 | - | Identical under single numbering
ISO 7240-7 : 2011
Reviewed In : 2023 ISO 7240-7: 2023
98 | IS/ISO 7240-7 : 2023 | Fire Detection and Alarm Systems - Part 7 Point-Type Smoke Detectors using Scattered Light Transmitted Light or Ionization first revision |  | - | Identical under single numbering
ISO 7240-7: 2023
ISO 7240-7: 2023
99 | IS/ISO 7240-8 : 2014 | Fire Detection and Alarm Systems Part 8 Point-Type Fire Detectors Using a Carbon Monoxide Sensor in Combination with a Heat Sensor |  | - | Identical under single numbering
ISO 7240-8 : 2014
ISO 7240-8
100 | IS/ISO 7240-10 : 2012 | Fire Detection and Alarm Systems Part 10 Point-Type Flame Detectors |  | - | Identical under single numbering
ISO 7240-10 : 2012
ISO 7240-10
101 | IS/ISO 7240-1 : 2011 | Fire detection and alarm systems: Part 11 manual call points | September, 2023 | - | Identical under single numbering
ISO 7240-11 : 2011
Reviewed In : 2023 ISO 7240-11:2014
102 | IS/ISO 7240-12 : 2022 | Fire Detection and Alarm Systems - Part 12 Line Type Smoke Detectors using a Transmitted Optical Beam first revision |  | - | Identical under single numbering
ISO 7240-12: 2022
ISO 7240-12: 2022
103 | IS/ISO 7240-12 : 2014 | Fire detection and alarm systems: Part 12 line type smoke detectors using a transmitted optical beam | May, 2023 | - | Identical under single numbering
ISO 7240 -12 : 2014
Reviewed In : 2023 ISO 7240-12: 2022
104 | IS/ISO 7240-5 : 2005 | Fire Detection and Alarm Systems Part 13 Compatibility Assessment of System Components |  | - | Identical under single numbering
ISO 7240-13 : 2005
ISO 7240:-13: 2020
105 | IS/ISO 7240-13 : 2020 | Fire Detection and Alarm Systems Part 13 Compatibility Assessment of System Components first revision |  | - | Identical under single numbering
ISO 7240:-13: 2020
ISO 7240:-13: 2020
106 | IS/ISO 7240-15 : 2004 | Fire detection and alarm systems: Part 15 point type fire detectors using scattered light, transmitted light or ionization sensors in combination with a heat sensor | September, 2023 | - | Identical under single numbering
ISO 7240-15 : 2004
Reviewed In : 2023 ISO 7240-15: 2014
107 | IS/ISO 7240-15 : 2014 | Fire Detection and Alarm Systems Part 15: Point-Type Fire Detectors Using Smoke and Heat Sensors first revision |  | - | Identical under single numbering
ISO 7240-15: 2014
ISO 7240-15: 2014
108 | IS/ISO 7240-16 : 2007 | Fire detection and alarm systems: Part 16 sound system control and indicating equipment |  | - | Identical under dual numbering
ISO 7240-16 : 2007
ISO 7240 : Part 16 :
109 | IS/ISO 7240-17 : 2020 | Fire Detection and Fire Alarm Systems - Part 17: Transmission Path Isolators first revision |  | - | Identical under single numbering
ISO 7240-17: 2020
ISO 7240-17: 2020
110 | IS/ISO 7240-17 : 2009 | Fire detection and alarm systems: Part 17 short - Circuit isolators | May, 2023 | - | Identical under single numbering
ISO 7240-17 : 2009
Reviewed In : 2023 ISO 7240-17: 2020
111 | IS/ISO 7240-18 : 2017 | Fire Detection and Alarm Systems Part 18 Input/Output Devices |  | - | Identical under dual numbering
ISO 7240-18 : 2017
ISO 7240 Part 18
112 | IS/ISO 7240-20 : 2010 | Fire detection and alarm systems: Part 20 aspirating smoke detectors |  | - | Identical under dual numbering
ISO 7240-20 : 2010
ISO 7240 : Part 20 :
113 | IS/ISO 7240-21 : 2005 | Fire Detection and Alarm Systems Part 21 Routing Equipment |  | - | Identical under single numbering
ISO 7240-21 : 2005
ISO 7240-21
114 | IS/ISO 7240-22 : 2017 | Fire Detection and Alarm Systems Part 22 Smoke-Detection Equipment for Ducts |  | - | Identical under dual numbering
ISO 7240-22 : 2017
ISO 7240 Part 22:201
115 | IS/ISO 7240-23 : 2013 | Fire Detection and Alarm Systems Part 23 Visual Alarm Devices |  | - | Identical under dual numbering
ISO 7240-23 : 2013
ISO 7240-23 : 2013
116 | IS/ISO 7240-24 : 2016 | Fire Detection and Alarm Systems Part 24 Fire Alarm Loudspeakers |  | - | Identical under single numbering
ISO 7240-24 : 2016
ISO 7240-24
117 | IS/ISO 7240-25 : 2010 | Fire Detection and Alarm Systems Part 25 Components Using Radio Transmission Paths |  | - | Identical under single numbering
ISO 7240-25 : 2010
ISO 7240-25
118 | IS/ISO 7240-27 : 2018 | Fire Detection and Alarm Systems Part 27 Point Type Fire Detectors Using a Smoke Sensor in Combination with a Carbon Monoxide Sensor and, Optionally, One or More Heat Sensors |  | - | Identical under dual numbering
ISO 7240-27 : 2018
ISO 7240 Part 27:201
119 | IS/ISO 7240-29 : 2017 | Fire Detection and Alarm Systems Part 29 Video Fire Detectors |  | - | Identical under single numbering
ISO 7240-29
120 | IS/ISO 7240-31 : 2022 | Fire Detection and Alarm Systems - Part 31 Resettable Line-Type Heat Detectors Adoption of IS 7240-31: 2022 |  | - | Identical under single numbering
ISO 7240-31: 2022
ISO 7240-31: 2022
121 | IS 7673 : 2004 | Fire Fighting Equipment - Glossary of Terms (First Revision) | August, 2023 | - | Modified/Technically Equivalent
Reviewed In : 2023 ISO 8421-1:1987
122 | IS 7692 : 1993 | Headforms for testing of helmets - Specification (First Revision) | August, 2023 | - | Indigenous
Reviewed In : 2023
123 | IS 8090 : 1976 | Specification for couplings, branch pipe, nozzle used in hose reel tubing for fire fighting (First Revision) | December, 2020 | 1 | Indigenous
Reviewed In : 2020
124 | IS 8096 : 1992 | Fire beaters - Specification (First Revision) | September, 2022 | - | Indigenous
Reviewed In : 2022
Decision taken to Reaffirm and Archive
125 | IS 8423 : 1994 | Specification for controlled percolating hose for fire fighting (First revision) | December, 2020 | 3
Reviewed In : 2020
126 | IS 8442 : 2008 | Stand post type water and foam monitor for fire fighting - Specification (First Revision) | August, 2023 | - | Indigenous
Reviewed In : 2023
127 | IS 8442 : 2024 | Stand Post Type Water and Water-cum-Foam Monitor for Fire Fighting - Specification (Second Revision) |  | - | Indigenous
128 | IS 884 : 1985 | Specification for first - Aid hose - Reel for fire fighting (First Revision) | December, 2020 | 3 | Indigenous
Reviewed In : 2020
129 | IS 901 : 1988 | Specification for couplings, double male and double female instantaneous pattern for fire fighting (Third Revision) | September, 2022 | 1 | Indigenous
Reviewed In : 2022
130 | IS 902 : 1992 | Suction hose couplings for fire fighting purposes - Specification (Third Revision) | September, 2022 | 2 | Indigenous
Reviewed In : 2022
131 | IS 903 : 1993 | Fire Hose Delivery Couplings, Branch Pipe, Nozzles And Nozzle Spanner - Specification (Fourth Revision) | August, 2023 | 4
Reviewed In : 2023
132 | IS 904 : 1983 | Specification for 2 - Way and 4 - Way suction collecting heads for fire fighting purposes (Second Revision) | December, 2020 | 1 | Indigenous
Reviewed In : 2020
133 | IS 905 : 1980 | Specification for delivery breechings, dividing and collecting, instantaneous pattern, for fire fighting purposes (Second Revision) | September, 2022 | - | Indigenous
Reviewed In : 2022
134 | IS 906 : 2024 | Portable and Fixed Type Revolving Branch for Fire Fighting - Specification (Fourth Revision) |  | - | Indigenous
135 | IS 907 : 1984 | Specification for suction strainers, cylindrical type for fire fighting purposes (Second Revision) | December, 2020 | - | Indigenous
Reviewed In : 2020
136 | IS 908 : 1975 | Specification for fire hydrant, stand post type (Second Revision) | December, 2020 | 1 | Indigenous
Reviewed In : 2020
137 | IS 909 : 1992 | Underground fire hydrant, sluice valve type - Specification (Third Revision) | September, 2022 | - | Indigenous
Reviewed In : 2022
138 | IS 910 : 1980 | Specification for combined key for hydrant, hydrant cover and lower valve (Second Revision) | September, 2022 | 1 | Indigenous
Reviewed In : 2022
Decision taken to Reaffirm and Archive
139 | IS 926 : 1985 | Specification For Fireman's Axe (Second Revision) | December, 2020 | - | Indigenous
Reviewed In : 2020
140 | IS 927 : 1981 | Specification for fire hooks (Second Revision) | September, 2022 | 2 | Indigenous
Reviewed In : 2022
Decision taken to Reaffirm and Archive
141 | IS 928 : 1984 | Specification for fire bells (Second Revision) | December, 2020 | - | Indigenous
Reviewed In : 2020
142 | IS 937 : 1981 | Specification for Washers For Water Fittings For Fire Fighting Purposes (Second Revision) | September, 2022 | 2
Reviewed In : 2022
Decision taken to Reaffirm and Archive
143 | IS 939 : 1977 | Specification for Snatch Block for Use with Fibre Rope for Fire Brigade Use (First Revision) | September, 2022 | -
Reviewed In : 2022
Decision taken to Reaffirm and Archive
144 | IS 941 : 1985 | Specification for blower and exhauster - For fire fighting (Second Revision) | December, 2020 | 2 | Indigenous
Reviewed In : 2020
145 | IS 942 : 1982 | Functional requirements for 275 1/min portable pump set for fire fighting (Second Revision) | December, 2020 | - | Indigenous
Reviewed In : 2020
Reaffirmed but not taken up for revision
146 | IS 943 : 1979 | Functional Requirements for 680-1/Min Trailer Pump For Fire Brigade Use (Second Revision) | August, 2018 | 2
Reviewed In : 2018
Reaffirmed but not taken up for revision
147 | IS 944 : 1979 | Functional requirements of 1800-1/min trailer pump for fire brigade use (Second Revision) | August, 2022 | 1 | Indigenous
Reviewed In : 2022
Decision taken to Reaffirm and Archive
148 | IS 947 : 1985 | Specification for washers for water fittings for fire fighting purposes (Second Reuision) | September, 2022 | 1 | Indigenous
Reviewed In : 2022
Reaffirmed but not taken up for revision
149 | IS 948 : 1983 | Functional Requirements for Water Tender Type `A' for Fire Brigade Use (Second Revision) | December, 2020 | 1 | Indigenous
Reviewed In : 2020
150 | IS 949 : 2012 | Specification for snatch block for use with fibre rope for fire brigade use (First Revision) | March, 2022 | - | Indigenous
Reviewed In : 2022
151 | IS 950 : 2012 | Functional requirements for water tender, type B for fire brigade use (Third Revision) | October, 2022 | - | Indigenous
Reviewed In : 2022
152 | IS 951 : 2003 | Functional requirements for crash fire tender for air fields (Fourth Revision) | August, 2023 | - | Indigenous
Reviewed In : 2023
153 | IS 952 : 2012 | Fog nozzle for fire brigade use - Specification (Second Revision) | June, 2022 | - | Indigenous
Reviewed In : 2022
Decision taken to Reaffirm and Archive
154 | IS 955 : 1980 | Functional requirements for dry powder tender for fire brigade use (First Revision) | August, 2023 | 1 | Indigenous
Reviewed In : 2023
Decision taken to Reaffirm and Archive
155 | IS 956 : 2004 | Functional requirements for rescue tender for air fields (Second Revision) | January, 2020 | - | Indigenous
Reviewed In : 2020
156 | IS 9562 : 1980 | Specification for non - Metal helmet for police force | September, 2022 | 5 | Indigenous
Reviewed In : 2022
157 | IS 957 : 1967 | Specification for control van for fire brigade use | December, 2020 | 3 | Indigenous
Reviewed In : 2020
158 | IS 9668 : 1990 | Provision and maintenance of water supplies for fire fighting - Code of practice (First Revision) | December, 2020 | - | Indigenous
Reviewed In : 2020
159 | IS 9695 : 1980 | Methods for sampling of helmets | December, 2020 | - | Indigenous
Reviewed In : 2020
160 | IS 9972 : 2002 | Specification for automatic sprinkler heads for fire protection service (First Revision) | September, 2017 | - | Indigenous
Reviewed In : 2017
161 | IS 9972 : 2023 | Automatic Sprinkler Heads for Fire Protection Service - Specification (Second Revision) |  | - | Indigenous
162 | IS 9973 : 1981 | Specification for visor for scooter helmets | September, 2022 | 1
Reviewed In : 2022
163 | IS 9995 : 1981 | Specification for visor for non-metal police and firemen's helmets | September, 2022 | 1 | Indigenous
Reviewed In : 2022
Standards Under Develpoment
Projects Approved
SI. No. | Doc No | TITLE
No Records Found
Preliminary Draft Standards
SI. No. | Doc No | TITLE
1 | CED 22 (26448) | Medium and High Expansion Foam Concentrate for Fire Fighting - Specification
Drafts Standards in WC Stage
SI. No. | Doc No | TITLE
No Records Found
Draft Standards Completed WC Stage
SI. No. | Doc No | TITLE
1 | CED 22 (25685) | Water Tender for Fire Brigade Use - Functional Requirements Fourth Revision
2 | CED 22 (25695) | Design Installation Testing and Maintenance of Condensed Aerosol Fire Extinguishing System - Code of Practice
3 | CED 22 (25719) | Foam Tender for Fire Brigade Use - Functional Requirements first revision
4 | CED 22 (26193) | Selection Installation and Maintenance of Automatic Fire Detection and Alarm System - Code of Practice Fifth Revision
5 | CED 22 (26518) | Amendment No 1 to Gaseous Fire Extinguishing Systems - General Requirements First Revision
Finalized Draft Indian Standard
SI. No. | Doc No | TITLE
1 | CED 22 (25804) | First-Aid Hose-Reel for Fire Fighting - Specification Second Revision
2 | CED 22 (26379) | Fire Hose Delivery Couplings Branch Pipes Nozzles and Nozzle Spanners - Specification Fifth Revision
Finalized Draft Indian Standards under Print
SI. No. | Doc No | TITLE
1 | CED 22 (22774)
2 | CED 22 (22809)
3 | CED 22 (26380)
4 | CED 22 (26389)
5 | CED 22 (26735)
Total Published Standards:145 Total Standards Under development : 13
Aspect Wise Report
| Product: | 101
| Code of Practices : | 17
| Methods of Test : | 0
| Terminology : | 1
| Dimensions : | 0
| System Standard : | 0
| Safety Standard : | 0
| Others : | 27
| Service Specification : | 0
| Process Specification : | 0
| Unclassified : | 0
Total :146
Annexure-I :List of Indian Standards Withdrawn/Superseded
SI. No. | IS No. & Year | TITLE
1 | IS 10204 : 2001 | Specification for portable fire extinguisher mechanical foam type
Reviewed In : 2010
2 | IS 10474 : 1983 | 150 litre capacity chemical fire engine foam type
Reviewed In : 1995
3 | IS 10658 : 1999 | Specification for Higher Capacity Dry Powder Fire Extinguisher Trolley Mounted
Reviewed In : 2015
4 | IS 11070 : 1984 | bromochlorodifluoromethane halon-1211 for fire fighting
Reviewed In : 2005
5 | IS 13385 : 1992 | Specification for Fire Extinguisher 50 Litre Capacity Wheel Mounted Water Type gas Cartridge
Reviewed In : 2017
6 | IS 13386 : 1992 | Specification for Fire Extinguisher 50 Litre Capacity Mechanical Foam Type
Reviewed In : 2017
7 | IS 13849 : 1993 | Specification for portable fire extinguisher dry powder type constant pressure
Reviewed In : 2008
8 | IS 14609 : 1999 | Dry chemical powder for fighting a b c class fires specification
Reviewed In : 2015 ISO 7202:2018
9 | IS 15397 : 2003 | Portable Fire Extinguisher Mechanical Foam Type Stored Pressure -Specification
Reviewed In : 2008
10 | IS 15683 : 2006 | Portable Fire Extinguishers - Performance and Construction - Specification First Revision
Reviewed In : 2017 IEC TS 60839-7-8:2019
11 | IS 1910 : 1961 | Self contained breathing apparatus for the brigade use Incorporated in IS 10245 Part 2
12 | IS 1924 : 1973 | Portable fire extinguisher water type pocket pump
13 | IS 1933 : 1961 | Portable chemical fire extinguisher chloro bromomethane type
14 | IS 2171 : 1999 | Specification for portable fire extinguishers dry powder cartridge type
Reviewed In : 2010
15 | IS 2298 : 1977 | Single-barrel Stirrup Pump For Fire Fighting Purposes
Reviewed In : 2008
16 | IS 2299 : 1968 | Steel Helmets For Civil Defence
17 | IS 2300 : 1968 | Non Metal Helmets For Civil Defence
18 | IS 2878 : 2004 | Fire Extinguisher Carbon Dioxide Type Portable and Trolley Mounted -Specification
Reviewed In : 2015
19 | IS 4151 : 1993 | Specification for protective helmets for scooter and motorcycle riders
Reviewed In : 2013 IEEE Std 802.15.9-2016
20 | IS 4308 : 2003 | Dry Chemical Powders for Fire Fighting - BC ABC and D Types - Specification Third Revision
Reviewed In : 2018
21 | IS 4861 : 1984 | Specification for Dry Powder for Fighting Fires in Burning Metals
Reviewed In : 2015
22 | IS 4989 : 2006 | Foam Concentrate for producing mechanical foam for fire fighting - Specification Amalgamating IS 4989 Part 1 1985 Part 2 1984 Part 3 1987
Reviewed In : 2017 ISO 105 X14 : 1994
23 | IS 5490 (Part 1) : 1977 | Refills For Portable Fire Extinguishers And Chemical Fire Engines Part 1 For Soda Acid Portable Fire Extinguishers
Reviewed In : 1997
24 | IS 5490 (Part 2) : 1977 | Refills for Portable Fire Extinguishers and Chemical Fire Engines - Part II For Foam Type Portable Fire Extinguisher
Reviewed In : 1997
25 | IS 5490 (Part 3) : 1979 | Refills for Portable Fire Extinguishers and Chemical Fire Engines - Part III For Soda Acid Chemical Fire Engines 50 Litre Capacity
Reviewed In : 1997
26 | IS 5490 (Part 4) : 1979 | Refills for Portable Fire Extinguishers and Chemical Fire Engines - Part IV For Foam Chemical Fire Engines 50 Litre Capacity
Reviewed In : 1997
27 | IS 5506 : 1979 | 50-l Capacity Chemical Fire Engine Soda Acid Type
Reviewed In : 1992
28 | IS 5507 : 1979 | Capacity Chemical Fire Engine Foam Type
Reviewed In : 1992
29 | IS 5896 (Part 2) : 1975 | Code of practice for selection operation and maintenance of special fire fighting appliances Part 2 Escapes
Reviewed In : 1992
30 | IS 6234 : 2003 | Portable Fire Extinguishers Water Type Stored Pressure -Specification
Reviewed In : 2008
31 | IS 6382 : 1984 | Code of Practice for Design and Installation of Fixed Carbon Dioxide Fire Extinguishing System
Reviewed In : 2000
32 | IS 7612 : 1974 | Functional requirements for flame resistant and heat resistant suits
33 | IS 8149 : 1994 | Functional requirements for twin co2 fire extinguishers trolley mounted
Reviewed In : 2015
34 | IS 929 : 1959 | Hok Ladder For Fire Fighting Purposes
35 | IS 930 : 1977 | Wooden extension ladders for fire brigate use
Reviewed In : 1992
36 | IS 931 : 1973 | Weeled Fire Escape
Reviewed In : 1992
37 | IS 932 : 1960 | 30-40 M or 100-110 ft Mechanically operated turn-table ladder for fire bridgade use
38 | IS 933 : 1989 | Portable chemical foam fire extinguisher
Reviewed In : 1995
39 | IS 934 : 1989 | Portable fire extinguisher water type soda acid
Reviewed In : 1995
40 | IS 935 : 1967 | Portable chemical fire extinguisher carbon tetrachloride type
41 | IS 936 : 1966 | Underground fire hydrant double valve type revised
42 | IS 938 : 1973 | Specification for Functional requirements for 1350-1 min small fire engine
43 | IS 940 : 2003 | Specification for Portable Fire Extinguisher Water Type Gas Cartridge -
Reviewed In : 2008
44 | IS 945 : 1966 | 1800-1 min Motor Fire Engine
45 | IS 946 : 1977 | Functional requirements for motor fire engine
Reviewed In : 1992
46 | IS 953 : 1960 | Small foam crash tender
47 | IS 954 : 1989 | Functional requirements for carbon dioxide tender for fire brigade use
Reviewed In : 1995
Annexure-II :List of Indian Product Standards
SI. No. | IS No. & Year | TITLE
1 | IS 10460 : 1983 | FUNCTIONAL REQUIREMENTS FOR SMALL FOAM TENDER FOR FIRE BRIGADE USE
Reviewed In : 2020
2 | IS 10993 : 1984 | Functional requirements for 2000 kg dry powder tender for fire brigade use
Reviewed In : 2020
3 | IS 11101 : 1984 | Specification for extended branch pipe for fire brigade use
Reviewed In : 2022
4 | IS 11108 : 1984 | Specification for portable fire extinguishers - Halon 1211 type
Reviewed In : 2020 ISO 7201-1:1989
5 | IS 11360 : 1985 | Specification for smoke detectors for use in automatic electrical fire alarm system
Reviewed In : 2020
6 | IS 11833 : 1986 | Specification For Dry Powder Fire Extinguisher For Metal Fires
Reviewed In : 2022
Decision taken to Reaffirm and Archive
7 | IS 12717 : 1989 | Fire fighting equipment - High capacity portable pump set 1100 - 1600 L min - Functional requirements
Reviewed In : 2020
8 | IS 12796 : 1989 | Fire rake - Specification
Reviewed In : 2020
9 | IS 12805 : 1989 | Tool mcleod for fighting forest fires - Specification
Reviewed In : 2020
10 | IS 12853 : 1989 | Specification pulaski tool for forest fire
Reviewed In : 2020
11 | IS 12859 : 1989 | Fire fighting - Brush hook for forest fires - Specification
Reviewed In : 2020
12 | IS 12861 : 1989 | Fire fighting - Double bit axe for forest fires - Specification
Reviewed In : 2020
13 | IS 12862 : 1989 | Fire fighting - Shovel for forest fires - Specification
Reviewed In : 2020
14 | IS 14851 : 2000 | Maintenance of fire hose - Code of practice
Reviewed In : 2020
15 | IS 14933 : 2001 | High Pressure Fire Fighting Hose -Specification
Reviewed In : 2020
16 | IS 14951 : 2001 | Fire extinguisher - 135 litres capacity mechanical foam type - Specification
Reviewed In : 2020
17 | IS 15051 : 2001 | High pressure fire hose delivery couplings - Specification
Reviewed In : 2022
Decision taken to Reaffirm and Archive
18 | IS 15220 : 2002 | Halogenated hydrocarbons - Halon 1211 and halon 1401 - Fire extinguishing media - Specification
Reviewed In : 2022
Decision taken to Reaffirm and Archive ISO 7201-1:1989
19 | IS 15222 : 2002 | Carbon dioxide as fire extinguishing media for fire protection - Specification
Reviewed In : 2022
Decision taken to Reaffirm and Archive ISO 5924:2012
20 | IS 15811 : 2008 | Long - Range water - Cum - Foam monitor with self - Inducting aspirating and non - Aspirating jetand spray fog nozzle for fire fighting - Specification
Reviewed In : 2023
21 | IS 16018 : 2012 | Wheeled fire extinguishers - Performance and construction - Specification
Reviewed In : 2022 ISO 11601:2017
22 | IS 16088 : 2012 | Chlorinated polyvinyl chloride CPVC pipes for automatic sprinkler fire extinguishing system - Specification
Reviewed In : 2022
23 | IS 16095 : 2013 | Hazmat vehicle - Specification
Reviewed In : 2023
24 | IS 16109 : 2013 | Turntable ladder - Specification
Reviewed In : 2023
25 | IS 16534 : 2017 | Chlorinated Polyvinyl Chloride CPCV Pipe Fittings for Automatic Sprinkler Fire Extinguishing System - Specification
Reviewed In : 2022
26 | IS 2097 : 2024 | Low Expansion Foam Making Branch Pipe and Portable Foam Inductor - Specification Third Revision
27 | IS 2175 : 1988 | Specificationfor heat sensitivefiredetectorsfor usein automaticfirealarm system Second Revision
Reviewed In : 2020
28 | IS 2546 : 1974 | Specification for galvanized mild steel fire bucket First Revision
Reviewed In : 2020
29 | IS 2745 : 1983 | Specification for non - Metal helmet for firemen and civil defence personnel Second Revision
Reviewed In : 2020
30 | IS 2871 : 2012 | Branch pipe universal for fire fighting purpose - Specification Second Revision
Reviewed In : 2022
31 | IS 2925 : 1984 | Specification for industrial safety helmets Second Revision
Reviewed In : 2020 ISO 4874:1977
32 | IS 2925 : 1984 | Specification for Industrial Safety Helmets Bi-Lingual
Reviewed In : 2015
33 | IS 3582 : 1984 | Basket Strainers For Fire Fighting Purposes cylindrical Type First Revision
Reviewed In : 2020
34 | IS 3744 : 1985 | Specification hose binding machine
Reviewed In : 2020
35 | IS 4571 : 1977 | Specification for aluminium extension ladders for fire brigade use First Revision
Reviewed In : 2020
36 | IS 4643 : 1984 | Specification for suction wrenches for fire brigade use First Revision
Reviewed In : 2020
37 | IS 4862 (Part 1) : 1986 | Specification for portable fire extinguisher for aircraft Part 1 halon 1211 type First Revision
Reviewed In : 2020 ISO 7201-1:1989
38 | IS 4927 : 1992 | Unlined flax canvas hose for fire fighting - Specification First Revision
Reviewed In : 2022
39 | IS 4928 : 1986 | Specification for delivery valve for centrifugal fire pump outlets First Revision
Reviewed In : 2020
40 | IS 4947 : 2006 | GAS CARTRIDGES FOR USE IN FIRE EXTINGUISHERS - SPECIFICATION Third Revision
Reviewed In : 2022
41 | IS 4989 (Part 4) : 2003 | Multipurpose aqueous film forming foam liquid concentrate for extinguishing hydrocarbon and polar solvent fires - Specification
Reviewed In : 2018
42 | IS 5131 : 2002 | Dividing Breeching with Control for Fire Brigade Use -Specification Second Revision
Reviewed In : 2022
43 | IS 5290 : 1993 | Landing valves - Specification Third Revision
Reviewed In : 2023
44 | IS 5486 : 1985 | Specification for quick release knife First Revision
Reviewed In : 2020
45 | IS 5505 : 1985 | Specification for multi - Edged rescue axe Non - Wedging First Revision
Reviewed In : 2020
46 | IS 5612 (Part 1) : 1977 | Specification for hose - Clamps and hose - Bandages for fire brigade use Part 1 hose - Clamps First Revision
Reviewed In : 2022
Decision taken to Reaffirm and Archive
47 | IS 5612 (Part 2) : 1977 | Specification for hose - Clamps and hose - Bandages for fire brigade use Part 2 hose - Bandages First Revision
Reviewed In : 2022
Decision taken to Reaffirm and Archive
48 | IS 5714 : 1981 | Specification for hydrant stand - Pipe for fire fighting First Revision
Reviewed In : 2022
49 | IS 6026 : 1985 | Specification for hand - Operated sirens First Revision
Reviewed In : 2020
50 | IS/ISO 6182-7 : 2004 | Fire protection - Automatic sprinkler systems Part 7 requirements and test methods for early suppression fast response Esfr sprinklers
ISO 6182-7 : 2004
Reviewed In : 2023 ISO 6182-7:2014
51 | IS/ISO 7240-2 : 2017 | Fire Detection and Alarm Systems Part 2 Fire Detection Control and Indicating Equipment first revision
ISO 7240-2: 2017
52 | IS/ISO 7240-3 : 2020 | Fire Detection and Alarm Systems - Part 3 Audible Alarm Devices first revision
ISO 7240-3: 2020
53 | IS/ISO 7240-4 : 2017 | Fire Detection and Alarm Systems - Part 4 Power Supply Equipment first revision
ISO 7240-4: 2017
54 | IS/ISO 7240-5 : 2018 | Fire Detection and Alarm Systems - Part 5 Point Type Heat Detectors second revision
ISO 7240-5:L 2018
55 | IS/ISO 7240-6 : 2011 | Fire detection and alarm systems Part 6 carbon monoxide fire detectors using electro - Chemical cells
ISO 7240-6 : 2011
ISO 7240 : Part 6 :
56 | IS/ISO 7240-7 : 2023 | Fire Detection and Alarm Systems - Part 7 Point-Type Smoke Detectors using Scattered Light Transmitted Light or Ionization first revision
ISO 7240-7: 2023
57 | IS/ISO 7240-8 : 2014 | Fire Detection and Alarm Systems Part 8 Point-Type Fire Detectors Using a Carbon Monoxide Sensor in Combination with a Heat Sensor
ISO 7240-8 : 2014
ISO 7240-8
58 | IS/ISO 7240-10 : 2012 | Fire Detection and Alarm Systems Part 10 Point-Type Flame Detectors
ISO 7240-10 : 2012
ISO 15848 -1 : 2015
59 | IS/ISO 7240-1 : 2011 | Fire detection and alarm systems Part 11 manual call points
ISO 7240-11 : 2011
Reviewed In : 2023 ISO 7240-11:2014
60 | IS/ISO 7240-12 : 2022 | Fire Detection and Alarm Systems - Part 12 Line Type Smoke Detectors using a Transmitted Optical Beam first revision
ISO 7240-12: 2022
61 | IS/ISO 7240-15 : 2014 | Fire Detection and Alarm Systems Part 15 Point-Type Fire Detectors Using Smoke and Heat Sensors first revision
ISO 7240-15: 2014
62 | IS/ISO 7240-16 : 2007 | Fire detection and alarm systems Part 16 sound system control and indicating equipment
ISO 7240-16 : 2007
ISO 7240 : Part 16 :
63 | IS/ISO 7240-17 : 2020 | Fire Detection and Fire Alarm Systems - Part 17 Transmission Path Isolators first revision
ISO 7240-17: 2020
64 | IS/ISO 7240-18 : 2017 | Fire Detection and Alarm Systems Part 18 Input Output Devices
ISO 7240-18 : 2017
ISO 7240 Part 18
65 | IS/ISO 7240-20 : 2010 | Fire detection and alarm systems Part 20 aspirating smoke detectors
ISO 7240-20 : 2010
ISO 7240 : Part 20 :
66 | IS/ISO 7240-21 : 2005 | Fire Detection and Alarm Systems Part 21 Routing Equipment
ISO 7240-21 : 2005
ISO 7786:2001
67 | IS/ISO 7240-22 : 2017 | Fire Detection and Alarm Systems Part 22 Smoke-Detection Equipment for Ducts
ISO 7240-22 : 2017
ISO 17304:2013
68 | IS/ISO 7240-23 : 2013 | Fire Detection and Alarm Systems Part 23 Visual Alarm Devices
ISO 7240-23 : 2013
ISO 7240-23 : 2013
69 | IS/ISO 7240-24 : 2016 | Fire Detection and Alarm Systems Part 24 Fire Alarm Loudspeakers
ISO 7240-24 : 2016
ISO 18295 - 1 : 2017
70 | IS/ISO 7240-25 : 2010 | Fire Detection and Alarm Systems Part 25 Components Using Radio Transmission Paths
ISO 7240-25 : 2010
IEC 62220-1-3:2008
71 | IS/ISO 7240-27 : 2018 | Fire Detection and Alarm Systems Part 27 Point Type Fire Detectors Using a Smoke Sensor in Combination with a Carbon Monoxide Sensor and Optionally One or More Heat Sensors
ISO 7240-27 : 2018
IEC 61331-1 : 2014
72 | IS/ISO 7240-29 : 2017 | Fire Detection and Alarm Systems Part 29 Video Fire Detectors
ISO 18295 - 2 : 2017
73 | IS/ISO 7240-31 : 2022 | Fire Detection and Alarm Systems - Part 31 Resettable Line-Type Heat Detectors Adoption of IS 7240-31 2022
ISO 7240-31: 2022
74 | IS 7692 : 1993 | Headforms for testing of helmets - Specification First Revision
Reviewed In : 2023
75 | IS 8090 : 1976 | Specification for couplings branch pipe nozzle used in hose reel tubing for fire fighting First Revision
Reviewed In : 2020
76 | IS 8096 : 1992 | Fire beaters - Specification First Revision
Reviewed In : 2022
Decision taken to Reaffirm and Archive
77 | IS 8423 : 1994 | Specification for controlled percolating hose for fire fighting First revision
Reviewed In : 2020
78 | IS 8442 : 2024 | Stand Post Type Water and Water-cum-Foam Monitor for Fire Fighting - Specification Second Revision
79 | IS 884 : 1985 | Specification for first - Aid hose - Reel for fire fighting First Revision
Reviewed In : 2020
80 | IS 901 : 1988 | Specification for couplings double male and double female instantaneous pattern for fire fighting Third Revision
Reviewed In : 2022
81 | IS 902 : 1992 | Suction hose couplings for fire fighting purposes - Specification Third Revision
Reviewed In : 2022
82 | IS 903 : 1993 | Fire Hose Delivery Couplings Branch Pipe Nozzles And Nozzle Spanner - Specification Fourth Revision
Reviewed In : 2023
83 | IS 904 : 1983 | Specification for 2 - Way and 4 - Way suction collecting heads for fire fighting purposes Second Revision
Reviewed In : 2020
84 | IS 905 : 1980 | Specification for delivery breechings dividing and collecting instantaneous pattern for fire fighting purposes Second Revision
Reviewed In : 2022
85 | IS 906 : 2024 | Portable and Fixed Type Revolving Branch for Fire Fighting - Specification Fourth Revision
86 | IS 907 : 1984 | Specification for suction strainers cylindrical type for fire fighting purposes Second Revision
Reviewed In : 2020
87 | IS 908 : 1975 | Specification for fire hydrant stand post type Second Revision
Reviewed In : 2020
88 | IS 909 : 1992 | Underground fire hydrant sluice valve type - Specification Third Revision
Reviewed In : 2022
89 | IS 910 : 1980 | Specification for combined key for hydrant hydrant cover and lower valve Second Revision
Reviewed In : 2022
Decision taken to Reaffirm and Archive
90 | IS 926 : 1985 | Specification For Fireman 39 s Axe Second Revision
Reviewed In : 2020
91 | IS 927 : 1981 | Specification for fire hooks Second Revision
Reviewed In : 2022
Decision taken to Reaffirm and Archive
92 | IS 928 : 1984 | Specification for fire bells Second Revision
Reviewed In : 2020
93 | IS 937 : 1981 | Specification for Washers For Water Fittings For Fire Fighting Purposes Second Revision
Reviewed In : 2022
Decision taken to Reaffirm and Archive
94 | IS 939 : 1977 | Specification for Snatch Block for Use with Fibre Rope for Fire Brigade Use First Revision
Reviewed In : 2022
Decision taken to Reaffirm and Archive
95 | IS 941 : 1985 | Specification for blower and exhauster - For fire fighting Second Revision
Reviewed In : 2020
96 | IS 952 : 2012 | Fog nozzle for fire brigade use - Specification Second Revision
Reviewed In : 2022
Decision taken to Reaffirm and Archive
97 | IS 9562 : 1980 | Specification for non - Metal helmet for police force
Reviewed In : 2022
98 | IS 957 : 1967 | Specification for control van for fire brigade use
Reviewed In : 2020
99 | IS 9972 : 2023 | Automatic Sprinkler Heads for Fire Protection Service - Specification Second Revision
ISO 10110-12:2019
100 | IS 9973 : 1981 | Specification for visor for scooter helmets
Reviewed In : 2022
101 | IS 9995 : 1981 | Specification for visor for non-metal police and firemen s helmets
Reviewed In : 2022