## Sheet1
BUREAU OF INDIAN STANDARDS
Program of Work
MHD11 : Anesthetic, Resuscitation and Allied Equipment
Scope : To formulate Indian Standards for instruments and equipment used for anaesthesing and ventilating a patient, including diagnostic instruments such as sphygmomanometers, suction apparatus and anaesthetic face mask.
Liaison : ISO TC-121 (P): Anaesthetic and respiratory equipment ISO TC-121 SC-1 (P): Breathing attachments and anaesthetic machines ISO TC-121 SC-3 (P): Respiratory devices and related equipment used for patient care ISO TC-121 SC-4 (P): Vocabulary and semantics ISO TC-121 SC-2 (P): Airway devices and related equipment ISO TC-121 SC-6 (P): Medical gas supply systems ISO TC-121 SC-8 (P): Suction devices
Published Standards
SI. No. | IS No. | TITLE | Reaffirm M-Y | No. of Amds | Eqv.
1 | IS/ISO 10524-3 : 2019 | Pressure regulators for use with medical gases- Part 3: Pressure regulators integrated with cylinder valves VIPRs First Revision | March, 2024 | - | Identical under single numbering
ISO 10524-2:2019
Reviewed In : 2024 ISO 10524-2:2019
2 | IS/ISO 10524-4 : 2008 | Pressure regulators for use with medical gases: Part 4 low - Pressure regulators | August, 2024 | - | Identical under single numbering
ISO 10524 -4 :2008
Reviewed In : 2024 ISO 10524 -4 :2008
3 | IS/ISO 18697-4 : 2024 | Lung Ventilators Part 4 Particular Requirements for Userâ€“ Powered Resuscitators (ISO 10651-4 : 2023, MOD) (First Revision) |  | - | Modified/Technically Equivalent
ISO 10651-4:2023
4 | IS/ISO 10651-4 : 2002 | Lung ventilators for medical use - Particular requirements for basic safety and essential performance: Part 4 particular requirements for operator - Powered resuscitators | January, 2023 | - | Modified/Technically Equivalent
ISO 10651-4 : 2002
Reviewed In : 2023 ISO 10651-4:2023
5 | IS/ISO 10651-5 : 2006 | Lung ventilators for medical use - Particular requirements for basic safety and essential performance: Part 5 gas - Powered emergency resuscitators | March, 2023 | - | Identical under single numbering
ISO 10651-5 : 2006
Reviewed In : 2023 ISO 10651-5 : 2006
6 | IS/ISO 11197 : 2019 | Medical Supply Units First Revision | March, 2024 | - | Identical under single numbering
ISO 11197:2019
Reviewed In : 2024 ISO 11197:2019
7 | IS 11378 : 2002 | Anaesthetic machines for use with humans (First Revision) | March, 2017 | - | Identical under dual numbering
ISO 5358
Reviewed In : 2017 ISO 5358
8 | IS/ISO 11712 : 2009 | Anaesthetic and respiratory equipment - Supralaryngeal airways and connectors | November, 2019 | - | Identical under single numbering
ISO 11712 : 2009
Reviewed In : 2019 ISO 11712 : 2009
9 | IS 12417 : 1988 | Specification for suction apparatus, pedal operated | January, 2019 | 1 | Indigenous
Reviewed In : 2019
10 | IS 13200 : 2023 | Anaesthetic and Respiratory Equipment Vocabulary Second Revision |  | - | Identical under dual numbering
ISO 4135:2022
ISO 4135:2022
11 | IS 13450 (Part 2/Sec 12) : 2023 | Medical Electrical Equipment Part 2 Particular requirements for basic safety and essential performance Section 12 Critical care ventilators (First Revision) |  | - | Identical under dual numbering
ISO 80601-2-12:2020
ISO 80601-2-12:2020
12 | IS 13450 (Part 2/Sec 13) : 2024 | Medical Electrical Equipment: Part 2 Particular Requirements for the Basic Safety and Essential Performance: Sec 13 Anaesthetic Workstation (First Revision) |  | - | Modified/Technically Equivalent
ISO 80601-2-13:2022
13 | IS 13450 (Part 2/Sec 70) : 2022 | Medical electrical equipment Part 2 - Particular requirements for basic safety and essential performance Section 70 : Sleep apnoea breathing therapy equipment |  | - | Identical under dual numbering
ISO 80601-2-70:2020
ISO 80601-2-70:2020
14 | IS 13450 (Part 2/Sec 79) : 2023 | Medical electrical equipment Part 2 - Particular requirements for basic safety and essential performance Section 79 - Ventilatory support equipment for ventilatory impairment |  | - | Identical under single numbering
ISO 80601-2-79:2018
ISO 80601-2-79:2018
15 | IS 13450 (Part 2/Sec 80) : 2023 | Medical electrical equipment Part 2 - Particular requirements for basic safety and essential performance Section 80 - Ventilatory support equipment for ventilatory insufficiency |  | - | Identical under single numbering
ISO 80601-2-80:2018
ISO 80601-2-80:2018
16 | IS 13450 (Part 2/Sec 84) : 2023 | Medical electrical equipment Part 2 - Particular requirements for basic safety and essential performance Section 84 Ventilators for emergency medical services environment |  | - | Identical under dual numbering
ISO 80601-2-84:2020
ISO 80601-2-84:2020
17 | IS/ISO 14408 : 2005 | Tracheal tubes designed for laser surgery - Requirements for marking and accompanying information | April, 2020 | - | Identical under single numbering
ISO 14408 : 2005
Reviewed In : 2020 ISO 14408 : 2005
18 | IS/ISO 15001 : 2010 | Anaesthetic and respiratory equipment - Compatibility with oxygen (First Revision) | January, 2023 | - | Identical under single numbering
Reviewed In : 2023 ISO 15001:2010
19 | IS/ISO 15002 : 2008 | Flow - Metering devices for connection to terminal units of medical gas pipeline systems | January, 2023 | - | Identical under single numbering
ISO15002:2008
Reviewed In : 2023 ISO15002:2008
20 | IS/ISO 18467 : 2024 | Anaesthetic and Respiratory Equipment â€” Tracheobronchial Tubes (First Revision) |  | - | Identical under dual numbering
ISO 16628 : 2022
ISO 16628 : 2022
21 | IS/ISO 16628 : 2008 | Tracheobronchial tubes - Sizing and marking | January, 2023 | - | Identical under dual numbering
ISO 16628 : 2008
Reviewed In : 2023 ISO 16628 : 2022
22 | IS 17426 : 2020 | ICU Ventilators for use in COVID-19 - Specification |  | - | Indigenous
23 | IS 17587 : 2021 | Specification for Pedal operated resuscitator |  | - | Indigenous
24 | IS 17625 (Part 2/Sec 69) : 2021 | Medical Electrical Equipment Part 2 Particular Requirements for Basic Safety and Essential Performance Section 69 Oxygen Concentrator Equipment |  | - | Identical under dual numbering
ISO 80601-2-69 : 2020
ISO 80601-2-69 : 2020
25 | IS 17812 (Part 1) : 2022 | Terminal Units for Medical Gas Pipeline Systems : Part 1 Terminal Units for use with Compressed Medical Gases and Vacuum (First Revision) |  | - | Identical under dual numbering
ISO 9170-1:2017
ISO 9170-1:2017
26 | IS 18306 : 2023 | Pneumatic Tourniquet- Specification |  | - | Indigenous
27 | IS 18360 : 2023 | Anaesthetic and Respiratory Equipment Dimensions of Non-Interchangeable Screw-Threaded NIST Low-Pressure Connectors for Medical Gases |  | - | Identical under dual numbering
ISO 18082 : 2014
ISO 18082 : 2014
28 | IS 18361 (Part 1) : 2023 | Pressure Regulators for use with Medical Gases : Part 1 Pressure Regulators and Pressure Regulators with Flow-Metering Devices first revision |  | - | Modified/Technically Equivalent
ISO 10524-1 : 2018
29 | IS 18361 (Part 2) : 2023 | Pressure Regulators for use with Medical Gases Part 2 Manifold and line pressure regulators (First Revision) |  | - | Identical under dual numbering
ISO 10524-2 : 2018
ISO 10524-2 : 2018
30 | IS 18375 (Part 1) : 2023 | Medical Suction Equipment Part 1 Electrically Powered Suction Equipment |  | - | Modified/Technically Equivalent
ISO 10079-1:2022
31 | IS 18375 (Part 2) : 2023 | Medical Suction Equipment Part 2 Manually Powered Suction Equipment (Second Revision) |  | - | Identical under dual numbering
ISO 10079-2:2022
ISO 10079-2:2022
32 | IS 18375 (Part 3) : 2023 | Medical Suction Equipment Part 3 Suction Equipment Powered from a Vacuum or Positive pressure Gas Source (Second Revision) |  | - | Identical under dual numbering
ISO 10079-3:2022
ISO 10079-3:2022
33 | IS 18377 : 2024 | Anaesthetic and Respiratory Equipment Tracheostomy Tubes and Connectors |  | - | Identical under dual numbering
ISO 5366:2016
ISO 5366:2016
34 | IS 18460 : 2024 | Suction Catheters for Use in the Respiratory Tract |  | - | Identical under dual numbering
ISO 8836:2019
ISO 8836:2019
35 | IS 18691 : 2024 | Anaesthetic and Respiratory Equipment-Breathing Sets and Connectors |  | - | Identical under dual numbering
ISO 5367 : 2023
ISO 5367 : 2023
36 | IS 18696 : 2024 | Anaesthetic and Respiratory Equipment- Oropharyngeal Airways |  | - | Modified/Technically Equivalent
ISO 5364 : 2016
37 | IS 18766 (Part 2) : 2024 | Biocompatibility Evaluation of Breathing Gas Pathways in Healthcare Applications Part 2: Tests for Emissions of Particulate Matter |  | - | Identical under dual numbering
ISO 18562-2:2024
ISO 18562-2:2024
38 | IS 18772 (Part 2/Sec 87) : 2024 | Medical electrical equipment Part 2 Particular Requirements for Basic Safety and Essential Performance Section 87 High Frequency Ventilators |  | - | Modified/Technically Equivalent
ISO 80601-2-87: 2021
39 | IS 18784 : 2024 | Medical Devices ï¿½ Sleep Apnoea Breathing Therapy ï¿½ Masks and Application Accessories |  | - | Modified/Technically Equivalent
ISO 17510: 2015
40 | IS 18785 : 2024 | Anaesthetic and Respiratory Equipment ï¿½ Low-Flow Nasal Cannulae for Oxygen Therapy |  | - | Modified/Technically Equivalent
ISO 23368: 2022
41 | IS 18805 : 2024 | Anaesthetic and Respiratory Equipment Low-Pressure Hose Assemblies for Use with Medical Gases |  | - | Identical under dual numbering
ISO 5359:2014
ISO 5359:2014
42 | IS 18827 : 2024 | Anaesthetic and respiratory equipment Tracheal tubes and connectors |  | - | Identical under dual numbering
ISO 5361:2023
ISO 5361:2023
43 | IS 18834 : 2024 | Anaesthetic and respiratory equipment Supralaryngeal airways and connectors |  | - | Modified/Technically Equivalent
ISO 11712:2023
44 | IS/ISO 26782 : 2009 | Anaesthetic and respiratory equipment Spirometers intended for the measurement of time forced expired volumes in humans |  | - | Identical under single numbering
ISO 26782:2009
ISO 26782:2009
45 | IS/ISO 27427 : 2013 | Anaesthetic and Respiratory Equipment - Nebulizing Systems and Components | April, 2021 | - | Identical under single numbering
Reviewed In : 2021 ISO 27427:2013
46 | IS 3390 : 1988 | Specification for sphygmomanometers, mercurial (Second Revision) | January, 2023 | 1 | Indigenous
Reviewed In : 2023
47 | IS 3391 : 1965 | Specification for stethoscopes | January, 2023 | - | Indigenous
Reviewed In : 2023
48 | IS 3392 : 1965 | Specification for anaesthetic airways | January, 2023 | - | Indigenous
Reviewed In : 2023
49 | IS 3393 : 2024 | Mouth Props and Airways (London Hospital Pattern) ï¿½ Specification (First Revision) |  | - | Indigenous
50 | IS 3393 : 1965 | Specification for mouth props and airways (London Hospital Pattern) | January, 2023 | - | Indigenous
Reviewed In : 2023
51 | IS 4113 : 2022 | Anaesthetic and respiratory equipment - Laryngoscopes for tracheal intubation |  | - | Identical under dual numbering
ISO 7376:2020
ISO 7376:2020
52 | IS 4154 : 1967 | Specification for endotracheal connections | August, 2024 | - | Indigenous
Reviewed In : 2024
53 | IS/ISO 5356-1 : 2015 | Anaesthetic and respiratory equipment - Conical connectors: Part 1 cones and sockets (First Revision) | March, 2022 | - | Identical under single numbering
ISO 5356-1 : 2015
Reviewed In : 2022 ISO 5356-1:2015
54 | IS/ISO 5356-2 : 2012 | Anaesthetic and respiratory equipment - Conical connectors: Part 2 screw - Threaded weight - Bearing connectors | August, 2020 | - | Identical under single numbering
Reviewed In : 2020 ISO 5356-2:2015
55 | IS/ISO 5361 : 1999 | Anaesthetic and respiratory equipment - Tracheal tubes and connectors | March, 2022 | - | Identical under single numbering
ISO 5361 : 1999
Reviewed In : 2022 ISO 5361 : 1999
56 | IS/ISO 5362 : 2006 | Anaesthetic reservoir bags | March, 2022 | - | Identical under single numbering
ISO 5362 : 2006
Reviewed In : 2022 ISO 5362 : 2006
57 | IS/ISO 5364 : 2008 | Anaesthetic and respiratory equipment - Oropharyngeal airways | July, 2024 | - | Identical under single numbering
ISO 5364:2008
Reviewed In : 2024 ISO 5364 : 2008
58 | IS/ISO 5366-1 : 2000 | Anaesthetic and respiratory equipment - Tracheostomy tubes: Part 1 tubes and connectors for use in adults | January, 2023 | - | Identical under single numbering
ISO 5366 Part 1 : 2000
Reviewed In : 2023 ISO 5366 Part 1 : 2000
59 | IS/ISO 5367 : 2000 | Breathing tubes intended for use with anaesthetic apparatus and ventilators | March, 2022 | - | Identical under single numbering
ISO 5367: 2000
Reviewed In : 2022 ISO 5367: 2000
60 | IS 5622 : 1970 | Soda-Lime Canisters for Use with Gas Anaesthetic Apparatus ( Waters' to-and-Fro) | February, 2021 | - | Indigenous
Reviewed In : 2021
61 | IS 5680 : 1969 | Specification for rubber tubing for medical use | January, 2020 | 1 | Indigenous
Reviewed In : 2020
62 | IS 6190 : 1971 | Specification for anaesthetic face masks | October, 2024 | 1 | Indigenous
Reviewed In : 2024
63 | IS 6194 : 1971 | Specification for intermittent positive pressure respirator, bag type, manually operated | February, 2021 | - | Indigenous
Reviewed In : 2021
64 | IS 6207 : 1971 | Specification for trolleys for oxygen cylinders | January, 2023 | - | Indigenous
Reviewed In : 2023
65 | IS 6581 : 1972 | Specification for endotracheal tubes (Rubber) | August, 2024 | 1 | Indigenous
Reviewed In : 2024
66 | IS 6807 : 1972 | Specification for Reinforced (Flexo-Metallic) Magill's Endotracheal Tube | August, 2024 | - | Indigenous
Reviewed In : 2024
67 | IS 7176 : 1985 | Specification for anaesthetic apparatus, drawover portable type (First Revision) | April, 2021 | - | Indigenous
Reviewed In : 2021
68 | IS 7176 : 2024 | Drawover Portable Type Anaesthetic Apparatus â€” Specification (Second Revision) |  | - | Indigenous
69 | IS 18466 (Part 1) : 2024 | Medical Gas Pipeline Systems Part 1: Pipeline Systems for Compressed Medical Gases and Vacuum (First Revision) |  | - | Identical under dual numbering
ISO 7396-1:2016
ISO 7396-1:2016
70 | IS/ISO 7396-2 : 2007 | Medcal gas pipelines systems: Part 2 gas scavenging disposal systems | June, 2019 | - | Indigenous
Reviewed In : 2019
71 | IS 7625 : 1975 | Gag, Mouth, Doyen's Pattern | January, 2023 | 1 | Indigenous
Reviewed In : 2023
72 | IS 7652 : 1988 | Specification for sphygmomanometer, aneroid type (First Revision) | February, 2021 | - | Indigenous
Reviewed In : 2021
73 | IS 7885 : 1985 | Spray, Macintosh's Pattern | January, 2023 | - | Indigenous
Reviewed In : 2023
74 | IS/IEC 80601-2-30 : 2018 | Medical electrical equipment: Part 2 - 30 particular requirements for basic safety and essential performance of automated non - Invasive sphygmomanometers | August, 2024 | - | Identical under single numbering
IEC80601-2-30 : 2018
Reviewed In : 2024 IEC 80601-2-30:2018
75 | IS/ISO 81060-1 : 2007 | Non - Invasive sphygmomanometers: Part 1 requirements and test methods for non - Automated measurement type | January, 2023 | - | Identical under single numbering
IEC81060_1 : 2007
Reviewed In : 2023 IEC81060_1 : 2007
76 | IS/ISO 81060-2 : 2018 | Non-invasive sphygmomanometers - Part 2: Clinical investigation of intermittent automated measurement type |  | - | Identical under single numbering
ISO 81060-2:2018
ISO 81060-2:2018
77 | IS 8254 (Part 1) : 2024 | Valve, Non-Rebreathing ï¿½ Specification Part 1 Rubenï¿½s Pattern (First Revision) |  | - | Indigenous
78 | IS 8254 (Part 1) : 1976 | Valve, Non-Rebreathing - Part I : Ruben's Pattern | January, 2023 | - | Indigenous
Reviewed In : 2023
79 | IS 8254 (Part 2) : 2024 | Valve, Non-Rebreathing - Specification Part 2 Ambu-Hesse's Pattern ( First Revision ) |  | - | Indigenous
80 | IS 8254 (Part 2) : 1976 | Specification for Valve, Non-Rebreathing Part 2 Ambu-Hesse's Pattern | January, 2023 | - | Indigenous
Reviewed In : 2023
81 | IS 8312 : 1977 | Forceps, Introducing, Endotracheal Tube, Magill's Pattern | October, 2024 | 1 | Indigenous
Reviewed In : 2024
82 | IS 8432 : 1977 | Specification for tubes, tracheostomy (Rubber Or Plastics) | April, 2019 | 1 | Indigenous
Reviewed In : 2019
83 | IS/ISO 9170-2 : 2008 | Terminal units for medical gas pipeline systems: Part 2 terminal units for anaesthetic gas scavenging systems | March, 2022 | - | Identical under single numbering
ISO 9170 : Part 2 :2008
Reviewed In : 2022 ISO 9170-2 :2008
84 | IS 9462 : 1980 | Specification for humidifier, nebulizing, ventury type | January, 2023 | - | Indigenous
Reviewed In : 2023
Standards Under Develpoment
Projects Approved
SI. No. | Doc No | TITLE
1 | MHD 11 (25367) (ISO 16571:2024) | Systems for evacuation of plume generated by medical devices
2 | MHD 11 (25368) (ISO 5360:2016 ) | Anaesthetic vaporizers Agent specific filling systems
3 | MHD 11 (25369) (ISO 11195:2018 ) | Gas mixers for medical use Stand-alone gas mixers
4 | MHD 11 (25370) (ISO 18835:2015) | Inhalational anaesthesia systems Draw-over anaesthetic systems
5 | MHD 11 (25384) (ISO 23371:2022) | Anaesthetic and respiratory equipment Cuff pressure indication control and regulation devices
6 | MHD 11 (25388) (ISO 23372:2022 ) | Anaesthetic and respiratory equipment Air entrainment devices
7 | MHD 11 (25392) (ISO 18778:2022) | Respiratory equipment Particular requirements for basic safety and essential performance of infant cardiorespiratory monitors
8 | MHD 11 (25393) (ISO 18778:2022) | Respiratory equipment Particular requirements for basic safety and essential performance of infant cardiorespiratory monitors
9 | MHD 11 (25396) (ISO 20789:2018) | Anaesthetic and respiratory equipment Passive humidifiers
10 | MHD 11 (25397) (ISO/TR 21954:2018 ) | Guidance on the selection of the appropriate means of ventilation based on the intended patient use environment and operator
11 | MHD 11 (25398) (ISO 23747:2015 ) | Anaesthetic and respiratory equipment Peak expiratory flow meters for the assessment of pulmonary function in spontaneously breathing humans
12 | MHD 11 (25399) (ISO 26782:2009 ) | Anaesthetic and respiratory equipment Spirometers intended for the measurement of time forced expired volumes in humans
13 | MHD 11 (26364) | SPECIFICATION FOR SPHYGMOMANOMETERS MERCURIAL Third Revision
14 | MHD 11 (26365) | SPECIFICATION FOR RUBBER TUBING FOR MEDICAL USE First Revision
15 | MHD 11 (26366) | SPECIFICATION FOR ANAESTHETIC FACE MASKS First Revision
16 | MHD 11 (26367) | SPECIFICATION FOR GAG MOUTH DOYENS PATTERN First Revision
Preliminary Draft Standards
SI. No. | Doc No | TITLE
1 | MHD 11 (26815) | Medical Grade Copper Tubes - Specification
2 | MHD 11 (26817) | Particular Requirements for Basic Safety and Essential Performance of Bed Head Panels Gas Outlets and OT Pendants
Drafts Standards in WC Stage
SI. No. | Doc No | TITLE
No Records Found
Draft Standards Completed WC Stage
SI. No. | Doc No | TITLE
1 | MHD 11 (26320) | SPECIFICATION FOR STETHOSCOPES FIRST REVISION
2 | MHD 11 (26368) | SPECIFICATION FOR MACINTOSH PATTERNS SPRAY SECOND REVISION
3 | MHD 11 (26369) | Specification for Forceps of Magill 39 s Pattern to place Endotracheal Tube First Revision
Finalized Draft Indian Standard
SI. No. | Doc No | TITLE
1 | MHD 11 (25363) (ISO 80601-2-72:2023 ) | Medical Electrical Equipment Part 2 Particular Requirements for Basic Safety and Essential Performance Section 72 Home Healthcare Environment Ventilators for Ventilator-Dependent Patients
2 | MHD 11 (25364) (ISO 80601-2-74:2021) | Medical Electrical Equipment Part 2 Particular Requirements for Basic Safety and Essential Performance Section 74 Respiratory Humidifying Equipment
3 | MHD 11 (25365) (ISO 80601-2-67:2020) | Medical Electrical Equipment Part 2 Particular Requirements for Basic Safety and Essential Performance Section 67 Oxygen-Conserving Equipment
4 | MHD 11 (25366) (ISO 19223:2019) | Lung Ventilators and Related Equipment - Vocabulary and Semantics
5 | MHD 11 (25372) (ISO 80601-2-55:2018) | Medical Electrical Equipment Part 2 Particular Requirements for The Basic Safety and Essential Performance Section 55 Respiratory Gas Monitors
6 | MHD 11 (25373) (ISO 9360-1:2000) | Anaesthetic and respiratory equipment Heat and moisture exchangers HMEs for humidifying respired gases in humans Part 1 HMEs for use with minimum tidal volumes of 250 ml
7 | MHD 11 (25381) (ISO 23328-1:2003 ) | Breathing System Filters for Anaesthetic and Respiratory Use Part 1 Salt Test Method to Assess Filtration Performance
8 | MHD 11 (25383) (ISO 23328-2:2002 ) | Breathing System Filters for Anaesthetic and Respiratory Use Part 2 Non-Filtration Aspects
9 | MHD 11 (25389) (ISO 18562-3:2024 ) | Biocompatibility Evaluation of Breathing Gas Pathways in Healthcare Applications Part 3 Tests for Emissions of Volatile Organic Substances
10 | MHD 11 (25390) (ISO 18562-4:2024 ) | Biocompatibility Evaluation of Breathing Gas Pathways in Healthcare Applications Part 4 Tests for Leachables in Condensate
Finalized Draft Indian Standards under Print
SI. No. | Doc No | TITLE
1 | MHD 11 (25205) (ISO 18562-1: 2024)
2 | MHD 11 (25228) (ISO 10079-4: 2021)
3 | MHD 11 (25362) (ISO 80601-2-90:2021)
4 | MHD 11 (25371) (ISO 26825:2020)
5 | MHD 11 (25374) (ISO 9360-2:2001)
6 | MHD 11 (25375) (ISO 18190:2016)
Total Published Standards:62 Total Standards Under development : 37
Aspect Wise Report
| Product: | 70
| Code of Practices : | 3
| Methods of Test : | 3
| Terminology : | 1
| Dimensions : | 1
| System Standard : | 0
| Safety Standard : | 0
| Others : | 0
| Service Specification : | 0
| Process Specification : | 0
| Unclassified : | 0
Total :78
Annexure-I :List of Indian Standards Withdrawn/Superseded
SI. No. | IS No. & Year | TITLE
1 | IS/ISO 10079-2 : 2014 | Medical Suction Equipment Part 2 Manually Powered Suction Equipment First Revision
ISO 10079-2: 2014
Reviewed In : 2023 ISO 10079-2: 2014
2 | IS/ISO 10079-3 : 2014 | Medical suction equipment Part 3 suction equipment powered from a vacuum or positive pressure gas source First Revision
ISO 10079-3 : 2014
Reviewed In : 2023 ISO 10079-3 :2014
3 | IS/ISO 10524-1 : 2006 | Pressure Regulators For Use with Medical Gases Part 1 Pressure Regulators and Pressure Regulators with Flow-Metering Devices
ISO 10524-1:2006
Reviewed In : 2023 ISO 10524-1:2006
4 | IS/ISO 10524-2 : 2005 | Pressure Regulators for use with Medical Gases Part 2 Manifold and Line Pressure Regulators
ISO10524-2:2005
Reviewed In : 2023 ISO10524-2:2005
5 | IS/ISO 10651-3 : 1997 | Lung ventilators for medical use Part 3 particular requirements for emergency and transport ventilators
ISO 10651-3 : 1997
Reviewed In : 2023 ISO 10651-3 : 1997
6 | IS/ISO 10651-6 : 2004 | Lung ventilators for medical use - Particular requirements for basic safety and essential performance Part 6 home - Care ventilatory support devices
ISO 10651-6 : 2004
Reviewed In : 2023 ISO 10651-6 : 2004
7 | IS 11363 : 1985 | Tubes breathing for anaesthetic apparatus and ventilators
ISO 5367
Reviewed In : 2011
8 | IS 11364 : 1994 | Anaesthetic Reservoir Bags
ISO 5362
Reviewed In : 2010
9 | IS 11807 : 1994 | Oropharyngeal Airways
ISO 5364
Reviewed In : 2010
10 | IS 11808 : 1986 | Tracheal Tubes Connectors
ISO 7228
Reviewed In : 2011
11 | IS 12504 (Part 1) : 1988 | Tracheal Tubes - Part 1 General Requirements
ISO 5361-1
Reviewed In : 2009
12 | IS 12504 (Part 2) : 1988 | Tracheal Tubes - Part 2 Oro-tracheal and Naso-tracheal Tubes of the Magill Type Plain and Cuffed
ISO 5361-2
Reviewed In : 2010
13 | IS 12504 (Part 4) : 1988 | Specification for Tracheal Tubes - Part 4 Cole Type
Reviewed In : 2004
14 | IS 12505 (Part 1) : 1988 | Tracheostomy Tubes Part 1 Connectors
ISO 5366-1
Reviewed In : 2010
15 | IS 12505 (Part 2) : 1988 | Tracheostomy Tubes Part 2 Basic Requirements
ISO 5366-2
Reviewed In : 2010
16 | IS 4113 (Part 1) : 2003 | Laryngoscopic fittings Part 1 conventional hook - On type handle - Blade fittings Second Revision
ISO 7376 : Part 1
Reviewed In : 2023 ISO 7376 : Part 1
17 | IS 4113 (Part 2) : 2003 | Laryngoscopic fittings Part 2 miniature electric lamps - Screw threads and sockets for conventional blades Second Revision
ISO 7376 : Part 2
Reviewed In : 2023 ISO 7376 : Part 2
18 | IS 4533 : 1995 | Suction apparatus - Specification Second Revision
Reviewed In : 2021
19 | IS 5602 : 1970 | Specification for Anaesthetic Breathing Bags
Reviewed In : 2009
20 | IS 7409 (Part 1) : 2003 | Anaesthetic and Respiratory Equipment - Conical Connectors - Part 1 Cones and Sockets
ISO 5356-1
Reviewed In : 2009
21 | IS 7409 (Part 2) : 1994 | Anaesthetic and respiratory equipment - Conical connectors Part 2 screw - Threaded weight - Bearing connectors Second Revision
ISO 5356-2
Reviewed In : 2021 ISO 5356-2
22 | IS/ISO 80601-2-13 : 2011 | Medical electrical equipment Part 2 particular requirements for the basic safety and essential performance Sec 13 anaesthetic workstation
ISO 80601-2-13 : 2011
Reviewed In : 2023 ISO 80601-2-13_2011
23 | IS/ISO 80601-2-12 : 2011 | Medical electrical equipment Part 2 - 12 particular requirements for basic safety and essential performance of critical care ventilators
80601-2-12 : 2011
Reviewed In : 2023 ISO 80601-2-12:2011
24 | IS 8382 : 1977 | Pressure Regulators Pre-set Used with Medical Gas Cylinders
Reviewed In : 2011
25 | IS/ISO 9170-1 : 2008 | Terminal units for medical gas pipeline systems Part 1 terminal units for use with compressed medical gases and vacuum
Reviewed In : 2021 ISO 9170-1:2008
Annexure-II :List of Indian Product Standards
SI. No. | IS No. & Year | TITLE
1 | IS/ISO 10524-3 : 2019 | Pressure regulators for use with medical gases- Part 3 Pressure regulators integrated with cylinder valves VIPRs First Revision
ISO 10524-2:2019
Reviewed In : 2024 ISO 26262-2:2018
2 | IS/ISO 10524-4 : 2008 | Pressure regulators for use with medical gases Part 4 low - Pressure regulators
ISO 10524 -4 :2008
Reviewed In : 2024 ISO 10524 -4 :2008
3 | IS/ISO 18697-4 : 2024 | Lung Ventilators Part 4 Particular Requirements for User Powered Resuscitators ISO 10651-4 2023 MOD First Revision
4 | IS/ISO 10651-5 : 2006 | Lung ventilators for medical use - Particular requirements for basic safety and essential performance Part 5 gas - Powered emergency resuscitators
ISO 10651-5 : 2006
Reviewed In : 2023 ISO 10651-5 : 2006
5 | IS/ISO 11197 : 2019 | Medical Supply Units First Revision
ISO 11197:2019
Reviewed In : 2024 ISO 16304:2018
6 | IS 11378 : 2002 | Anaesthetic machines for use with humans First Revision
ISO 5358
Reviewed In : 2017 ISO 5358
7 | IS/ISO 11712 : 2009 | Anaesthetic and respiratory equipment - Supralaryngeal airways and connectors
ISO 11712 : 2009
Reviewed In : 2019 ISO 11712 : 2009
8 | IS 12417 : 1988 | Specification for suction apparatus pedal operated
Reviewed In : 2019
9 | IS 13450 (Part 2/Sec 12) : 2023 | Medical Electrical Equipment Part 2 Particular requirements for basic safety and essential performance Section 12 Critical care ventilators First Revision
ISO 80601-2-12:2020
10 | IS 13450 (Part 2/Sec 13) : 2024 | Medical Electrical Equipment Part 2 Particular Requirements for the Basic Safety and Essential Performance Sec 13 Anaesthetic Workstation First Revision
11 | IS 13450 (Part 2/Sec 70) : 2022 | Medical electrical equipment Part 2 - Particular requirements for basic safety and essential performance Section 70 Sleep apnoea breathing therapy equipment
ISO 80601-2-70:2020
ISO 8000-62 : 2022
12 | IS 13450 (Part 2/Sec 79) : 2023 | Medical electrical equipment Part 2 - Particular requirements for basic safety and essential performance Section 79 - Ventilatory support equipment for ventilatory impairment
ISO 80601-2-79:2018
13 | IS 13450 (Part 2/Sec 80) : 2023 | Medical electrical equipment Part 2 - Particular requirements for basic safety and essential performance Section 80 - Ventilatory support equipment for ventilatory insufficiency
ISO 80601-2-80:2018
14 | IS 13450 (Part 2/Sec 84) : 2023 | Medical electrical equipment Part 2 - Particular requirements for basic safety and essential performance Section 84 Ventilators for emergency medical services environment
ISO 80601-2-84:2020
15 | IS/ISO 15002 : 2008 | Flow - Metering devices for connection to terminal units of medical gas pipeline systems
ISO15002:2008
Reviewed In : 2023 ISO15002:2008
16 | IS/ISO 18467 : 2024 | Anaesthetic and Respiratory Equipment Tracheobronchial Tubes First Revision
ISO 16628 : 2022
17 | IS 17426 : 2020 | ICU Ventilators for use in COVID-19 - Specification
18 | IS 17587 : 2021 | Specification for Pedal operated resuscitator
IWA 31
19 | IS 17625 (Part 2/Sec 69) : 2021 | Medical Electrical Equipment Part 2 Particular Requirements for Basic Safety and Essential Performance Section 69 Oxygen Concentrator Equipment
ISO 80601-2-69 : 2020
ISO/TR 19601 : 2017
20 | IS 17812 (Part 1) : 2022 | Terminal Units for Medical Gas Pipeline Systems Part 1 Terminal Units for use with Compressed Medical Gases and Vacuum First Revision
ISO 9170-1:2017
ISO 17665:2024
21 | IS 18306 : 2023 | Pneumatic Tourniquet- Specification
22 | IS 18361 (Part 1) : 2023 | Pressure Regulators for use with Medical Gases Part 1 Pressure Regulators and Pressure Regulators with Flow-Metering Devices first revision
23 | IS 18361 (Part 2) : 2023 | Pressure Regulators for use with Medical Gases Part 2 Manifold and line pressure regulators First Revision
ISO 10524-2 : 2018
24 | IS 18375 (Part 1) : 2023 | Medical Suction Equipment Part 1 Electrically Powered Suction Equipment
25 | IS 18375 (Part 2) : 2023 | Medical Suction Equipment Part 2 Manually Powered Suction Equipment Second Revision
ISO 10079-2:2022
26 | IS 18375 (Part 3) : 2023 | Medical Suction Equipment Part 3 Suction Equipment Powered from a Vacuum or Positive pressure Gas Source Second Revision
ISO 10079-3:2022
27 | IS 18377 : 2024 | Anaesthetic and Respiratory Equipment Tracheostomy Tubes and Connectors
ISO 5366:2016
28 | IS 18460 : 2024 | Suction Catheters for Use in the Respiratory Tract
ISO 8836:2019
29 | IS 18691 : 2024 | Anaesthetic and Respiratory Equipment-Breathing Sets and Connectors
ISO 5367 : 2023
30 | IS 18696 : 2024 | Anaesthetic and Respiratory Equipment- Oropharyngeal Airways
31 | IS 18772 (Part 2/Sec 87) : 2024 | Medical electrical equipment Part 2 Particular Requirements for Basic Safety and Essential Performance Section 87 High Frequency Ventilators
32 | IS 18784 : 2024 | Medical Devices Sleep Apnoea Breathing Therapy Masks and Application Accessories
33 | IS 18785 : 2024 | Anaesthetic and Respiratory Equipment Low-Flow Nasal Cannulae for Oxygen Therapy
34 | IS 18805 : 2024 | Anaesthetic and Respiratory Equipment Low-Pressure Hose Assemblies for Use with Medical Gases
ISO 5359:2014
35 | IS 18827 : 2024 | Anaesthetic and respiratory equipment Tracheal tubes and connectors
ISO 5361:2023
36 | IS 18834 : 2024 | Anaesthetic and respiratory equipment Supralaryngeal airways and connectors
37 | IS/ISO 26782 : 2009 | Anaesthetic and respiratory equipment Spirometers intended for the measurement of time forced expired volumes in humans
ISO 26782:2009
38 | IS/ISO 27427 : 2013 | Anaesthetic and Respiratory Equipment - Nebulizing Systems and Components
Reviewed In : 2021 ISO 27427:2013
39 | IS 3390 : 1988 | Specification for sphygmomanometers mercurial Second Revision
Reviewed In : 2023
40 | IS 3391 : 1965 | Specification for stethoscopes
Reviewed In : 2023
41 | IS 3392 : 1965 | Specification for anaesthetic airways
Reviewed In : 2023
42 | IS 3393 : 2024 | Mouth Props and Airways London Hospital Pattern Specification First Revision
43 | IS 4113 : 2022 | Anaesthetic and respiratory equipment - Laryngoscopes for tracheal intubation
ISO 7376:2020
44 | IS 4154 : 1967 | Specification for endotracheal connections
Reviewed In : 2024
45 | IS/ISO 5356-1 : 2015 | Anaesthetic and respiratory equipment - Conical connectors Part 1 cones and sockets First Revision
ISO 5356-1 : 2015
Reviewed In : 2022 ISO 5356-1:2015
46 | IS/ISO 5356-2 : 2012 | Anaesthetic and respiratory equipment - Conical connectors Part 2 screw - Threaded weight - Bearing connectors
Reviewed In : 2020 ISO 5356-2:2015
47 | IS/ISO 5361 : 1999 | Anaesthetic and respiratory equipment - Tracheal tubes and connectors
ISO 5361 : 1999
Reviewed In : 2022 ISO 5361 : 1999
48 | IS/ISO 5362 : 2006 | Anaesthetic reservoir bags
ISO 5362 : 2006
Reviewed In : 2022 ISO 5362 : 2006
49 | IS/ISO 5364 : 2008 | Anaesthetic and respiratory equipment - Oropharyngeal airways
ISO 5364:2008
Reviewed In : 2024 ISO 5364 : 2008
50 | IS/ISO 5366-1 : 2000 | Anaesthetic and respiratory equipment - Tracheostomy tubes Part 1 tubes and connectors for use in adults
ISO 5366 Part 1 : 2000
Reviewed In : 2023 ISO 5366 Part 1 : 2000
51 | IS/ISO 5367 : 2000 | Breathing tubes intended for use with anaesthetic apparatus and ventilators
ISO 5367: 2000
Reviewed In : 2022 ISO 5367: 2000
52 | IS 5622 : 1970 | Soda-Lime Canisters for Use with Gas Anaesthetic Apparatus Waters to-and-Fro
Reviewed In : 2021
53 | IS 5680 : 1969 | Specification for rubber tubing for medical use
Reviewed In : 2020
54 | IS 6190 : 1971 | Specification for anaesthetic face masks
Reviewed In : 2024
55 | IS 6194 : 1971 | Specification for intermittent positive pressure respirator bag type manually operated
Reviewed In : 2021
56 | IS 6207 : 1971 | Specification for trolleys for oxygen cylinders
Reviewed In : 2023
57 | IS 6581 : 1972 | Specification for endotracheal tubes Rubber
Reviewed In : 2024
58 | IS 6807 : 1972 | Specification for Reinforced Flexo-Metallic Magill 39 s Endotracheal Tube
Reviewed In : 2024
59 | IS 7176 : 2024 | Drawover Portable Type Anaesthetic Apparatus Specification Second Revision
60 | IS 7625 : 1975 | Gag Mouth Doyen s Pattern
Reviewed In : 2023
61 | IS 7652 : 1988 | Specification for sphygmomanometer aneroid type First Revision
Reviewed In : 2021
62 | IS 7885 : 1985 | Spray Macintosh s Pattern
Reviewed In : 2023
63 | IS/IEC 80601-2-30 : 2018 | Medical electrical equipment Part 2 - 30 particular requirements for basic safety and essential performance of automated non - Invasive sphygmomanometers
IEC80601-2-30 : 2018
Reviewed In : 2024 IEC 80601-2-30:2018
64 | IS/ISO 81060-1 : 2007 | Non - Invasive sphygmomanometers Part 1 requirements and test methods for non - Automated measurement type
IEC81060_1 : 2007
Reviewed In : 2023 IEC81060_1 : 2007
65 | IS 8254 (Part 1) : 2024 | Valve Non-Rebreathing Specification Part 1 Ruben s Pattern First Revision
66 | IS 8254 (Part 2) : 2024 | Valve Non-Rebreathing - Specification Part 2 Ambu-Hesse 39 s Pattern First Revision
67 | IS 8312 : 1977 | Forceps Introducing Endotracheal Tube Magill s Pattern
Reviewed In : 2024
68 | IS 8432 : 1977 | Specification for tubes tracheostomy Rubber Or Plastics
Reviewed In : 2019
69 | IS/ISO 9170-2 : 2008 | Terminal units for medical gas pipeline systems Part 2 terminal units for anaesthetic gas scavenging systems
ISO 9170 : Part 2 :2008
Reviewed In : 2022 ISO 9170-2 :2008
70 | IS 9462 : 1980 | Specification for humidifier nebulizing ventury type
Reviewed In : 2023