## Sheet1
BUREAU OF INDIAN STANDARDS
Program of Work
MHD19 : In-vitro Diagnostic Medical Devices and Biological Evaluation of Medical Devices
Scope : To formulate Indian Standards on: a) In-vitro Diagnostic kits, reagents, analyzers and associated software b) Biological and clinical evaluation of medical and dental materials, devices, implants together with standardization of biological test methods applicable to those materials and devices, and c) Good clinical practice principles to clinical investigations in humans of those devices
Liaison : ISO TC-194 (P): Biological and clinical evaluation of medical devices
Published Standards
SI. No. | IS No. | TITLE | Reaffirm M-Y | No. of Amds | Eqv.
1 | IS/ISO 10993-2 : 2006 | Biological Evaluation of Medical Devices Part 2 Animal Welfare Requirements (First Revision) |  | - | Identical under single numbering
ISO 10993-2:2006
ISO 10993-2:2006
2 | IS/ISO 10993-3 : 2014 | Biological evaluation of medical devices Part 3 Tests for Genotoxicity, Carcinogenicity and Reproductive toxicity (First Revision) |  | - | Identical under single numbering
ISO 10993-3 : 2014
ISO 10993-3 : 2014
3 | IS/ISO 10993-4 : 2017 | Biological evaluation of medical devices Part 4 Selection of tests for interactions with blood |  | - | Identical under single numbering
ISO 10993-4 : 2017
ISO 10993-4 : 2017
4 | IS/ISO 10993-5 : 2009 | Biological evaluation of medical devices Part 5 Tests for in vitro cytotoxicity |  | - | Identical under single numbering
ISO 10993-5 : 2009
ISO 10993-5 : 2009
5 | IS/ISO 10993-6 : 2016 | Biological evaluation of medical devices Part 6 Tests for local effects after implantation |  | - | Identical under single numbering
ISO 10993-6 : 2016
ISO 10993-6 : 2016
6 | IS/ISO 10993-7 : 2018 | Biological evaluation of medical devices Part 7 Ethylene oxide sterilization residuals |  | - | Identical under single numbering
ISO 10993-7 : 2008
ISO 10993-7:2008
7 | IS/ISO 10993-11 : 2017 | Biological evaluation of medical devices Part 11 Tests for systemic toxicity |  | - | Identical under single numbering
ISO 10993-11 : 2017
ISO 10993-11 : 2017
8 | IS/ISO 10993-12 : 2021 | Biological Evaluation of Medical Devices Part 12 Sample Preparation and Reference Materials |  | - | Identical under single numbering
10993: Part 12
ISO 10993-12:2021
9 | IS/ISO 10993-13 : 2010 | Biological evaluation of medical devices Part 13 Identification and quantification of degradation products from polymeric medical devices |  | - | Identical under single numbering
ISO 10993-13:2010
ISO 10993-13:2010
10 | IS/ISO 10993-14 : 2001 | Biological evaluation of medical devices Part 14 Identification and quantification of degradation products from ceramics |  | - | Identical under single numbering
ISO 10993-14:2001
ISO 10993-14:2001
11 | IS/ISO 10993-16 : 2017 | Biological Evaluation of Medical Devices Part 16 Toxicokinetic Study Design for Degradation Products and Leachables |  | - | Identical under single numbering
ISO 10993-16 : 2017
ISO 10993-16 : 2017
12 | IS/ISO 10993-17 : 2002 | Biological Evaluation of Medical Devices Part 17 Establishment of Allowable Limits for Leachable Substances |  | - | Identical under single numbering
ISO 10993-17 : 2002
ISO 10993-17 : 2002
13 | IS/ISO 10993-18 : 2020 | Biological evaluation of medical devices Part 18 Chemical characterization of medical device materials within a risk management process |  | - | Identical under single numbering
10993: Part 18
ISO 10993-18:2020
14 | IS/ISO/TS 10993-20 : 2006 | Biological evaluation of medical devices Part 20 Principles and methods for immunotoxicology testing of medical devices |  | - | Identical under single numbering
ISO/TS 10993-20:2006
ISO/TS 10993-20:2006
15 | IS/ISO/TR 10993-22 : 2017 | Biological Evaluation of Medical Devices Part 22 Guidance on Nanomaterials |  | - | Identical under single numbering
ISO/TR 10993-22 : 2017
ISO/TR 10993-22:2017
16 | IS/ISO 13022 : 2012 | Medical products containing viable human cells - Application of risk management and requirements for processing practices |  | - | Identical under single numbering
ISO 13022 : 2012
ISO 13022:2012
17 | IS/ISO 14155 : 2020 | Clinical investigation of medical devices for human subjects - Good clinical practice |  | - | Identical under single numbering
ISO 14155: 2020
ISO 14155: 2020
18 | IS/ISO 15197 : 2013 | In vitro Diagnostic Test Systems - Requirements for Blood-Glucose Monitoring System for Self-Testing in Managing Diabetes Mellitus (First Revision) | January, 2020 | - | Identical under single numbering
ISO 15197 : 2013
Reviewed In : 2020 ISO 15197 : 2013
19 | IS/ISO 15198 : 2004 | Clinical Laboratory Medicine - In vitro Diagnostic Medical Devices - Validation of User Quality Control Procedures by the Manufacturer |  | - | Identical under single numbering
ISO 15198 : 2004
ISO 15198:2004
20 | IS/ISO/TR 15499 : 2016 | Biological evaluation of medical devices - Guidance on the conduct of biological evaluation within a risk management process |  | - | Identical under single numbering
ISO/TR 15499 : 2016
ISO/TR 15499 : 2016
21 | IS/ISO 17511 : 2020 | In Vitro Diagnostic Medical Devices - Requirements for Establishing Metrological Traceability of Values Assigned to Calibrators, Trueness Control Materials and Human Samples |  | - | Identical under single numbering
ISO 17511 : 2020
ISO 17511:2020
22 | IS 17713 : 2023 | In-Vitro Diagnostic Devices - ELISA Plate Reader |  | - | Indigenous
23 | IS 17714 : 2023 | In-Vitro Diagnostic Devices - Automated ELISA Processor |  | - | Indigenous
24 | IS 17715 : 2023 | In-vitro Diagnostic Device - ELISA Plate Washer |  | - | Indigenous
25 | IS 17717 (Part 1) : 2023 | In-Vitro Diagnostic Device - Automated Clinical chemistry Analyzer - Part 1 Wet Chemistry Analyzer |  | - | Indigenous
26 | IS 17717 (Part 2) : 2023 | In-Vitro Diagnostic (IVD) Device - Automated Clinical Chemistry Analyzer Part 2 Dry Chemistry Analyzer |  | - | Indigenous
27 | IS 17718 : 2022 | Performance testing of In-vitro Diagnostics IVD Reagent Kit alpha - Amylase CNP-G3 Liquid Stable Clinical Chemistry Reagents/ Kits |  | - | Indigenous
28 | IS 17719 : 2023 | In-Vitro Diagnostic (IVD) Medical Device - Automatic Slide Staining Instrument |  | - | Indigenous
29 | IS 17720 : 2023 | In-vitro Diagnostic Device - Automated Blood Culture and Microbial Detection System |  | - | Indigenous
30 | IS 17721 : 2024 | In-vitro Diagnostic (IVD) Devices - Electrolyte Analyzer |  | - | Indigenous
31 | IS 17724 (Part 1) : 2023 | Safety Requirements for Electrical Equipment for Measurement, Control, and Laboratory Use Part 1 General Requirements (IEC 61010-1: 2010 + AMD1:2016 + COR1:2019, MOD) |  | - | Modified/Technically Equivalent
IEC 61010-1: 2010 + AMD1:2016 + COR1:2019
32 | IS 17724 (Part 2) : 2023 | Safety Requirements for Electrical Equipment for Measurement, Control, And Laboratory Use Part 2 Particular Requirements for Laboratory Equipment used in Mixing and Stirring |  | - | Identical under dual numbering
IEC 61010-2-051: 2018
IEC 61010-2-051: 2018
33 | IS 17724 (Part 3) : 2024 | Safety Requirements for Electrical Equipment for Measurement, Control, And Laboratory Use Part 3 Particular Requirements of Automatic and Semi-Automatic Laboratory Equipment used for Analysis and Other Purposes |  | - | Modified/Technically Equivalent
IEC 61010-2-081: 2019
34 | IS 17724 (Part 4) : 2023 | Safety Requirements for Electrical Equipment for Measurement, Control, and Laboratory Use Part 4 Particular Requirements for In-Vitro Diagnostic (IVD) Medical Equipment (IEC 61010-2-101 : 2018, MOD) |  | - | Modified/Technically Equivalent
IEC 61010-2-101: 2018
35 | IS 17784 (Part 1) : 2023 | Electrical Equipment for Measurement, Control and Laboratory Use - EMC Requirements Part 1 General Requirements (IEC 61326-1: 2020, MOD) |  | - | Modified/Technically Equivalent
IEC 61326-1: 2020
36 | IS 17784 (Part 2) : 2023 | Electrical equipment for measurement, control and laboratory use - EMC requirements Part 2 Particular requirements for In-vitro diagnostic (IVD) medical equipment (IEC 61326-2-6 : 2020, MOD) |  | - | Modified/Technically Equivalent
IEC 61326-2-6: 2020
37 | IS 17932 (Part 1) : 2023 | Biological evaluation of medical devices Part 1: Evaluation and testing within a risk management process (ISO 10993-1 : 2018, MOD) |  | - | Modified/Technically Equivalent
ISO 10993-1:2018
38 | IS 17932 (Part 2) : 2024 | Biological Evaluation of Medical Devices Part 2 Framework for identification and quantification of potential degradation products |  | - | Modified/Technically Equivalent
ISO 10993-9: 2019
39 | IS 17932 (Part 3) : 2024 | Biological Evaluation of Medical Devices Part 3 Identification and quantification of degradation products from metals and alloys |  | - | Modified/Technically Equivalent
ISO 10993-15: 2019
40 | IS 17932 (Part 4) : 2024 | Biological Evaluation of Medical Devices Part 4 Physico-chemical morphological and topographical characterization of materials |  | - | Modified/Technically Equivalent
ISO 10993-19: 2020
41 | IS 17932 (Part 5) : 2024 | Biological Evaluation of Medical Devices Part 5 Ethylene oxide sterilization residuals |  | - | Modified/Technically Equivalent
ISO 10993-7:2019
42 | IS 17932 (Part 6) : 2023 | Biological Evaluation of Medical Devices Part 6 Tests for skin sensitization (ISO 10993-10 : 2021, MOD) |  | - | Modified/Technically Equivalent
ISO 10993-10: 2021
43 | IS 17932 (Part 7) : 2024 | Biological Evaluation of Medical Devices Part 7 Tests for irritation ISO 10993-23:2021 MOD |  | - | Modified/Technically Equivalent
ISO 10993-23:2021
44 | IS/ISO 22442-1 : 2015 | Medical Devices Utilizing Animal Tissues and their Derivatives Part 1 Application of Risk Management |  | - | Identical under single numbering
ISO 22442-1 : 2015
ISO 22442-1 : 2015
45 | IS/ISO 22442-2 : 2015 | Medical Devices Utilizing Animal Tissues and their Derivatives Part 2 Controls on Sourcing, Collection and Handling |  | - | Identical under single numbering
ISO 22442-2 : 2015
ISO 22442-2:2007
46 | IS/ISO 22442-3 : 2007 | Medical Devices Utilizing Animal Tissues and their Derivatives Part 3 Validation of the Elimination and/or Inactivation of Viruses and Transmissible Spongiform Encephalopathy (TSE) Agents |  | - | Identical under single numbering
ISO 22442-3:2007
ISO 22442-3:2007
47 | IS/ISO/TR 22442-4 : 2010 | Medical Devices Utilizing Animal Tissues and their Derivatives Part 4 Principles for Elimination and/or Inactivation of Transmissble Spongifrom Encephalopathy (TSE) Agents and Validation Assays for those Processes |  | - | Identical under single numbering
ISO/TR 22442-4:2010
48 | IS/ISO 23640 : 2011 | In vitro diagnostic medical devices - Evaluation of stability of in vitro diagnostic reagents |  | - | Identical under single numbering
ISO 23640 : 2011
ISO 23640 : 2011
49 | IS/ISO/TR 37137 : 2014 | Cardiovascular biological evaluation of medical devices - Guidance for absorbable implants |  | - | Identical under single numbering
ISO/TR 37137 : 2014
ISO/TR 37137:2014
50 | IS/ISO 7405 : 2008 | Dentistry - Evaluation of biocompatibility of medical devices used in dentistry |  | - | Identical under single numbering
ISO 7405 : 2008
ISO 7405:2008
Standards Under Develpoment
Projects Approved
SI. No. | Doc No | TITLE
1 | MHD 19 (25234) | Blood Cell Counter Analyzer
2 | MHD 19 (25235) | Hemoglobin Analyzer
3 | MHD 19 (25236) (ISO/TS 37137-1:2021) | Biological evaluation of absorbable medical devices Part 1 General requirements
4 | MHD 19 (25237) (ISO/TR 10993-33:2015) | Biological evaluation of medical devices Part 33 Guidance on tests to evaluate genotoxicity
5 | MHD 19 (25238) (ISO/TR 10993-55:2023) | Biological evaluation of medical devices Part 55 Interlaboratory study on cytotoxicity
6 | MHD 19 (26476) | Urine Analyzer
Preliminary Draft Standards
SI. No. | Doc No | TITLE
No Records Found
Drafts Standards in WC Stage
SI. No. | Doc No | TITLE
No Records Found
Draft Standards Completed WC Stage
SI. No. | Doc No | TITLE
No Records Found
Finalized Draft Indian Standard
SI. No. | Doc No | TITLE
No Records Found
Finalized Draft Indian Standards under Print
SI. No. | Doc No | TITLE
1 | MHD 19 (15611)
Total Published Standards:31 Total Standards Under development : 7
Aspect Wise Report
| Product: | 10
| Code of Practices : | 1
| Methods of Test : | 35
| Terminology : | 0
| Dimensions : | 0
| System Standard : | 1
| Safety Standard : | 3
| Others : | 0
| Service Specification : | 0
| Process Specification : | 0
| Unclassified : | 0
Total :50
Annexure-I :List of Indian Standards Withdrawn/Superseded
SI. No. | IS No. & Year | TITLE
1 | IS/ISO 10993-1 : 2009 | Biological evaluation of medical devices Part 1 Evaluation and Testing within a risk management process
ISO 10993-1 : 2009
ISO 10993-1 : 2009
2 | IS/ISO 10993-9 : 2009 | Biological evaluation of medical devices Part 9 Framework for identification and quantification of potential degradation products
ISO 10993-9 : 2009
ISO 10993-9:2009
3 | IS/ISO 10993-10 : 2010 | Biological evaluation of medical devices Part 10 Tests for irritation and skin sensitization
ISO 10993-10 : 2010
ISO 10993-10:2010
4 | IS/ISO 10993-15 : 2000 | Biological evaluation of medical devices Part 15 identification and quantification of degradation products from metals and alloys
ISO 10993-15 : 2000
ISO 10993-15:2000
5 | IS/IEC/TS 10993-19 : 2006 | Biological Evaluation of Medical Devices Part 19 Physico-Chemical Morphological and Topographical Characterization of Materials
ISO/TS 109993-19 : 2006
ISO/TS 109993-19 : 2006
6 | IS 12024 : 1986 | Code of practice for field monitoring of movement of structures using tape extensometer
Reviewed In : 2006
7 | IS 12572 (Part 1) : 1994 | Biological Evaluation of Medical Devices - Part 1 Guidance on Selection of Tests
ISO 10993-1
Reviewed In : 2016 ISO 10993-1
8 | IS 12572 (Part 2) : 1995 | Biological evaluation of medical devices Part 2 animal welfare requirements
ISO 10993-2
Reviewed In : 2016 ISO 10993-2
9 | IS 12572 (Part 3) : 1988 | Guide for evaluation of medical devices for biological hazards Part 3 method of testing by tissue implantation
Reviewed In : 2016
10 | IS 12572 (Part 4) : 2016 | Biological evaluation of medical devices Part 4 selection of tests for interaction with blood
ISO 10993-4 : 2002
ISO 10993-4 : 2002
11 | IS 12572 (Part 5) : 1988 | Guide for evaluation of medical devices for biological hazards Part 5 method of test for intracutaneous reactivity of extracts from medical devices
Reviewed In : 2016
12 | IS 12572 (Part 6) : 1988 | Guide for evaluation of medical devices for biological hazards Part 6 method of test for systemic toxicity assessment of pyrogenicity in rabbits of extracts from medical devices
Reviewed In : 2016
13 | IS 12572 (Part 7) : 1988 | Guide for evaluation of medical devices for biological hazards Part 7 methods of test for sensitization assessment of potential of medical devices to produce delayed contact dermatitis
Reviewed In : 2016
14 | IS 12572 (Part 8) : 1988 | Guide forevaluationofmedical devices for biological hazards Part 8 method of test for skin irritation of extracts from medical devices
Reviewed In : 2016
15 | IS 12572 (Part 9) : 1988 | Guide for evaluation of medical devices for biological hazards Part 9 method of test for skin irritation by solid medical devices
Reviewed In : 2016
16 | IS 12572 (Part 10) : 1988 | Guide for Evaluation of Medical Devices for Biological Hazards Part 10 Biological Testing and Evaluation of Dental Materials
Reviewed In : 2016
17 | IS 12572 (Part 11) : 1990 | Guide for evaluation of medical devices for biological hazards Part 11 method of test for eye irritation
Reviewed In : 2016
18 | IS 12572 (Part 13) : 1995 | Biological Evaluation of Medical Devices - Part 13 Tests for Genotoxicity Carcinogenicity and Reproductive Toxicity
ISO 10993-3
Reviewed In : 2016
19 | IS 12572 (Part 14) : 1994 | Biological Evaluation of Medical Devices - Part 14 Selection of Tests for Interactions with Blood
ISO 10993-4
Reviewed In : 2016
20 | IS 13020 (Part 1) : 1991 | Medical Electrical Equipment - Ultrasonic Therapy Equipment - Part 1 Particular Requirements for the Safety
Reviewed In : 2006
21 | IS 13020 (Part 2) : 1990 | Medical Electrical Equipment - Ultrasonic Therapy Equipment - Part 2 Constructional and Performance Requirements
Reviewed In : 2010
22 | IS 13728 : 1993 | Entrance field sizes of elctro-optical X-ray image intensifiers
IEC 520
Reviewed In : 2010
23 | IS 13729 : 1993 | Determination of the luminance distribution of electro-optical X-ray image intensifiers
IEC 572
Reviewed In : 2010
24 | IS 13807 : 1994 | Medical radiology - Terminology
IEC 788
Reviewed In : 2010
25 | IS 13813 : 1993 | Measurement of the conversion factor of electro-optical X-ray image intensifiers
Reviewed In : 2010
26 | IS/IEC 61010-1 : 2010 | Safety requirements for electrical equipment for measurement control and laboratory use Part 1 General requirements
IEC 61010-1 : 2010
IEC 61010-1:2010
27 | IS/IEC 61010-2-081 : 2009 | Safety Requirements for Electrical Equipment for Measurement Control and Laboratory Use Part 2-081 Particular Requirements for Automatic and Semi-automatic Laboratory Equipment for Analysis and Other Purposes
IEC 61010-2-081 : 2009
IEC 61010-2-81 : 2009
28 | IS 7064 : 1973 | Radiation protection in medical X-ray equipment operating at 10 kV to 400 kV
29 | IS 8607 (Part 3) : 1978 | General and safety requirements for electrical equipment used in medical practice Part 3 Protection against mechanical hazards
Reviewed In : 1987
30 | IS 8607 (Part 4) : 1985 | General and safety requirements for electrical equipment used in medical practice Part 4 Protection against unwanted or excessive radiation
Reviewed In : 1991
31 | IS 8607 (Part 5) : 1983 | General and Safety Requirements for Electrical Equipment Used in Medical Practice - Part 5 Protection Against Explosion Hazards
32 | IS 8607 (Part 6) : 1984 | General and safety requirements for electrical equipment used in medical practice Part 6 Protection against excessive temperatures fire and other hazards
Reviewed In : 1991
33 | IS 8607 (Part 7) : 1985 | General and safety requirements for electrical equipment used in medical practice Part 7 Construction
Reviewed In : 1991
34 | IS 8607 (Part 8) : 1985 | General and safety requirements for electrical equipment used in medical practice Part 8 Behaviour and reliability
Reviewed In : 1991
35 | IS 8902 : 1978 | Area exposure product meter
36 | IS 9286 (Part 2) : 1988 | Cardiac Defibrillators - Part 2 Construction and Performance Requirements
Reviewed In : 2010
Annexure-II :List of Indian Product Standards
SI. No. | IS No. & Year | TITLE
1 | IS 17713 : 2023 | In-Vitro Diagnostic Devices - ELISA Plate Reader
2 | IS 17714 : 2023 | In-Vitro Diagnostic Devices - Automated ELISA Processor
3 | IS 17715 : 2023 | In-vitro Diagnostic Device - ELISA Plate Washer
4 | IS 17717 (Part 1) : 2023 | In-Vitro Diagnostic Device - Automated Clinical chemistry Analyzer - Part 1 Wet Chemistry Analyzer
5 | IS 17717 (Part 2) : 2023 | In-Vitro Diagnostic IVD Device - Automated Clinical Chemistry Analyzer Part 2 Dry Chemistry Analyzer
6 | IS 17718 : 2022 | Performance testing of In-vitro Diagnostics IVD Reagent Kit alpha - Amylase CNP-G3 Liquid Stable Clinical Chemistry Reagents Kits
ISO 7206-13: 2016
7 | IS 17719 : 2023 | In-Vitro Diagnostic IVD Medical Device - Automatic Slide Staining Instrument
8 | IS 17720 : 2023 | In-vitro Diagnostic Device - Automated Blood Culture and Microbial Detection System
9 | IS 17721 : 2024 | In-vitro Diagnostic IVD Devices - Electrolyte Analyzer
10 | IS 17724 (Part 1) : 2023 | Safety Requirements for Electrical Equipment for Measurement Control and Laboratory Use Part 1 General Requirements IEC 61010-1 2010 AMD1 2016 COR1 2019 MOD
61010-1