## Sheet1
BUREAU OF INDIAN STANDARDS
Program of Work
ETD28 : Solar Photovoltaic Energy Systems
Scope : To prepare standards for systems of photovoltaic conversion of solar energy into electrical energy and for all the elements in the entire photovoltaic energy systems In this context, the concept photovoltaic energy systems includes the entire field from light input to solar cell and including the interface with the electrical system(s) to which energy is supplied
Liaison : IEC TC-82 (P): Solar photovoltaic energy systems
Published Standards
SI. No. | IS No. | TITLE | Reaffirm M-Y | No. of Amds | Eqv.
1 | IS 12762 (Part 1) : 2024 | Photovoltaic Devices Part 1 Measurement of Photovoltaic Current-Voltage Characteristics ( Second Revision ) |  | - | Identical under dual numbering
IEC 60904-1:2020
IEC 60904-1:2020
2 | IS 12762 (Part 1/Sec 1) : 2020 | Photovoltaic Devices Part 1 Measurement of Current-Voltage Characteristics Section 1 Multi-junction PV devices |  | - | Identical under dual numbering
IEC 60904-1-1 : 2017
IEC 60904-1-1 : 2017
3 | IS 12762 (Part 1/Sec 2) : 2020 | Photovoltaic Devices Part 1 Measurement of Current-voltage Characteristics Section 2 Bifacial photovoltaic ( PV ) devices |  | - | Identical under dual numbering
IEC TS 60904-1-2 : 2019
IEC TS 60904-1-2:2019
4 | IS 12762 (Part 2) : 2018 | Photovoltaic devices: Part 2 Requirements for photovoltaic reference devices (Second Revision) | - | - | Identical under dual numbering
IEC 60904-2 : 2015
60904-2 : 2015
5 | IS 12762 (Part 3) : 2020 | Photovoltaic Devices Part 3 Measurement Principles for Terrestrial Photovoltaic PV Solar Devices with Reference Spectral Irradiance Data ( Third Revision ) | - | - | Identical under dual numbering
IEC 60904-3 : 2019
IEC 60904-3:2019
6 | IS 12762 (Part 4) : 2014 | Photovoltaic devices: Part 4 reference solar devices - Procedures for establishing calibration traceability |  | - | Identical under dual numbering
IEC 60904-4 : 2009
Reviewed In : 2019 IEC 60904-4:2019
7 | IS 12762 (Part 4) : 2024 | Photovoltaic Devices Part 4 Photovoltaic Reference Devices - Procedures for Establishing Calibration Traceability ( First Revision ) |  | - | Identical under dual numbering
IEC 60904-4:2019
IEC 60904-4:2019
8 | IS 12762 (Part 5) : 2014 | Photovoltaic devices: Part 5 determination of the equivalent cell temperature (ECT) of photovoltaic (PV) devices by the open - Circuit voltage method (First Revision) |  | 1 | Identical under dual numbering
IEC 60904-5 : 2011
Reviewed In : 2019 IEC 60904-5 : 2011
9 | IS 12762 (Part 7) : 2023 | Photovoltaic Devices Part 7: Computation of the Spectral Mismatch Correction For Measurements of Photovoltaic Devices (First Revision) |  | - | Identical under dual numbering
IEC 60904-7 : 2019
IEC 60904-7 : 2019
10 | IS 12762 (Part 8) : 2018 | Photovoltaic devices: Part 8 measurement of spectral responsivity of a photovoltaic (PV) device (First Revision) | - | - | Identical under dual numbering
IEC 60904-8 : 2014
IEC 60904-8 : 2014
11 | IS 12762 (Part 8/Sec 1) : 2020 | Photovoltaic Devices Part 8 Measurement of Spectral Responsivity of a Photovoltaic ( PV ) Device Section 1 Multi-junction ( PV ) devices |  | - | Identical under dual numbering
IEC 60904-8-1 : 2017
IEC 60904-8-1 : 2017
12 | IS 12762 (Part 9) : 2023 | Photovoltaic Devices Part 9: Classification of Solar Simulator Characteristicses (First Revision) |  | - | Identical under dual numbering
IEC 60904-9 : 2020
IEC 60904-9 : 2020
13 | IS 12762 (Part 10) : 2023 | Photovoltaic Devices Part 10: Methods of Linear Dependence and Linearity Measurements (Second Revision) |  | - | Identical under dual numbering
IEC 60904-10 : 2020
IEC 60904-10 : 2020
14 | IS 12762 (Part 13) : 2020 | Photovoltaic Devices Part 13 Electroluminescence of Photovoltaic Modules |  | - | Identical under dual numbering
IEC TS 60904-13 : 2018
IEC TS 60904-13:2018
15 | IS 12762 (Part 14) : 2023 | Photovoltaic devices Part 14: Guidelines for production line measurements of single-junction PV module maximum power output and reporting at standard test conditions |  | - | Identical under dual numbering
IEC TR 60904-14 : 2020
IEC TR 60904-14 : 2020
16 | IS 12763 : 2024 | Photovoltaic Devices Procedures for Temperature and Irradiance Corrections to Measured I-V Characteristics (Second Revision) |  | - | Identical under dual numbering
IEC 60891:2021
IEC 60891:2021
17 | IS 12834 : 2023 | Solar Photovoltaic Energy Systems Terms, Definitions and Symbols (Second Revision) |  | - | Identical under dual numbering
IEC TS 61836 : 2016
IEC TS 61836 : 2016
18 | IS 14153 : 1994 | Guide for general description of photovoltaic (PV) power generating system | March, 2019 | - | Modified/Technically Equivalent
Reviewed In : 2019 82 ( CentralOffice ) 19 Guide
19 | IS 14286 : 2010 | Crystalline silicon terrestrial photovoltaic (PV) modules - Design qualification and type approval (First Revision) | March, 2020 | - | Identical under dual numbering
61215
Reviewed In : 2020 IEC 61215 : 2005
20 | IS 14286 (Part 1) : 2023 | Terrestrial Photovoltaic PV Modules Design Qualification and Type Approval Part 1: Test Requirements (Third Revision) |  | - | Identical under dual numbering
IEC 61215-1:2021
IEC 61215-1:2021
21 | IS 14286 (Part 1/Sec 1) : 2023 | Terrestrial photovoltaic (PV) modules Design qualification and type approval Part 1-1 Special requirements for testing of crystalline silicon photovoltaic (PV) modules (Third Revision) |  | - | Identical under dual numbering
IEC 61215-1-1:2021
IEC 61215-1-1:2021
22 | IS 14286 (Part 1/Sec 2) : 2023 | Terrestrial photovoltaic (PV) modules Design qualification and type approval Part 1-2 Special requirements for testing of thin-film Cadmium Telluride (CdTe) based photovoltaic (PV) modules (Third Revision) |  | - | Identical under dual numbering
IEC 61215-1-2:2021
IEC 61215-1-2:2021
23 | IS 14286 (Part 1/Sec 3) : 2023 | Terrestrial photovoltaic (PV) modules Design qualification and type approval Part 1-3 Special requirements for testing of thin-film amorphous silicon based photovoltaic (PV) modules (Third Revision) |  | - | Identical under dual numbering
IEC 61215-1-3:2021
IEC 61215-1-3:2021
24 | IS 14286 (Part 1/Sec 4) : 2023 | Terrestrial photovoltaic (PV) modules Design qualification and type approval Part 1-4 Special requirements for testing of thin-film Cu (In,ga) (S,Se) 2 based photovoltaic (PV) modules (Third Revision) |  | - | Identical under dual numbering
IEC 61215-1-4:2021
IEC 61215-1-4:2021
25 | IS 14286 (Part 2) : 2023 | Terrestrial Photovoltaic (PV) Modules Design Qualification and Type Approval Part 2 Test Procedures (Third Revision) |  | - | Identical under dual numbering
IEC 61215-2:2021
IEC 61215-2:2021
26 | IS 16077 : 2013 | Thin - Film terrestrial photovoltaic (PV) modules - Design qualification and type approval | June, 2018 | - | Identical under dual numbering
IEC 61646 : 2008
Reviewed In : 2018 IEC 61646 : 2008
27 | IS 16149 : 2014 | UV test for photovoltaic (PV) modules | March, 2020 | - | Identical under dual numbering
IEC 61345 : 1998
Reviewed In : 2020 IEC 61345 : 1998
28 | IS 16169 : 2014 | Utility - Interconnected photovoltaic inverters - Test procedure of islanding prevention measures |  | - | Identical under dual numbering
IEC 62116 : 2014
IEC 62116 : 2014
29 | IS 16169 : 2019 | Utility - Interconnected photovoltaic inverters - Test procedure of islanding prevention measures (First Revision) |  | - | Identical under dual numbering
IEC 62116 : 2014
IEC 62116 : 2014
30 | IS 16170 (Part 1) : 2014 | Photovoltaic (PV) Module Performance Testing and Energy Rating Part 1 Irradiance and Temperature Performance Measurements and Power Rating | March, 2019 | - | Identical under dual numbering
IEC 61853-1 : 2011
Reviewed In : 2019 IEC 61853-1 : 2011
31 | IS 16170 (Part 3) : 2022 | Photovoltaic (PV) Module Performance Testing and Energy Rating Part 3 Energy Rating of (PV) Modules (First Revision) |  | - | Identical under dual numbering
IEC 61853-3 : 2018
IEC 61853-3 : 2018
32 | IS 16170 (Part 4) : 2023 | Photovoltaic (PV) Module Performance Testing and Energy Rating Part 4 Standard Reference Climatic Profiles |  | - | Identical under dual numbering
IEC 61853-4 : 2018
IEC 61853-4 : 2018
33 | IS 16221 (Part 1) : 2016 | Safety of Power Converters for use in Photovoltaic Power Systems Part 1 General Requirements |  | - | Identical under dual numbering
IEC 62109-1 : 2010
IEC 62109-1: 2010
34 | IS 16221 (Part 2) : 2015 | Safety of power converters for use in photovoltaic power systems: Part 2 particular requirements for inverters | August, 2020 | - | Identical under dual numbering
IEC 62109-2 : 2011
Reviewed In : 2020 IEC 62109-2: 2011
35 | IS 16221 (Part 3) : 2023 | Safety of Power Converters for Use in Photovoltaic Power Systems Part 3: Particular Requirements for Electronic Devices in Combination with Photovoltaic Elements |  | - | Identical under dual numbering
IEC 62109-3 : 2020
IEC 62109-3 : 2020
36 | IS 16228 : 2019 | Concentrator Photovoltaic (CPV) Modules and Assemblies - Design Qualification and Type Approval (First Revision) |  | - | Identical under dual numbering
IEC 62108 : 2016
IEC 62108:2022
37 | IS 16228 : 2024 | Concentrator Photovoltaic (CPV) Modules and Assemblies - Design Qualification and Type Approval (Second Revision ) |  | - | Identical under dual numbering
IEC 62108:2022
IEC 62108:2022
38 | IS 16229 : 2024 | Photovoltaic System Power Conversion Equipment - Design Qualification and Type Approval (First Revision) |  | - | Identical under dual numbering
IEC 62093:2022
IEC 62093:2022
39 | IS 16230 : 2017 | Photovoltaic (PV) Stand-Alone Systems - Design Verification |  | - | Identical under dual numbering
IEC 62124 : 2004
IEC 62124 : 2004
40 | IS 16476 (Part 1) : 2017 | LED Based Solar Lantern Part 1 Specification | April, 2022 | 1 | Indigenous
Reviewed In : 2022
41 | IS 16476 (Part 2) : 2018 | Led based solar lantern: Part 2 methods of test |  | - | Modified/Technically Equivalent
m IEC/TS 62257-9-5 (2013)
42 | IS 16662 (Part 1) : 2017 | Photovoltaic concentrators (CPV) - Performance testing: Part 1 standard conditions |  | - | Identical under dual numbering
IEC 62670-1 : 2013
IEC 62670-1 : 2013
43 | IS 16662 (Part 2) : 2018 | Photovoltaic concentrators (CPV) - Performance testing: Part 2 energy measurement |  | - | Identical under dual numbering
IEC 62670-2 : 2015
IEC 62670-2 : 2015
44 | IS 16662 (Part 3) : 2018 | Photovoltaic concentrators (CPV) - Performance testing: Part 3 performance measurements and power rating |  | - | Identical under dual numbering
IEC 62670-3 : 2017
IEC 62670-3:2017
45 | IS 16663 : 2018 | Photovoltaic systems - Specifications for solar trackers |  | - | Identical under dual numbering
IEC/TS 62727 : 2012
IEC TS 62727 : 2012
46 | IS 16664 : 2018 | Photovoltaic (PV) Modules- Ammonia Corrosion Testing |  | 1 | Identical under dual numbering
IEC 62716 : 2013
IEC 62716 : 2013
47 | IS 16781 : 2018 | Connectors for d.c. Application in Photovoltaic Systems Safety Requirements and Tests | August, 2023 | 1 | Identical under dual numbering
IEC 62852 : 2014
Reviewed In : 2023 IEC 62852 : 2014
48 | IS 16782 : 2023 | Utility-Interconnected Photovoltaic Inverters Test Procedure for Under Voltage Ride-Through Measurements (First Revision) |  | - | Identical under dual numbering
IEC TS 62910 : 2020
IEC TS 62910 : 2015
49 | IS 16792 (Part 5/Sec 1) : 2023 | Measurement Procedures For Materials Used In Photovoltaic Modules Part 5 Edge Seals Section 1 Suggested Test Methods For Use With Edge Seal Materials |  | - | Identical under dual numbering
IEC 62788-5-1: 2020
IEC 62788-5-1: 2020
50 | IS 16792 (Part 1/Sec 2) : 2018 | Measurement Procedures for Materials Used in Photovoltaic Modules Part 1 Encapsulants Section 2 Measurement of volume resistivity of photovoltaic encapsulants and other polymeric materials |  | - | Identical under dual numbering
IEC 62788-1-2 : 2016
IEC 62788-1-2 : 2016
51 | IS 16792 (Part 1/Sec 4) : 2023 | Measurement Procedures for Materials Used in Photovoltaic Modules Part 1: Encapsulants Section 4 Measurement of Optical Transmittance and Calculation of the Solar-Weighted Photon Transmittance Yellowness Index and UV Cut-Off Wavelength (First Revision) |  | - | Identical under dual numbering
IEC 62788-1-4 : 2016
IEC 62788-1-4 : 2016
52 | IS 16792 (Part 1/Sec 5) : 2020 | Photovoltaic Devices - Measurement Procedures for Materials Used in Photovoltaic Modules Part 1 Encapsulants Section 5 Measurement of change in linear dimensions of sheet encapsulation material resulting from applied thermal conditions |  | - | Identical under dual numbering
IEC 62788-1-5 : 2016
IEC 62788-1-5 : 2016
53 | IS 16792 (Part 1/Sec 6) : 2023 | Measurement Procedures for Materials Used in Photovoltaic Modules Part 1: Encapsulants Section 6 Test Methods for Determining the Degree of Cure in Ethylene-Vinyl Acetate (First Revision) |  | - | Identical under dual numbering
IEC 62788-1-6: 2017
IEC 62788-1-6: 2017
54 | IS 16792 (Part 1/Sec 7) : 2023 | Measurement Procedures for Materials Used in Photovoltaic Modules Part 1-7: Encapsulates Test Procedure of Optical Durability |  | - | Identical under dual numbering
IEC 62788-1-7 : 2020
IEC 62788-1-7 : 2020
55 | IS 16792 (Part 2) : 2020 | Measurement Procedures for Materials Used in Photovoltaic Modules Part 2 Polymeric Materials - Frontsheets and Backsheets |  | - | Identical under dual numbering
IEC TS 62788-2 : 2017
IEC TS62788-2:2017
56 | IS 16792 (Part 5/Sec 2) : 2022 | Measurement Procedures for Materials Used in Photovoltaic Modules Part 5-2: Edge Seals Durability Evaluation Guideline |  | - | Identical under dual numbering
IEC TS 62788-5-2 : 2020
IEC TS 62788-5-2 : 2020
57 | IS 16792 (Part 6/Sec 2) : 2023 | Measurement Procedures for Materials Used In Photovoltaic Modules Part 6-2: General Tests Moisture Permeation Testing Of Polymeric Materials |  | - | Identical under dual numbering
IEC 62788-6-2 : 2020
IEC 62788-6-2 : 2020
58 | IS 16792 (Part 7/Sec 2) : 2020 | Measurement Procedures for Materials Used in Photovoltaic Modules Part 7 Environmental Exposures Section 2 Accelerated weathering tests of polymeric materials |  | - | Identical under dual numbering
IES TS 62788-7-2 : 2017
IEC62788-7-2:2017
59 | IS 16797 : 2019 | Battery charge controllers for photovoltaic systems - Performance and functioning |  | - | Identical under dual numbering
IEC 62509 : 2010
IEC 62509:2010
60 | IS 16798 : 2018 | Photovoltaic inverters - Data sheet and name plate |  | - | Identical under dual numbering
IEC 62894 : 2014
IEC 62894 : 2014
61 | IS 16911 : 2023 | Junction Boxes for Photovoltaic Modules Safety Requirements and Tests (First Revision) |  | - | Identical under dual numbering
IEC 62790: 2020
62790: 2020
62 | IS 16960 (Part 1) : 2018 | Photovoltaic (PV) systems - Requirements for testing, documentation and maintenance: Part 1 grid connected systems - Documentation, commissioning tests and inspection |  | 1 | Identical under dual numbering
IEC 62446-1 : 2016
IEC 62446-1 : 2016
63 | IS 16960 (Part 2) : 2023 | Photovoltaic PV Systems Requirements for Testing Documentation and Maintenance Part 2: Grid Connected Systems Maintenance of PV Systems |  | - | Identical under dual numbering
IEC 62446-2: 2020
IEC 62446-2: 2020
64 | IS 16960 (Part 3) : 2020 | Photovoltaic (PV) Systems - Requirements for Testing, Documentation and Maintenance Part 3 Photovoltaic Modules and Plants Outdoor Infrared Thermography |  | - | Identical under dual numbering
IEC 62446-3 : 2017
IEC 62446-3 : 2017
65 | IS 17210 (Part 1) : 2019 | Photovoltaic (PV) Modules - Test Methods for the Detection of Potential-Induced Degradation Part 1 Crystalline Silicon |  | - | Identical under dual numbering
IEC TS 62804-1 : 2015
IEC 62804-1 : 2015
66 | IS 17956 : 2023 | Extended Thermal Cycling of PV Modules Test Procedure |  | - | Identical under dual numbering
IEC 62892 : 2019
IEC 62892 : 2019
67 | IS 17959 : 2023 | Guidelines for Qualifying PV Modules Components and Materials for Operation at High Temperatures |  | - | Identical under dual numbering
IEC TS 63126: 2020
IEC TS 63126: 2020
68 | IS 17963 : 2024 | Managing Fire Risk Related to Photovoltaic (PV) Systems on Buildings |  | - | Identical under dual numbering
IEC TR 63226: 2021
IEC TR 63226: 2021
69 | IS 17977 : 2023 | Derisking Photovoltaic Modules Sequential and Combined Accelerated Stress Testing |  | - | Identical under dual numbering
IEC TR 63279: 2020
IEC TR 63279: 2020
70 | IS 17978 : 2022 | Lightning and Surge Voltage Protection for Photovoltaic (PV) Power Supply Systems (First Revision) |  | - | Identical under dual numbering
IEC TR 63227 : 2020
IEC TR 63227 : 2020
71 | IS 17979 : 2022 | Photovoltaic Power Systems (PVPS) - Information Model for Availability (First Revision) |  | - | Identical under dual numbering
IEC TS 63019: 2019
IEC TS 63019: 2019
72 | IS 17980 : 2022 | Maximum Power Point Tracking Efficiency of Grid Connected Photovoltaic Inverters (First Revision) |  | - | Identical under dual numbering
IEC 62891 : 2020
IEC 62891 : 2020
73 | IS 17995 : 2022 | Incompatibility of Connectors for DC - Application in Photovoltaic Systems |  | - | Identical under dual numbering
IEC TR 63225 : 2019
IEC TR 63225 : 2019
74 | IS 18114 : 2023 | Terrestrial Photovoltaic (PV) Modules - Quality System for PV Module Manufacturing (First Revision) |  | - | Identical under dual numbering
IEC 62941 : 2019
IEC 62941 : 2019
75 | IS 18124 (Part 1) : 2023 | Photovoltaics in Buildings Part 1: Requirements for Building-Integrated Photovoltaic Modules |  | - | Identical under dual numbering
IEC 63092-1: 2020
IEC 63092-1: 2020
76 | IS 18124 (Part 2) : 2023 | Photovoltaics in Buildings Part 2: Requirements for Building-Integrated Photovoltaic Systems |  | - | Identical under dual numbering
IEC 63092-2 : 2020
IEC 63092-2 : 2020
77 | IS 18127 : 2023 | Photovoltaic Systems Power Conversion Equipment Performance Energy Evaluation Method |  | - | Identical under dual numbering
IEC TS 63156: 2021
IEC TS 63156: 2021
78 | IS 18128 : 2023 | Photovoltaic Systems Guidelines for Effective Quality Assurance of Power Conversion Equipment |  | - | Identical under dual numbering
IEC TS 63157: 2019
IEC TS 63157: 2019
79 | IS 18129 : 2023 | Photovoltaic (PV) Modules Salt Mist Corrosion Testing (First Revision) |  | - | Identical under dual numbering
IEC 61701 : 2020
IEC 61701 : 2020
80 | IS 18160 (Part 1) : 2023 | Simulators Used for Testing of Photovoltaic Power Conversion Equipment - Recommendations Part 1 a.c. Power Simulators |  | - | Identical under dual numbering
IEC TS 63106-1 : 2020
IEC TS 63106-1 : 2020
81 | IS 18519 : 2024 | Photovoltaic Power Systems (PVPSs) - Roadmap for Robust Reliability |  | - | Identical under dual numbering
IEC TR 63292: 2020
IEC TR 63292: 2020
82 | IS 18596 (Part 2) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 2 From Requirements to a Range of Electrification Systems |  | - | Identical under dual numbering
IEC TS 62257-2:2015
IEC TS 62257-2:2015
83 | IS 18596 (Part 3) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 3 Project Development and Management |  | - | Identical under dual numbering
IEC TS 62257-3:2015
IEC TS 62257-3:2015
84 | IS 18596 (Part 4) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 4: System Selection and Design |  | - | Identical under dual numbering
IEC TS 62257-4:2015
IEC TS 62257-4:2015
85 | IS 18596 (Part 5) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 5: Protection against Electrical Hazards |  | - | Identical under dual numbering
IEC TS 62257-5:2015
IEC TS 62257-5:2015
86 | IS 18596 (Part 6) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 6: Acceptance Operation Maintenance and Replacement |  | - | Identical under dual numbering
IEC TS 62257-6:2015
IEC TS 62257-6:2015
87 | IS 18596 (Part 7) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 7 Generators |  | - | Identical under dual numbering
IEC TS 62257-7:2017
IEC TS 62257-7:2017
88 | IS 18596 (Part 7/Sec 1) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 7 Generators Section 1 Photovoltaic Generators |  | - | Identical under dual numbering
IEC TS 62257-7-1:2010
IEC TS 62257-7-1:2010
89 | IS 18596 (Part 7/Sec 2) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 7 Generators Section 2 Off-Grid Wind Turbines |  | - | Identical under dual numbering
IEC TS 62257-7-2:2022
IEC TS 62257-7-2:2022
90 | IS 18596 (Part 7/Sec 3) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 7 Generators Section 3 Selection of Generator Sets For Rural Electrification Systems |  | - | Identical under dual numbering
IEC TS 62257-7-3:2018
IEC TS 62257-7-3:2018
91 | IS 18596 (Part 7/Sec 4) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 7 Generators Section 4 Integration of Solar With Other Forms of Power Generation Within Hybrid Power Systems |  | - | Identical under dual numbering
IEC TS 62257-7-4:2019
IEC TS 62257-7-4:2019
92 | IS 18596 (Part 8/Sec 1) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 8 Selection of batteries and battery management systems for stand-alone Section 1 electrification systems Specific case of automotive flooded lead-acid batteries available in developing countries |  | - | Identical under dual numbering
IEC TS 62257-8-1:2018
IEC TS 62257-8-1:2018
93 | IS 18596 (Part 9/Sec 1) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 9 Integrated systems Section 1 Micropower systems |  | - | Identical under dual numbering
IEC TS 62257-9-1:2016
IEC TS 62257-9-1:2016
94 | IS 18596 (Part 9/Sec 2) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 9 Integrated systems Section 2 Microgrids |  | - | Identical under dual numbering
IEC TS 62257-9-2:2016
IEC TS 62257-9-2:2016
95 | IS 18596 (Part 9/Sec 3) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 9 Integrated systems Section 3 User interface |  | - | Identical under dual numbering
IEC TS 62257-9-3:2016
IEC TS 62257-9-3:2016
96 | IS 18596 (Part 9/Sec 4) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 9 Integrated systems Section 4 User installation |  | - | Identical under dual numbering
IEC TS 62257-9-4:2016
IEC TS 62257-9-4:2016
97 | IS 18596 (Part 9/Sec 5) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 9 Integrated Systems Section 5 Laboratory Evaluation of Stand-Alone Renewable Energy Products for Rural Electrification ( First Revision ) |  | - | Identical under dual numbering
IEC TS 62257-9-5:2018
IEC TS 62257-9-5:2018
98 | IS 18596 (Part 9/Sec 6) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 9 Integrated systems Section 6 Recommendations for selection of Photovoltaic Individual Electrification Systems PV-IES |  | - | Identical under dual numbering
IEC TS 62257-9-6:2019
IEC TS 62257-9-6:2019
99 | IS 18596 (Part 9/Sec 7) : 2024 | Renewable Energy and Hybrid Systems for Rural Electrification Part 9 Integrated Systems Section 7 Recommendations for Selection of Inverters |  | - | Identical under dual numbering
IEC TS 62257-9-7:2019
IEC TS 62257-9-7:2019
100 | IS 18596 (Part 9/Sec 8) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 9 Integrated Systems Section 8 Requirements for Stand-Alone Renewable Energy Products with Power Ratings Less Than or Equal to 350 W |  | - | Identical under dual numbering
IEC 62257-9-8:2020
IEC 62257-9-8:2020
101 | IS 18596 (Part 10) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 10 Silicon Solar Module Visual Inspection Guide |  | - | Identical under dual numbering
IEC PAS 62257-10:2017
IEC PAS 62257-10:2017
102 | IS 18596 (Part 12/Sec 1) : 2024 | Recommendations for Renewable Energy and Hybrid Systems for Rural Electrification Part 12 Laboratory Evaluation of Lamps Section 1 Lighting appliances for Off-grid Electricity Systems |  | - | Identical under dual numbering
IEC TS 62257-12-1:2020
IEC TS 62257-12-1:2020
103 | IS 18603 : 2024 | Concentrator Photovoltaic (CPV) Solar Cells and Cell on Carrier (CoC) Assemblies - Qualification |  | - | Identical under dual numbering
IEC 62787:2021
IEC 62787:2021
104 | IS 18611 : 2024 | Photovoltaic PV Modules Qualifying Guidelines for Increased Hail Resistance |  | - | Identical under dual numbering
IEC 63397:2022
IEC 63397:2022
105 | IS 18720 (Part 100) : 2024 | Renewable Energy Off-Grid Systems Part 100 Overview of the IEC 62257 Series |  | - | Identical under dual numbering
IEC 62257-100:2022
IEC 62257-100:2022
106 | IS/IEC 61683 : 1999 | Photovoltaic systems - Power conditioners - Procedure for measuring efficiency | February, 2020 | - | Identical under single numbering
Reviewed In : 2020 IEC 61683:1999
107 | IS/IEC 61701 : 2011 | Salt mist corrosion testing of photovoltaic (PV) modules | March, 2019 | - | Identical under single numbering
Reviewed In : 2019 IEC 61701:1995
108 | IS/IEC 61724-1 : 2021 | Photovoltaic System Performance Part 1 Monitoring (Second Revision) |  | - | Identical under single numbering
IEC 61724-1:2021
IEC 61724-1:2021
109 | IS/IEC TS 61724-2 : 2016 | Photovoltaic System Performance Part 2 Capacity Evaluation Method |  | - | Identical under single numbering
IEC TS 61724-2 : 2016
110 | IS/IEC TS 61724-3 : 2016 | Photovoltaic System Performance Part 3 Energy Evaluation Method | October, 2023 | 1 | Identical under single numbering
Reviewed In : 2023 IEC TS 61724-3 : 2016
111 | IS/IEC 61727 : 2004 | Photovoltaic (PV) Systems - Characteristics of the Utility Interface |  | - | Identical under single numbering
IEC 61727: 2004
112 | IS/IEC 61730-1 : 2016 | Photovoltaic (PV) Module Safety Qualification Part 1 Requirements for Construction ( First Revision ) |  | - | Identical under single numbering
Reviewed In : 2020 IEC 61730-1 : 2016
113 | IS/IEC 61730-1 : 2004 | Photovoltaic (PV) Module Safety Qualification Part 1 Requirements for Construction |  | - | Identical under single numbering
Reviewed In : 2015 IEC 61730-1 : 2016
114 | IS/IEC 61730-2 : 2004 | Photovoltaic (PV) Module Safety Qualification Part 2 Requirements for Testing |  | - | Identical under single numbering
Reviewed In : 2015 IEC 61730-2 : 2016
115 | IS/IEC 61730-2 : 2019 | Photovoltaic (PV) module safety qualification: Part 2 requirements for testing (First Revision) |  | - | Identical under single numbering
IEC 61730-2 : 2016
116 | IS/IEC 61829 : 2015 | Photovoltaic Devices - Photovoltaic (PV) Array - On-Site Measurement of Current-Voltage Characteristics (First Revision) | February, 2020 | - | Identical under single numbering
Reviewed In : 2020 IEC 61829: 2015
117 | IS/IEC 62548 : 2016 | Photovoltaic (PV) Arrays - Design Requirements |  | - | Identical under single numbering
IEC 62548 : 2016
118 | IS/IEC 62688 : 2017 | Concentrator Photovoltaic (CPV) Modules and Assemblies Safety Qualification |  | - | Identical under single numbering
IEC 62688: 2017
119 | IS/IEC TS 62738 : 2018 | Ground-Mounted Photovoltaic Power Plants - Design Guidelines and Recommendations |  | - | Identical under single numbering
IEC TS 62738: 2018
120 | IS/IEC TS 62782 : 2016 | Photovoltaic ( PV ) Modules Cyclic ( Dynamic ) Mechanical Load Testing |  | - | Identical under single numbering
IEC TS 62782: 2016
121 | IS/IEC TS 62789 : 2014 | Photovoltaic Concentrator Cell Documentation |  | - | Identical under single numbering
IEC TS 62789:2014
122 | IS/IEC 62805-1 : 2017 | Method for Measuring Photovoltaic ( PV ) Glass Part 1 Measurement of Total Haze and Spectral Distribution of Haze |  | - | Identical under single numbering
IEC 62805-1 : 2017
123 | IS/IEC 62805-2 : 2017 | Method for Measuring Photovoltaic ( PV ) Glass Part 2 Measurement of Transmittance and Reflectance |  | - | Identical under single numbering
IEC 62805-2 : 2017
124 | IS/IEC 62817 : 2017 | Photovoltaic System - Design Qualification of Solar Trackers |  | - | Identical under single numbering
IEC 62817 : 2017
125 | IS/IEC TS 62915 : 2018 | Photovoltaic ( PV ) Modules Type Approval, Design and Safety Qualification - Retesting |  | - | Identical under single numbering
IEC TS 62915 : 2018
126 | IS/IEC TS 62916 : 2017 | Photovoltaic Modules Bypass Diode Electrostatic Discharge Susceptibility - Testing |  | - | Identical under single numbering
IEC 62916 : 2017
127 | IS/IEC 62920 : 2017 | Photovoltaic Power Generating Systems - EMC Requirements and Test Methods for Power Conversion Equipment |  | 1 | Identical under single numbering
IEC 62920 : 2017
128 | IS/IEC 62925 : 2016 | Concentrator Photovoltaic ( CPV ) Modules Thermal Cycling Test to Differentiate Increased Thermal Fatigue Durability |  | - | Identical under single numbering
IEC 62925 : 2016
129 | IS/IEC 62979 : 2017 | Photovoltaic Modules Bypass Diode Thermal Runaway Test |  | - | Identical under single numbering
IEC 62979 : 2017
130 | IS/IEC TS 62989 : 2018 | Primary Optics for Concentrator Photovoltaic Systems |  | - | Identical under single numbering
IEC TS 62989:2018
131 | IS/IEC/TS 62994 : 2019 | Photovoltaic (PV) Modules Through the Life Cycle - Environmental Health and Safety EHS Risk Assessment - General Principles and Nomenclature |  | - | Identical under single numbering
IEC TS 62994 : 2019
132 | IS/IEC 63049 : 2017 | Terrestrial Photovoltaic ( PV ) Systems Guidelines for Effective Quality Assurance in PV Systems Installation Operation and Maintenance |  | - | Identical under single numbering
IEC TS 63049 : 2017
133 | IS/IEC 63202-1 : 2019 | Photovoltaic Cells Part 1 Measurement of Light-Induced Degradation of Crystalline Silicon Photovoltaic Cells |  | - | Identical under single numbering
IEC 63202-1 : 2019
134 | IS/IEC/TR 63228 : 2019 | Measurement Protocols for Photovoltaic Devices Based on Organic, Dye-Sensitized or Perovskite Materials |  | - | Identical under single numbering
IEC TR 63228 : 2019
Standards Under Develpoment
Projects Approved
SI. No. | Doc No | TITLE
No Records Found
Preliminary Draft Standards
SI. No. | Doc No | TITLE
No Records Found
Drafts Standards in WC Stage
SI. No. | Doc No | TITLE
No Records Found
Draft Standards Completed WC Stage
SI. No. | Doc No | TITLE
1 | ETD 28 (25768) (IEC 62759-1:2022) | Photovoltaic PV Modules Transportation Testing Part 1 Transportation and Shipping of Module Package Units
2 | ETD 28 (25770) (IEC 60904-1:2020) | Photovoltaic Devices Part 1 Measurement of Photovoltaic Current-Voltage Characteristics Second Revision
3 | ETD 28 (25771) (IEC 60904-2:2023) | Photovoltaic Devices Part 2 Requirements for Photovoltaic Reference Devices Third Revision
4 | ETD 28 (25773) (IEC 60904-4 :2019) | Photovoltaic Devices Part 4 Photovoltaic Reference Devices Procedures for Establishing Calibration Traceability First Revision
5 | ETD 28 (25783) (IEC 60891 : 2021) | Photovoltaic Devices Procedures for Temperature and Irradiance Corrections To Measured I-V Characteristics Second Revision
6 | ETD 28 (25784) (IEC 62108 : 2022) | Concentrator Photovoltaic CPV Modules and Assemblies Design Qualification and Type Approval Second Revision
7 | ETD 28 (25785) (IEC 62093 : 2022) | Photovoltaic System Power Conversion Equipment Design Qualification and Type Approval First Revision
8 | ETD 28 (25786) (IEC 61701 : 2020 ) | Photovoltaic PV Modules - Salt Mist Corrosion Testing First Revision
9 | ETD 28 (25788) (IEC 61724-1:2021) | Photovoltaic System Performance Part 1 Monitoring Second Revision
10 | ETD 28 (25790) (IEC 61730-1:2023) | Photovoltaic PV Module Safety Qualification Part 1 Requirements for Construction Second Revision
11 | ETD 28 (25791) (IEC 61730-2:2023) | Photovoltaic PV Module Safety Qualification Part 2 Requirements for Testing Second Revision
12 | ETD 28 (25793) (IS/IEC 62548-1:2023) | Photovoltaic PV Arrays Part 1 Design Requirements First Revision
13 | ETD 28 (25794) (IEC TS 62915:2023) | Photovoltaic PV Modules -Type Approval Design and Safety Qualification Retesting First Revision
Finalized Draft Indian Standard
SI. No. | Doc No | TITLE
No Records Found
Finalized Draft Indian Standards under Print
SI. No. | Doc No | TITLE
No Records Found
Total Published Standards:103 Total Standards Under development : 13
Aspect Wise Report
| Product: | 20
| Code of Practices : | 13
| Methods of Test : | 64
| Terminology : | 1
| Dimensions : | 0
| System Standard : | 3
| Safety Standard : | 3
| Others : | 22
| Service Specification : | 2
| Process Specification : | 1
| Unclassified : | 0
Total :129
Annexure-I :List of Indian Standards Withdrawn/Superseded
SI. No. | IS No. & Year | TITLE
1 | IS 14244 : 1995 | Characteristic parameters of stand alone photovoltaic PV systems
IEC 1194
Reviewed In : 2015 IEC 1194
2 | IS 16170 (Part 2) : 2018 | Photovoltaic PV module performance testing and energy rating Part 2 spectral responsivity incidence angle and module operating temperature measurements
IEC 61853-2 : 2016
IEC 61853-2 : 2016
3 | IS/IEC 61724 : 1998 | Photovoltaic system performance monitoring - Guidelines for measurement data exchange and analysis
Reviewed In : 2015 IEC 61724:1998
4 | IS/IEC 61725 : 1997 | Analytical expression for daily solar profiles
Reviewed In : 2020 IEC 61725:1997
5 | IS/IEC 62941 : 2016 | Terrestrial Photovoltaic PV Modules Guidelines for Increased Confidence in PV Module Design Qualification and Type Approval
IEC 62941 : 2016
IEC 62941 : 2016
Annexure-II :List of Indian Product Standards
SI. No. | IS No. & Year | TITLE
1 | IS 12762 (Part 1/Sec 2) : 2020 | Photovoltaic Devices Part 1 Measurement of Current-voltage Characteristics Section 2 Bifacial photovoltaic PV devices
IEC TS 60904-1-2 : 2019
IEC TS 60904-1-2:2019
2 | IS 12762 (Part 2) : 2018 | Photovoltaic devices Part 2 Requirements for photovoltaic reference devices Second Revision
IEC 60904-2 : 2015
60904-2 : 2015
3 | IS 14286 : 2010 | Crystalline silicon terrestrial photovoltaic PV modules - Design qualification and type approval First Revision
61215
Reviewed In : 2020 IEC 61215 : 2005
4 | IS 14286 (Part 1/Sec 1) : 2023 | Terrestrial photovoltaic PV modules Design qualification and type approval Part 1-1 Special requirements for testing of crystalline silicon photovoltaic PV modules Third Revision
IEC 61215-1-1:2021
5 | IS 14286 (Part 1/Sec 2) : 2023 | Terrestrial photovoltaic PV modules Design qualification and type approval Part 1-2 Special requirements for testing of thin-film Cadmium Telluride CdTe based photovoltaic PV modules Third Revision
IEC 61215-1-2:2021
6 | IS 14286 (Part 1/Sec 3) : 2023 | Terrestrial photovoltaic PV modules Design qualification and type approval Part 1-3 Special requirements for testing of thin-film amorphous silicon based photovoltaic PV modules Third Revision
IEC 61215-1-3:2021
7 | IS 14286 (Part 1/Sec 4) : 2023 | Terrestrial photovoltaic PV modules Design qualification and type approval Part 1-4 Special requirements for testing of thin-film Cu In ga S Se 2 based photovoltaic PV modules Third Revision
IEC 61215-1-4:2021
8 | IS 16077 : 2013 | Thin - Film terrestrial photovoltaic PV modules - Design qualification and type approval
IEC 61646 : 2008
Reviewed In : 2018 IEC 61646 : 2008
9 | IS 16221 (Part 2) : 2015 | Safety of power converters for use in photovoltaic power systems Part 2 particular requirements for inverters
IEC 62109-2 : 2011
Reviewed In : 2020 IEC 62109-2: 2011
10 | IS 16230 : 2017 | Photovoltaic PV Stand-Alone Systems - Design Verification
IEC 62124 : 2004
IEC 62124 : 2004
11 | IS 16476 (Part 1) : 2017 | LED Based Solar Lantern Part 1 Specification
Reviewed In : 2022
12 | IS 16663 : 2018 | Photovoltaic systems - Specifications for solar trackers
IEC/TS 62727 : 2012
IEC TS 62727 : 2012
13 | IS 16781 : 2018 | Connectors for d c Application in Photovoltaic Systems Safety Requirements and Tests
IEC 62852 : 2014
Reviewed In : 2023 IEC 62852 : 2014
14 | IS 16797 : 2019 | Battery charge controllers for photovoltaic systems - Performance and functioning
IEC 62509 : 2010
IEC 62509:2010
15 | IS 17980 : 2022 | Maximum Power Point Tracking Efficiency of Grid Connected Photovoltaic Inverters First Revision
IEC 62891 : 2020
ISO/IEC 27099:2022
16 | IS/IEC 61730-1 : 2004 | Photovoltaic PV Module Safety Qualification Part 1 Requirements for Construction
Reviewed In : 2015 ISO/IEC 30108-1:2015
17 | IS/IEC 61730-2 : 2004 | Photovoltaic PV Module Safety Qualification Part 2 Requirements for Testing
Reviewed In : 2015 ISO 5667-12:2017
18 | IS/IEC 62688 : 2017 | Concentrator Photovoltaic CPV Modules and Assemblies Safety Qualification
IEC 62688: 2017
19 | IS/IEC 62817 : 2017 | Photovoltaic System - Design Qualification of Solar Trackers
IEC 60721-3-7: 1995
20 | IS/IEC TS 62915 : 2018 | Photovoltaic PV Modules Type Approval Design and Safety Qualification - Retesting
IEC TS 62915 : 2018