## Sheet1
BUREAU OF INDIAN STANDARDS
Program of Work
ETD52 : Electrical Energy Storage Systems
Scope : 1) Standardization in the field of grid integrated Electrical Energy Storage Systems. a) The Sectional Committee to focus on system aspects on EES Systems rather than energy storage devices and shall prepare Indian Standards dealing with the system aspects of electrical energy storage. 2) EES to include any type of grid-connected energy storages, which can both store electrical energy from a grid or any other source and provide electrical energy to a grid. a) The Sectional Committee to include Chemical ES as one of the ESS. b) Thermal storage to be included in the scope, only from the electricity exchange point of view. c) Unidirectional energy storages such as UPS not to be included in the scope of the sectional Committee.
Liaison : IEC TC-120 (P): Electrical Energy Storage (EES) systems
Published Standards
SI. No. | IS No. | TITLE | Reaffirm M-Y | No. of Amds | Eqv.
1 | IS 17067 (Part 1) : 2018 | Electrical energy storage systems: Part 1 vocabulary |  | - | Identical under dual numbering
IEC 62933-1 : 2018
IEC 62933-1 : 2018
2 | IS 17067 (Part 2/Sec 1) : 2019 | Electrical Energy Storage ( EES ) Systems Part 2 Unit Parameters and Testing Methods Section 1 General specification |  | - | Identical under dual numbering
IEC 62933-2-1 : 2017
IEC 62933-2-1 : 2017
3 | IS 17067 (Part 4/Sec 1) : 2019 | Electrical Energy Storage ( EES ) Systems Part 4 Guidance on Environmental Issues Section 1 General specification |  | - | Identical under dual numbering
IEC 62933-4-1 : 2017
IEC 62933-4-1 : 2017
4 | IS 17067 (Part 5/Sec 2) : 2021 | Electrical energy storage EES systems Part 5 Safety requirements for grid integrated EES systems Section 2 electrochemical based systems |  | - | Identical under dual numbering
IEC TS 62933-5-2:201
IEC TS 62933-5-2:201
5 | IS 17092 : 2019 | Electrical energy storage systems: safety requirements |  | - | Indigenous
6 | IS 17387 : 2020 | General Safety and Performance Requirements of Battery Management Systems |  | - | Indigenous
Standards Under Develpoment
Projects Approved
SI. No. | Doc No | TITLE
No Records Found
Preliminary Draft Standards
SI. No. | Doc No | TITLE
No Records Found
Drafts Standards in WC Stage
SI. No. | Doc No | TITLE
No Records Found
Draft Standards Completed WC Stage
SI. No. | Doc No | TITLE
No Records Found
Finalized Draft Indian Standard
SI. No. | Doc No | TITLE
No Records Found
Finalized Draft Indian Standards under Print
SI. No. | Doc No | TITLE
1 | ETD 52 (25981) (IEC 62933-2-2: 2022 )
2 | ETD 52 (25985) (IEC 62933-3-1: 2018 )
3 | ETD 52 (25986) (IEC 62933-4-4: 2023 )
Total Published Standards:6 Total Standards Under development : 3
Aspect Wise Report
| Product: | 0
| Code of Practices : | 1
| Methods of Test : | 1
| Terminology : | 1
| Dimensions : | 0
| System Standard : | 1
| Safety Standard : | 2
| Others : | 0
| Service Specification : | 0
| Process Specification : | 0
| Unclassified : | 0
Total :6
Annexure-I :List of Indian Standards Withdrawn/Superseded
SI. No. | IS No. & Year | TITLE
No Records Found
Annexure-II :List of Indian Product Standards
SI. No. | IS No. & Year | TITLE
No Records Found