## Sheet1
BUREAU OF INDIAN STANDARDS
Program of Work
MTD3 : Mechanical Testing of Metals Sectional Committee
Scope : Standardization in the field of mechanical testing of metals
Liaison : ISO TC-164 (P): Mechanical testing of metals ISO TC-164 SC-1 (P): Uniaxial testing ISO TC-164 SC-2 (P): Ductility testing ISO TC-164 SC-3 (P): Hardness testing ISO TC-164 SC-4 (P): Fatigue, fracture and toughness testing ISO TC-164 SC-1 (P): Continuous force calibration
Published Standards
SI. No. | IS No. | TITLE | Reaffirm M-Y | No. of Amds | Eqv.
1 | IS 10166 : 1982 | Method for calibration of standardized test block for verification of scleroscope hardness testing equipments | March, 2022 | - | Indigenous
Reviewed In : 2022
Reaffirmed but not taken up for revision
2 | IS 10167 : 1982 | Method for upsetting test on metallic materials | March, 2022 | - | Indigenous
Reviewed In : 2022
3 | IS 10175 : 2018 | Metallic materials - Sheet and strip - Erichsen cupping test (Third Revision) | August, 2023 | - | Identical under dual numbering
ISO 20482:2013
Reviewed In : 2023 ISO 20482 : 2013
4 | IS 10180 : 1982 | Method for plane strain fracture toughness testing of metals | March, 2022 | - | Indigenous
Reviewed In : 2022
5 | IS 10623 : 2023 | Drop Weight Tear Test on Ferritic Steels and Line Pipe ? Method of Test |  | - | Indigenous
6 | IS 10636 (Part 1) : 1983 | Methods for measurement of abrasive wear properties of metallic material: Part 1 test method for gouging abrasion resistance (Jaw Crusher Test) | March, 2022 | - | Indigenous
Reviewed In : 2022
Reaffirmed but not taken up for revision
7 | IS 10636 (Part 2) : 1983 | Method for measurement of abrasive wear properties of metalliC material: Part 2 test method for high stress abrasion | March, 2022 | - | Indigenous
Reviewed In : 2022
Reaffirmed but not taken up for revision
8 | IS 10636 (Part 3) : 1983 | Methods for measurement of abrasive wear properties of metallic material: Part 3 test methods for low stress abrasion | March, 2022 | - | Indigenous
Reviewed In : 2022
Reaffirmed but not taken up for revision
9 | IS 11083 : 1984 | Method for evaluation of friction and wear properties of materials against steel surface | March, 2022 | - | Indigenous
Reviewed In : 2022
Reaffirmed but not taken up for revision
10 | IS 11240 : 1985 | Method for falling weight test on metallic materials | March, 2022 | - | Indigenous
Reviewed In : 2022
11 | IS 11999 : 2022 | METALLIC MATERIALS SHEET AND STRIP DETERMINATION OF PLASTIC STRAIN RATIO (Second Revision) |  | - | Identical under dual numbering
ISO 10113:2020
ISO 10113:2020
12 | IS 12260 : 2018 | Metallic Materials - Tube - Ring - Expanding test (First Revision) | August, 2023 | - | Identical under dual numbering
ISO 8495 : 2013
Reviewed In : 2023 ISO 8495 : 2013
13 | IS 12261 : 1987 | Method for reverse torsion test for metallic wire | February, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 9649
14 | IS 12278 : 2018 | Metallic Materials - Tube - Ring tensile test (Second Revision) | August, 2023 | - | Identical under dual numbering
ISO 8496:2013
Reviewed In : 2023 ISO 8496 : 2013
15 | 12872 : 2021 | Metallic Materials - Calibration of Extensometer Systems Used in Uniaxial Testing ( Second Revision ) |  | - | Identical under dual numbering
ISO 9513 : 1999
ISO 9513 : 2012
16 | IS 13237 : 1991 | Metallic foil - Tension testing | February, 2020 | - | Indigenous
Reviewed In : 2020
17 | IS 13838 : 2023 | MECHANICAL TESTING OF METALS- DETERMINATION OF POISSONS RATIO |  | - | Indigenous
18 | IS 1403 (Part 1) : 1993 | Metallic materials — Sheet and strip 3 mm thick or less — Reverse bend test | February, 2020 | 1 | Identical under dual numbering
ISO 7799:1985
Reviewed In : 2020 ISO 7799:1985
19 | IS 1500 (Part 1) : 2019 | Metallic materials - Brinell hardness test: Part 1 test method (Fifth Revision) | January, 2024 | - | Identical under dual numbering
ISO 6506-3 : 2014
Reviewed In : 2024 ISO 6506-1 : 2014
20 | IS 1500 (Part 2) : 2021 | Metallic materials -- Brinell hardness test -- Part 2: Verification and calibration of testing machines |  | - | Identical under dual numbering
ISO 6506-2 : 2014
ISO 6506-2 : 2014
21 | IS 1500 (Part 3) : 2019 | Metallic materials - Brinell hardness test: Part 3 calibration of reference blocks (Fifth Revision) | January, 2024 | - | Identical under dual numbering
ISO 6506-3 : 2014
Reviewed In : 2024 ISO 6506-3 : 2014
22 | IS 1500 (Part 4) : 2019 | Metallic materials - Brinell hardness test: Part 4 table of hardness values (Fifth Revision) | January, 2024 | - | Identical under dual numbering
6506-4 : 2014
Reviewed In : 2024 ISO 6506-4 : 2014
23 | IS 1501 (Part 1) : 2020 | Metallic Materials — Vickers Hardness Test Part 1 Test Method ( Fifth Revision ) | - | - | Identical under dual numbering
ISO 6507-1 : 2018
ISO 6507-1:2018
24 | IS 1501 (Part 2) : 2020 | Metallic Materials — Vickers Hardness Test Part 2 Verification and Calibration of Testing Machines ( Fifth Revision ) | - | - | Identical under dual numbering
ISO 6507-2 : 2018
ISO 6507-2 : 2018
25 | IS 1501 (Part 3) : 2020 | Metallic Materials — Vickers Hardness Test Part 3 Calibration of Reference Blocks ( Fifth Revision ) | - | - | Identical under dual numbering
ISO 6507-3 : 2018
ISO 6507-3 : 2018
26 | IS 1501 (Part 4) : 2020 | Metallic Materials — Vickers Hardness Test Part 4 Tables of Hardness Values ( Fifth Revision ) | - | - | Identical under dual numbering
ISO 6507-4 : 2018
ISO 6507-4 : 2018
27 | IS 15420 : 2003 | Metallic materials - Charpy pendulum impact test - Preparation and characterization of charpy V reference test pieces for verification of test machines | March, 2021 | - | Indigenous
Reviewed In : 2021
28 | IS 15756 : 2022 | Metallic materials - Sheet and strip - Determination of tensile strain hardening exponent |  | - | Identical under dual numbering
ISO 10275:2020
ISO 10275:2020
29 | IS 1586 (Part 1) : 2018 | Metallic materials - Rockwell hardness test: Part 1 test method (Fifth Revision) | May, 2023 | - | Identical under dual numbering
Reviewed In : 2023 ISO 6508-1 : 2016
30 | IS 1586 (Part 2) : 2018 | Metallic materials - Rockwell hardness test: Part 2 verification and calibration of testing machines and indenters (Fifth Revision) | May, 2023 | - | Identical under dual numbering
ISO 6508-2 : 2015
Reviewed In : 2023 ISO 6508-2:2015
31 | IS 1586 : 2018 | METALLIC MATERIALS - ROCKWELL HARDNESS TEST PART 3 CALIBRATION OF REFERENCE BLOCKS | June, 2023 | - | Identical under dual numbering
ISO 6508-3:2015
Reviewed In : 2023 ISO 6508-3:2015
32 | IS 1598 : 1977 | Method for izod impact test of metals (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
33 | IS 1599 : 2023 | Metallic materials Bend test |  | - | Identical under dual numbering
ISO 7438 : 2020
ISO 7438 : 2020
34 | IS 1608 (Part 1) : 2022 | Metallic materials - Tensile testing - Part 1 : Method of test at room temperature |  | - | Identical under dual numbering
ISO 6892-1 : 2019
ISO 6892-1 : 2019
35 | IS 1608 (Part 2) : 2020 | Metallic Materials - Tensile Testing Part 2 Method of Test at Elevated Temperature ( Fourth Revision ) |  | - | Identical under dual numbering
ISO 6892-2 : 2018
ISO 6892-2:2018
36 | IS 1608 (Part 3) : 2018 | Metallic materials - Tensile testing: Part 3 method of test at low temperature | August, 2023 | - | Identical under dual numbering
ISO 6892-3 : 2015
Reviewed In : 2023 6892-3:2015
37 | IS 16842 : 2022 | Metallic materials - Fatigue testing - Fatigue crack growth method |  | - | Identical under dual numbering
ISO 12108 : 2018
ISO 12108 : 2018
38 | IS 16843 : 2018 | Metallic materials - Fatigue testing - Strain - Controlled thermomechanical fatigue testing method | November, 2023 | - | Identical under dual numbering
ISO 12111 : 2011
Reviewed In : 2023 ISO 12111:2011
39 | IS 17143 : 2023 | Metallic materials Torque-controlled fatigue testing |  | - | Identical under dual numbering
ISO 1352 : 2021
ISO 1352 : 2021
40 | IS 17144 (Part 1) : 2019 | Metallic materials - Instrumented indentation test for hardness and materials parameters: Part 1 test method | January, 2024 | - | Identical under dual numbering
ISO 14577-1 : 2015
Reviewed In : 2024 ISO 14577-1 : 2015
41 | IS 17144 (Part 2) : 2019 | Metallic materials - Instrumented indentation test for hardness and materials parameters: Part 2 verification and calibration of testing machines | January, 2024 | - | Identical under dual numbering
ISO 14577-2 : 2015
Reviewed In : 2024 ISO 14577-2 : 2015
42 | IS 17144 (Part 3) : 2019 | Metallic materials - Instrumented indentation test for hardness and materials parameters: Part 3 calibration of reference blocks | January, 2024 | - | Identical under dual numbering
ISO 14577-3 : 2015
Reviewed In : 2024 ISO 14577-3 : 2015
43 | IS 17144 (Part 4) : 2019 | Metallic materials - Instrumented indentation test for hardness and materials parameters: Part 4 test method for metallic and Non - Metallic coatings | January, 2024 | - | Identical under dual numbering
ISO 14577-4 : 2016
Reviewed In : 2024 ISO 14577-4 : 2016
44 | IS 17145 (Part 1) : 2019 | Metallic materials - Fatigue testing - Variable amplitude fatigue testing: Part 1 general principles, test method and reporting requirements | January, 2024 | - | Identical under dual numbering
ISO 12110-1 : 2013
Reviewed In : 2024 ISO 12110-1 : 2013
45 | IS 17145 (Part 2) : 2019 | Metallic materials - Fatigue testing - Variable amplitude fatigue testing: Part 2 cycle counting and related data reduction methods | January, 2024 | - | Identical under dual numbering
ISO 12110-2 ; 2013
Reviewed In : 2024 ISO 12110-2 : 2013
46 | IS 17146 (Part 1) : 2023 | Metallic materials Determination of forming-limit curves for sheet and strip Part 1: Measurement and application of forming-limit diagrams in the press shop |  | - | Identical under dual numbering
ISO 12004-1 : 2020
ISO 12004-1 : 2020
47 | IS 17146 (Part 2) : 2022 | Metallic materials Determination of forming-limit curves for sheet and strip Part 2: Determination of forming-limit curves in the laboratory |  | - | Identical under dual numbering
ISO 12004-2:2021
ISO 12004-2:2021
48 | IS 17147 : 2019 | Metallic materials - Fatigue testing - Statistical planning and analysis of data | January, 2024 | - | Identical under dual numbering
ISO 12107 : 2012
Reviewed In : 2024 ISO 12107 : 2012
49 | IS 17149 (Part 1) : 2019 | Metallic materials - Leeb hardness test: Part 1 test method | January, 2024 | - | Identical under dual numbering
ISO 16859-1 : 2015
Reviewed In : 2024 ISO 16859-1 : 2015
50 | IS 17149 (Part 2) : 2019 | Metallic materials - Leeb hardness test: Part 2 verification and calibration of the testing devices | January, 2024 | - | Identical under dual numbering
ISO 16859-2 : 2015
Reviewed In : 2024 ISO 16859-2 : 2015
51 | IS 17149 (Part 3) : 2019 | Metallic materials - Leeb hardness test: Part 3 calibration of reference test blocks | January, 2024 | - | Identical under dual numbering
ISO 16859-3 : 2015
Reviewed In : 2024 ISO 16859-3 : 2015
52 | IS 17151 : 2023 | Metallic materials Unified method of test for the determination of quasistatic fracture toughness |  | - | Identical under dual numbering
ISO 12135 : 2021
ISO 12135 : 2021
53 | IS 1716 : 2023 | Metallic materials Wire Reverse bend test |  | - | Identical under dual numbering
ISO 7801:1984
ISO 7801:1984
54 | IS 1717 : 2018 | Metallic materials - Wire - Simple torsion test (Fourth Revision) | August, 2023 | - | Identical under dual numbering
ISO 7800 : 2012
Reviewed In : 2023 ISO 7800 : 2012
55 | IS 17413 (Part 1) : 2020 | Metallic Materials - Tensile Testing at High Strain Rates Part 1 Elastic-Bar-Type Systems |  | - | Identical under dual numbering
ISO 26203-1 : 2018
ISO 26203-1:2018
56 | IS 17413 (Part 2) : 2020 | Metallic Materials - Tensile Testing at High Strain Rates Part 2 Servo-Hydraulic and Other Systems |  | - | Identical under dual numbering
ISO 26203-2 : 2011
26203-2:2011
57 | IS 17414 : 2020 | Metallic Materials — Sheet and Strip — Hole Expanding Test |  | - | Identical under dual numbering
ISO 16630 : 2017
ISO 16630:2017
58 | IS 17415 : 2023 | Metallic materials Torsion test at room temperature |  | - | Identical under dual numbering
ISO 18338 : 2021
ISO 18338 : 2021
59 | IS 17416 : 2024 | Metallic Materials â€” Charpy V-Notch Pendulum Impact Test â€” Instrumented Test Method (First Revision) |  | - | Identical under dual numbering
ISO 14556 : 2023
ISO 14556 : 2023
60 | IS 17417 (Part 1) : 2020 | Metallic Materials - Dynamic Force Calibration for Uniaxial Fatigue Testing Part 1 Testing Systems |  | - | Identical under dual numbering
ISO 4965-1 : 2012
ISO 4965-1:2012
61 | IS 17417 (Part 2) : 2020 | Metallic Materials - Dynamic Force Calibration for Uniaxial Fatigue Testing Part 2 Dynamic Calibration Device ( DCD ) Instrumentation |  | - | Identical under dual numbering
ISO 4965-2 : 2012
ISO 4965-2:2012
62 | IS 17418 : 2020 | Metallic Materials - Sheet and Strip - Biaxial Tensile Testing Method Using a Cruciform Test Piece |  | - | Identical under dual numbering
ISO 16842 : 2014
ISO 16842 : 2014
63 | IS 17419 : 2020 | Metallic Materials - Ductility Testing - High Speed Compression Test for Porous and Cellular Metals |  | - | Identical under dual numbering
ISO 17340 : 2014
ISO 17340:2014
64 | IS 1755 : 2018 | Metallic Materials - Wire - Wrapping test (Second Revision) | August, 2023 | - | Identical under dual numbering
ISO 7802 : 2013
Reviewed In : 2023 ISO 7802:2013
65 | IS 1757 (Part 1) : 2020 | Metallic Materials — Charpy Pendulum Impact Test Part 1 Test Method ( Fourth Revision ) | - | - | Identical under dual numbering
ISO 148-1 : 2016
Reviewed In : 2020 ISO 148-1:2016
66 | IS 1757 (Part 2) : 2020 | Metallic Materials - Charpy Pendulum Impact Test Part 2 Verification of Testing Machines ( Fourth Revision ) |  | - | Identical under dual numbering
ISO 148-2 : 2016
ISO 148-2 : 2016
67 | IS 1757 (Part 3) : 2020 | Metallic Materials - Charpy Pendulum Impact Test Part 3 Preparation and Characterization of Charpy V-notch Test Pieces for Indirect Verification of Pendulum Impact Machines ( Fourth Revision ) |  | - | Identical under dual numbering
ISO 148-3 : 2016
ISO 148-3:2016
68 | IS 17679 : 2021 | Metallic materials - Method of test for the determination of quasistatic fracture toughness of welds |  | - | Identical under dual numbering
ISO 15653:2018
ISO 15653:2018
69 | IS 17795 : 2022 | Metallic materials- Uniaxial creep testing in tension - Method of test |  | - | Identical under dual numbering
ISO 204:2018
ISO 204:2018
70 | IS 17915 : 2022 | Method for evaluation of tensile properties of metallic superplastic materials |  | - | Identical under dual numbering
ISO 20032 : 2013
ISO 20032 : 2013
71 | IS 17937 : 2022 | Mechanical testing of metals Ductility testing Compression test for porous and cellular metals |  | - | Identical under dual numbering
ISO 13314 : 2011
ISO 13314 : 2011
72 | IS 1828 (Part 1) : 2022 | METALLIC MATERIALS - CALIBRATION AND VERIFICATION OF STATIC UNIAXIAL TESTING MACHINES - PART 1: TENSION/COMPRESSION TESTING MACHINES - CALIBRATION AND VERIFICATION OF THE FORCE-MEASURING SYSTEM |  | - | Identical under dual numbering
ISO 7500-1 : 2018
ISO 7500-1 : 2018
73 | IS 1828 (Part 2) : 2015 | Metallic materials - Verification of static uniaxial testing machines: Part 2 tension creep testing machines - Verification of the applied force (First Revision) | February, 2020 | - | Identical under dual numbering
IS 1828(Part 2):2014 / ISO 7500-2:2006
Reviewed In : 2020 ISO 7500-2:2006
74 | IS 18733 : 2024 | Metallic materials ï¿½ Sheet and strip ï¿½ Earing test |  | - | Identical under dual numbering
ISO 11531 : 2022
ISO 11531 : 2022
75 | IS 19024 : 2022 | Metallic materials Tube ring hydraulic pressure test |  | - | Identical under dual numbering
ISO 15363 : 2017
ISO 15363 : 2017
76 | IS 2328 : 2018 | Metallic materials - Tube - Flattening test (Third Revision) | August, 2023 | - | Identical under dual numbering
ISO 8492 : 2013
Reviewed In : 2023 ISO 8492:2013
77 | IS 2329 : 2005 | Metallic materials - Tube (In Full Section) - Bend test (Second Revision) | January, 2022 | - | Identical under dual numbering
IS 2329:2005 / ISO 8491:1998
Reviewed In : 2022 ISO 8491:1998
78 | IS 2330 : 2018 | METALLIC MATERIALS - TUBE - FLANGING TEST | August, 2023 | - | Identical under dual numbering
8494:2013
Reviewed In : 2023 ISO 8494 : 2013
79 | IS 2335 : 2005 | Metallic Materials - Tube - Drift expanding test (Second Revision) | February, 2022 | - | Identical under dual numbering
IS 2335:2005 / ISO 8493:1998
Reviewed In : 2022 ISO 8493:1998
80 | IS 2854 : 1990 | Determination of young's modulus,tangent modulus and chord modulus - Test method | March, 2022 | - | Indigenous
Reviewed In : 2022
81 | IS 2855 : 1991 | Thermostat metals - Determinantion of flexivity (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
82 | IS 3394 : 2024 | Electrical Resistance Alloys for Heating Elements ï¿½Accelerated Life Test ? Method of Test |  | - | Indigenous
83 | IS 3394 : 1985 | Method for accelerated life test of electrical resistance alloys for heating elements (First Revision) | March, 2022 | - | Indigenous
Reviewed In : 2022
84 | IS 3407 (Part 1) : 1983 | Method for creep testing of steel at elevated temperatures: Part 1 tensile creep testing (First Revision) | March, 2022 | - | Indigenous
Reviewed In : 2022
85 | IS 3407 (Part 2) : 1983 | Method for creep testing of steel at elevated temperatures: Part 2 tensile creep stress rupture testing (First Revision) | March, 2022 | - | Indigenous
Reviewed In : 2022
86 | IS 3410 : 1993 | Metallic materials - Determination of linear thermal expansion (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
87 | IS 3711 : 2020 | Steel and Steel Products — Location and Preparation of Samples and Test Pieces for Mechanical Testing ( Third Revision ) | - | - | Identical under dual numbering
ISO 377 : 2017
ISO 377:2017
88 | IS 3803 (Part 1) : 2023 | Steel - Conversion of elongation values: Part 1 carbon and low alloy steels |  | - | Identical under dual numbering
ISO 2566-1 : 2021
ISO 2566-1 : 2021
89 | IS 3803 (Part 2) : 2022 | Steel Conversion of elongation values Part 2: Austenitic steels |  | - | Identical under dual numbering
ISO 2566-2:2021
ISO 2566-2:2021
90 | IS 4169 : 2014 | Metallic materials - Calibration of force proving instruments used for the verification of uniaxial testing machines (Second Revision) | February, 2020 | - | Identical under dual numbering
ISO 18265:2003
Reviewed In : 2020 ISO 376 : 2011
91 | IS 4258 : 2018 | Metallic materials - Conversion of hardness values (Third Revision) | August, 2023 | - | Identical under dual numbering
ISO 18265:2013
Reviewed In : 2023 ISO 18265 : 2013
92 | IS 5069 : 2018 | Metallic Materials - Mechanical Testing - Vocabulary (Second Revision) | August, 2023 | - | Identical under dual numbering
ISO 23718 : 2007
Reviewed In : 2023 ISO 23718
93 | IS 5070 : 1985 | Method for beam unnotched impact test for grey cast iron (First Revision) | March, 2022 | - | Indigenous
Reviewed In : 2022
94 | IS 5074 : 2023 | Metallic materials -- Fatigue testing -- Axial force-controlled method |  | - | Identical under dual numbering
ISO 1099 : 2017
ISO 1099 : 2017
95 | IS 5075 : 2023 | METALLIC MATERIALS - ROTATING BAR BENDING FATIGUE TESTING |  | - | Identical under dual numbering
ISO 1143 : 2021
ISO 1143 : 2021
96 | IS 5242 : 1979 | Method of test for determining shear strength of metals (First Revision) | March, 2022 | - | Indigenous
Reviewed In : 2022
97 | IS 6885 (Part 1) : 2020 | Metallic Materials — Knoop Hardness Test Part 1 Test Method ( Second Revision ) | - | - | Identical under dual numbering
ISO 4545-1 : 2017
ISO 4545-1:2017
98 | IS 6885 (Part 2) : 2020 | Metallic Materials — Knoop Hardness Test Part 2 Verification and Calibration of Testing Machines ( Second Revision ) | - | - | Identical under dual numbering
ISO 4545-2 : 2017
ISO 4545-2:2017
99 | IS 6885 (Part 3) : 2020 | Metallic Materials — Knoop Hardness Test Part 3 Calibration of Reference Blocks ( Second Revision ) | - | - | Identical under dual numbering
ISO 4545-3 : 2017
ISO 4545-3:2017
100 | IS 6885 (Part 4) : 2020 | Metallic Materials — Knoop Hardness Test Part 4 Tables of Hardness Values ( Second Revision ) | - | - | Identical under dual numbering
ISO 4545-4 : 2017
ISO 4545-4:2017
101 | IS 6886 : 1973 | Method of dynamic force calibration of axial load fatigue testing machines by means of a strain gauge technique | March, 2022 | - | Indigenous
Reviewed In : 2022
102 | IS 7096 : 1981 | Method for scleroscope hardness testing of metallic materials (first Revision) | March, 2022 | - | Indigenous
Reviewed In : 2022
Reaffirmed but not taken up for revision
103 | IS 7172 : 1984 | Method for verification of scleroscope hardness testing machines (First Revision) | March, 2022 | - | Indigenous
Reviewed In : 2022
Reaffirmed but not taken up for revision
104 | IS 8632 : 2023 | Metallic materials Designation of test specimen axes in relation to product texture |  | - | Identical under dual numbering
ISO 3785:2006
ISO 3785:2006
Standards Under Develpoment
Projects Approved
SI. No. | Doc No | TITLE
No Records Found
Preliminary Draft Standards
SI. No. | Doc No | TITLE
No Records Found
Drafts Standards in WC Stage
SI. No. | Doc No | TITLE
No Records Found
Draft Standards Completed WC Stage
SI. No. | Doc No | TITLE
1 | MTD 3 (20807) | Method for upsetting test on metallic materials
2 | MTD 3 (25816) (ISO 6508-1 : 2023) | Metallic materials Rockwell hardness testPart 1 Test method
3 | MTD 3 (25817) (ISO 6508-2 : 2023) | Metallic materials Rockwell hardness testPart 2 Verification and calibration of testing machines and indenters
4 | MTD 3 (25818) (ISO 6508-3 : 2023) | Metallic materials Rockwell hardness testPart 3 Calibration of reference blocks
5 | MTD 3 (25819) (ISO 6807-1 : 2023) | Metallic materials Vickers hardness test Part 1 Test method
6 | MTD 3 (25830) (ISO 17340 : 2020) | Metallic materials Ductility testing High speed compression test for porous and cellular metals
7 | MTD 3 (25831) (ISO 204 : 2023) | Metallic materials Uniaxial creep testing in tension Method of test
8 | MTD 3 (25832) (ISO 4545-1:2023) | Metallic materials Knoop hardness test Part 1 Test method
Finalized Draft Indian Standard
SI. No. | Doc No | TITLE
No Records Found
Finalized Draft Indian Standards under Print
SI. No. | Doc No | TITLE
1 | MTD 3 (20806)
2 | MTD 3 (20809)
3 | MTD 3 (24421) (ISO 12106 : 2017)
Total Published Standards:102 Total Standards Under development : 11
Aspect Wise Report
| Product: | 0
| Code of Practices : | 3
| Methods of Test : | 97
| Terminology : | 1
| Dimensions : | 2
| System Standard : | 0
| Safety Standard : | 0
| Others : | 0
| Service Specification : | 0
| Process Specification : | 0
| Unclassified : | 0
Total :103
Annexure-I :List of Indian Standards Withdrawn/Superseded
SI. No. | IS No. & Year | TITLE
1 | IS 10175 (Part 1) : 1993 | Mechanical testing of metals -Modified erichsen cupping test - sheet and strip Pt 1 Thickness upto 2 mm
ISO 8490
Reviewed In : 2009
2 | IS 10588 : 1983 | Tables of Brinell hardness values for use in test made on flat surfaces
Reviewed In : 2001
3 | IS 10927 (Part 1) : 1984 | Tables of Vickers Hardness Values for Use in Tests Made on Flat Surfaces - Part 1 HV 5 to HV 100
Reviewed In : 1996
4 | IS 10927 (Part 2) : 1984 | Tables of Vickers Hardness Values for Use in Tests Made on Flat Surfaces - Part 2 Hv 0 2 to Less Than Hv 5
Reviewed In : 1996
5 | IS 10927 (Part 3) : 1991 | Tables of Vickers Hardness Values for use in Tests Made on Flat Surfaces - Part 3 Less than HV 0 2
Reviewed In : 1999
6 | IS 12514 : 1988 | Method for torsional stress fatigue testing
ISO 9513 : 1999
Reviewed In : 2020
7 | IS 1499 : 1977 | Method for charpy impact test U - Notch for metals First Revision
Reviewed In : 2020
8 | IS 1500 : 2005 | Method for Brinell Hardness Test for Metallic Materials
IS 1500(Part 1):2013 / ISO 6506-1:2005
Reviewed In : 2010 IS 1500(Part 1):2013 / ISO 6506-1:2005
9 | IS 1501 : 2002 | Method For Vickers Hardness Test for Metallic Materials
Reviewed In : 2007
10 | IS 1521 : 1972 | Method for tensile testing of steel wire
11 | IS 1586 : 2000 | Method for Rockwell Hardness Test for Metallic Material Scales A-B-C-D-E-F-G-H-K 15N 30N 45N 15T 30T and 45T
Reviewed In : 2010
12 | IS 1608 : 2005 | Mechanical testing of metals - Tensile Testing
IS 1608:2005 / ISO 6892:1998
Reviewed In : 2017 IS 1608:2005 / ISO 6892:1998
13 | IS 1663 : 1972 | Method for tensile testing of steel sheet and strip of thickness 0 5 mm to 3 mm
14 | IS 1663 (Part 2) : 1962 | Tensile testing of steel sheet and strip Part 2 Steel sheet and strip of thickness above 3 mm
15 | IS 1692 : 1974 | Method for simple bend testing of steel sheet and strip less than 3 mm thick
16 | IS 1754 : 2002 | Method for verification of vickers hardness testing machines Third Revision
IS 1754:2002 / ISO 6507-2:1997
Reviewed In : 2020 ISO 6507-2:1997
17 | IS 1754 (Part 1) : 1986 | Method for Verification of Vickers Hardness Testing Machines Part I HV 0 2 to HV 100
Reviewed In : 1996
18 | IS 1754 (Part 2) : 1986 | Method for Verification of Vickers Hardness Testing Machines Part 2 Less than HV 0 2
Reviewed In : 1996
19 | IS 1756 : 1974 | Methods of modified Erichsen cupping test for steel sheet and strip
20 | IS 1789 : 1961 | Method for brinell hardness test for grey cast iron
21 | IS 1790 : 1961 | Method for brinell hardness test for light metals and their alloys
22 | IS 1810 : 1961 | Method for vickers hardness test for light metals and their alloys
23 | IS 1816 : 1979 | Method for tensile test for light metals and their alloys
24 | IS 1894 : 1972 | Criteria for earthquake resistant design of structures Fourth Revision
25 | IS 2078 : 1979 | Method for tensile testing of grey cast iron
26 | IS 223 : 1950 | Tensile Testing Of Metals ferrous
27 | IS 2281 : 2005 | Method for Verification of Brinell Hardness Testing Machines
IS 2281:2005 / ISO 6506-2:1999
Reviewed In : 2011 IS 2281:2005 / ISO 6506-2:1999
28 | IS 2348 : 1963 | Method for drift expanding test on copper and copper alloy tubes
Reviewed In : 2008
29 | IS 2654 : 1977 | Method for tensile testing of copper and copper alloys
30 | IS 2655 : 1964 | Method for tensile testing of copper and copper alloy tubes
31 | IS 2656 : 1964 | Method for tensile testing of copper and copper alloy wires
32 | IS 2657 : 1964 | Method for tensile testing of aluminium and aluminium alloy tube
33 | IS 2658 : 1964 | Method for tensile testing for aluminium and aluminium alloy wire
34 | IS 2866 : 1968 | Method for Vickers hardness test for copper and copper alloys
35 | IS 3054 : 1965 | Method for Brinell hardness test for copper and copper alloys
36 | IS 3260 : 1965 | Method For Bend Test For Copper And Copper Alloys
37 | IS 3388 : 1965 | Method for wrapping test for copper and copper alloy wire
38 | IS 3408 : 1965 | Method for non-interrupted creep testing of steel at elevated temperature
39 | IS 3409 : 1965 | Method for creep stress rupture testing of steel of elevated temperature
40 | IS 3754 : 1988 | Method for calibration of standardized blocks to be used for Rockwell hardness testing machines Scales A-B-C-D-E-F-G-H-K
Reviewed In : 1999
41 | IS 3766 : 1977 | Method for calibration of pendulum impact testing machines for testing metals First Revision
IS 3803(Part 1):1989 / ISO 2566-1 : 1984
Reviewed In : 2020
42 | IS 3804 : 1988 | Method for calibration of Rockwell hardness testing machines Scales A-B-C-D-E-F-G-H-K
Reviewed In : 1999
43 | IS 4132 : 2005 | Method for calibration of standardized blocks to be used for Brinell hardness teing machines
Reviewed In : 2011 IS 4132:2005
44 | IS 4133 : 2002 | Method for Calibration of Standardized Blocks to be Used for Vickers Hardness Testing Machines
IS 4133:2002 / ISO 6507-3:1997
Reviewed In : 2012 IS 4133:2002 / ISO 6507-3:1997
45 | IS 4133 (Part 1) : 1986 | Method for Calibration of Standardized Blocks to be Used for Vickers Hardness Testing Machines - Part 1 HV 0 2 to HV 100
Reviewed In : 1996
46 | IS 4168 : 1967 | Method for wrapping test of aluminium and aluminium alloy wire
47 | IS 4176 : 1967 | Method for simple torsion test of aluminium and aluminium alloy wire
48 | IS 4177 : 1967 | Method for flattening test of aluminium and aluminium alloy tubes
49 | IS 4598 : 1968 | Method for simple bend test for aluminium and aluminium alloy sheet and strip of thickness between 0 2 mm and 7 mm
50 | IS 4599 : 1968 | Method For Drift Expanding Test On Aluminium And Aluminium Alloy Tubes
51 | IS 4713 : 1968 | Method for determination of lower yield stress proof stress and proving test for steel at elevated temperatures
52 | IS 497 : 1953 | Tensile testing of metals non-ferrous
53 | IS 5071 : 1969 | Method for flattening test for copper and copper alloy tubes of circular section
54 | IS 5072 : 1988 | Method for Rockwell Superficial Hardness Test scale 15n 30n 45n 15t 30t and 45t
Reviewed In : 1999
55 | IS 5073 : 1988 | Method for verification of Rockwell superficial hardness testing machines Scales 15N 30N 45N 15T 30T and 45T
Reviewed In : 1999
56 | IS 5076 : 1988 | Method for calibration of standardized blocks to be used for rockwell superficial hardness testing machines Scales 15N 30N 45N 15T 30T and 45T
Reviewed In : 1999
57 | IS 5619 : 1970 | Recommendations for fatigue testing of metals
58 | IS 6253 : 1971 | Method for simple torsion testing of copper and copper alloy wire
59 | IS 6520 : 1972 | Method for the determination of K-values of a tensile testing system
60 | IS 6878 : 1973 | Method of reverse bend testing of copper and copper alloy wire
61 | IS 6885 : 1973 | Method for Knoop hardness testing of metals
62 | IS 7095 : 1973 | Method for verification of Knoop hardness testing machines
Reviewed In : 2010
63 | IS 7097 : 1973 | Method for Calibration of Standardized Blocks for Verification of Knoop Hardness Testing Machines
Reviewed In : 2010
64 | IS 8285 : 1976 | Method for tensile test of copper and copper alloy rolled flat product thickness less than 2 5 mm
Reviewed In : 1991
65 | IS 9258 : 1979 | Method for vickers micro-hardness testing of metals
Annexure-II :List of Indian Product Standards
SI. No. | IS No. & Year | TITLE
No Records Found