## Sheet1
BUREAU OF INDIAN STANDARDS
Program of Work
MTD21 : Non-Destructive Testing Sectional Committee
Scope : Standardization in the field of non-destructive testing
Liaison : ISO TC-135 (P): Non-destructive testing ISO TC-135 SC-2 (P): Surface methods ISO TC-135 SC-3 (P): Ultrasonic testing ISO TC-135 SC-4 (P): Eddy current testing ISO TC-135 SC-5 (P): Radiographic testing ISO TC-135 SC-5 (Convenorship): Gammatopography of shielding integrity ISO TC-135 SC-6 (P): Leak testing ISO TC-135 SC-7 (P): Personnel qualification ISO TC-135 SC-8 (P): Thermographic testing ISO TC-135 SC-9 (P): Acoustic emission testing
Published Standards
SI. No. | IS No. | TITLE | Reaffirm M-Y | No. of Amds | Eqv.
1 | IS 10543 : 1983 | Method for dry powder magnetic particle testing | February, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 9934-1:2016
2 | IS 11612 : 2004 | Code of practice for eddy current testing of non-ferrous seamless pipes and tubes (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
3 | IS 11626 : 2005 | Recommended practice for ultrasonic testing and acceptance for plain carbon and low alloy forging quality steel blooms (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
4 | IS 11630 : 2005 | Method for ultrasonic testing of steel plates for pressure vessels and special applications (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
5 | IS 11655 : 1986 | Procedure for stray flux testing of ferrous magnetic seamless steel tubular products | February, 2020 | - | Indigenous
Reviewed In : 2020
6 | IS 1182 : 1983 | Recommended - Practice for radiographic examination of fusion welded butt joints in steel plates (Second Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
7 | IS 12147 : 2013 | Recommended practice for wet magnetic particle examination (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
8 | IS 12148 : 1987 | Guidelines for requirements of non-destructive testing agencies | February, 2020 | - | Indigenous
Reviewed In : 2020
9 | IS 12666 : 2018 | Performance assessment of ultrasonic flaw detection equipment (First Revision) | March, 2024 | - | Not Equivalent
Reviewed In : 2024 ISO 16831:2012
10 | IS 12710 : 1989 | Acoustic emission testing - Glossary of terms | February, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 12716
11 | IS 12782 : 1989 | Guidelines for using thermography for monitoring of industrial components | February, 2020 | - | Indigenous
Reviewed In : 2020
12 | IS 12860 : 1989 | Metallic coating thickness by X-ray fluorescence technique method - Determination | February, 2020 | - | Indigenous
Reviewed In : 2020
13 | IS 12889 : 2018 | Performance evaluation of materials used for liquid penetrant test (First Revision) | March, 2024 | - | Not Equivalent
Reviewed In : 2024 ISO 3452-2:2013
14 | IS 12965 : 1990 | Glossary of terms used in electro magnetic (Eddy Current) testing | February, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 12718:2008
15 | IS 13190 : 1991 | Recommended practice for eddy current examination by rotating probe method of round steel bars | February, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 15548-2:2013
16 | IS 13805 : 2004 | General standard for qualification and certification of non - Destructive testing personnel - Specification (First Revision) | February, 2020 | 1 | Not Equivalent
Reviewed In : 2020 ISO 9712
17 | IS 14669 : 1999 | Thermal neutron radiography - Recommended practices | February, 2020 | - | Indigenous
Reviewed In : 2020
18 | IS 14670 : 1999 | Recommended practice for acoustic emission inspection during hydrostatic pressure testing of system | February, 2020 | - | Indigenous
Reviewed In : 2020
19 | IS 14800 : 2000 | Recommended practice for sorting of ferrous/non - Ferrous materials using electromagnetic (Eddy Current) technique | February, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 20669:2017
20 | IS 15404 : 2003 | Recommended practice for measuring ultrasonic velocity in materials | February, 2020 | - | Indigenous
Reviewed In : 2020
21 | IS 15435 : 2003 | Recommended practice for measuring thickness using ultrasonic method | February, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 16809:2017
22 | IS 15452 : 2004 | Recommended practice for flaw sizing by ultrasonic DGS method | February, 2020 | - | Indigenous
Reviewed In : 2020
23 | IS 15468 : 2004 | Performance evaluation of ultrasonic thickness gauges | February, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 16831:2012
24 | IS 15531 : 2004 | Recommended practice for ultrasonic testing of weld fillets of non-linear joints | February, 2020 | - | Indigenous
Reviewed In : 2020
25 | IS 15539 : 2004 | Recommended practice for magnetic particle examination of steam turbine rotor blades | February, 2020 | - | Indigenous
Reviewed In : 2020
26 | IS 15540 : 2004 | Recommended practice for eddy current testing of installed non-ferromagnetic heat exchanger tubing using dual frequency method | February, 2020 | - | Indigenous
Reviewed In : 2020
27 | IS 15643 : 2006 | Non - Destructive examination of polymer based composite materials - Code of practice | February, 2020 | - | Indigenous
Reviewed In : 2020
28 | IS 15775 : 2008 | Glossary of terms for signal analysis related to non-destructive testing | February, 2020 | - | Indigenous
Reviewed In : 2020
29 | IS 15987 : 2013 | Non - Destructive testing of concrete structures using impact - Echo technique - Recommended practice | February, 2020 | - | Indigenous
Reviewed In : 2020
30 | IS 16168 : 2014 | Guidelines for infrared thermography inspection of electrical installations | February, 2020 | - | Indigenous
Reviewed In : 2020
31 | IS 16241 : 2018 | Realtime radioscopic examination of weldments | March, 2024 | - | Indigenous
Reviewed In : 2024
32 | IS 16979 : 2018 | Guidelines for visual inspection using borescopes and videoscopes | March, 2024 | - | Indigenous
Reviewed In : 2024
33 | IS 17069 (Part 1) : 2019 | Non - Destructive testing - Qualification of radiographic film digitization systems: Part 1 definitions, quantitative measurements of image quality parameters, standard reference film and qualitative control | March, 2024 | - | Identical under dual numbering
ISO 14096-1 : 2005
Reviewed In : 2024 ISO 14096-1:2005
34 | IS 17069 (Part 2) : 2019 | Non - Destructive testing - Qualification of radiographic film digitization systems: Part 2 minimum requirements | March, 2024 | - | Identical under dual numbering
ISO 14096-2 : 2005
Reviewed In : 2024 ISO 14096-2 : 2005
35 | IS 17180 : 2020 | Guidelines for Using Infrared Thermography for Condition of Rotating Components |  | - | Indigenous
36 | IS 17181 : 2020 | Remote Field Eddy Current Testing of Steam Generator and Heat Exchanger Tubes |  | - | Not Equivalent
Nil
37 | IS 17182 : 2020 | X-ray Diffraction Based Residual Stress Measurements |  | - | Indigenous
38 | IS 17537 (Part 1) : 2021 | Non-destructive testing - Radiation methods for computed tomography - Part 1: Terminology |  | - | Identical under dual numbering
ISO 15708-1 : 2017
ISO 15708-1 : 2017
39 | IS 17537 (Part 2) : 2021 | Non-destructive testing - Radiation methods for computed tomography - Part 2 Principles, equipment and samples |  | - | Identical under dual numbering
ISO 15708-2 : 2017
ISO 15708-2 : 2017
40 | IS 18115 : 2023 | Non-destructive testing - Ultrasonic testing - Characterization and sizing of discontinuities |  | - | Identical under dual numbering
ISO 16827 : 2012
ISO 16827 : 2012
41 | IS 2417 : 2003 | Glossary of terms used in ultrasonic non-destructive testing (Second Revision) | February, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 5577:2017
42 | IS 2478 : 1991 | Glossary of terms relating to industrial radiology (Second Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
43 | IS 2595 : 2008 | Industrial radiographic testing - Code of practice (Second Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
44 | IS 2953 : 1985 | Glossary of terms used for interpretation of welds and castings radiographs (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
45 | IS/ISO 3057 : 1998 | Non - Destructive testing - Metallographic replica techniques of surface examination | February, 2020 | - | Identical under single numbering
Reviewed In : 2020 IS0 3057:1998
46 | IS 3415 : 1998 | Glossary of terms used in magnetic particle flaw detection (Second Revision) | February, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 12707:2016
47 | IS 3657 : 2018 | Specification for radiographic image quality indicators (Second Revision) | March, 2024 | - | Not Equivalent
Reviewed In : 2024 ISO 19232-1:2013
48 | IS 3658 : 1999 | Code of practice for liquid penetrant flaw detection (Second Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
49 | IS 3664 : 1981 | Code of practice for ultrasonic pulse echo testing by contact and immersion methods (first revision) | February, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 18175 ISO 2400 ISO 7963
50 | IS 3703 : 2023 | Recommended practice for magnetic particle flaw detection Third Revision |  | - | Indigenous
51 | IS 4225 : 2021 | Steel — Ultrasonic Testing of Steel Flat Products of Thickness Equal to or Greater than 6 mm (Third Revision) |  | - | Identical under dual numbering
ISO 17577 : 2016
52 | IS 4260 : 2004 | Recommended practice for ultrasonic testing of butt welds in ferritic steel (Third Revision) | March, 2021 | - | Indigenous
Reviewed In : 2021
53 | IS 4853 : 1982 | Recommended practice for radiographic inspection of fusion welded butt joints in steel pipes (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
54 | IS 4904 : 2006 | Calibration blocks for use in ultrasonic non - Destructive testing - Specification (Fourth Revision) | March, 2023 | - | Not Equivalent
Reviewed In : 2023 ISO 16946:2017
55 | IS 5334 : 2014 | Magnetic particle flaw detection of welds - Code of practice (Third Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
56 | IS/ISO 5580 : 1985 | Non - Destructive testing - Industrial radiographic illuminators - Minimum requirements | March, 2023 | - | Identical under single numbering
Reviewed In : 2023 IS0 5580:1985
57 | IS 6394 : 2006 | Ultrasonic testing of seamless metallic tubular products by contact and immersion methods - Code of practice (Second Revision) | March, 2023 | - | Indigenous
Reviewed In : 2023
58 | IS 6398 (Part 2) : 2020 | Non-Destructive Testing of Steel Tubes Part 2 Automated Eddy Current Testing of Seamless and Welded ( Except Submerged Arc-Welded ) Steel Tubes for the Detection of imperfections ( Second Revision ) | - | 1 | Identical under dual numbering
ISO 10893-2 : 2011
ISO 10893-2:2011
59 | IS 6410 : 2013 | Magnetic flaw detection inks and powders - Specification (Second Revision) | February, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 9934-2
60 | IS 6752 : 2014 | Code of practice for magnetic particle flaw detection of ferrous pipes and tubes (Second Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
61 | IS 7343 : 1986 | Code of practice for ultrasonic testing of ferrous welded pipes and tubular products - (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
62 | IS 7666 : 1988 | Ultrasonic examination of ferritic castings of carbon and low alloy steel - Recommedned procedure (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
63 | IS 7743 : 2006 | Recommended practice for magnetic particle testing and inspection of steel forgings (First Revision) | March, 2023 | - | Indigenous
Reviewed In : 2023
64 | IS 7810 : 1999 | Code of practice for radiographic examination of resistance spot welds on aluminium and its alloys (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
65 | IS 8780 : 2004 | Non - Destructive testing of steel castings - Code of practice (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
66 | IS 8791 : 1978 | Code of practice for ultrasonic flaw detection of ferritic steel forgings | February, 2020 | - | Indigenous
Reviewed In : 2020
67 | IS 8973 : 1991 | Leak detection techniques glossary (First Revision) | February, 2020 | - | Not Equivalent
Reviewed In : 2020 ISO 20484:2017
68 | IS 9902 : 2004 | Recommended practice for leak testing (First Revision) | February, 2020 | - | Indigenous
Reviewed In : 2020
Standards Under Develpoment
Projects Approved
SI. No. | Doc No | TITLE
No Records Found
Preliminary Draft Standards
SI. No. | Doc No | TITLE
1 | MTD 21 (26454) | NON-DESTRUCTIVE TESTING OF STEEL WIRES AUTOMATED EDDY CURRENT TESTING OF STEEL WIRES FOR DETECTION OF SURFACE IMPERFECTIONS
Drafts Standards in WC Stage
SI. No. | Doc No | TITLE
No Records Found
Draft Standards Completed WC Stage
SI. No. | Doc No | TITLE
No Records Found
Finalized Draft Indian Standard
SI. No. | Doc No | TITLE
1 | MTD 21 (19953) | Non-destructive testing Eddy Current TestingDetermination of Electrical Conductivity of Non-magnetic Metals
Finalized Draft Indian Standards under Print
SI. No. | Doc No | TITLE
1 | MTD 21 (21512)
Total Published Standards:68 Total Standards Under development : 3
Aspect Wise Report
| Product: | 1
| Code of Practices : | 36
| Methods of Test : | 15
| Terminology : | 10
| Dimensions : | 1
| System Standard : | 0
| Safety Standard : | 0
| Others : | 5
| Service Specification : | 0
| Process Specification : | 0
| Unclassified : | 0
Total :68
Annexure-I :List of Indian Standards Withdrawn/Superseded
SI. No. | IS No. & Year | TITLE
1 | IS 2598 : 1966 | Safety code for industrial radiographic practice
2 | IS 7281 : 1974 | Code of practice for immersed ultrasonic testing by the reflection method using pulse longitudinal waves
3 | IS 9346 : 1979 | Recommended practice for certification of NDT personnel for ultrasonic examination
Reviewed In : 1993
Annexure-II :List of Indian Product Standards
SI. No. | IS No. & Year | TITLE
1 | IS 6410 : 2013 | Magnetic flaw detection inks and powders - Specification Second Revision
Reviewed In : 2020 ISO 9934-2