## Sheet1
BUREAU OF INDIAN STANDARDS
Program of Work
PGD39 : Optics and Photonics
Scope : Standardization of terminology, requirements, interfaces and test methods in the field of optics and photonics. This includes complete systems, devices, instruments (excluding medico – optical instruments like ophthalmological and endoscope related), optical and photonic components, auxiliary devices and accessories, as well as materials.
Liaison : ISO TC-172 (P): Optics and photonics ISO TC-172 SC-1 (P): Fundamental standards ISO TC-172 SC-3 (P): Optical materials and components ISO TC-172 SC-5 (P): Microscopes and endoscopes ISO TC-172 SC-6 (P): Geodetic and surveying instruments ISO TC-172 SC-7 (P): Ophthalmic optics and instruments ISO TC-172 SC-9 (P): Laser and electro-optical systems
Published Standards
SI. No. | IS No. | TITLE | Reaffirm M-Y | No. of Amds | Eqv.
1 | IS 10236 (Part 1) : 1989 | Procedure for basic climatic and durability tests for optical instruments: Part 1 general | March, 2022 | - | Indigenous
Reviewed In : 2022
2 | IS 10236 (Part 2) : 1982 | Procedure for climatic and durability tests for optical instruments: Part 2 dry heat test | March, 2022 | - | Indigenous
Reviewed In : 2022
3 | IS 10236 (Part 3) : 1982 | Procedure for basic climatic and durability tests for optical instruments: Part 3 cold test | March, 2022 | - | Indigenous
Reviewed In : 2022
4 | IS 10236 (Part 4) : 1982 | Procedure for basic climatic and durability for optical instruments: Part 4 damp heat test | March, 2022 | - | Indigenous
Reviewed In : 2022
5 | IS 10236 (Part 5) : 1982 | Procedure for basic climatic and durability tests for optical instruments: Part 5 damp heat (Cyclic) test | March, 2022 | - | Indigenous
Reviewed In : 2022
6 | IS 10236 (Part 6) : 1982 | Procedure for basic climatic and durability tests for optical instruments: Part 6 salt mist test | March, 2022 | - | Not Equivalent
Reviewed In : 2022 ISO 9022-4
7 | IS 10236 (Part 7) : 1983 | Procedure for basic climatic and durability tests for optical instruments .: Part 7 mould growth test | March, 2022 | - | Not Equivalent
Reviewed In : 2022 ISO 9022-11
8 | IS 10236 (Part 8) : 1983 | Procedure for basic climatic and durability tests for optical instruments: Part 8 thermal shock (Rapid Change Of Temperature) test | March, 2022 | - | Indigenous
Reviewed In : 2022
9 | IS 10236 (Part 9) : 1983 | Procedure for basic climatic and durability tests for. optical instruments: Part 9 low air pressure (Altitude) test | March, 2022 | - | Indigenous
Reviewed In : 2022
10 | IS 10236 (Part 10) : 1985 | Procedure for basic climatic and durability tests for optical instruments: Part 10 bump test | March, 2022 | - | Indigenous
Reviewed In : 2022
11 | IS 10236 (Part 11) : 1985 | Procedure for basic climatic and durability tests for optical instruments: Part 11 vibration test | March, 2022 | - | Indigenous
Reviewed In : 2022
12 | IS 10236 (Part 12) : 1985 | Procedure for basic climatic and durability tests for optical instruments: Part 12 shock test | March, 2022 | - | Indigenous
Reviewed In : 2022
13 | IS 10236 (Part 13) : 1986 | Procedure for basic climatic and durability tests for optical instruments: Part 13 dust test | March, 2022 | - | Not Equivalent
Reviewed In : 2022 ISO 9022-6
14 | IS 10236 (Part 14) : 1986 | Procedure for basic climatic and durability tests for optical instruments: Part 14 driving rain test | March, 2022 | - | Indigenous
Reviewed In : 2022
15 | IS 10236 (Part 15) : 1986 | Procedure for basic climatic and durability tests for optical instruments: Part 15 drop test | March, 2019 | - | Indigenous
Reviewed In : 2019
16 | IS 10236 (Part 16) : 1988 | Procedure for basic climatic and durability tests for optical instruments part 16 solar radiation test | March, 2019 | - | Not Equivalent
Reviewed In : 2019 ISO 9022-9
17 | IS 10236 (Part 17) : 1988 | Procedure for basic climatic and durability tests for optical instruments: Part 17 acceleration (Steady - State) test | March, 2019 | - | Not Equivalent
Reviewed In : 2019 ISO 9022-22
18 | IS 10236 (Part 18) : 1988 | Procedure for basic climatic and durability tests for optical instruments: Part 18 sealing test | March, 2019 | - | Indigenous
Reviewed In : 2019
19 | IS 10679 : 1983 | Specificati - On for photoelectric spectrophotometer (Single Beam Type) | March, 2019 | - | Indigenous
Reviewed In : 2019
20 | IS/ISO 11145 : 2018 | Optics and Photonics Lasers and Lasers-related equipment Vocabulary and Symbols |  | - | Identical under single numbering
IS/ISO 11145
IS/ISO 11145
21 | IS 11444 : 1985 | Specification for grinding and polishing materials for optical components | March, 2022 | - | Indigenous
Reviewed In : 2022
22 | IS 12713 : 1989 | Optical instruments - Permissible cosmetic defects and inspection of optical components | March, 2019 | - | Indigenous
Reviewed In : 2019
23 | IS 12874 : 1989 | Optical and mathematical instruments - Telescopic alidade - specification | March, 2019 | - | Indigenous
Reviewed In : 2019
24 | IS 12888 : 1989 | Optical and mathematical instruments - Short range infrared distance measuring instruments specification | March, 2019 | - | Indigenous
Reviewed In : 2019
25 | IS 13108 : 2019 | Optics and photonics - Microscopes - Immersion liquids for light microscopy (Second Revision) |  | - | Identical under dual numbering
ISO 8036 : 2015
ISO 8036 : 2015
26 | IS 1399 : 1959 | Glossary of terms used in optical technology | March, 2022 | 2 | Indigenous
Reviewed In : 2022
27 | IS 1400 : 1960 | Specification for optical glass | March, 2022 | 1 | Indigenous
Reviewed In : 2022
28 | IS 14146 : 1994 | Raw optical glass - Resistance to attack by aqueous alkaline phosphate - Containing detergent solutions at 50°C - Testing and classification | March, 2019 | - | Identical under dual numbering
ISO 9689
Reviewed In : 2019 ISO 9689
29 | IS 14258 : 2018 | Raw optical glass - Testing of the resistance to attack by aqueous acidic solutions at 25oC and classification (First Revision) | March, 2022 | - | Identical under dual numbering
ISO 8424 : 1996
Reviewed In : 2022 ISO 8424:1996
30 | IS 14819 : 2018 | Lasers and laser - Related equipment - Test methods for laser beam parameters - Beam positional stability (First Revision) | March, 2022 | - | Identical under dual numbering
ISO 11670 : 2003
Reviewed In : 2022 ISO 11670
31 | IS 14820 : 2000 | Lasers and laser - Related equipment - Test methods for laser beam parameters - beam widths, divergence angles and beam propagation factor | March, 2022 | - | Identical under dual numbering
ISO 11146
Reviewed In : 2022 ISO 11146-2
32 | IS 14820 (Part 1) : 2024 | Lasers and Laser -- Related Equipment -- Test Methods for Laser Beam Widths, Divergence Angles and Beam Propagation Ratios: Part 1 -- Stigmatic and Simple Astigmatic Beams (Second Revision ) |  | - | Identical under dual numbering
ISO 11146-1 : 2021
ISO 11146-1 : 2021
33 | IS 14820 (Part 1) : 2016 | Lasers and laser - Related equipment - Test methods for laser beam widths, divergence angles and beam propagation ratios: Part 1 stigmatic and simple astigmatic beams (First Revision) | March, 2022 | - | Identical under dual numbering
ISO 11146-1 : 2005
Reviewed In : 2022 ISO 11146-1 : 2021
34 | IS 14820 (Part 3) : 2016 | Lasers and laser - Related equipment - Test methods for laser beam widths, divergence angles and beam propagation ratios: Part 3 intrinsic and geometrical laser beam classification, propagation and details of test methods (First Revision) | March, 2022 | - | Identical under dual numbering
ISO/TR 11146-3 : 2004
Reviewed In : 2022 ISO/TR 11146-3 : 2004
35 | IS 14963 : 2023 | OPTICS AND PHOTONICS LASERS AND LASER-RELATED EQUIPMENT TEST METHODS FOR LASER BEAM POWER ENERGY AND TEMPORAL CHARACTERISTICS |  | - | Identical under dual numbering
ISO 11554 : 2017
ISO 11554 : 2017
36 | IS 14964 : 2001 | Raw optical glass - Grindability with diamond pellets - Test method and classification | March, 2022 | - | Identical under dual numbering
ISO 12844
Reviewed In : 2022 ISO 12844
37 | IS 14965 : 2017 | Lasers and laser - Related equipment - Test methods for laser beam parameters - Polarization (First Revision) | March, 2022 | - | Identical under dual numbering
ISO 12005 : 2003
Reviewed In : 2022 ISO 12005:2003
38 | IS 15269 : 2018 | Optics and optical instruments - Microscopes - Values, tolerances and symbols for magnification (First Revision) | September, 2024 | - | Identical under dual numbering
Reviewed In : 2024
Decision taken to Reaffirm and Archive ISO 8039
39 | IS 15483 (Part 1) : 2019 | Optics and optical instruments - Ancillary devices for geodetic instruments: Part 1 inver levelling staffs (First Revision) | - | - | Identical under dual numbering
ISO 12858-1
ISO 12858-1
40 | IS 15483 (Part 2) : 2004 | Optics and optical instruments - Ancillary devices for geodetic instruments: Part 2 tripods | March, 2019 | 1 | Identical under dual numbering
ISO 12858-2
Reviewed In : 2019 ISO 12858-2 : 2020
41 | IS 15483 (Part 2) : 2024 | Optics and optical instruments Ancillary devices for geodetic Instruments Part 2 : Tripods |  | - | Identical under dual numbering
ISO 12858-2 : 2020
ISO 12858-2 : 2020
42 | IS/ISO 15529 : 2010 | Optics and photonics - Optical transfer function - Principles of measurement of modulation transfer function (MTF) of sampled imaging systems | March, 2022 | - | Identical under single numbering
ISO 15529 : 2010
Reviewed In : 2022 ISO 15529 : 2010
43 | IS 1632 : 1993 | Optical instruments - Bubbles - Specification (First Revision) | March, 2019 | - | Indigenous
Reviewed In : 2019
44 | IS 16506 (Part 1) : 2016 | Optics and photonics - Optical coatings: Part 1 definitions | March, 2022 | - | Identical under dual numbering
ISO 9211-1 : 2010
Reviewed In : 2022 ISO 9211-1 : 2018
45 | IS 16506 (Part 1) : 2024 | Optics and Photonics Optical Coatings Part 1 Vocabulary (First Revision) |  | - | Identical under dual numbering
ISO 9211-1 : 2018
ISO 9211-1 : 2018
46 | IS 17172 (Part 22) : 2020 | Optics and Photonics â€” Environmental Test Methods Part 22 Combined Cold, Dry Heat or Temperature Change with Bump or Random Vibration |  | - | Identical under dual numbering
37.020.00
ISO 9022-22:2012
47 | IS 17172 (Part 23) : 2019 | Optics and Photonics â€” Environmental Test Methods Part 23 Low Pressure Combined with Cold, Ambient Temperature and Dry or Damp Heat |  | - | Identical under dual numbering
ISO 9022-23 : 2016
ISO 9022-23:2016
48 | IS 18442 : 2024 | Optics and photonics -- Raw optical glass -- Specification |  | - | Identical under dual numbering
12123
12123
49 | IS 18726 (Part 2) : 2024 | Optics and photonics -- Microlens arrays: Part 2 Test methods for wavefront aberrations |  | - | Identical under dual numbering
14880-2:2006
14880-2:2006
50 | IS 18726 (Part 3) : 2024 | Optics and photonics -- Microlens arrays : Part 3 Test methods for optical properties other than wavefront aberrations |  | - | Identical under dual numbering
14880-3:2006
14880-3:2006
51 | IS 18726 (Part 4) : 2024 | Optics and photonics -- Microlens arrays : Part 4 Test methods for geometrical properties |  | - | Identical under dual numbering
14880-4:2006
14880-4:2006
52 | IS 18909 : 2024 | Raw Optical Glass -- Vocabulary |  | - | Identical under dual numbering
9802 : 2022
9802 : 2022
53 | IS 18916 : 2024 | Raw optical glass -- Determination of birefringence |  | - | Identical under dual numbering
11455
11455
54 | IS 2754 : 1964 | Genral requirements for optical instruments | March, 2022 | 2 | Indigenous
Reviewed In : 2022
55 | IS 2976 : 1964 | Specification for optical theodolite | March, 2022 | - | Indigenous
Reviewed In : 2022
56 | IS 3113 : 1965 | Specification for prismatic binoculars for common use | March, 2021 | 1 | Indigenous
Reviewed In : 2021
57 | IS 3135 : 1965 | Specieication for cathetometer | March, 2021 | - | Indigenous
Reviewed In : 2021
58 | IS 5415 : 1969 | Code of practice for packing and packaging of optical and mathematical instruments and components | March, 2019 | - | Indigenous
Reviewed In : 2019
59 | IS 5706 : 1993 | Optical instruments - Spirit levels for use in precision engineering - Specification (First Revision) | March, 2022 | - | Indigenous
Reviewed In : 2022
60 | IS 5920 : 1970 | Recommendation for preparation of drawings for optical elements and systms | March, 2019 | 1 | Indigenous
Reviewed In : 2019
61 | IS 5920 (Part 2) : 2024 | Optics and photonics -- Preparation of drawings for optical elements and systems : Part 2 Surface form tolerances |  | - | Identical under dual numbering
ISO 10110-5:2015
ISO 10110-5:2015
62 | IS 5920 (Part 3) : 2024 | Optics and photonics -- Preparation of drawings for optical elements and systems : Part 3 Centring tolerances |  | - | Identical under dual numbering
ISO 10110-6:2015
ISO 10110-6:2015
63 | IS 5920 (Part 4) : 2024 | Optics and photonics -- Preparation of drawings for optical elements and systems : Part 4 Surface imperfections |  | - | Identical under dual numbering
ISO 10110-7:2017
ISO 10110-7:2017
64 | IS 5920 (Part 5) : 2024 | Optics and photonics -- Preparation of drawings for optical elements and systems : Part 5 Surface texture |  | - | Identical under dual numbering
ISO 10110-8:2019
ISO 10110-8:2019
65 | IS 5920 (Part 6) : 2024 | Optics and photonics -- Preparation of drawings for optical elements and systems : Part 6 Surface treatment and coating |  | - | Identical under dual numbering
ISO 10110-9:2016
ISO 10110-9:2016
66 | IS 5920 (Part 7) : 2024 | Optics and photonics -- Preparation of drawings for optical elements and systems : Part 7 Non-toleranced data |  | - | Identical under dual numbering
ISO 10110-11:2016
ISO 10110-11:2016
67 | IS 5920 (Part 8) : 2024 | Optics and photonics -- Preparation of drawings for optical elements and systems : Part 8 Aspheric Surfaces |  | - | Identical under dual numbering
ISO 10110-12:2019
ISO 10110-12:2019
68 | IS 5920 (Part 9) : 2024 | Optics and photonics -- Preparation of drawings for optical elements and systems : Part 9 Wavefront deformation tolerance |  | - | Identical under dual numbering
ISO 10110-14:2018
ISO 10110-14:2018
69 | IS 5920 (Part 11) : 2024 | Optics and photonics -- Preparation of drawings for optical elements and systems : Part 11 Laser irradiation damage threshold |  | - | Identical under dual numbering
ISO 10110-17:2004
ISO 10110-17:2004
70 | IS 5920 (Part 12) : 2024 | Optics and photonics -- Preparation of drawings for optical elements and systems : Part 12 Stress birefringence bubbles and inclusions homogeneity and striae |  | - | Identical under dual numbering
ISO 10110-18:2018
ISO 10110-18:2018
71 | IS 5920 (Part 13) : 2024 | Optics and photonics -- Preparation of drawings for optical elements and systems : Part 13 General description of surfaces and components |  | - | Identical under dual numbering
ISO 10110-19:2015
ISO 10110-19:2015
72 | IS 6471 : 1971 | Specification for spectrometer (Student Type) | March, 2019 | 1 | Indigenous
Reviewed In : 2019
73 | IS 7009 : 1973 | Specification for optical square (For Surveying) | March, 2019 | - | Indigenous
Reviewed In : 2019
74 | IS 7011 : 1973 | Specification for back - Silvered mirrors used in insturment industry | March, 2021 | 2 | Indigenous
Reviewed In : 2021
75 | IS 7265 : 1973 | Coating materials (Metals, Alloys And Dielectrics) used in optical instrument industry | March, 2022 | - | Indigenous
ISO 7946-1985
Reviewed In : 2022
76 | IS 7545 : 1975 | Specification for optical bench (Advanced Type) | March, 2019 | - | Indigenous
Reviewed In : 2019
77 | IS 7919 : 1975 | Specification for refractometer - abbe type | March, 2019 | - | Indigenous
Reviewed In : 2019
78 | IS 8248 : 1976 | Specification for antireflection coating on glass optical components | March, 2022 | - | Indigenous
Reviewed In : 2022
79 | IS 8651 : 1977 | Specification for flame photometer | March, 2019 | - | Indigenous
Reviewed In : 2019
80 | IS 8661 : 1977 | Specification for polarimeter and saccharimeter (Optical) | March, 2019 | - | Indigenous
Reviewed In : 2019
81 | IS 8691 : 1986 | Specification for mirror stereoscope (First Revision) | March, 2021 | - | Indigenous
Reviewed In : 2021
Reaffirmed but not taken up for revision
82 | IS 9107 : 1979 | Specification for autocollimator | March, 2019 | 2 | Indigenous
Reviewed In : 2019
83 | IS 9514 : 1980 | Specification for front surface aluminized mirrors | March, 2021 | - | Indigenous
Reviewed In : 2021
84 | IS 9571 : 1980 | Specification for photoelectric colorimeter (Single Beam) | March, 2021 | - | Indigenous
Reviewed In : 2021
85 | IS/ISO 9849 : 1991 | Optics and optical instruments - Geodetic instruments - Vocabulary | March, 2022 | - | Identical under dual numbering
Reviewed In : 2022 ISO 984
86 | IS 988 : 1959 | General requirements for optical components | March, 2022 | - | Indigenous
Reviewed In : 2022
Standards Under Develpoment
Projects Approved
SI. No. | Doc No | TITLE
1 | PGD 39 (24227) | Optics and photonics - Optical and mathematical instruments - Telescopic alidade Specification
2 | PGD 39 (24228) | Optics and photonics - Optical and mathematical instruments - Short range infrared distance measuring instruments specification
Preliminary Draft Standards
SI. No. | Doc No | TITLE
No Records Found
Drafts Standards in WC Stage
SI. No. | Doc No | TITLE
No Records Found
Draft Standards Completed WC Stage
SI. No. | Doc No | TITLE
No Records Found
Finalized Draft Indian Standard
SI. No. | Doc No | TITLE
1 | PGD 39 (22109) (ISO 9849) | Optics and optical instruments -- Geodetic instruments -- Vocabulary
2 | PGD 39 (22120) (ISO 11146-2 : 2021) | Lasers and laser-related equipment Test methods for laser beam widths divergence angles and beam propagation ratios Part 2 General astigmatic beams
3 | PGD 39 (24213) | Glossary of terms used in optical technology
Finalized Draft Indian Standards under Print
SI. No. | Doc No | TITLE
1 | PGD 39 (22132) (ISO 12005 : 2022)
2 | PGD 39 (23360) (ISO 10110-1)
3 | PGD 39 (24217) (14880-1:2019)
4 | PGD 39 (24225) (14880-5:2010)
Total Published Standards:66 Total Standards Under development : 9
Aspect Wise Report
| Product: | 28
| Code of Practices : | 13
| Methods of Test : | 32
| Terminology : | 5
| Dimensions : | 0
| System Standard : | 0
| Safety Standard : | 0
| Others : | 5
| Service Specification : | 0
| Process Specification : | 0
| Unclassified : | 0
Total :83
Annexure-I :List of Indian Standards Withdrawn/Superseded
SI. No. | IS No. & Year | TITLE
1 | IS 13117 : 1991 | Optics and optical instruments - Microscopes - Connecting dimensions of tube slides and tube slots
ISO 8040 : 1986
Reviewed In : 2022 ISO 804
Annexure-II :List of Indian Product Standards
SI. No. | IS No. & Year | TITLE
1 | IS 10679 : 1983 | Specificati - On for photoelectric spectrophotometer Single Beam Type
Reviewed In : 2019
2 | IS 11444 : 1985 | Specification for grinding and polishing materials for optical components
Reviewed In : 2022
3 | IS 12874 : 1989 | Optical and mathematical instruments - Telescopic alidade - specification
Reviewed In : 2019
4 | IS 12888 : 1989 | Optical and mathematical instruments - Short range infrared distance measuring instruments specification
Reviewed In : 2019
5 | IS 13108 : 2019 | Optics and photonics - Microscopes - Immersion liquids for light microscopy Second Revision
ISO 8036 : 2015
ISO 8036 : 2015
6 | IS 1400 : 1960 | Specification for optical glass
Reviewed In : 2022
7 | IS 15269 : 2018 | Optics and optical instruments - Microscopes - Values tolerances and symbols for magnification First Revision
Reviewed In : 2024
Decision taken to Reaffirm and Archive ISO 8039
8 | IS 15483 (Part 1) : 2019 | Optics and optical instruments - Ancillary devices for geodetic instruments Part 1 inver levelling staffs First Revision
ISO 12858-1
ISO 12858-1
9 | IS 15483 (Part 2) : 2024 | Optics and optical instruments Ancillary devices for geodetic Instruments Part 2 Tripods
ISO 12858-2 : 2020
10 | IS 1632 : 1993 | Optical instruments - Bubbles - Specification First Revision
Reviewed In : 2019
11 | IS 18442 : 2024 | Optics and photonics -- Raw optical glass -- Specification
12123
12 | IS 2976 : 1964 | Specification for optical theodolite
Reviewed In : 2022
13 | IS 3113 : 1965 | Specification for prismatic binoculars for common use
Reviewed In : 2021
14 | IS 3135 : 1965 | Specieication for cathetometer
Reviewed In : 2021
15 | IS 5706 : 1993 | Optical instruments - Spirit levels for use in precision engineering - Specification First Revision
Reviewed In : 2022
16 | IS 6471 : 1971 | Specification for spectrometer Student Type
Reviewed In : 2019
17 | IS 7009 : 1973 | Specification for optical square For Surveying
Reviewed In : 2019
18 | IS 7011 : 1973 | Specification for back - Silvered mirrors used in insturment industry
Reviewed In : 2021
19 | IS 7265 : 1973 | Coating materials Metals Alloys And Dielectrics used in optical instrument industry
ISO 7946-1985
Reviewed In : 2022
20 | IS 7545 : 1975 | Specification for optical bench Advanced Type
Reviewed In : 2019
21 | IS 7919 : 1975 | Specification for refractometer - abbe type
Reviewed In : 2019
22 | IS 8248 : 1976 | Specification for antireflection coating on glass optical components
Reviewed In : 2022
23 | IS 8651 : 1977 | Specification for flame photometer
Reviewed In : 2019
24 | IS 8661 : 1977 | Specification for polarimeter and saccharimeter Optical
Reviewed In : 2019
25 | IS 8691 : 1986 | Specification for mirror stereoscope First Revision
Reviewed In : 2021
Reaffirmed but not taken up for revision
26 | IS 9107 : 1979 | Specification for autocollimator
Reviewed In : 2019
27 | IS 9514 : 1980 | Specification for front surface aluminized mirrors
Reviewed In : 2021
28 | IS 9571 : 1980 | Specification for photoelectric colorimeter Single Beam
Reviewed In : 2021